## feeder
data_type | static
owner_type | feeder
owner | 8101703
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8101703 |  | ts_slack | none | node_SOURCE_8101703 | 2771.281 | 66 | 59 | 2 | 0 | 0 | 0 | 0 | 13 | 1.318 | 1.001 | 0.426 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8101703
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220382709 |  | AD | node_intto1_8101703_200821634 | node_8101703_200821634 | GOOD | GOOD | GOOD |  | 80 |  |  | 8101703 | no | no |  |  | no
fuse_220382711 |  | AN | node_intto1_8101703_200821662 | node_8101703_200821662 | GOOD | GOOD | GOOD |  | 10 |  |  | 8101703 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8101703
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_2AC |  | oh_cond_2_ACSR | oh_cond_2_ACSR | oh_cond_2_ACSR |  |  | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 |  | no
bal_1P_4CU |  | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_1P_2ALURD |  | und_cond_1P_2ALURD | und_cond_1P_2ALURD | und_cond_1P_2ALURD |  |  | 2.379+0.823j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 2.379+0.823j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 2.379+0.823j | 401.497 | 0 | 0 | 0 | 401.497 | 0 | 0 | 0 | 401.497 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8101703
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220334989 |  | node_1397584_898_15315356_028 |  | AN | 0 | Residential | 76572+32619.535j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220334990 |  | node_1397569_941_15315013_847 |  | AN | 0 | NonResidential | 273.6+116.553j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220334991 |  | node_1397502_885_15314804_158 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220334997 |  | node_1399040_255_15317728_633 |  | AN | 0 | Residential | 43092+18357.115j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220334998 |  | node_1397678_831_15315856_602 |  | AN | 0 | NonResidential | 3500+1490.994j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220334999 |  | node_1397674_733_15315830_516 |  | AN | 0 | Residential | 1508.4+642.576j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220335000 |  | node_1398142_782_15316327_762 |  | AN | 0 | Residential | 56635.2+24126.494j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220335001 |  | node_1398599_098_15317003_134 |  | AN | 0 | NonResidential | 7.2+3.067j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220335002 |  | node_1398714_008_15317799_531 |  | AN | 0 | NonResidential | 719000+306292.717j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220335003 |  | node_1399099_34_15318129_957 |  | AN | 0 | Residential | 9396+4002.679j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220336091 |  | node_1398205_564_15316928_796 |  | AN | 0 | Residential | 18892.8+8048.299j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220528494 |  | node_1399032_454_15318691_624 |  | AN | 0 | NonResidential | 9000+3833.984j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220597925 |  | node_1398797_044_15317271_439 |  | AN | 0 | Residential | 63230.4+26936.038j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101703 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8101703
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1397502_885_15314804_158 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397502.885 | 15314804.158 |  | -1
node_1397569_941_15315013_847 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397569.941 | 15315013.847 |  | -1
node_1397584_898_15315356_028 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397584.898 | 15315356.028 |  | -1
node_1397674_733_15315830_516 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397674.733 | 15315830.516 |  | -1
node_1397678_831_15315856_602 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397678.831 | 15315856.602 |  | -1
node_1398142_782_15316327_762 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398142.782 | 15316327.762 |  | -1
node_1398205_564_15316928_796 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398205.564 | 15316928.796 |  | -1
node_1398599_098_15317003_134 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398599.098 | 15317003.134 |  | -1
node_1398714_008_15317799_531 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398714.008 | 15317799.531 |  | -1
node_1398797_044_15317271_439 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398797.044 | 15317271.439 |  | -1
node_1399032_454_15318691_624 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399032.454 | 15318691.624 |  | -1
node_1399040_255_15317728_633 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399040.255 | 15317728.633 |  | -1
node_1399099_34_15318129_957 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399099.34 | 15318129.957 |  | -1
node_8101703_200821631 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397770.619 | 15315278.594 |  | -1
node_8101703_200821632 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397688.077 | 15315329.709 |  | -1
node_8101703_200821633 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397602.194 | 15315385.404 |  | -1
node_8101703_200821634 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397527.211 | 15315432.421 |  | -1
node_8101703_200821636 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397746.865 | 15315231.196 |  | -1
node_8101703_200821637 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397691.545 | 15315152.698 |  | -1
node_8101703_200821638 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397652.143 | 15315075.627 |  | -1
node_8101703_200821639 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397596.15 | 15314993.244 |  | -1
node_8101703_200821640 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397539.65 | 15314910.758 |  | -1
node_8101703_200821641 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397487.3 | 15314828.736 |  | -1
node_8101703_200821662 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399036.623 | 15318661.754 |  | -1
node_8101703_200821663 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399068.165 | 15317709.379 |  | -1
node_8101703_200821664 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399141.644 | 15317811.131 |  | -1
node_8101703_200821665 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399208.653 | 15317908.746 |  | -1
node_8101703_200821666 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399320.48 | 15318031.397 |  | -1
node_8101703_200821667 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399475.593 | 15318184.553 |  | -1
node_8101703_200821668 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399592.248 | 15318320.895 |  | -1
node_8101703_200821669 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399623.405 | 15318357.05 |  | -1
node_8101703_200821670 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399752.838 | 15318366.575 |  | -1
node_8101703_200821671 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399943.296 | 15318369.658 |  | -1
node_8101703_200821672 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1400063.8 | 15318323.879 |  | -1
node_8101703_200821716 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397512.374 | 15315449.35 |  | -1
node_8101703_200821717 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397633.928 | 15315635.932 |  | -1
node_8101703_200821718 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397750.399 | 15315823.266 |  | -1
node_8101703_200821719 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397852.612 | 15315978.296 |  | -1
node_8101703_200821720 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397917.255 | 15316057.203 |  | -1
node_8101703_200821721 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397965.48 | 15316134.894 |  | -1
node_8101703_200821722 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398022.565 | 15316217.617 |  | -1
node_8101703_200821723 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398117.208 | 15316347.002 |  | -1
node_8101703_200821724 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398202.582 | 15316471.403 |  | -1
node_8101703_200821725 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398271.741 | 15316571.952 |  | -1
node_8101703_200821726 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398348.322 | 15316681.02 |  | -1
node_8101703_200821727 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398408.669 | 15316767.942 |  | -1
node_8101703_200821728 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398495.859 | 15316889.519 |  | -1
node_8101703_200821729 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398579.319 | 15317020.541 |  | -1
node_8101703_200821730 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398672.603 | 15317142.473 |  | -1
node_8101703_200821731 |  |  | PQ | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398774.283 | 15317289.343 |  | -1
node_8101703_200821732 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398865.583 | 15317418.593 |  | -1
node_8101703_200821733 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398966.142 | 15317561.702 |  | -1
node_8101703_200821734 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399071.705 | 15317831.315 |  | -1
node_8101703_200821735 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398742.766 | 15317814.679 |  | -1
node_8101703_200821736 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399185.69 | 15317945.64 |  | -1
node_8101703_200821737 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399112.351 | 15318102.508 |  | -1
node_8101703_200824635 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398174.942 | 15316497.31 |  | -1
node_8101703_200824636 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397991.157 | 15316659.404 |  | -1
node_8101703_200824638 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1398173.214 | 15316941.068 |  | -1
node_8101703_310035339 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397933.632 | 15316048.961 |  | -1
node_8101703_311991870 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1400003.637 | 15318346.735 |  | -1
node_SOURCE_8101703 |  |  | SWING | ABCN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1400137.42 | 15318355.535 |  | -1
node_intto1_8101703_200821634 |  |  | PQ | AD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397527.211 | 15315432.421 |  | -1
node_intto1_8101703_200821662 |  |  | PQ | AN | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399036.623 | 15318661.754 |  | -1
node_intto1_8101703_200821671 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1399943.296 | 15318369.658 |  | -1
node_intto1_8101703_310035339 |  |  | PQ | ABCD | 2771.281 | 8101703 | no | no |  |  | no |  |  | 1397933.632 | 15316048.961 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8101703
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8101703_200821631 |  | AD | node_8101703_200821632 | node_8101703_200821631 | 97.087 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821632 |  | AD | node_8101703_200821633 | node_8101703_200821632 | 102.361 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821633 |  | AD | node_8101703_200821634 | node_8101703_200821633 | 88.505 | bal_1P_4CU | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821634 |  | AD | node_8101703_200821716 | node_intto1_8101703_200821634 | 22.51 | bal_1P_4CU | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821636 |  | AD | node_8101703_200821631 | node_8101703_200821636 | 53.017 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821637 |  | AD | node_8101703_200821636 | node_8101703_200821637 | 96.033 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821638 |  | AD | node_8101703_200821637 | node_8101703_200821638 | 86.56 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821639 |  | AD | node_8101703_200821638 | node_8101703_200821639 | 99.61 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821640 |  | AD | node_8101703_200821639 | node_8101703_200821640 | 99.98 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821641 |  | AD | node_8101703_200821640 | node_8101703_200821641 | 97.305 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821663 |  | ABCD | node_8101703_200821664 | node_8101703_200821663 | 125.509 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821664 |  | ABCD | node_8101703_200821665 | node_8101703_200821664 | 118.401 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821665 |  | ABCD | node_8101703_200821666 | node_8101703_200821665 | 165.978 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821666 |  | ABCD | node_8101703_200821667 | node_8101703_200821666 | 217.983 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821667 |  | ABCD | node_8101703_200821668 | node_8101703_200821667 | 179.437 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821668 |  | ABCD | node_8101703_200821669 | node_8101703_200821668 | 47.727 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821669 |  | ABCD | node_8101703_200821670 | node_8101703_200821669 | 129.783 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821670 |  | ABCD | node_8101703_200821671 | node_8101703_200821670 | 190.483 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821671 |  | ABCD | node_8101703_311991870 | node_intto1_8101703_200821671 | 64.549 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821672 |  | ABCD | node_SOURCE_8101703 | node_8101703_200821672 | 80.138 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821716 |  | ABCD | node_8101703_200821717 | node_8101703_200821716 | 222.684 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821717 |  | ABCD | node_8101703_200821718 | node_8101703_200821717 | 220.589 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821718 |  | ABCD | node_8101703_200821719 | node_8101703_200821718 | 185.693 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821719 |  | ABCD | node_8101703_200821720 | node_8101703_200821719 | 102.005 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821720 |  | ABCD | node_8101703_200821721 | node_8101703_200821720 | 91.441 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821721 |  | ABCD | node_8101703_200821722 | node_8101703_200821721 | 100.508 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821722 |  | ABCD | node_8101703_200821723 | node_8101703_200821722 | 160.306 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821723 |  | ABCD | node_8101703_200821724 | node_8101703_200821723 | 150.878 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821724 |  | ABCD | node_8101703_200821725 | node_8101703_200821724 | 122.037 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821725 |  | ABCD | node_8101703_200821726 | node_8101703_200821725 | 133.268 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821726 |  | ABCD | node_8101703_200821727 | node_8101703_200821726 | 105.817 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821727 |  | ABCD | node_8101703_200821728 | node_8101703_200821727 | 149.61 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821728 |  | ABCD | node_8101703_200821729 | node_8101703_200821728 | 155.346 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821729 |  | ABCD | node_8101703_200821730 | node_8101703_200821729 | 153.522 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821730 |  | ABCD | node_8101703_200821731 | node_8101703_200821730 | 178.633 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821731 |  | ABCD | node_8101703_200821732 | node_8101703_200821731 | 158.243 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821732 |  | ABCD | node_8101703_200821733 | node_8101703_200821732 | 174.907 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821733 |  | ABCD | node_8101703_200821663 | node_8101703_200821733 | 179.492 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821734 |  | AD | node_8101703_200821664 | node_8101703_200821734 | 72.794 | bal_1P_1/0AA | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821735 |  | AD | node_8101703_200821734 | node_8101703_200821735 | 329.359 | bal_1P_1/0AA | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821736 |  | AD | node_8101703_200821665 | node_8101703_200821736 | 43.457 | bal_1P_2AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200821737 |  | AD | node_8101703_200821736 | node_8101703_200821737 | 173.165 | bal_1P_2AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200824635 |  | AD | node_8101703_200821724 | node_8101703_200824635 | 37.883 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200824636 |  | AD | node_8101703_200824635 | node_8101703_200824636 | 245.054 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_200824638 |  | AD | node_8101703_200824636 | node_8101703_200824638 | 335.379 | bal_1P_1/0AC | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_310035339 |  | ABCD | node_8101703_200821720 | node_intto1_8101703_310035339 | 18.333 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101703_311991870 |  | ABCD | node_8101703_200821672 | node_8101703_311991870 | 64.359 | bal_3P_477AL | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894729 |  | AN | node_8101703_200821633 | node_1397584_898_15315356_028 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894730 |  | AN | node_8101703_200821639 | node_1397569_941_15315013_847 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894731 |  | AN | node_8101703_200821641 | node_1397502_885_15314804_158 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894736 |  | ABCN | node_8101703_200821663 | node_1399040_255_15317728_633 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894738 |  | ABCN | node_8101703_200821723 | node_1398142_782_15316327_762 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894739 |  | ABCN | node_8101703_200821729 | node_1398599_098_15317003_134 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894740 |  | ABCN | node_8101703_200821731 | node_1398797_044_15317271_439 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894741 |  | AN | node_8101703_200821735 | node_1398714_008_15317799_531 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894742 |  | AN | node_8101703_200821737 | node_1399099_34_15318129_957 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_895679 |  | AN | node_8101703_200824638 | node_1398205_564_15316928_796 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2202136 |  | ABCN | node_8101703_200821718 | node_1397678_831_15315856_602 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2202137 |  | ABCN | node_8101703_200821718 | node_1397674_733_15315830_516 | 0.033 | unb_TAPWIRE_OH | 8101703 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8101703
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_2_ACSR |  | 0.01 | 1.41 | 0.325 | 195 | 195 | 245 | 245 |  | no
oh_cond_4_CU |  | 0.007 | 1.388 | 0.232 | 140 | 140 | 200 | 200 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## regulator
data_type | static
owner_type | feeder
owner | 8101703
object | regulator
name | groupid | phases | fr | to | configuration | sense_node | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
regulator_311991871 |  | ABCD | node_intto1_8101703_200821671 | node_8101703_200821671 | config_regulator_311991871 |  | 8101703 | no | no |  |  | no

## regulator_configuration
data_type | static
owner_type | feeder
owner | 8101703
object | regulator_configuration
name | groupid | connect_type | band_center | band_width | time_delay | dwell_time | raise_taps | lower_taps | current_transducer_ratio | power_transducer_ratio | compensator_r_setting_A | compensator_x_setting_A | compensator_r_setting_B | compensator_x_setting_B | compensator_r_setting_C | compensator_x_setting_C | CT_phase | PT_phase | regulation | control_level | Control | Type | tap_pos_A | tap_pos_B | tap_pos_C | dcircuit | selected | comments
config_regulator_311991871 |  | WYE_WYE | 123 | 3 |  |  | 16 | 16 | 100 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | A | A | 0.1 | INDIVIDUAL | OUTPUT_VOLTAGE | A | 0 | 0 | 0 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8101703
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_45579_NO-220415841 |  | ABCD | node_intto1_8101703_310035339 | node_8101703_310035339 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8101703 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8101703
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8101703_200821662 |  | AN | node_8101703_200821736 | node_intto1_8101703_200821662 | 731.465 | und_1P_2ALURD | 8101703 | no | no |  |  | no
und_line_TAP_UG_58892 |  | AN | node_8101703_200821662 | node_1399032_454_15318691_624 | 0.033 | und_TAPWIRE_UG | 8101703 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8101703
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_1P_2ALURD | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no