## capacitor
data_type | static
owner_type | feeder
owner | 8101003
object | capacitor
name | groupid | parent | phases | nominal_voltage | pt_phase | phases_connected | switchA | switchB | switchC | control | voltage_set_high | voltage_set_low | VAr_set_high | VAr_set_low | current_set_high | current_set_low | capacitor_A | capacitor_B | capacitor_C | cap_nominal_voltage | time_delay | dwell_time | lockout_time | remote_sense | remote_sense_B | control_level | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
cap_220369256 |  | node_1354870_519_15292791_598 | ABCN | 0 |  | ABCN | CLOSED | CLOSED | CLOSED | MANUAL | [6 empty] | 100000 | 100000 | 100000 | 4800 | [6 empty] | 8101003 | no | no |  |  | no
cap_220369259 |  | node_1354549_875_15292990_228 | ABCN | 0 |  | ABCN | CLOSED | CLOSED | CLOSED | MANUAL | [6 empty] | 100000 | 100000 | 100000 | 4800 | [6 empty] | 8101003 | no | no |  |  | no

## feeder
data_type | static
owner_type | feeder
owner | 8101003
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8101003 |  | ts_slack | none | node_SOURCE_8101003 | 1385.64,2771.281 | 122 | 105 | 8 | 1 | 0 | 0 | 0 | 27 | 1.903 | 1.251 | 0.533 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8101003
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220555604 |  | ABCD | node_intto1_8101003_201037726 | node_8101003_201037726 | GOOD | GOOD | GOOD |  | 25 |  |  | 8101003 | no | no |  |  | no
fuse_220555607 |  | ABCN | node_intto1_8101003_200988219 | node_8101003_200988219 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101003 | no | no |  |  | no
fuse_220555608 |  | ABCN | node_intto1_8101003_311894545 | node_8101003_311894545 | GOOD | GOOD | GOOD |  | 50 |  |  | 8101003 | no | no |  |  | no
fuse_220555609 |  | ABCD | node_intto1_220555609 | node_220555609 | GOOD | GOOD | GOOD |  | 140 |  |  | 8101003 | no | no |  |  | no
fuse_220564076 |  | ABCD | node_intto1_220564076 | node_220564076 | GOOD | GOOD | GOOD |  | 50 |  |  | 8101003 | no | no |  |  | no
fuse_310018054 |  | ABCN | node_intto1_8101003_310018048 | node_8101003_310018048 | GOOD | GOOD | GOOD |  | 30 |  |  | 8101003 | no | no |  |  | no
fuse_312105439 |  | ABCD | node_intto1_8101003_200855097 | node_8101003_200855097 | GOOD | GOOD | GOOD |  | 10 |  |  | 8101003 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8101003
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_2/0CU |  | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU |  |  | 0.535+1.487j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.535+1.487j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.535+1.487j | 12.878 | -3.204 | -3.204 | -3.204 | 12.878 | -3.204 | -3.204 | -3.204 | 12.878 |  | no
bal_3P_2CU |  | oh_cond_2_CU | oh_cond_2_CU | oh_cond_2_CU |  |  | 0.968+1.536j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.968+1.536j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.968+1.536j | 12.191 | -2.94 | -2.94 | -2.94 | 12.191 | -2.94 | -2.94 | -2.94 | 12.191 |  | no
bal_3P_4CU |  | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_2ALURD |  | und_cond_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.498 | 0 | 0 | 0 | 401.498 | 0 | 0 | 0 | 401.498 |  | no
und_3P_DELTACUST |  | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST |  |  | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8101003
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220346409 |  | node_1354488_651_15292523_229 |  | AN | 0 | NonResidential | 9000+3833.984j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346410 |  | node_1354527_219_15292533_934 |  | BN | 0 | NonResidential | 0 | 9000+3833.984j | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346456 |  | node_1354908_195_15291379_805 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346457 |  | node_1354918_147_15291356_87 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346461 |  | node_1354756_486_15291932_323 |  | AN | 0 | NonResidential | 6000+2555.989j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346462 |  | node_1354747_659_15291908_391 |  | BN | 0 | NonResidential | 0 | 6000+2555.989j | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346463 |  | node_1354769_61_15291952_417 |  | CN | 0 | NonResidential | 0 | 0 | 6000+2555.989j | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346502 |  | node_1354839_08_15293550_978 |  | AN | 0 | NonResidential | 2923.2+1245.278j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346503 |  | node_1354365_047_15293524_65 |  | AN | 0 | Residential | 853207.2+363464.745j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346505 |  | node_1354894_14_15293010_477 |  | AN | 0 | NonResidential | 6861.6+2923.029j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346506 |  | node_1354779_211_15293043_743 |  | AN | 0 | NonResidential | 15666.667+6673.972j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346507 |  | node_1354765_667_15293024_158 |  | BN | 0 | NonResidential | 0 | 15666.667+6673.972j | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346508 |  | node_1354796_043_15293057_992 |  | CN | 0 | NonResidential | 0 | 0 | 15666.667+6673.972j | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346567 |  | node_1354609_592_15292549_406 |  | AN | 0 | NonResidential | 3000+1277.995j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346568 |  | node_1354525_952_15292245_132 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346569 |  | node_1354529_522_15292218_975 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346570 |  | node_1354644_312_15292092_929 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346732 |  | node_1354406_687_15291544_206 |  | AN | 0 | Residential | 42868.8+18262.032j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220441938 |  | node_1354496_725_15293277_496 |  | AN | 0 | Residential | 9648+4110.031j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220545117 |  | node_1354277_824_15292021_303 |  | AN | 0 | NonResidential | 17666.667+7525.969j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220545118 |  | node_1354297_129_15292027_599 |  | BN | 0 | NonResidential | 0 | 17666.667+7525.969j | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220545119 |  | node_1354257_999_15292021_916 |  | CN | 0 | NonResidential | 0 | 0 | 17666.667+7525.969j | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220617081 |  | node_1354507_429_15292531_985 |  | CN | 0 | NonResidential | 0 | 0 | 9000+3833.984j | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310008388 |  | node_1354530_441_15291932_077 |  | AN | 0 | NonResidential | 2361.6+1006.037j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310024104 |  | node_1354235_387_15291921_08 |  | ABCN | 0 | NonResidential | 23333.333+9939.958j | 23333.333+9939.958j | 23333.333+9939.958j | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_311909738 |  | node_1355397_23_15292055_841 |  | AN | 0 | NonResidential | 102000+43451.818j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312043816 |  | node_1354967_061_15292757_939 |  | AN | 0 | Residential | 13464+5735.64j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101003 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8101003
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1354235_387_15291921_08 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354235.387 | 15291921.08 |  | -1
node_1354257_999_15292021_916 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354257.999 | 15292021.916 |  | -1
node_1354277_824_15292021_303 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354277.824 | 15292021.303 |  | -1
node_1354297_129_15292027_599 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354297.129 | 15292027.599 |  | -1
node_1354365_047_15293524_65 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354365.047 | 15293524.65 |  | -1
node_1354406_687_15291544_206 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354406.687 | 15291544.206 |  | -1
node_1354488_651_15292523_229 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354488.651 | 15292523.229 |  | -1
node_1354496_725_15293277_496 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354496.725 | 15293277.496 |  | -1
node_1354507_429_15292531_985 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354507.429 | 15292531.985 |  | -1
node_1354525_952_15292245_132 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354525.952 | 15292245.132 |  | -1
node_1354527_219_15292533_934 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354527.219 | 15292533.934 |  | -1
node_1354529_522_15292218_975 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354529.522 | 15292218.975 |  | -1
node_1354530_441_15291932_077 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354530.441 | 15291932.077 |  | -1
node_1354549_875_15292990_228 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354549.875 | 15292990.228 |  | -1
node_1354609_592_15292549_406 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354609.592 | 15292549.406 |  | -1
node_1354644_312_15292092_929 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354644.312 | 15292092.929 |  | -1
node_1354747_659_15291908_391 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354747.659 | 15291908.391 |  | -1
node_1354756_486_15291932_323 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354756.486 | 15291932.323 |  | -1
node_1354765_667_15293024_158 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354765.667 | 15293024.158 |  | -1
node_1354769_61_15291952_417 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354769.61 | 15291952.417 |  | -1
node_1354779_211_15293043_743 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354779.211 | 15293043.743 |  | -1
node_1354796_043_15293057_992 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354796.043 | 15293057.992 |  | -1
node_1354839_08_15293550_978 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354839.08 | 15293550.978 |  | -1
node_1354870_519_15292791_598 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354870.519 | 15292791.598 |  | -1
node_1354894_14_15293010_477 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354894.14 | 15293010.477 |  | -1
node_1354908_195_15291379_805 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354908.195 | 15291379.805 |  | -1
node_1354918_147_15291356_87 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354918.147 | 15291356.87 |  | -1
node_1354967_061_15292757_939 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354967.061 | 15292757.939 |  | -1
node_1355397_23_15292055_841 |  |  | PQ | ABCN | 1385.64 | 8101003 | no | no |  |  | no |  |  | 1355397.23 | 15292055.841 |  | -1
node_8101003_200854980 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354520.747 | 15292436.935 |  | -1
node_8101003_200855097 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354979.228 | 15291424.723 |  | -1
node_8101003_200855106 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354816.321 | 15291877.98 |  | -1
node_8101003_200855213 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354839.336 | 15293516.669 |  | -1
node_8101003_200855214 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354744.111 | 15293514.1 |  | -1
node_8101003_200855215 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354647.19 | 15293511.731 |  | -1
node_8101003_200855217 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354562.441 | 15293501.897 |  | -1
node_8101003_200855218 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354479.639 | 15293495.651 |  | -1
node_8101003_200855219 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354365.397 | 15293490.292 |  | -1
node_8101003_200855241 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354836.18 | 15293404.01 |  | -1
node_8101003_200855242 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354843.091 | 15293314.573 |  | -1
node_8101003_200855243 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354846.012 | 15293221.607 |  | -1
node_8101003_200855244 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354855.367 | 15293114.117 |  | -1
node_8101003_200855245 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354860.435 | 15293011.56 |  | -1
node_8101003_200855247 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354862.228 | 15292903.109 |  | -1
node_8101003_200855248 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354824.304 | 15292962.465 |  | -1
node_8101003_200855249 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354869.713 | 15292809.723 |  | -1
node_8101003_200855250 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354872.489 | 15292735.152 |  | -1
node_8101003_200855399 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354501.269 | 15293247.33 |  | -1
node_8101003_200855400 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354501.777 | 15293148.349 |  | -1
node_8101003_200855401 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354411.971 | 15293139.178 |  | -1
node_8101003_200855402 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354324.322 | 15293133.355 |  | -1
node_8101003_200855403 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354232.666 | 15293128.095 |  | -1
node_8101003_200855404 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354541.684 | 15293148.897 |  | -1
node_8101003_200855407 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354549.32 | 15292996.022 |  | -1
node_8101003_200855408 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354555.807 | 15292853.741 |  | -1
node_8101003_200855409 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354567.462 | 15292709.991 |  | -1
node_8101003_200855410 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354573.581 | 15292549.042 |  | -1
node_8101003_200855411 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354582.305 | 15292407.81 |  | -1
node_8101003_200855412 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354600.539 | 15292255.907 |  | -1
node_8101003_200855414 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354608.827 | 15292093.534 |  | -1
node_8101003_200855620 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355854.549 | 15292723.364 |  | -1
node_8101003_200855636 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354981.973 | 15292159.79 |  | -1
node_8101003_200855637 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354868.357 | 15292090.466 |  | -1
node_8101003_200855639 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354788.891 | 15292044.174 |  | -1
node_8101003_200855640 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354708.658 | 15291995.392 |  | -1
node_8101003_200855641 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354621.381 | 15291951.307 |  | -1
node_8101003_200855642 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354544.923 | 15291906.652 |  | -1
node_8101003_200855643 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354458.802 | 15291850.799 |  | -1
node_8101003_200855644 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354343.967 | 15291786.995 |  | -1
node_8101003_200855645 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354268.369 | 15291744.95 |  | -1
node_8101003_200855646 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354249.294 | 15291803.144 |  | -1
node_8101003_200855912 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354605.18 | 15292703.747 |  | -1
node_8101003_200855913 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354670.131 | 15292705.818 |  | -1
node_8101003_200855914 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354794.527 | 15292705.674 |  | -1
node_8101003_200855915 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354887.709 | 15292712.27 |  | -1
node_8101003_200855916 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354967.783 | 15292718.269 |  | -1
node_8101003_200855917 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354958.398 | 15292688.459 |  | -1
node_8101003_200855918 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355044.142 | 15292720.768 |  | -1
node_8101003_200856007 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354666.545 | 15291662.829 |  | -1
node_8101003_200856008 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354532.228 | 15291587.782 |  | -1
node_8101003_200856009 |  |  | PQ | AN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354415.779 | 15291513.459 |  | -1
node_8101003_200917603 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1356662.978 | 15292233.765 |  | -1
node_8101003_200917604 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1356446.958 | 15292493.637 |  | -1
node_8101003_200917606 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354238.611 | 15292216.768 |  | -1
node_8101003_200917608 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1356254.115 | 15292174.182 |  | -1
node_8101003_200917609 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1356155.495 | 15292562.499 |  | -1
node_8101003_200917612 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354923.71 | 15292326.82 |  | -1
node_8101003_200917613 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355153.385 | 15292723.527 |  | -1
node_8101003_200917614 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1356161.659 | 15292369.368 |  | -1
node_8101003_200917616 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354968.622 | 15292232.166 |  | -1
node_8101003_200984256 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355040.347 | 15291841.041 |  | -1
node_8101003_200984257 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354972.36 | 15291836.07 |  | -1
node_8101003_200984258 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354897.612 | 15291782.565 |  | -1
node_8101003_200984259 |  |  | PQ | AD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354800.038 | 15291725.678 |  | -1
node_8101003_200988219 |  |  | PQ | ABCN | 1385.64 | 8101003 | no | no |  |  | no |  |  | 1355299.242 | 15291793.177 |  | -1
node_8101003_200988535 |  |  | PQ | ABCN | 1385.64 | 8101003 | no | no |  |  | no |  |  | 1355027.866 | 15291947.035 |  | -1
node_8101003_201009747 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355007.019 | 15291979.179 |  | -1
node_8101003_201037726 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354260.817 | 15292120.935 |  | -1
node_8101003_310018048 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354221.414 | 15291892.817 |  | -1
node_8101003_310052929 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355971.286 | 15292771.964 |  | -1
node_8101003_310052995 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355689.379 | 15292615.388 |  | -1
node_8101003_310052996 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355553.032 | 15292535.916 |  | -1
node_8101003_310053000 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355429.25 | 15292461.728 |  | -1
node_8101003_310053003 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355340.221 | 15292408.371 |  | -1
node_8101003_310053004 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355245.495 | 15292351.599 |  | -1
node_8101003_310053005 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355161.771 | 15292304.86 |  | -1
node_8101003_310053006 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355083.722 | 15292298.803 |  | -1
node_8101003_310053434 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354936.315 | 15292300.254 |  | -1
node_8101003_311894545 |  |  | PQ | ABCN | 1385.64 | 8101003 | no | no |  |  | no |  |  | 1355395.691 | 15292002.314 |  | -1
node_8101003_311909112 |  |  | PQ | ABCD | 1385.64 | 8101003 | no | no |  |  | no |  |  | 1355015.756 | 15291965.884 |  | -1
node_220555609 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354870.189 | 15292802.761 |  | -1
node_220564076 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355012.991 | 15291970.084 |  | -1
node_220574826 |  |  | PQ | ABCD | 1385.64 | 8101003 | no | no |  |  | no |  |  | 1355014.472 | 15291967.833 |  | -1
node_SOURCE_8101003 |  |  | SWING | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354925.732 | 15292384.022 |  | -1
node_intto1_8101003_200855097 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354979.228 | 15291424.723 |  | -1
node_intto1_8101003_200988219 |  |  | PQ | ABCN | 1385.64 | 8101003 | no | no |  |  | no |  |  | 1355299.242 | 15291793.177 |  | -1
node_intto1_8101003_201037726 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354260.817 | 15292120.935 |  | -1
node_intto1_8101003_310018048 |  |  | PQ | ABCN | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354221.414 | 15291892.817 |  | -1
node_intto1_8101003_311894545 |  |  | PQ | ABCN | 1385.64 | 8101003 | no | no |  |  | no |  |  | 1355395.691 | 15292002.314 |  | -1
node_intto1_220555609 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1354870.189 | 15292802.761 |  | -1
node_intto1_220564076 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355012.991 | 15291970.084 |  | -1
node_intto1_220574826 |  |  | PQ | ABCD | 2771.281 | 8101003 | no | no |  |  | no |  |  | 1355014.472 | 15291967.833 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8101003
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8101003_200854980 |  | ABCD | node_8101003_200855411 | node_8101003_200854980 | 68.101 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855097 |  | ABCD | node_8101003_200984258 | node_intto1_8101003_200855097 | 367.031 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855106 |  | ABCD | node_8101003_200984258 | node_8101003_200855106 | 125.348 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855213 |  | AD | node_8101003_200855241 | node_8101003_200855213 | 112.704 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855214 |  | AD | node_8101003_200855213 | node_8101003_200855214 | 95.26 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855215 |  | AD | node_8101003_200855214 | node_8101003_200855215 | 96.95 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855217 |  | AD | node_8101003_200855215 | node_8101003_200855217 | 85.318 | bal_1P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855218 |  | AD | node_8101003_200855217 | node_8101003_200855218 | 83.037 | bal_1P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855219 |  | AD | node_8101003_200855218 | node_8101003_200855219 | 114.368 | bal_1P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855241 |  | AD | node_8101003_200855242 | node_8101003_200855241 | 89.704 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855242 |  | AD | node_8101003_200855243 | node_8101003_200855242 | 93.012 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855243 |  | AD | node_8101003_200855244 | node_8101003_200855243 | 107.897 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855244 |  | AD | node_8101003_200855245 | node_8101003_200855244 | 102.682 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855245 |  | AD | node_8101003_200855247 | node_8101003_200855245 | 108.466 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855247 |  | ABCD | node_8101003_200855249 | node_8101003_200855247 | 93.685 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855248 |  | ABCD | node_8101003_200855247 | node_8101003_200855248 | 70.437 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855249-1 |  | ABCD | node_220555609 | node_8101003_200855249 | 6.978 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855249-2 |  | ABCD | node_1354870_519_15292791_598 | node_intto1_220555609 | 11.168 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855249-3 |  | ABCD | node_8101003_200855250 | node_1354870_519_15292791_598 | 56.48 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855250 |  | ABCD | node_8101003_200855915 | node_8101003_200855250 | 27.482 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855399 |  | AD | node_8101003_200855400 | node_8101003_200855399 | 98.982 | bal_1P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855400 |  | ABCD | node_8101003_200855404 | node_8101003_200855400 | 39.91 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855401 |  | ABCD | node_8101003_200855400 | node_8101003_200855401 | 90.273 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855402 |  | ABCD | node_8101003_200855401 | node_8101003_200855402 | 87.842 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855403 |  | ABCD | node_8101003_200855402 | node_8101003_200855403 | 91.807 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855404 |  | ABCD | node_8101003_200855407 | node_8101003_200855404 | 153.066 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855407-1 |  | ABCD | node_1354549_875_15292990_228 | node_8101003_200855407 | 5.821 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855407-2 |  | ABCD | node_8101003_200855408 | node_1354549_875_15292990_228 | 136.616 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855408 |  | ABCD | node_8101003_200855409 | node_8101003_200855408 | 144.222 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855409 |  | ABCD | node_8101003_200855410 | node_8101003_200855409 | 161.065 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855410 |  | ABCD | node_8101003_200855411 | node_8101003_200855410 | 141.501 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855411 |  | ABCD | node_8101003_200855412 | node_8101003_200855411 | 152.994 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855412 |  | ABCD | node_8101003_200855414 | node_8101003_200855412 | 162.584 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855414 |  | ABCD | node_8101003_200855641 | node_8101003_200855414 | 142.78 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855620 |  | ABCD | node_8101003_310052995 | node_8101003_200855620 | 197.332 | bal_3P_2/0CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855636 |  | ABCD | node_8101003_200917616 | node_8101003_200855636 | 73.597 | bal_3P_477AL | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855637 |  | ABCD | node_8101003_200855636 | node_8101003_200855637 | 133.096 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855639 |  | ABCD | node_8101003_200855637 | node_8101003_200855639 | 91.966 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855640 |  | ABCD | node_8101003_200855639 | node_8101003_200855640 | 93.899 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855641 |  | ABCD | node_8101003_200855640 | node_8101003_200855641 | 97.779 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855642 |  | ABCD | node_8101003_200855641 | node_8101003_200855642 | 88.543 | bal_3P_2CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855643 |  | ABCD | node_8101003_200855642 | node_8101003_200855643 | 102.647 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855644 |  | ABCD | node_8101003_200855643 | node_8101003_200855644 | 131.369 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855645 |  | ABCD | node_8101003_200855644 | node_8101003_200855645 | 86.504 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855646 |  | ABCD | node_8101003_200855645 | node_8101003_200855646 | 61.24 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855912 |  | ABCD | node_8101003_200855409 | node_8101003_200855912 | 38.231 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855913 |  | ABCD | node_8101003_200855912 | node_8101003_200855913 | 64.983 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855914 |  | ABCD | node_8101003_200855913 | node_8101003_200855914 | 124.397 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855915 |  | ABCD | node_8101003_200855914 | node_8101003_200855915 | 93.415 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855916 |  | ABCD | node_8101003_200855915 | node_8101003_200855916 | 80.298 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855917 |  | ABCD | node_8101003_200855916 | node_8101003_200855917 | 31.252 | bal_3P_4CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200855918 |  | ABCD | node_8101003_200855916 | node_8101003_200855918 | 76.4 | bal_3P_4CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200856007 |  | AD | node_8101003_200984259 | node_8101003_200856007 | 147.548 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200856008 |  | AD | node_8101003_200856007 | node_8101003_200856008 | 153.861 | bal_1P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200856009 |  | AD | node_8101003_200856008 | node_8101003_200856009 | 138.145 | bal_1P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200917606 |  | ABCD | node_8101003_200854980 | node_8101003_200917606 | 357.874 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200917609 |  | ABCD | node_8101003_310052929 | node_8101003_200917609 | 278.942 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200917612 |  | ABCD | node_SOURCE_8101003 | node_8101003_200917612 | 57.238 | bal_3P_477AL | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200917613 |  | ABCD | node_8101003_200855918 | node_8101003_200917613 | 109.278 | bal_3P_4CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200917614 |  | ABCD | node_8101003_200917609 | node_8101003_200917614 | 193.229 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200917616 |  | ABCD | node_8101003_310053434 | node_8101003_200917616 | 75.364 | bal_3P_477AL | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200984256 |  | ABCD | node_8101003_201009747 | node_8101003_200984256 | 142.102 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200984257 |  | ABCD | node_8101003_200984256 | node_8101003_200984257 | 68.168 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200984258 |  | ABCD | node_8101003_200984257 | node_8101003_200984258 | 91.924 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200984259 |  | AD | node_8101003_200984258 | node_8101003_200984259 | 112.946 | bal_1P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_200988535 |  | ABCD | node_8101003_311909112 | node_8101003_200988535 | 22.404 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_201009747 |  | ABCD | node_8101003_200855636 | node_8101003_201009747 | 182.339 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_201037726 |  | ABCD | node_8101003_200917606 | node_intto1_8101003_201037726 | 98.383 | bal_3P_1/0AC | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310052929 |  | ABCD | node_8101003_200855620 | node_8101003_310052929 | 126.45 | bal_3P_2/0CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310052995 |  | ABCD | node_8101003_310052996 | node_8101003_310052995 | 157.817 | bal_3P_2/0CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310052996 |  | ABCD | node_8101003_310053000 | node_8101003_310052996 | 144.312 | bal_3P_2/0CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310053000 |  | ABCD | node_8101003_310053003 | node_8101003_310053000 | 103.794 | bal_3P_2/0CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310053003 |  | ABCD | node_8101003_310053004 | node_8101003_310053003 | 110.436 | bal_3P_2/0CU | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310053004 |  | ABCD | node_8101003_310053005 | node_8101003_310053004 | 95.886 | bal_3P_477AL | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310053005 |  | ABCD | node_8101003_310053006 | node_8101003_310053005 | 78.284 | bal_3P_477AL | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310053006 |  | ABCD | node_8101003_200917616 | node_8101003_310053006 | 132.998 | bal_3P_477AL | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_310053434 |  | ABCD | node_8101003_200917612 | node_8101003_310053434 | 29.405 | bal_3P_477AL | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_311909112-1 |  | ABCD | node_8101003_201009747 | node_intto1_220564076 | 10.881 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_311909112-2 |  | ABCD | node_220564076 | node_intto1_220574826 | 2.695 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101003_311909112-3 |  | ABCD | node_220574826 | node_8101003_311909112 | 2.334 | bal_3P_1/0AA | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904152 |  | AN | node_8101003_200855213 | node_1354839_08_15293550_978 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904153 |  | AN | node_8101003_200855219 | node_1354365_047_15293524_65 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904155 |  | AN | node_8101003_200855245 | node_1354894_14_15293010_477 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904190 |  | AN | node_8101003_200855399 | node_1354496_725_15293277_496 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904192 |  | ABCN | node_8101003_200855410 | node_1354609_592_15292549_406 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904194 |  | ABCN | node_8101003_200855414 | node_1354644_312_15292092_929 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904240 |  | ABCN | node_8101003_200855642 | node_1354530_441_15291932_077 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904303 |  | AN | node_8101003_200856009 | node_1354406_687_15291544_206 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136942 |  | ABCN | node_8101003_200855248 | node_1354779_211_15293043_743 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136943 |  | ABCN | node_8101003_200855248 | node_1354765_667_15293024_158 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136944 |  | ABCN | node_8101003_200855248 | node_1354796_043_15293057_992 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143335 |  | ABCN | node_8101003_200855412 | node_1354525_952_15292245_132 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143336 |  | ABCN | node_8101003_200855412 | node_1354529_522_15292218_975 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143366 |  | ABCN | node_8101003_200855106 | node_1354756_486_15291932_323 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143367 |  | ABCN | node_8101003_200855106 | node_1354747_659_15291908_391 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143368 |  | ABCN | node_8101003_200855106 | node_1354769_61_15291952_417 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143572 |  | ABCN | node_8101003_201037726 | node_1354277_824_15292021_303 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143573 |  | ABCN | node_8101003_201037726 | node_1354297_129_15292027_599 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143574 |  | ABCN | node_8101003_201037726 | node_1354257_999_15292021_916 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2146545 |  | ABCN | node_8101003_200854980 | node_1354507_429_15292531_985 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2146546 |  | ABCN | node_8101003_200854980 | node_1354488_651_15292523_229 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2146547 |  | ABCN | node_8101003_200854980 | node_1354527_219_15292533_934 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2146555 |  | ABCN | node_8101003_200855097 | node_1354908_195_15291379_805 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2146556 |  | ABCN | node_8101003_200855097 | node_1354918_147_15291356_87 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_4255521 |  | ABCN | node_8101003_200855916 | node_1354967_061_15292757_939 | 0.033 | unb_TAPWIRE_OH | 8101003 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8101003
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_2/0_CU |  | 0.013 | 0.44 | 0.414 | 295 | 295 | 425 | 425 |  | no
oh_cond_2_CU |  | 0.009 | 0.873 | 0.292 | 190 | 190 | 270 | 270 |  | no
oh_cond_4_CU |  | 0.007 | 1.388 | 0.232 | 140 | 140 | 200 | 200 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## transformer
data_type | static
owner_type | feeder
owner | 8101003
object | transformer
name | groupid | phases | fr | to | configuration | climate | aging_constant | use_thermal_model | aging_granularity | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
transformer_220574826 |  | ABCD | node_intto1_220574826 | node_220574826 | config_transformer_220574826 |  | 0 |  | 0 | 8101003 | no | no |  |  | no

## transformer_configuration
data_type | static
owner_type | feeder
owner | 8101003
object | transformer_configuration
name | groupid | connect_type | install_type | coolant_type | cooling_type | primary_voltage | secondary_voltage | power_rating | powerA_rating | powerB_rating | powerC_rating | impedance | shunt_impedance | core_coil_weight | tank_fittings_weight | oil_volume | rated_winding_time_constant | rated_winding_hot_spot_rise | rated_top_oil_rise | no_load_loss | full_load_loss | reactance_resistance_ratio | installed_insulation_life | dcircuit | selected | comments
config_transformer_220574826 |  | DELTA_DELTA |  |  |  | 4800 | 2400 | 300 | 0 | 0 | 0 | 0.004+0.04j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8101003
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8101003_200917603 |  | ABCN | node_8101003_200917604 | node_8101003_200917603 | 337.932 | und_3P_2ALURD | 8101003 | no | no |  |  | no
und_line_8101003_200917604 |  | ABCN | node_8101003_200917609 | node_8101003_200917604 | 299.487 | und_3P_2ALURD | 8101003 | no | no |  |  | no
und_line_8101003_200917608 |  | ABCN | node_8101003_200917614 | node_8101003_200917608 | 215.976 | und_3P_2ALURD | 8101003 | no | no |  |  | no
und_line_8101003_200988219 |  | ABCN | node_8101003_200988535 | node_intto1_8101003_200988219 | 311.974 | und_3P_DELTACUST | 8101003 | no | no |  |  | no
und_line_8101003_310018048 |  | ABCN | node_8101003_200855646 | node_intto1_8101003_310018048 | 93.908 | und_3P_DELTACUST | 8101003 | no | no |  |  | no
und_line_8101003_311894545 |  | ABCN | node_8101003_200988535 | node_intto1_8101003_311894545 | 371.981 | und_3P_DELTACUST | 8101003 | no | no |  |  | no
und_line_TAP_UG_570607 |  | ABCN | node_8101003_310018048 | node_1354235_387_15291921_08 | 0.033 | und_TAPWIRE_UG | 8101003 | no | no |  |  | no
und_line_TAP_UG_1375430 |  | ABCN | node_8101003_311894545 | node_1355397_23_15292055_841 | 0.033 | und_TAPWIRE_UG | 8101003 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8101003
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_2ALURD | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_DELTACUST | [12 empty] | 685 | 685 | 685 | 685 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no