## capacitor
data_type | static
owner_type | feeder
owner | 8100301
object | capacitor
name | groupid | parent | phases | nominal_voltage | pt_phase | phases_connected | switchA | switchB | switchC | control | voltage_set_high | voltage_set_low | VAr_set_high | VAr_set_low | current_set_high | current_set_low | capacitor_A | capacitor_B | capacitor_C | cap_nominal_voltage | time_delay | dwell_time | lockout_time | remote_sense | remote_sense_B | control_level | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
cap_220368780 |  | node_1386953_616_15287921_987 | ABCN | 0 |  | ABCN | CLOSED | CLOSED | CLOSED | MANUAL | [6 empty] | 100000 | 100000 | 100000 | 4800 | [6 empty] | 8100301 | no | no |  |  | no
cap_220368891 |  | node_1385044_454_15288098_752 | AN | 0 |  | AN | CLOSED |  |  | MANUAL | [6 empty] | 100000 |  |  | 4800 | [6 empty] | 8100301 | no | no |  |  | no
cap_220563474 |  | node_1385478_835_15288716_063 | ABCN | 0 |  | ABCN | CLOSED | CLOSED | CLOSED | MANUAL | [6 empty] | 50000 | 50000 | 50000 | 4800 | [6 empty] | 8100301 | no | no |  |  | no

## feeder
data_type | static
owner_type | feeder
owner | 8100301
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8100301 |  | ts_slack | none | node_SOURCE_8100301 | 2771.281 | 213 | 199 | 7 | 0 | 0 | 0 | 0 | 50 | 3.839 | 1.301 | 0.554 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8100301
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220382424 |  | AD | node_intto1_8100301_200815235 | node_8100301_200815235 | GOOD | GOOD | GOOD |  | 100 |  |  | 8100301 | no | no |  |  | no
fuse_220383161 |  | ABCD | node_intto1_8100301_200810164 | node_8100301_200810164 | GOOD | GOOD | GOOD |  | 100 |  |  | 8100301 | no | no |  |  | no
fuse_220383162 |  | ABCD | node_intto1_8100301_200810112 | node_8100301_200810112 | GOOD | GOOD | GOOD |  | 140 |  |  | 8100301 | no | no |  |  | no
fuse_220383342 |  | AD | node_intto1_8100301_200815544 | node_8100301_200815544 | GOOD | GOOD | GOOD |  | 150 |  |  | 8100301 | no | no |  |  | no
fuse_312040993 |  | ABCD | node_intto1_8100301_200810116 | node_8100301_200810116 | GOOD | GOOD | GOOD |  | 300 |  |  | 8100301 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8100301
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_4CU |  | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 |  | no
bal_3P_4/0AC |  | oh_cond_4/0_ACSR | oh_cond_4/0_ACSR | oh_cond_4/0_ACSR |  |  | 0.54+1.457j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.54+1.457j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.54+1.457j | 13.554 | -3.469 | -3.469 | -3.469 | 13.554 | -3.469 | -3.469 | -3.469 | 13.554 |  | no
bal_3P_4/0AL |  | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_4/0_AL |  |  | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_2ALURD |  | und_cond_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.498 | 0 | 0 | 0 | 401.498 | 0 | 0 | 0 | 401.498 |  | no
und_3P_DELTACUST |  | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST |  |  | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8100301
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220331492 |  | node_1385406_156_15288799_786 |  | AN | 0 | Residential | 33069.6+14087.591j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331493 |  | node_1385160_501_15288887 |  | AN | 0 | Residential | 1627.2+693.184j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331494 |  | node_1384895_679_15289135_813 |  | AN | 0 | Residential | 53049.6+22599.035j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331495 |  | node_1384452_366_15289381_077 |  | AN | 0 | Residential | 10670.4+4545.571j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331496 |  | node_1384171_365_15289675_148 |  | AN | 0 | NonResidential | 129.6+55.209j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331497 |  | node_1383776_247_15289786_023 |  | AN | 0 | NonResidential | 1310.4+558.228j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331498 |  | node_1383574_722_15289695_124 |  | AN | 0 | Residential | 14328+6103.702j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331530 |  | node_1387663_482_15287736_617 |  | AN | 0 | Residential | 14587.2+6214.121j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331531 |  | node_1387418_822_15287853_465 |  | AN | 0 | Residential | 39016.8+16621.087j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331534 |  | node_1386546_885_15288129_614 |  | AN | 0 | Residential | 11282.4+4806.282j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331535 |  | node_1386112_643_15288377_474 |  | AN | 0 | Residential | 1447.2+616.505j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331536 |  | node_1385899_86_15288492_287 |  | AN | 0 | Residential | 23184+9876.343j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331541 |  | node_1386155_308_15287987_91 |  | AN | 0 | Residential | 17654.4+7520.743j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331542 |  | node_1386044_626_15287749_789 |  | AN | 0 | Residential | 50652+21577.662j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331543 |  | node_1386116_483_15287476_489 |  | AN | 0 | Residential | 61336.8+26129.367j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332678 |  | node_1385246_006_15287931_018 |  | AN | 0 | Residential | 23839.2+10155.457j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332679 |  | node_1384755_414_15288241_597 |  | AN | 0 | Residential | 91209.6+38855.127j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332725 |  | node_1384014_637_15288427_208 |  | AN | 0 | Residential | 36036+15351.272j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332726 |  | node_1383664_814_15288621_878 |  | AN | 0 | NonResidential | 2260.8+963.097j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332728 |  | node_1384486_584_15288065_883 |  | AN | 0 | Residential | 56952+24261.45j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332819 |  | node_1385647_775_15288118_944 |  | AN | 0 | Residential | 30787.2+13115.292j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332820 |  | node_1384440_972_15289000_802 |  | AN | 0 | Residential | 67147.2+28604.587j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332821 |  | node_1383946_186_15288766_745 |  | AN | 0 | Residential | 41176.8+17541.243j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332823 |  | node_1385387_201_15288269_202 |  | AN | 0 | NonResidential | 3542.4+1509.056j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332824 |  | node_1384989_297_15288530_08 |  | AN | 0 | Residential | 50803.2+21642.073j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332825 |  | node_1384818_398_15288917_675 |  | AN | 0 | Residential | 5803.2+2472.153j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332826 |  | node_1384489_011_15288698_642 |  | AN | 0 | Residential | 19468.8+8293.674j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332827 |  | node_1383901_322_15287891_142 |  | AN | 0 | Residential | 73224+31193.293j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332917 |  | node_1383487_017_15288300_939 |  | AN | 0 | Residential | 57204+24368.802j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220333961 |  | node_1387456_065_15287383_431 |  | AN | 0 | Residential | 90187.2+38419.586j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348451 |  | node_1383030_788_15288962_881 |  | AN | 0 | Residential | 56160+23924.06j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349502 |  | node_1381907_753_15290619_56 |  | AN | 0 | NonResidential | 4096.8+1745.229j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349527 |  | node_1381586_893_15290768_777 |  | AN | 0 | Residential | 12751.2+5431.988j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349555 |  | node_1381234_544_15290992_031 |  | AN | 0 | Residential | 11253.6+4794.014j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349579 |  | node_1380894_618_15291122_383 |  | AN | 0 | Residential | 15127.2+6444.16j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349590 |  | node_1380537_913_15291004_871 |  | AN | 0 | NonResidential | 13333.333+5679.976j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349592 |  | node_1380528_882_15291028_497 |  | BN | 0 | NonResidential | 0 | 13333.333+5679.976j | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349600 |  | node_1380070_769_15291280_64 |  | AN | 0 | NonResidential | 7500+3194.987j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349601 |  | node_1380089_698_15291272_86 |  | AN | 0 | NonResidential | 7500+3194.987j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349605 |  | node_1379943_35_15291326_835 |  | AN | 0 | NonResidential | 15000+6389.973j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349606 |  | node_1379961_603_15291316_585 |  | AN | 0 | NonResidential | 15000+6389.973j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349634 |  | node_1382750_498_15290309_955 |  | AN | 0 | NonResidential | 15516+6609.788j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349670 |  | node_1382337_666_15290485_15 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220440387 |  | node_1380524_73_15291054_496 |  | CN | 0 | NonResidential | 0 | 0 | 13333.333+5679.976j | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220518330 |  | node_1387683_51_15287001_084 |  | AN | 0 | Residential | 65448+27880.731j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220529899 |  | node_1380667_336_15290980_444 |  | ABCN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220624085 |  | node_1386840_835_15287914_851 |  | AN | 0 | Residential | 50371.2+21458.041j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220647664 |  | node_1379802_333_15291546_09 |  | AN | 0 | NonResidential | 2246.4+956.962j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312006237 |  | node_1386043_274_15287693_244 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312006238 |  | node_1386058_426_15287520_393 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100301 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8100301
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1379802_333_15291546_09 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1379802.333 | 15291546.09 |  | -1
node_1379943_35_15291326_835 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1379943.35 | 15291326.835 |  | -1
node_1379961_603_15291316_585 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1379961.603 | 15291316.585 |  | -1
node_1380070_769_15291280_64 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380070.769 | 15291280.64 |  | -1
node_1380089_698_15291272_86 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380089.698 | 15291272.86 |  | -1
node_1380524_73_15291054_496 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380524.73 | 15291054.496 |  | -1
node_1380528_882_15291028_497 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380528.882 | 15291028.497 |  | -1
node_1380537_913_15291004_871 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380537.913 | 15291004.871 |  | -1
node_1380667_336_15290980_444 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380667.336 | 15290980.444 |  | -1
node_1380894_618_15291122_383 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380894.618 | 15291122.383 |  | -1
node_1381234_544_15290992_031 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381234.544 | 15290992.031 |  | -1
node_1381586_893_15290768_777 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381586.893 | 15290768.777 |  | -1
node_1381907_753_15290619_56 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381907.753 | 15290619.56 |  | -1
node_1382337_666_15290485_15 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382337.666 | 15290485.15 |  | -1
node_1382750_498_15290309_955 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382750.498 | 15290309.955 |  | -1
node_1383030_788_15288962_881 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383030.788 | 15288962.881 |  | -1
node_1383487_017_15288300_939 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383487.017 | 15288300.939 |  | -1
node_1383574_722_15289695_124 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383574.722 | 15289695.124 |  | -1
node_1383664_814_15288621_878 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383664.814 | 15288621.878 |  | -1
node_1383776_247_15289786_023 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383776.247 | 15289786.023 |  | -1
node_1383901_322_15287891_142 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383901.322 | 15287891.142 |  | -1
node_1383946_186_15288766_745 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383946.186 | 15288766.745 |  | -1
node_1384014_637_15288427_208 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384014.637 | 15288427.208 |  | -1
node_1384171_365_15289675_148 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384171.365 | 15289675.148 |  | -1
node_1384440_972_15289000_802 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384440.972 | 15289000.802 |  | -1
node_1384452_366_15289381_077 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384452.366 | 15289381.077 |  | -1
node_1384486_584_15288065_883 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384486.584 | 15288065.883 |  | -1
node_1384489_011_15288698_642 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384489.011 | 15288698.642 |  | -1
node_1384755_414_15288241_597 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384755.414 | 15288241.597 |  | -1
node_1384818_398_15288917_675 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384818.398 | 15288917.675 |  | -1
node_1384895_679_15289135_813 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384895.679 | 15289135.813 |  | -1
node_1384989_297_15288530_08 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384989.297 | 15288530.08 |  | -1
node_1385044_454_15288098_752 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385044.454 | 15288098.752 |  | -1
node_1385160_501_15288887 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385160.501 | 15288887 |  | -1
node_1385246_006_15287931_018 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385246.006 | 15287931.018 |  | -1
node_1385387_201_15288269_202 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385387.201 | 15288269.202 |  | -1
node_1385406_156_15288799_786 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385406.156 | 15288799.786 |  | -1
node_1385478_835_15288716_063 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385478.835 | 15288716.063 |  | -1
node_1385647_775_15288118_944 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385647.775 | 15288118.944 |  | -1
node_1385899_86_15288492_287 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385899.86 | 15288492.287 |  | -1
node_1386043_274_15287693_244 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386043.274 | 15287693.244 |  | -1
node_1386044_626_15287749_789 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386044.626 | 15287749.789 |  | -1
node_1386058_426_15287520_393 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386058.426 | 15287520.393 |  | -1
node_1386112_643_15288377_474 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386112.643 | 15288377.474 |  | -1
node_1386116_483_15287476_489 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386116.483 | 15287476.489 |  | -1
node_1386155_308_15287987_91 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386155.308 | 15287987.91 |  | -1
node_1386546_885_15288129_614 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386546.885 | 15288129.614 |  | -1
node_1386840_835_15287914_851 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386840.835 | 15287914.851 |  | -1
node_1386953_616_15287921_987 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386953.616 | 15287921.987 |  | -1
node_1387418_822_15287853_465 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387418.822 | 15287853.465 |  | -1
node_1387456_065_15287383_431 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387456.065 | 15287383.431 |  | -1
node_1387663_482_15287736_617 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387663.482 | 15287736.617 |  | -1
node_1387683_51_15287001_084 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387683.51 | 15287001.084 |  | -1
node_1388108_759_15287667_924 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1388108.759 | 15287667.924 |  | -1
node_8100301_200809938 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385482.891 | 15288712.386 |  | -1
node_8100301_200809940 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385383.567 | 15288785.273 |  | -1
node_8100301_200809942 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385292.653 | 15288841.597 |  | -1
node_8100301_200809944 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385170.506 | 15288920.722 |  | -1
node_8100301_200809945 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385086.5 | 15288974.25 |  | -1
node_8100301_200809947 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384973.136 | 15289049.703 |  | -1
node_8100301_200809948 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384873.933 | 15289115.263 |  | -1
node_8100301_200809950 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384755.498 | 15289192.038 |  | -1
node_8100301_200809952 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384566.856 | 15289327.782 |  | -1
node_8100301_200809955 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384467.293 | 15289408.438 |  | -1
node_8100301_200809956 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384374.871 | 15289489.376 |  | -1
node_8100301_200809957 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384283.478 | 15289565.934 |  | -1
node_8100301_200809959 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384154.994 | 15289650.494 |  | -1
node_8100301_200809960 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384027.708 | 15289684.29 |  | -1
node_8100301_200809966 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383966.404 | 15289711.253 |  | -1
node_8100301_200809968 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383876.861 | 15289762.786 |  | -1
node_8100301_200809969 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383793.845 | 15289817.299 |  | -1
node_8100301_200809970 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383700.011 | 15289873.398 |  | -1
node_8100301_200809971 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383605.331 | 15289684.663 |  | -1
node_8100301_200809973 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383581.862 | 15289941.157 |  | -1
node_8100301_200809974 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383415.666 | 15290003.824 |  | -1
node_8100301_200810085 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387975.351 | 15287692.211 |  | -1
node_8100301_200810087 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387896.66 | 15287709.929 |  | -1
node_8100301_200810088 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387783.073 | 15287737.786 |  | -1
node_8100301_200810089 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387669.21 | 15287764.295 |  | -1
node_8100301_200810090 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387545.917 | 15287793.317 |  | -1
node_8100301_200810091 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387392.266 | 15287838.304 |  | -1
node_8100301_200810095 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387319.996 | 15287854.798 |  | -1
node_8100301_200810096 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387193.047 | 15287877.26 |  | -1
node_8100301_200810098 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387087.23 | 15287884.62 |  | -1
node_8100301_200810099 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386966.223 | 15287919.911 |  | -1
node_8100301_200810103 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386817.763 | 15287990.814 |  | -1
node_8100301_200810106 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386629.828 | 15288057.073 |  | -1
node_8100301_200810109 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386527.249 | 15288107.023 |  | -1
node_8100301_200810112 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386417.665 | 15288168.025 |  | -1
node_8100301_200810113 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386317.322 | 15288234.006 |  | -1
node_8100301_200810114 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386204.243 | 15288291.527 |  | -1
node_8100301_200810115 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386094.223 | 15288352.736 |  | -1
node_8100301_200810116 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385996.838 | 15288401.694 |  | -1
node_8100301_200810117 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385874.883 | 15288467.065 |  | -1
node_8100301_200810122 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385775.226 | 15288529.868 |  | -1
node_8100301_200810123 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385681.118 | 15288592.926 |  | -1
node_8100301_200810125 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385584.937 | 15288655.58 |  | -1
node_8100301_200810126 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383311.403 | 15290041.218 |  | -1
node_8100301_200810132 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386303.389 | 15288196.114 |  | -1
node_8100301_200810148 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386224.634 | 15288068.286 |  | -1
node_8100301_200810152 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386187.628 | 15287968.372 |  | -1
node_8100301_200810153 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386110.393 | 15287834.628 |  | -1
node_8100301_200810154 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386067.705 | 15287754.178 |  | -1
node_8100301_200810158 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386071.41 | 15287674.385 |  | -1
node_8100301_200810159 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386088.651 | 15287507.866 |  | -1
node_8100301_200810160 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386087.167 | 15287443.335 |  | -1
node_8100301_200810163 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387938.368 | 15287658.697 |  | -1
node_8100301_200810164 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387887.758 | 15287441.611 |  | -1
node_8100301_200815068 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385259.726 | 15287960.561 |  | -1
node_8100301_200815069 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385148.268 | 15288033.725 |  | -1
node_8100301_200815070 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385048.676 | 15288096.099 |  | -1
node_8100301_200815071 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384903.752 | 15288187.187 |  | -1
node_8100301_200815072 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384769.924 | 15288265.977 |  | -1
node_8100301_200815073 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384599.923 | 15288398.13 |  | -1
node_8100301_200815074 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384424.464 | 15288484.33 |  | -1
node_8100301_200815233 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383997.458 | 15288403.491 |  | -1
node_8100301_200815234 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383823.502 | 15288498.305 |  | -1
node_8100301_200815235 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383648.612 | 15288597.472 |  | -1
node_8100301_200815236 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383470.041 | 15288692.368 |  | -1
node_8100301_200815237 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383363.853 | 15288747.704 |  | -1
node_8100301_200815243 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384498.684 | 15288094.439 |  | -1
node_8100301_200815244 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384336.551 | 15288204.112 |  | -1
node_8100301_200815245 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384183.305 | 15288290.606 |  | -1
node_8100301_200815246 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384131.274 | 15288340.212 |  | -1
node_8100301_200815526 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385677.549 | 15288146.875 |  | -1
node_8100301_200815527 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384430.318 | 15288972.165 |  | -1
node_8100301_200815528 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384251.365 | 15288947.647 |  | -1
node_8100301_200815529 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384135.673 | 15288827.337 |  | -1
node_8100301_200815530 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383947.823 | 15288804.711 |  | -1
node_8100301_200815535 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385520.618 | 15288231.226 |  | -1
node_8100301_200815536 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385401.884 | 15288297.862 |  | -1
node_8100301_200815537 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385282.185 | 15288377.565 |  | -1
node_8100301_200815538 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385180.678 | 15288445.609 |  | -1
node_8100301_200815540 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385001.379 | 15288563.142 |  | -1
node_8100301_200815541 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384846.083 | 15288662.805 |  | -1
node_8100301_200815542 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384698.367 | 15288757.018 |  | -1
node_8100301_200815543 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384541.02 | 15288861.477 |  | -1
node_8100301_200815544 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384835.139 | 15288900.435 |  | -1
node_8100301_200815546 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384498.879 | 15288674.25 |  | -1
node_8100301_200815547 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384316.958 | 15288558.489 |  | -1
node_8100301_200815548 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384184.225 | 15288421.465 |  | -1
node_8100301_200815549 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384056.17 | 15288158.123 |  | -1
node_8100301_200815550 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383967.928 | 15287972.976 |  | -1
node_8100301_200815552 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383929.325 | 15287874.743 |  | -1
node_8100301_200815758 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383812.941 | 15288080.074 |  | -1
node_8100301_200815759 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383644.707 | 15288168.721 |  | -1
node_8100301_200815760 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383465.737 | 15288274.265 |  | -1
node_8100301_200818674 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387798.806 | 15287382.405 |  | -1
node_8100301_200818675 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387600.419 | 15287359.688 |  | -1
node_8100301_200818676 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387453.544 | 15287347.144 |  | -1
node_8100301_200818677 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387313.949 | 15287340.491 |  | -1
node_8100301_200818678 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387176.865 | 15287332.128 |  | -1
node_8100301_200820170 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387654.709 | 15287331.549 |  | -1
node_8100301_200820171 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387665.671 | 15287162.9 |  | -1
node_8100301_200820172 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387662.635 | 15287010.613 |  | -1
node_8100301_200862250 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383183.712 | 15288837.309 |  | -1
node_8100301_200862251 |  |  | PQ | AN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383015.36 | 15288936.911 |  | -1
node_8100301_200865082 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381921.812 | 15290655.311 |  | -1
node_8100301_200865097 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381807.312 | 15290709.01 |  | -1
node_8100301_200865125 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381597.786 | 15290800.327 |  | -1
node_8100301_200865162 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381231.608 | 15290954.058 |  | -1
node_8100301_200865197 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380985.057 | 15291037.94 |  | -1
node_8100301_200865208 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380881.276 | 15291091.777 |  | -1
node_8100301_200865219 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382868.541 | 15290294.85 |  | -1
node_8100301_200865252 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380503.815 | 15291236.483 |  | -1
node_8100301_200865253 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380600.463 | 15291063.331 |  | -1
node_8100301_200865278 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380099.167 | 15291367.129 |  | -1
node_8100301_200865291 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1379983.95 | 15291419.185 |  | -1
node_8100301_200865296 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1379812.624 | 15291492.303 |  | -1
node_8100301_200865348 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382759.396 | 15290338.913 |  | -1
node_8100301_200865466 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382342.159 | 15290526.585 |  | -1
node_8100301_200917482 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380248.363 | 15291147.887 |  | -1
node_8100301_200917483 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380187.261 | 15291026.258 |  | -1
node_8100301_200917486 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380576.492 | 15291009.972 |  | -1
node_8100301_200917487 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380492.378 | 15290960.274 |  | -1
node_8100301_200917488 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380566.619 | 15291008.429 |  | -1
node_8100301_200958172 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384565.817 | 15288052.372 |  | -1
node_8100301_200972379 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380636.326 | 15290991.301 |  | -1
node_8100301_200974870 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384659.816 | 15289253.831 |  | -1
node_8100301_201044618 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386850.252 | 15287939.01 |  | -1
node_8100301_201045921 |  |  | PQ | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1379807.899 | 15291513.768 |  | -1
node_8100301_310009289 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380100.597 | 15291332.679 |  | -1
node_8100301_310051873 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382982.117 | 15290229.082 |  | -1
node_8100301_310051891 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382616.475 | 15290358.083 |  | -1
node_8100301_310051896 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382528.992 | 15290387.664 |  | -1
node_8100301_310051918 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382492.071 | 15290411.206 |  | -1
node_8100301_310051932 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382253.196 | 15290527.889 |  | -1
node_8100301_310051934 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382137.833 | 15290560.715 |  | -1
node_8100301_310051938 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1382005.545 | 15290613.682 |  | -1
node_8100301_310051944 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381691.626 | 15290741.495 |  | -1
node_8100301_310051945 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381515.514 | 15290876.789 |  | -1
node_8100301_310051956 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381462.493 | 15290887.071 |  | -1
node_8100301_310051957 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381332.838 | 15290938.645 |  | -1
node_8100301_310051959 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1381118.426 | 15291049.404 |  | -1
node_8100301_310051967 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380762.364 | 15291157.904 |  | -1
node_8100301_310051972 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380640.518 | 15291194.935 |  | -1
node_8100301_310051976 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380433.456 | 15291226.393 |  | -1
node_8100301_310051977 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380313.835 | 15291305.318 |  | -1
node_8100301_310051979 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1380205.196 | 15291336.599 |  | -1
node_8100301_310051988 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1379876.845 | 15291487.938 |  | -1
node_8100301_310051996 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383083.599 | 15290194.781 |  | -1
node_8100301_310051997 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383184.546 | 15290160.661 |  | -1
node_8100301_310051998 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383297.865 | 15290122.36 |  | -1
node_8100301_310051999 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383329.148 | 15290111.786 |  | -1
node_8100301_311907777 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386048.095 | 15287438.903 |  | -1
node_8100301_312150416 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383494.905 | 15289973.945 |  | -1
node_SOURCE_8100301 |  |  | SWING | ABCN | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1379817.373 | 15291548.738 |  | -1
node_intto1_1388108_759_15287667_924 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1388108.759 | 15287667.924 |  | -1
node_intto1_8100301_200810112 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1386417.665 | 15288168.025 |  | -1
node_intto1_8100301_200810116 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1385996.838 | 15288401.694 |  | -1
node_intto1_8100301_200810164 |  |  | PQ | ABCD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1387887.758 | 15287441.611 |  | -1
node_intto1_8100301_200815235 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1383648.612 | 15288597.472 |  | -1
node_intto1_8100301_200815544 |  |  | PQ | AD | 2771.281 | 8100301 | no | no |  |  | no |  |  | 1384835.139 | 15288900.435 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8100301
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8100301_200809938-1 |  | ABCD | node_8100301_200809940 | node_1385478_835_15288716_063 | 117.754 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809938-2 |  | ABCD | node_1385478_835_15288716_063 | node_8100301_200809938 | 5.475 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809940 |  | ABCD | node_8100301_200809942 | node_8100301_200809940 | 106.947 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809942 |  | ABCD | node_8100301_200809944 | node_8100301_200809942 | 145.535 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809944 |  | ABCD | node_8100301_200809945 | node_8100301_200809944 | 99.612 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809945 |  | ABCD | node_8100301_200809947 | node_8100301_200809945 | 136.178 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809947 |  | ABCD | node_8100301_200809948 | node_8100301_200809947 | 118.909 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809948 |  | ABCD | node_8100301_200809950 | node_8100301_200809948 | 141.142 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809950 |  | ABCD | node_8100301_200974870 | node_8100301_200809950 | 113.901 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809952 |  | ABCD | node_8100301_200809955 | node_8100301_200809952 | 128.133 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809955 |  | ABCD | node_8100301_200809956 | node_8100301_200809955 | 122.853 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809956 |  | ABCD | node_8100301_200809957 | node_8100301_200809956 | 119.222 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809957 |  | ABCD | node_8100301_200809959 | node_8100301_200809957 | 153.813 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809959 |  | ABCD | node_8100301_200809960 | node_8100301_200809959 | 131.696 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809960 |  | ABCD | node_8100301_200809966 | node_8100301_200809960 | 66.971 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809966 |  | ABCD | node_8100301_200809968 | node_8100301_200809966 | 103.314 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809968 |  | ABCD | node_8100301_200809969 | node_8100301_200809968 | 99.314 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809969 |  | ABCD | node_8100301_200809970 | node_8100301_200809969 | 109.325 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809970 |  | ABCD | node_8100301_200809973 | node_8100301_200809970 | 136.2 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809971 |  | AD | node_8100301_200809970 | node_8100301_200809971 | 211.152 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809973 |  | ABCD | node_8100301_312150416 | node_8100301_200809973 | 92.933 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200809974 |  | ABCD | node_8100301_200810126 | node_8100301_200809974 | 110.868 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810084 |  | ABCD | node_8100301_200810085 | node_intto1_1388108_759_15287667_924 | 213.412 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810085 |  | ABCD | node_8100301_200810087 | node_8100301_200810085 | 80.661 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810087 |  | ABCD | node_8100301_200810088 | node_8100301_200810087 | 116.952 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810088 |  | ABCD | node_8100301_200810089 | node_8100301_200810088 | 116.909 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810089 |  | ABCD | node_8100301_200810090 | node_8100301_200810089 | 126.663 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810090 |  | ABCD | node_8100301_200810091 | node_8100301_200810090 | 160.102 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810091 |  | ABCD | node_8100301_200810095 | node_8100301_200810091 | 74.128 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810095 |  | ABCD | node_8100301_200810096 | node_8100301_200810095 | 128.921 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810096 |  | ABCD | node_8100301_200810098 | node_8100301_200810096 | 106.073 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810098 |  | ABCD | node_8100301_200810099 | node_8100301_200810098 | 126.048 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810099-1 |  | ABCD | node_8100301_201044618 | node_1386953_616_15287921_987 | 104.756 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810099-2 |  | ABCD | node_1386953_616_15287921_987 | node_8100301_200810099 | 12.777 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810103 |  | ABCD | node_8100301_200810106 | node_8100301_200810103 | 199.273 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810106 |  | ABCD | node_8100301_200810109 | node_8100301_200810106 | 114.094 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810109 |  | ABCD | node_8100301_200810112 | node_8100301_200810109 | 125.419 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810112 |  | ABCD | node_8100301_200810113 | node_intto1_8100301_200810112 | 120.092 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810113 |  | ABCD | node_8100301_200810114 | node_8100301_200810113 | 126.868 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810114 |  | ABCD | node_8100301_200810115 | node_8100301_200810114 | 125.901 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810115 |  | ABCD | node_8100301_200810116 | node_8100301_200810115 | 108.999 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810116 |  | ABCD | node_8100301_200810117 | node_intto1_8100301_200810116 | 138.371 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810117 |  | ABCD | node_8100301_200810122 | node_8100301_200810117 | 117.795 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810122 |  | ABCD | node_8100301_200810123 | node_8100301_200810122 | 113.281 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810123 |  | ABCD | node_8100301_200810125 | node_8100301_200810123 | 114.788 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810125 |  | ABCD | node_8100301_200809938 | node_8100301_200810125 | 116.792 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810126 |  | ABCD | node_8100301_310051999 | node_8100301_200810126 | 72.765 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810132 |  | AD | node_8100301_200810113 | node_8100301_200810132 | 40.372 | bal_1P_1/0AA | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810148 |  | AD | node_8100301_200810132 | node_8100301_200810148 | 150.141 | bal_1P_1/0AA | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810152 |  | AD | node_8100301_200810148 | node_8100301_200810152 | 106.547 | bal_1P_1/0AA | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810153 |  | AD | node_8100301_200810152 | node_8100301_200810153 | 154.444 | bal_1P_1/0AA | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810154 |  | AD | node_8100301_200810153 | node_8100301_200810154 | 91.073 | bal_1P_1/0AA | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810158 |  | AD | node_8100301_200810154 | node_8100301_200810158 | 79.879 | bal_1P_1/0AA | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810159 |  | AD | node_8100301_200810158 | node_8100301_200810159 | 167.409 | bal_1P_1/0AA | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810160 |  | AD | node_8100301_200810159 | node_8100301_200810160 | 64.548 | bal_1P_4CU | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810163 |  | ABCD | node_8100301_200810085 | node_8100301_200810163 | 49.909 | bal_3P_4/0AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200810164 |  | ABCD | node_8100301_200810163 | node_intto1_8100301_200810164 | 222.907 | bal_3P_4/0AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815068 |  | AD | node_8100301_200815069 | node_8100301_200815068 | 133.325 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815069 |  | AD | node_8100301_200815070 | node_8100301_200815069 | 117.512 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815070-1 |  | AD | node_8100301_200815071 | node_1385044_454_15288098_752 | 166.186 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815070-2 |  | AD | node_1385044_454_15288098_752 | node_8100301_200815070 | 4.986 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815071 |  | AD | node_8100301_200815072 | node_8100301_200815071 | 155.3 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815072 |  | AD | node_8100301_200815073 | node_8100301_200815072 | 215.324 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815073 |  | AD | node_8100301_200815074 | node_8100301_200815073 | 195.49 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815074 |  | AD | node_8100301_200815547 | node_8100301_200815074 | 130.602 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815233 |  | AD | node_8100301_200815246 | node_8100301_200815233 | 148.024 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815234 |  | AD | node_8100301_200815233 | node_8100301_200815234 | 198.117 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815235 |  | AD | node_8100301_200815234 | node_intto1_8100301_200815235 | 201.048 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815236 |  | AD | node_8100301_200815235 | node_8100301_200815236 | 202.22 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815237 |  | AD | node_8100301_200815236 | node_8100301_200815237 | 119.741 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815243 |  | AD | node_8100301_200815244 | node_8100301_200815243 | 195.742 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815244 |  | AD | node_8100301_200815245 | node_8100301_200815244 | 175.971 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815245 |  | AD | node_8100301_200815246 | node_8100301_200815245 | 71.888 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815246 |  | AD | node_8100301_200815548 | node_8100301_200815246 | 96.984 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815526 |  | AD | node_8100301_200815535 | node_8100301_200815526 | 178.164 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815527 |  | AD | node_8100301_200815543 | node_8100301_200815527 | 156.546 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815528 |  | AD | node_8100301_200815527 | node_8100301_200815528 | 180.625 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815529 |  | AD | node_8100301_200815528 | node_8100301_200815529 | 166.911 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815530 |  | AD | node_8100301_200815529 | node_8100301_200815530 | 189.208 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815535 |  | AD | node_8100301_200815536 | node_8100301_200815535 | 136.155 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815536 |  | AD | node_8100301_200815537 | node_8100301_200815536 | 143.807 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815537 |  | AD | node_8100301_200815538 | node_8100301_200815537 | 122.203 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815538 |  | AD | node_8100301_200815540 | node_8100301_200815538 | 214.388 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815540 |  | AD | node_8100301_200815541 | node_8100301_200815540 | 184.525 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815541 |  | AD | node_8100301_200815542 | node_8100301_200815541 | 175.203 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815542 |  | AD | node_8100301_200815544 | node_8100301_200815542 | 198.18 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815543 |  | AD | node_8100301_200815542 | node_8100301_200815543 | 188.865 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815544 |  | AD | node_8100301_200809947 | node_intto1_8100301_200815544 | 203.282 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815546 |  | AD | node_8100301_200815542 | node_8100301_200815546 | 215.976 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815547 |  | AD | node_8100301_200815546 | node_8100301_200815547 | 215.629 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815548 |  | AD | node_8100301_200815547 | node_8100301_200815548 | 190.771 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815549 |  | AD | node_8100301_200815246 | node_8100301_200815549 | 196.969 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815550 |  | AD | node_8100301_200815549 | node_8100301_200815550 | 205.101 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815552 |  | AD | node_8100301_200815550 | node_8100301_200815552 | 105.546 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815758 |  | AD | node_8100301_200815550 | node_8100301_200815758 | 188.39 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815759 |  | AD | node_8100301_200815758 | node_8100301_200815759 | 190.16 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200815760 |  | AD | node_8100301_200815759 | node_8100301_200815760 | 207.774 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200818674 |  | ABCD | node_8100301_200810164 | node_8100301_200818674 | 106.854 | bal_3P_4/0AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200818675 |  | ABCD | node_8100301_200818674 | node_8100301_200818675 | 199.683 | bal_3P_4/0AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200818676 |  | ABCD | node_8100301_200818675 | node_8100301_200818676 | 147.41 | bal_3P_4/0AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200818677 |  | ABCD | node_8100301_200818676 | node_8100301_200818677 | 139.753 | bal_3P_4/0AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200818678 |  | ABCD | node_8100301_200818677 | node_8100301_200818678 | 137.339 | bal_3P_4/0AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200820170 |  | AD | node_8100301_200818675 | node_8100301_200820170 | 61.149 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200820171 |  | AD | node_8100301_200820170 | node_8100301_200820171 | 169.005 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200820172 |  | AD | node_8100301_200820171 | node_8100301_200820172 | 152.317 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200862250 |  | AD | node_8100301_200815237 | node_8100301_200862250 | 201.196 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200862251 |  | AD | node_8100301_200862250 | node_8100301_200862251 | 195.609 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865082 |  | ABCD | node_8100301_200865097 | node_8100301_200865082 | 126.467 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865097 |  | ABCD | node_8100301_310051944 | node_8100301_200865097 | 120.16 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865125 |  | ABCD | node_8100301_310051945 | node_8100301_200865125 | 112.317 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865162 |  | ABCD | node_8100301_310051959 | node_8100301_200865162 | 147.99 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865197 |  | ABCD | node_8100301_200865208 | node_8100301_200865197 | 116.914 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865208 |  | ABCD | node_8100301_310051967 | node_8100301_200865208 | 136.062 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865219 |  | ABCD | node_8100301_200865348 | node_8100301_200865219 | 117.704 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865252 |  | ABCD | node_8100301_310051976 | node_8100301_200865252 | 71.079 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865253 |  | ABCD | node_8100301_200865252 | node_8100301_200865253 | 198.299 | bal_3P_4/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865278 |  | ABCD | node_8100301_200865291 | node_8100301_200865278 | 126.431 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865291 |  | ABCD | node_8100301_310051988 | node_8100301_200865291 | 127.274 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865296 |  | ABCD | node_SOURCE_8100301 | node_8100301_200865296 | 56.634 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865348 |  | ABCD | node_8100301_310051891 | node_8100301_200865348 | 144.201 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200865466 |  | ABCD | node_8100301_310051932 | node_8100301_200865466 | 88.973 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200958172 |  | AD | node_8100301_200815243 | node_8100301_200958172 | 79.225 | bal_1P_1/0AC | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_200974870 |  | ABCD | node_8100301_200809952 | node_8100301_200974870 | 118.787 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_201044618 |  | ABCD | node_8100301_200810103 | node_8100301_201044618 | 61.149 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_201045921 |  | ABCD | node_8100301_200865296 | node_8100301_201045921 | 21.979 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310009289 |  | ABCD | node_8100301_200865278 | node_8100301_310009289 | 34.48 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051873 |  | ABCD | node_8100301_200865219 | node_8100301_310051873 | 131.244 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051891 |  | ABCD | node_8100301_310051896 | node_8100301_310051891 | 92.349 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051896 |  | ABCD | node_8100301_310051918 | node_8100301_310051896 | 43.787 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051918 |  | ABCD | node_8100301_200865466 | node_8100301_310051918 | 189.172 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051932 |  | ABCD | node_8100301_310051934 | node_8100301_310051932 | 119.942 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051934 |  | ABCD | node_8100301_310051938 | node_8100301_310051934 | 142.498 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051938 |  | ABCD | node_8100301_200865082 | node_8100301_310051938 | 93.51 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051944 |  | ABCD | node_8100301_200865125 | node_8100301_310051944 | 110.757 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051945 |  | ABCD | node_8100301_310051956 | node_8100301_310051945 | 54.009 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051956 |  | ABCD | node_8100301_310051957 | node_8100301_310051956 | 139.537 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051957 |  | ABCD | node_8100301_200865162 | node_8100301_310051957 | 102.396 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051959 |  | ABCD | node_8100301_200865197 | node_8100301_310051959 | 133.861 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051967 |  | ABCD | node_8100301_310051972 | node_8100301_310051967 | 127.349 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051972 |  | ABCD | node_8100301_200865252 | node_8100301_310051972 | 142.878 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051976 |  | ABCD | node_8100301_310051977 | node_8100301_310051976 | 143.312 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051977 |  | ABCD | node_8100301_310051979 | node_8100301_310051977 | 113.053 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051979 |  | ABCD | node_8100301_200865278 | node_8100301_310051979 | 110.337 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051988 |  | ABCD | node_8100301_200865296 | node_8100301_310051988 | 64.369 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051996 |  | ABCD | node_8100301_310051873 | node_8100301_310051996 | 107.123 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051997 |  | ABCD | node_8100301_310051996 | node_8100301_310051997 | 106.557 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051998 |  | ABCD | node_8100301_310051997 | node_8100301_310051998 | 119.616 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_310051999 |  | ABCD | node_8100301_310051998 | node_8100301_310051999 | 33.022 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_311907777 |  | AD | node_8100301_200810160 | node_8100301_311907777 | 39.322 | bal_1P_4CU | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100301_312150416 |  | ABCD | node_8100301_200809974 | node_8100301_312150416 | 84.685 | bal_3P_477AL | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892125 |  | ABCN | node_8100301_200809940 | node_1385406_156_15288799_786 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892126 |  | ABCN | node_8100301_200809944 | node_1385160_501_15288887 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892127 |  | ABCN | node_8100301_200809948 | node_1384895_679_15289135_813 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892128 |  | ABCN | node_8100301_200809955 | node_1384452_366_15289381_077 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892129 |  | ABCN | node_8100301_200809959 | node_1384171_365_15289675_148 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892130 |  | ABCN | node_8100301_200809969 | node_1383776_247_15289786_023 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892131 |  | AN | node_8100301_200809971 | node_1383574_722_15289695_124 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892152 |  | ABCN | node_8100301_200810089 | node_1387663_482_15287736_617 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892153 |  | ABCN | node_8100301_200810091 | node_1387418_822_15287853_465 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892155 |  | ABCN | node_8100301_200810109 | node_1386546_885_15288129_614 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892156 |  | ABCN | node_8100301_200810115 | node_1386112_643_15288377_474 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892157 |  | ABCN | node_8100301_200810117 | node_1385899_86_15288492_287 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892161 |  | AN | node_8100301_200810152 | node_1386155_308_15287987_91 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892162 |  | AN | node_8100301_200810154 | node_1386044_626_15287749_789 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892163 |  | AN | node_8100301_200810160 | node_1386116_483_15287476_489 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892933 |  | AN | node_8100301_200815068 | node_1385246_006_15287931_018 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892934 |  | AN | node_8100301_200815072 | node_1384755_414_15288241_597 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892966 |  | AN | node_8100301_200815233 | node_1384014_637_15288427_208 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892967 |  | AN | node_8100301_200815235 | node_1383664_814_15288621_878 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892969 |  | AN | node_8100301_200815243 | node_1384486_584_15288065_883 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893027 |  | AN | node_8100301_200815526 | node_1385647_775_15288118_944 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893028 |  | AN | node_8100301_200815527 | node_1384440_972_15289000_802 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893029 |  | AN | node_8100301_200815530 | node_1383946_186_15288766_745 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893031 |  | AN | node_8100301_200815536 | node_1385387_201_15288269_202 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893032 |  | AN | node_8100301_200815540 | node_1384989_297_15288530_08 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893033 |  | AN | node_8100301_200815544 | node_1384818_398_15288917_675 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893034 |  | AN | node_8100301_200815546 | node_1384489_011_15288698_642 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893035 |  | AN | node_8100301_200815552 | node_1383901_322_15287891_142 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893093 |  | AN | node_8100301_200815760 | node_1383487_017_15288300_939 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893965 |  | ABCN | node_8100301_200818676 | node_1387456_065_15287383_431 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_894470 |  | AN | node_8100301_200820172 | node_1387683_51_15287001_084 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905316 |  | AN | node_8100301_200862251 | node_1383030_788_15288962_881 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_906106 |  | ABCN | node_8100301_200865082 | node_1381907_753_15290619_56 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_906118 |  | ABCN | node_8100301_200865125 | node_1381586_893_15290768_777 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_906128 |  | ABCN | node_8100301_200865162 | node_1381234_544_15290992_031 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_906144 |  | ABCN | node_8100301_200865208 | node_1380894_618_15291122_383 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_906182 |  | ABCN | node_8100301_200865348 | node_1382750_498_15290309_955 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_906209 |  | ABCN | node_8100301_200865466 | node_1382337_666_15290485_15 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_934702 |  | ABCN | node_8100301_201044618 | node_1386840_835_15287914_851 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_934940 |  | ABCN | node_8100301_201045921 | node_1379802_333_15291546_09 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135346 |  | ABCN | node_8100301_200865291 | node_1379943_35_15291326_835 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135347 |  | ABCN | node_8100301_200865291 | node_1379961_603_15291316_585 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2220948 |  | ABCN | node_8100301_200865278 | node_1380070_769_15291280_64 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2220949 |  | ABCN | node_8100301_200865278 | node_1380089_698_15291272_86 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2415334 |  | ABCN | node_8100301_200865253 | node_1380528_882_15291028_497 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2415335 |  | ABCN | node_8100301_200865253 | node_1380537_913_15291004_871 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2415336 |  | ABCN | node_8100301_200865253 | node_1380524_73_15291054_496 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_3809033 |  | AN | node_8100301_200810158 | node_1386043_274_15287693_244 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_3809034 |  | AN | node_8100301_200810159 | node_1386058_426_15287520_393 | 0.033 | unb_TAPWIRE_OH | 8100301 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8100301
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_4/0_ACSR |  | 0.017 | 0.445 | 0.563 | 410 | 410 | 515 | 515 |  | no
oh_cond_4/0_AL |  | 0.016 | 0.442 | 0.522 | 365 | 365 | 480 | 480 |  | no
oh_cond_4_CU |  | 0.007 | 1.388 | 0.232 | 140 | 140 | 200 | 200 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8100301
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_668T658_NO-310064448 |  | ABCD | node_intto1_1388108_759_15287667_924 | node_1388108_759_15287667_924 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100301 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8100301
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8100301_200917482 |  | ABCN | node_8100301_200917487 | node_8100301_200917482 | 307.801 | und_3P_2ALURD | 8100301 | no | no |  |  | no
und_line_8100301_200917483 |  | ABCN | node_8100301_200917487 | node_8100301_200917483 | 312.17 | und_3P_2ALURD | 8100301 | no | no |  |  | no
und_line_8100301_200917486 |  | ABCN | node_8100301_200972379 | node_8100301_200917486 | 62.679 | und_3P_2ALURD | 8100301 | no | no |  |  | no
und_line_8100301_200917487 |  | ABCN | node_8100301_200917488 | node_8100301_200917487 | 88.491 | und_3P_2ALURD | 8100301 | no | no |  |  | no
und_line_8100301_200917488 |  | ABCN | node_8100301_200917486 | node_8100301_200917488 | 9.993 | und_3P_2ALURD | 8100301 | no | no |  |  | no
und_line_8100301_200972379 |  | ABCN | node_8100301_200865253 | node_8100301_200972379 | 80.622 | und_3P_DELTACUST | 8100301 | no | no |  |  | no
und_line_TAP_UG_61135 |  | ABCN | node_8100301_200972379 | node_1380667_336_15290980_444 | 0.033 | und_TAPWIRE_UG | 8100301 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8100301
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_2ALURD | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_DELTACUST | [12 empty] | 685 | 685 | 685 | 685 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no