## feeder
data_type | static
owner_type | feeder
owner | 8100302
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8100302 |  | ts_slack | none | node_SOURCE_8100302 | 2771.281,7199.557 | 142 | 119 | 12 | 1 | 0 | 0 | 0 | 59 | 1.982 | 4.562 | 1.943 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8100302
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220386301 |  | AD | node_intto1_220386301 | node_220386301 | GOOD | GOOD | GOOD |  | 40 |  |  | 8100302 | no | no |  |  | no
fuse_220386479 |  | ABCN | node_intto1_8100302_200863689 | node_8100302_200863689 | GOOD | GOOD | GOOD |  | 50 |  |  | 8100302 | no | no |  |  | no
fuse_220386590 |  | ABCN | node_intto1_8100302_200860391 | node_8100302_200860391 | GOOD | GOOD | GOOD |  | 75 |  |  | 8100302 | no | no |  |  | no
fuse_220386726 |  | ABCD | node_intto1_8100302_200866795 | node_8100302_200866795 | GOOD | GOOD | GOOD |  | 150 |  |  | 8100302 | no | no |  |  | no
fuse_220386734 |  | ABCD | node_intto1_8100302_200861097 | node_8100302_200861097 | GOOD | GOOD | GOOD |  | 150 |  |  | 8100302 | no | no |  |  | no
fuse_220625863 |  | ABCD | node_intto1_8100302_201028003 | node_8100302_201028003 | GOOD | GOOD | GOOD |  | 15 |  |  | 8100302 | no | no |  |  | no
fuse_311902250 |  | ABCN | node_intto1_8100302_311902249 | node_8100302_311902249 | GOOD | GOOD | GOOD |  | 140 |  |  | 8100302 | no | no |  |  | no
fuse_311908252 |  | AD | node_intto1_311908252 | node_311908252 | GOOD | GOOD | GOOD |  | 100 |  |  | 8100302 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8100302
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_1/0AC_1/0AC(N) |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  | 1.091+1.185j | 0.203+0.469j | 0.203+0.469j | 0.203+0.469j | 1.091+1.185j | 0.203+0.469j | 0.203+0.469j | 0.203+0.469j | 1.091+1.185j | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 |  | no
bal_1P_2AC |  | oh_cond_2_ACSR | oh_cond_2_ACSR | oh_cond_2_ACSR |  |  | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 |  | no
bal_1P_4CU |  | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 |  | no
bal_3P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_2AC |  | oh_cond_2_ACSR | oh_cond_2_ACSR | oh_cond_2_ACSR |  |  | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 |  | no
bal_3P_4/0AL |  | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_4/0_AL |  |  | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 |  | no
bal_3P_4CU |  | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_1P_2ALURD_2AL(N) |  | und_cond_1P_2ALURD_2AL(N) | und_cond_1P_2ALURD_2AL(N) | und_cond_1P_2ALURD_2AL(N) |  |  | 2.379+0.823j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 2.379+0.823j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 2.379+0.823j | 401.497 | 0 | 0 | 0 | 401.497 | 0 | 0 | 0 | 401.497 |  | no
und_3P_1/0ALURD |  | und_cond_3P_1/0ALURD | und_cond_3P_1/0ALURD | und_cond_3P_1/0ALURD |  |  | 1.61+0.653j | 0.525+0.251j | 0.525+0.251j | 0.525+0.251j | 1.61+0.653j | 0.525+0.251j | 0.525+0.251j | 0.525+0.251j | 1.61+0.653j | 530.19 | 0 | 0 | 0 | 530.19 | 0 | 0 | 0 | 530.19 |  | no
und_3P_2ALURD |  | und_cond_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.498 | 0 | 0 | 0 | 401.498 | 0 | 0 | 0 | 401.498 |  | no
und_3P_DELTACUST |  | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST |  |  | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8100302
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220347874 |  | node_1377408_008_15292806_478 |  | ABCN | 0 | NonResidential | 23333.333+9939.958j | 23333.333+9939.958j | 23333.333+9939.958j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220347874-L-1 |  | node_1377408_008_15292806_478 |  | ABCN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220347963 |  | node_1376579_866_15292408_816 |  | AN | 0 | Residential | 15076.8+6422.69j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220347965 |  | node_1376515_801_15293415_212 |  | AN | 0 | Residential | 53056.8+22602.102j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220347966 |  | node_1376695_438_15293282_913 |  | AN | 0 | Residential | 8517.6+3628.482j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220347967 |  | node_1377200_493_15293493_803 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220347968 |  | node_1377382_623_15293594_726 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348552 |  | node_1376812_704_15293826_605 |  | AN | 0 | Residential | 42624+18157.748j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348804 |  | node_1377680_861_15291744_799 |  | AN | 0 | NonResidential | 10333.333+4401.981j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348805 |  | node_1377676_702_15291770_797 |  | BN | 0 | NonResidential | 0 | 10333.333+4401.981j | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348806 |  | node_1377679_859_15291718_197 |  | CN | 0 | NonResidential | 0 | 0 | 10333.333+4401.981j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348998 |  | node_1377639_015_15291443_29 |  | AN | 0 | NonResidential | 1418.4+604.236j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349121 |  | node_1377640_551_15292144_34 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349122 |  | node_1377191_552_15292427_713 |  | AN | 0 | NonResidential | 1555.2+662.512j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349124 |  | node_1376610_213_15292315_036 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349129 |  | node_1379736_416_15291376_746 |  | AN | 0 | NonResidential | 15666.667+6673.972j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349130 |  | node_1379752_741_15291392_015 |  | BN | 0 | NonResidential | 0 | 15666.667+6673.972j | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349131 |  | node_1379717_732_15291367_644 |  | CN | 0 | NonResidential | 0 | 0 | 15666.667+6673.972j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349132 |  | node_1378467_269_15291527_962 |  | AN | 0 | NonResidential | 2000+851.996j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349133 |  | node_1378484_866_15291515_839 |  | BN | 0 | NonResidential | 0 | 2000+851.996j | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349134 |  | node_1378504_232_15291510_267 |  | CN | 0 | NonResidential | 0 | 0 | 2000+851.996j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349135 |  | node_1376341_016_15292129_298 |  | AN | 0 | Residential | 10540.8+4490.362j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349136 |  | node_1379042_021_15291594_35 |  | AN | 0 | NonResidential | 22333.333+9513.96j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349137 |  | node_1379056_528_15291612_639 |  | BN | 0 | NonResidential | 0 | 22333.333+9513.96j | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349138 |  | node_1379024_508_15291581_695 |  | CN | 0 | NonResidential | 0 | 0 | 22333.333+9513.96j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349139 |  | node_1378901_983_15291697_528 |  | AN | 0 | NonResidential | 27333.333+11643.951j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349140 |  | node_1378909_768_15291722_089 |  | BN | 0 | NonResidential | 0 | 27333.333+11643.951j | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349141 |  | node_1378889_743_15291676_466 |  | CN | 0 | NonResidential | 0 | 0 | 27333.333+11643.951j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349777 |  | node_1376354_301_15292520_257 |  | AN | 0 | Residential | 8366.4+3564.071j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350174 |  | node_1377295_767_15292397_982 |  | AN | 0 | NonResidential | 1333.333+567.997j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350175 |  | node_1377291_322_15292371_991 |  | BN | 0 | NonResidential | 0 | 1333.333+567.997j | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350176 |  | node_1377305_063_15292421_587 |  | CN | 0 | NonResidential | 0 | 0 | 1333.333+567.997j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350177 |  | node_1377411_076_15292485_057 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350178 |  | node_1377580_736_15292636_666 |  | BN | 0 | NonResidential | 0 | 5333.333+2271.99j | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350179 |  | node_1377583_3_15292663_093 |  | BN | 0 | NonResidential | 0 | 5333.333+2271.99j | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350180 |  | node_1377573_169_15292611_984 |  | CN | 0 | NonResidential | 0 | 0 | 5333.333+2271.99j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350181 |  | node_1377597_038_15293153_84 |  | AN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350181-L-1 |  | node_1377597_038_15293153_84 |  | AN | 0 | Residential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350182 |  | node_1377601_404_15293127_905 |  | BN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350182-L-1 |  | node_1377601_404_15293127_905 |  | BN | 0 | Residential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350183 |  | node_1377597_827_15293180_453 |  | CN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350183-L-1 |  | node_1377597_827_15293180_453 |  | CN | 0 | Residential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350184 |  | node_1377782_079_15292990_951 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350185 |  | node_1377797_415_15293007_975 |  | BN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350186 |  | node_1377808_973_15293029_717 |  | CN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220440536 |  | node_1376424_694_15292281_079 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220440537 |  | node_1376407_013_15292268_855 |  | BN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220440538 |  | node_1376444_098_15292286_764 |  | CN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220518138 |  | node_1379491_361_15291432_95 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220518139 |  | node_1379472_445_15291440_786 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220530129 |  | node_1377737_84_15292306_98 |  | ABCN | 0 | NonResidential | 16333.333+6957.971j | 16333.333+6957.971j | 16333.333+6957.971j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220532453 |  | node_1377245_086_15291836_795 |  | ABCN | 0 | NonResidential | 50333.333+21441.91j | 50333.333+21441.91j | 50333.333+21441.91j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220593610 |  | node_1376550_714_15292834_267 |  | AN | 0 | NonResidential | 1828.8+779.066j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220625851 |  | node_1377202_879_15291642_337 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220627321 |  | node_1377689_667_15291819_362 |  | ABCN | 0 | Other | 174666.667+74407.689j | 174666.667+74407.689j | 174666.667+74407.689j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220633320 |  | node_1376060_446_15292512_095 |  | AN | 0 | Residential | 20793.6+8858.037j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_311902254 |  | node_1378440_946_15291871_261 |  | ABCN | 0 | NonResidential | 1117000+475840.007j | 1117000+475840.007j | 1117000+475840.007j | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_311902498 |  | node_1378439_836_15291928_322 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_311978874 |  | node_1378555_201_15291835_322 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100302 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8100302
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1376060_446_15292512_095 |  |  | PQ | AN | 7199.557 | 8100302 | no | no |  |  | no |  |  | 1376060.446 | 15292512.095 |  | -1
node_1376341_016_15292129_298 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376341.016 | 15292129.298 |  | -1
node_1376354_301_15292520_257 |  |  | PQ | AN | 7199.557 | 8100302 | no | no |  |  | no |  |  | 1376354.301 | 15292520.257 |  | -1
node_1376407_013_15292268_855 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376407.013 | 15292268.855 |  | -1
node_1376424_694_15292281_079 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376424.694 | 15292281.079 |  | -1
node_1376444_098_15292286_764 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376444.098 | 15292286.764 |  | -1
node_1376515_801_15293415_212 |  |  | PQ | AN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376515.801 | 15293415.212 |  | -1
node_1376550_714_15292834_267 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376550.714 | 15292834.267 |  | -1
node_1376579_866_15292408_816 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376579.866 | 15292408.816 |  | -1
node_1376610_213_15292315_036 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376610.213 | 15292315.036 |  | -1
node_1376695_438_15293282_913 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376695.438 | 15293282.913 |  | -1
node_1376812_704_15293826_605 |  |  | PQ | AN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376812.704 | 15293826.605 |  | -1
node_1377191_552_15292427_713 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377191.552 | 15292427.713 |  | -1
node_1377200_493_15293493_803 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377200.493 | 15293493.803 |  | -1
node_1377202_879_15291642_337 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377202.879 | 15291642.337 |  | -1
node_1377245_086_15291836_795 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377245.086 | 15291836.795 |  | -1
node_1377291_322_15292371_991 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377291.322 | 15292371.991 |  | -1
node_1377295_767_15292397_982 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377295.767 | 15292397.982 |  | -1
node_1377305_063_15292421_587 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377305.063 | 15292421.587 |  | -1
node_1377382_623_15293594_726 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377382.623 | 15293594.726 |  | -1
node_1377408_008_15292806_478 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377408.008 | 15292806.478 |  | -1
node_1377411_076_15292485_057 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377411.076 | 15292485.057 |  | -1
node_1377573_169_15292611_984 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377573.169 | 15292611.984 |  | -1
node_1377580_736_15292636_666 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377580.736 | 15292636.666 |  | -1
node_1377583_3_15292663_093 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377583.3 | 15292663.093 |  | -1
node_1377597_038_15293153_84 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377597.038 | 15293153.84 |  | -1
node_1377597_827_15293180_453 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377597.827 | 15293180.453 |  | -1
node_1377601_404_15293127_905 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377601.404 | 15293127.905 |  | -1
node_1377639_015_15291443_29 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377639.015 | 15291443.29 |  | -1
node_1377640_551_15292144_34 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377640.551 | 15292144.34 |  | -1
node_1377676_702_15291770_797 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377676.702 | 15291770.797 |  | -1
node_1377679_859_15291718_197 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377679.859 | 15291718.197 |  | -1
node_1377680_861_15291744_799 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377680.861 | 15291744.799 |  | -1
node_1377689_667_15291819_362 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377689.667 | 15291819.362 |  | -1
node_1377737_84_15292306_98 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377737.84 | 15292306.98 |  | -1
node_1377782_079_15292990_951 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377782.079 | 15292990.951 |  | -1
node_1377797_415_15293007_975 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377797.415 | 15293007.975 |  | -1
node_1377808_973_15293029_717 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377808.973 | 15293029.717 |  | -1
node_1378439_836_15291928_322 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378439.836 | 15291928.322 |  | -1
node_1378440_946_15291871_261 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378440.946 | 15291871.261 |  | -1
node_1378467_269_15291527_962 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378467.269 | 15291527.962 |  | -1
node_1378484_866_15291515_839 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378484.866 | 15291515.839 |  | -1
node_1378504_232_15291510_267 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378504.232 | 15291510.267 |  | -1
node_1378555_201_15291835_322 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378555.201 | 15291835.322 |  | -1
node_1378889_743_15291676_466 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378889.743 | 15291676.466 |  | -1
node_1378901_983_15291697_528 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378901.983 | 15291697.528 |  | -1
node_1378909_768_15291722_089 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378909.768 | 15291722.089 |  | -1
node_1379024_508_15291581_695 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379024.508 | 15291581.695 |  | -1
node_1379042_021_15291594_35 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379042.021 | 15291594.35 |  | -1
node_1379056_528_15291612_639 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379056.528 | 15291612.639 |  | -1
node_1379472_445_15291440_786 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379472.445 | 15291440.786 |  | -1
node_1379491_361_15291432_95 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379491.361 | 15291432.95 |  | -1
node_1379717_732_15291367_644 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379717.732 | 15291367.644 |  | -1
node_1379736_416_15291376_746 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379736.416 | 15291376.746 |  | -1
node_1379752_741_15291392_015 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379752.741 | 15291392.015 |  | -1
node_8100302_200859984 |  |  | PQ | AN | 7199.557 | 8100302 | no | no |  |  | no |  |  | 1376093.018 | 15292515.936 |  | -1
node_8100302_200860391 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377437.676 | 15292787.655 |  | -1
node_8100302_200861097 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376547.082 | 15292407.851 |  | -1
node_8100302_200861099 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376530.247 | 15292544.467 |  | -1
node_8100302_200861100 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376525.055 | 15292696.56 |  | -1
node_8100302_200861101 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376512.659 | 15292828.241 |  | -1
node_8100302_200861102 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376503.753 | 15292955.097 |  | -1
node_8100302_200861103 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376492.347 | 15293099.659 |  | -1
node_8100302_200861104 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376489.66 | 15293282.015 |  | -1
node_8100302_200861105 |  |  | PQ | AN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376483.045 | 15293413.565 |  | -1
node_8100302_200861108 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376551.719 | 15293277.129 |  | -1
node_8100302_200861109 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376686.681 | 15293314.52 |  | -1
node_8100302_200861110 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376806.074 | 15293338.556 |  | -1
node_8100302_200861112 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377229.378 | 15293509.339 |  | -1
node_8100302_200861113 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377355.067 | 15293576.939 |  | -1
node_8100302_200862492 |  |  | PQ | AD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376797.547 | 15293456.06 |  | -1
node_8100302_200862494 |  |  | PQ | AD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376791.655 | 15293583.794 |  | -1
node_8100302_200862495 |  |  | PQ | AD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376781.939 | 15293685.635 |  | -1
node_8100302_200862496 |  |  | PQ | AN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376779.91 | 15293826.131 |  | -1
node_8100302_200863267 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377563.943 | 15292182.501 |  | -1
node_8100302_200863268 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377588.908 | 15291970.597 |  | -1
node_8100302_200863269 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377612.079 | 15291748.259 |  | -1
node_8100302_200863271 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377640.427 | 15291501.959 |  | -1
node_8100302_200863689 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377244.913 | 15291803.998 |  | -1
node_8100302_200863695 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377645.577 | 15291475.425 |  | -1
node_8100302_200864041 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377738.209 | 15292274.185 |  | -1
node_8100302_200864043 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378617.007 | 15291839.471 |  | -1
node_8100302_200864044 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378440.228 | 15291912.54 |  | -1
node_8100302_200864045 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378271.555 | 15291972.527 |  | -1
node_8100302_200864046 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378114.14 | 15292018.752 |  | -1
node_8100302_200864047 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377954.013 | 15292072.087 |  | -1
node_8100302_200864048 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377801.855 | 15292124.347 |  | -1
node_8100302_200864049 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377650.95 | 15292175.445 |  | -1
node_8100302_200864050 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377513.829 | 15292220.698 |  | -1
node_8100302_200864051 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377339.778 | 15292279.234 |  | -1
node_8100302_200864052 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377186.247 | 15292408.168 |  | -1
node_8100302_200864053 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376992.977 | 15292396.054 |  | -1
node_8100302_200864054 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376824.553 | 15292355.547 |  | -1
node_8100302_200864055 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376627.126 | 15292286.935 |  | -1
node_8100302_200864057 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376165.746 | 15292114.122 |  | -1
node_8100302_200864060 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379701.803 | 15291467.233 |  | -1
node_8100302_200864061 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379504.554 | 15291533.518 |  | -1
node_8100302_200864062 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379319.41 | 15291599.526 |  | -1
node_8100302_200864063 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379153.311 | 15291659.188 |  | -1
node_8100302_200864064 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378975.803 | 15291718.424 |  | -1
node_8100302_200864065 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378794.483 | 15291781.944 |  | -1
node_8100302_200864066 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379728.471 | 15291514.256 |  | -1
node_8100302_200864067 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378567.848 | 15291823.216 |  | -1
node_8100302_200864068 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378510.811 | 15291611.942 |  | -1
node_8100302_200864072 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376552.847 | 15292212.229 |  | -1
node_8100302_200864073 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376449.975 | 15292185.124 |  | -1
node_8100302_200864074 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376333.28 | 15292161.171 |  | -1
node_8100302_200864075 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378997.911 | 15291676.999 |  | -1
node_8100302_200864076 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378836.596 | 15291748.874 |  | -1
node_8100302_200865324 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379545.912 | 15291522.897 |  | -1
node_8100302_200865705 |  |  | PQ | AN | 7199.557 | 8100302 | no | no |  |  | no |  |  | 1376502.985 | 15292556.549 |  | -1
node_8100302_200865706 |  |  | PQ | AN | 7199.557 | 8100302 | no | no |  |  | no |  |  | 1376351.353 | 15292552.923 |  | -1
node_8100302_200866795 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377366.951 | 15292362.99 |  | -1
node_8100302_200866796 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377428.093 | 15292460.132 |  | -1
node_8100302_200866801 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377505.671 | 15292661.251 |  | -1
node_8100302_200866802 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377558.467 | 15292826.789 |  | -1
node_8100302_200866804 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377604.108 | 15292959.999 |  | -1
node_8100302_200866808 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377672.692 | 15293163.804 |  | -1
node_8100302_200866811 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377741.988 | 15293077.226 |  | -1
node_8100302_200866814 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377515.816 | 15293399.876 |  | -1
node_8100302_200917383 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377739.029 | 15292201.347 |  | -1
node_8100302_200917384 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376154.379 | 15292150.671 |  | -1
node_8100302_201028001 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377243.851 | 15291601.585 |  | -1
node_8100302_201028002 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377445.886 | 15291546.198 |  | -1
node_8100302_201028003 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377226.133 | 15291619.208 |  | -1
node_8100302_201037198 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377604.217 | 15291924.424 |  | -1
node_8100302_201050157 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377668.526 | 15291844.438 |  | -1
node_8100302_311902249 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378440.76 | 15291878.923 |  | -1
node_220386301 |  |  | PQ | AD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376525.415 | 15292546.802 |  | -1
node_220463532 |  |  | PQ | AN | 7199.557 | 8100302 | no | no |  |  | no |  |  | 1376505.697 | 15292555.371 |  | -1
node_311908252 |  |  | PQ | AD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376507.79 | 15292554.461 |  | -1
node_SOURCE_8100302 |  |  | SWING | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1379812.602 | 15291558.265 |  | -1
node_intto1_8100302_200859984 |  |  | PQ | AN | 7199.557 | 8100302 | no | no |  |  | no |  |  | 1376093.018 | 15292515.936 |  | -1
node_intto1_8100302_200860391 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377437.676 | 15292787.655 |  | -1
node_intto1_8100302_200861097 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376547.082 | 15292407.851 |  | -1
node_intto1_8100302_200863689 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377244.913 | 15291803.998 |  | -1
node_intto1_8100302_200866795 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377366.951 | 15292362.99 |  | -1
node_intto1_8100302_201028003 |  |  | PQ | ABCD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1377226.133 | 15291619.208 |  | -1
node_intto1_8100302_311902249 |  |  | PQ | ABCN | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1378440.76 | 15291878.923 |  | -1
node_intto1_220386301 |  |  | PQ | AD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376525.415 | 15292546.802 |  | -1
node_intto1_220463532 |  |  | PQ | AD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376505.697 | 15292555.371 |  | -1
node_intto1_311908252 |  |  | PQ | AD | 2771.281 | 8100302 | no | no |  |  | no |  |  | 1376507.79 | 15292554.461 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8100302
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8100302_200861097 |  | ABCD | node_8100302_200864072 | node_intto1_8100302_200861097 | 195.707 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861099 |  | ABCD | node_8100302_200861097 | node_8100302_200861099 | 137.65 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861100 |  | ABCD | node_8100302_200861099 | node_8100302_200861100 | 152.181 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861101 |  | ABCD | node_8100302_200861100 | node_8100302_200861101 | 132.264 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861102 |  | ABCD | node_8100302_200861101 | node_8100302_200861102 | 127.168 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861103 |  | ABCD | node_8100302_200861102 | node_8100302_200861103 | 145.01 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861104 |  | ABCD | node_8100302_200861103 | node_8100302_200861104 | 182.376 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861105 |  | AD | node_8100302_200861104 | node_8100302_200861105 | 131.716 | bal_1P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861108 |  | ABCD | node_8100302_200861104 | node_8100302_200861108 | 62.251 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861109 |  | ABCD | node_8100302_200861108 | node_8100302_200861109 | 140.046 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861110 |  | ABCD | node_8100302_200861109 | node_8100302_200861110 | 121.789 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861112 |  | ABCD | node_8100302_200861113 | node_8100302_200861112 | 142.715 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200861113 |  | ABCD | node_8100302_200866814 | node_8100302_200861113 | 239.147 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200862492 |  | AD | node_8100302_200861110 | node_8100302_200862492 | 117.813 | bal_1P_4CU | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200862494 |  | AD | node_8100302_200862492 | node_8100302_200862494 | 127.87 | bal_1P_4CU | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200862495 |  | AD | node_8100302_200862494 | node_8100302_200862495 | 102.303 | bal_1P_4CU | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200862496 |  | AD | node_8100302_200862495 | node_8100302_200862496 | 140.511 | bal_1P_4CU | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200863267 |  | ABCD | node_8100302_200864050 | node_8100302_200863267 | 63.012 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200863268 |  | ABCD | node_8100302_200863267 | node_8100302_200863268 | 213.369 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200863269 |  | ABCD | node_8100302_200863268 | node_8100302_200863269 | 223.542 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200863271 |  | ABCD | node_8100302_200863269 | node_8100302_200863271 | 247.927 | bal_3P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200863695 |  | ABCD | node_8100302_200863271 | node_8100302_200863695 | 27.029 | bal_3P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864043 |  | ABCD | node_8100302_200864065 | node_8100302_200864043 | 186.567 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864044 |  | ABCD | node_8100302_200864043 | node_8100302_200864044 | 191.284 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864045 |  | ABCD | node_8100302_200864044 | node_8100302_200864045 | 179.023 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864046 |  | ABCD | node_8100302_200864045 | node_8100302_200864046 | 164.062 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864047 |  | ABCD | node_8100302_200864046 | node_8100302_200864047 | 168.776 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864048 |  | ABCD | node_8100302_200864047 | node_8100302_200864048 | 160.882 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864049 |  | ABCD | node_8100302_200864048 | node_8100302_200864049 | 159.322 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864050 |  | ABCD | node_8100302_200864049 | node_8100302_200864050 | 144.395 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864051 |  | ABCD | node_8100302_200864050 | node_8100302_200864051 | 183.631 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864052 |  | ABCD | node_8100302_200864051 | node_8100302_200864052 | 200.488 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864053 |  | ABCD | node_8100302_200864052 | node_8100302_200864053 | 193.649 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864054 |  | ABCD | node_8100302_200864053 | node_8100302_200864054 | 173.227 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864055 |  | ABCD | node_8100302_200864054 | node_8100302_200864055 | 209.01 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864057 |  | ABCD | node_8100302_200864074 | node_8100302_200864057 | 174.015 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864060 |  | ABCD | node_8100302_200864066 | node_8100302_200864060 | 54.059 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864061 |  | ABCD | node_8100302_200864060 | node_8100302_200864061 | 208.089 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864062 |  | ABCD | node_8100302_200864061 | node_8100302_200864062 | 196.558 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864063 |  | ABCD | node_8100302_200864062 | node_8100302_200864063 | 176.489 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864064 |  | ABCD | node_8100302_200864063 | node_8100302_200864064 | 187.131 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864065 |  | ABCD | node_8100302_200864064 | node_8100302_200864065 | 192.124 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864066 |  | ABCD | node_SOURCE_8100302 | node_8100302_200864066 | 94.947 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864067 |  | ABCD | node_8100302_200864043 | node_8100302_200864067 | 51.777 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864068 |  | ABCD | node_8100302_200864067 | node_8100302_200864068 | 218.837 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864072 |  | ABCD | node_8100302_200864055 | node_8100302_200864072 | 105.349 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864073 |  | ABCD | node_8100302_200864072 | node_8100302_200864073 | 106.383 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864074 |  | ABCD | node_8100302_200864073 | node_8100302_200864074 | 119.128 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864075 |  | ABCD | node_8100302_200864064 | node_8100302_200864075 | 46.955 | bal_3P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200864076 |  | ABCD | node_8100302_200864065 | node_8100302_200864076 | 53.546 | bal_3P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200865324 |  | ABCD | node_8100302_200864061 | node_8100302_200865324 | 42.7 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200865705-1 |  | AD | node_220463532 | node_8100302_200865705 | 2.957 | bal_1P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200865705-2 |  | AD | node_311908252 | node_intto1_220463532 | 2.282 | bal_1P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200865705-3 |  | AD | node_220386301 | node_intto1_311908252 | 19.217 | bal_1P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200865705-4 |  | AD | node_8100302_200861099 | node_intto1_220386301 | 5.367 | bal_1P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200865706 |  | AN | node_8100302_200865705 | node_8100302_200865706 | 151.676 | bal_1P_1/0AC_1/0AC(N) | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200866795 |  | ABCD | node_8100302_200864051 | node_intto1_8100302_200866795 | 88.054 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200866796 |  | ABCD | node_8100302_200866795 | node_8100302_200866796 | 114.782 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200866801 |  | ABCD | node_8100302_200866796 | node_8100302_200866801 | 215.563 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200866802 |  | ABCD | node_8100302_200866801 | node_8100302_200866802 | 173.753 | bal_3P_4CU | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200866804 |  | ABCD | node_8100302_200866802 | node_8100302_200866804 | 140.812 | bal_3P_4CU | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200866808 |  | ABCD | node_8100302_200866804 | node_8100302_200866808 | 215.035 | bal_3P_4CU | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200866811 |  | ABCD | node_8100302_200866808 | node_8100302_200866811 | 110.895 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200866814 |  | ABCD | node_8100302_200866808 | node_8100302_200866814 | 283.444 | bal_3P_2AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200917383 |  | ABCD | node_8100302_200864049 | node_8100302_200917383 | 91.809 | bal_3P_4/0AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_200917384 |  | ABCD | node_8100302_200864057 | node_8100302_200917384 | 38.275 | bal_3P_477AL | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_201028001 |  | ABCD | node_8100302_201028002 | node_8100302_201028001 | 209.489 | bal_3P_1/0AC | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_201028002 |  | ABCD | node_8100302_200863695 | node_8100302_201028002 | 211.861 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_201028003 |  | ABCD | node_8100302_201028001 | node_intto1_8100302_201028003 | 24.99 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100302_201037198 |  | ABCD | node_8100302_200863268 | node_8100302_201037198 | 48.645 | bal_3P_1/0AA | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904955 |  | ABCN | node_8100302_200861097 | node_1376579_866_15292408_816 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904956 |  | ABCN | node_8100302_200861101 | node_1376550_714_15292834_267 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904957 |  | AN | node_8100302_200861105 | node_1376515_801_15293415_212 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904958 |  | ABCN | node_8100302_200861109 | node_1376695_438_15293282_913 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904959 |  | ABCN | node_8100302_200861112 | node_1377200_493_15293493_803 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_904960 |  | ABCN | node_8100302_200861113 | node_1377382_623_15293594_726 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905398 |  | AN | node_8100302_200862496 | node_1376812_704_15293826_605 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905720 |  | ABCN | node_8100302_200863695 | node_1377639_015_15291443_29 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905817 |  | ABCN | node_8100302_200864049 | node_1377640_551_15292144_34 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905818 |  | ABCN | node_8100302_200864052 | node_1377191_552_15292427_713 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905819 |  | ABCN | node_8100302_200864055 | node_1376610_213_15292315_036 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905826 |  | ABCN | node_8100302_200864074 | node_1376341_016_15292129_298 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_906282 |  | AN | node_8100302_200865706 | node_1376354_301_15292520_257 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_906631 |  | ABCN | node_8100302_200866796 | node_1377411_076_15292485_057 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_932346 |  | ABCN | node_8100302_201028003 | node_1377202_879_15291642_337 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135320 |  | ABCN | node_8100302_200866808 | node_1377597_038_15293153_84 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135321 |  | ABCN | node_8100302_200866808 | node_1377601_404_15293127_905 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135322 |  | ABCN | node_8100302_200866808 | node_1377597_827_15293180_453 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135326 |  | ABCN | node_8100302_200866795 | node_1377295_767_15292397_982 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135327 |  | ABCN | node_8100302_200866795 | node_1377291_322_15292371_991 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135328 |  | ABCN | node_8100302_200866795 | node_1377305_063_15292421_587 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135381 |  | ABCN | node_8100302_200864075 | node_1379042_021_15291594_35 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135382 |  | ABCN | node_8100302_200864075 | node_1379056_528_15291612_639 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135383 |  | ABCN | node_8100302_200864075 | node_1379024_508_15291581_695 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223320 |  | ABCN | node_8100302_200864061 | node_1379472_445_15291440_786 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223321 |  | ABCN | node_8100302_200864061 | node_1379491_361_15291432_95 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223328 |  | ABCN | node_8100302_200864076 | node_1378901_983_15291697_528 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223329 |  | ABCN | node_8100302_200864076 | node_1378909_768_15291722_089 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223330 |  | ABCN | node_8100302_200864076 | node_1378889_743_15291676_466 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223333 |  | ABCN | node_8100302_200863269 | node_1377680_861_15291744_799 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223334 |  | ABCN | node_8100302_200863269 | node_1377676_702_15291770_797 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223335 |  | ABCN | node_8100302_200863269 | node_1377679_859_15291718_197 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223336 |  | ABCN | node_8100302_200864060 | node_1379736_416_15291376_746 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223337 |  | ABCN | node_8100302_200864060 | node_1379752_741_15291392_015 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223338 |  | ABCN | node_8100302_200864060 | node_1379717_732_15291367_644 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223342 |  | ABCN | node_8100302_200864073 | node_1376424_694_15292281_079 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223343 |  | ABCN | node_8100302_200864073 | node_1376407_013_15292268_855 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223344 |  | ABCN | node_8100302_200864073 | node_1376444_098_15292286_764 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223355 |  | ABCN | node_8100302_200866811 | node_1377797_415_15293007_975 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223356 |  | ABCN | node_8100302_200866811 | node_1377808_973_15293029_717 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2223357 |  | ABCN | node_8100302_200866811 | node_1377782_079_15292990_951 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2414934 |  | ABCN | node_8100302_200864068 | node_1378484_866_15291515_839 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2414935 |  | ABCN | node_8100302_200864068 | node_1378504_232_15291510_267 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2414936 |  | ABCN | node_8100302_200864068 | node_1378467_269_15291527_962 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2414937 |  | ABCN | node_8100302_200866801 | node_1377580_736_15292636_666 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2414938 |  | ABCN | node_8100302_200866801 | node_1377583_3_15292663_093 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2414939 |  | ABCN | node_8100302_200866801 | node_1377573_169_15292611_984 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_3093369 |  | ABCN | node_8100302_200864044 | node_1378439_836_15291928_322 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_3479350 |  | ABCN | node_8100302_200864067 | node_1378555_201_15291835_322 | 0.033 | unb_TAPWIRE_OH | 8100302 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8100302
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_2_ACSR |  | 0.01 | 1.41 | 0.325 | 195 | 195 | 245 | 245 |  | no
oh_cond_4/0_AL |  | 0.016 | 0.442 | 0.522 | 365 | 365 | 480 | 480 |  | no
oh_cond_4_CU |  | 0.007 | 1.388 | 0.232 | 140 | 140 | 200 | 200 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8100302
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_220416170 |  | AN | node_intto1_8100302_200859984 | node_8100302_200859984 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100302 | no | no |  |  | no

## transformer
data_type | static
owner_type | feeder
owner | 8100302
object | transformer
name | groupid | phases | fr | to | configuration | climate | aging_constant | use_thermal_model | aging_granularity | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
transformer_220463532 |  | AD | node_intto1_220463532 | node_220463532 | config_transformer_220463532 |  | 0 |  | 0 | 8100302 | no | no |  |  | no

## transformer_configuration
data_type | static
owner_type | feeder
owner | 8100302
object | transformer_configuration
name | groupid | connect_type | install_type | coolant_type | cooling_type | primary_voltage | secondary_voltage | power_rating | powerA_rating | powerB_rating | powerC_rating | impedance | shunt_impedance | core_coil_weight | tank_fittings_weight | oil_volume | rated_winding_time_constant | rated_winding_hot_spot_rise | rated_top_oil_rise | no_load_loss | full_load_loss | reactance_resistance_ratio | installed_insulation_life | dcircuit | selected | comments
config_transformer_220463532 |  | DELTA_GWYE |  |  |  | 4800 | 12470 | 100 | 0 | 0 | 0 | 0.004+0.04j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8100302
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8100302_200859984 |  | AN | node_8100302_200865706 | node_intto1_8100302_200859984 | 260.969 | und_1P_2ALURD_2AL(N) | 8100302 | no | no |  |  | no
und_line_8100302_200860391 |  | ABCN | node_8100302_200866802 | node_intto1_8100302_200860391 | 126.972 | und_3P_2ALURD | 8100302 | no | no |  |  | no
und_line_8100302_200863689 |  | ABCN | node_8100302_201028001 | node_intto1_8100302_200863689 | 202.416 | und_3P_DELTACUST | 8100302 | no | no |  |  | no
und_line_8100302_200864041 |  | ABCN | node_8100302_200917383 | node_8100302_200864041 | 72.842 | und_3P_1/0ALURD | 8100302 | no | no |  |  | no
und_line_8100302_201050157 |  | ABCN | node_8100302_201037198 | node_8100302_201050157 | 102.633 | und_3P_2ALURD | 8100302 | no | no |  |  | no
und_line_8100302_311902249 |  | ABCN | node_8100302_200864044 | node_intto1_8100302_311902249 | 33.621 | und_3P_DELTACUST | 8100302 | no | no |  |  | no
und_line_TAP_UG_59549 |  | AN | node_8100302_200859984 | node_1376060_446_15292512_095 | 0.033 | und_TAPWIRE_UG | 8100302 | no | no |  |  | no
und_line_TAP_UG_59647 |  | ABCN | node_8100302_200860391 | node_1377408_008_15292806_478 | 0.033 | und_TAPWIRE_UG | 8100302 | no | no |  |  | no
und_line_TAP_UG_59667 |  | ABCN | node_8100302_200863689 | node_1377245_086_15291836_795 | 0.033 | und_TAPWIRE_UG | 8100302 | no | no |  |  | no
und_line_TAP_UG_59670 |  | ABCN | node_8100302_200864041 | node_1377737_84_15292306_98 | 0.033 | und_TAPWIRE_UG | 8100302 | no | no |  |  | no
und_line_TAP_UG_68706 |  | ABCN | node_8100302_201050157 | node_1377689_667_15291819_362 | 0.033 | und_TAPWIRE_UG | 8100302 | no | no |  |  | no
und_line_TAP_UG_1406289 |  | ABCN | node_8100302_311902249 | node_1378440_946_15291871_261 | 0.033 | und_TAPWIRE_UG | 8100302 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8100302
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_1P_2ALURD_2AL(N) | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_1/0ALURD | [12 empty] | 160 | 160 | 180 | 180 |  | no
und_cond_3P_2ALURD | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_DELTACUST | [12 empty] | 685 | 685 | 685 | 685 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no