## feeder
data_type | static
owner_type | feeder
owner | 8100704
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8100704 |  | ts_slack | none | node_SOURCE_8100704 | 2771.281 | 115 | 88 | 15 | 0 | 0 | 0 | 0 | 32 | 1.467 | 1.399 | 0.596 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8100704
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220382435 |  | AD | node_intto1_8100704_200813937 | node_8100704_200813937 | GOOD | GOOD | GOOD |  | 150 |  |  | 8100704 | no | no |  |  | no
fuse_220382446 |  | ABCD | node_intto1_8100704_200917249 | node_8100704_200917249 | GOOD | GOOD | GOOD |  | 30 |  |  | 8100704 | no | no |  |  | no
fuse_220382453 |  | AD | node_intto1_8100704_200814633 | node_8100704_200814633 | GOOD | GOOD | GOOD |  | 150 |  |  | 8100704 | no | no |  |  | no
fuse_220383214 |  | ABCD | node_intto1_8100704_200917248 | node_8100704_200917248 | GOOD | GOOD | GOOD |  | 40 |  |  | 8100704 | no | no |  |  | no
fuse_220535037 |  | ABCN | node_intto1_8100704_200974152 | node_8100704_200974152 | GOOD | GOOD | GOOD |  | 140 |  |  | 8100704 | no | no |  |  | no
fuse_311909351 |  | ABCN | node_intto1_8100704_311906655 | node_8100704_311906655 | GOOD | GOOD | GOOD |  | 30 |  |  | 8100704 | no | no |  |  | no
fuse_311998389 |  | ABCD | node_intto1_311998389 | node_311998389 | GOOD | GOOD | GOOD |  | 300 |  |  | 8100704 | no | no |  |  | no
fuse_312011890 |  | ABCN | node_intto1_8100704_200814912 | node_8100704_200814912 | GOOD | GOOD | GOOD |  | 40 |  |  | 8100704 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8100704
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_6CU |  | oh_cond_6_CU | oh_cond_6_CU | oh_cond_6_CU |  |  | 2.275+1.583j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 2.275+1.583j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 2.275+1.583j | 11.393 | -2.641 | -2.641 | -2.641 | 11.393 | -2.641 | -2.641 | -2.641 | 11.393 |  | no
bal_3P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_1CU |  | oh_cond_1_CU | oh_cond_1_CU | oh_cond_1_CU |  |  | 0.794+1.516j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.794+1.516j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.794+1.516j | 12.411 | -3.024 | -3.024 | -3.024 | 12.411 | -3.024 | -3.024 | -3.024 | 12.411 |  | no
bal_3P_4CU |  | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_1P_500CUURD_500CU(N) |  | und_cond_1P_500CUURD_500CU(N) | und_cond_1P_500CUURD_500CU(N) | und_cond_1P_500CUURD_500CU(N) |  |  | 0.154+0.129j | -0.002-0j | -0.002-0j | -0.002-0j | 0.154+0.129j | -0.002-0j | -0.002-0j | -0.002-0j | 0.154+0.129j | 878.925 | 0 | 0 | 0 | 878.925 | 0 | 0 | 0 | 878.925 |  | no
und_3P_2ALURD |  | und_cond_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.498 | 0 | 0 | 0 | 401.498 | 0 | 0 | 0 | 401.498 |  | no
und_3P_350CUURD |  | und_cond_3P_350CUURD | und_cond_3P_350CUURD | und_cond_3P_350CUURD |  |  | 0.277+0.267j | 0.044+0.015j | 0.044+0.015j | 0.044+0.015j | 0.277+0.267j | 0.044+0.015j | 0.044+0.015j | 0.044+0.015j | 0.277+0.267j | 751.36 | 0 | 0 | 0 | 751.36 | 0 | 0 | 0 | 751.36 |  | no
und_3P_DELTACUST |  | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST |  |  | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8100704
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220332310 |  | node_1387921_961_15294005_034 |  | AN | 0 | NonResidential | 5333.333+2271.99j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332311 |  | node_1387924_709_15293978_688 |  | BN | 0 | NonResidential | 0 | 5333.333+2271.99j | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332312 |  | node_1387924_39_15294031_482 |  | CN | 0 | NonResidential | 0 | 0 | 5333.333+2271.99j | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332313 |  | node_1388120_271_15293112_764 |  | AN | 0 | Residential | 1000+425.998j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332314 |  | node_1388075_487_15293688_558 |  | AN | 0 | Residential | 76500+32588.864j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332321 |  | node_1387880_756_15294030_827 |  | AN | 0 | NonResidential | 27333.333+11643.951j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332322 |  | node_1387881_624_15294057_437 |  | BN | 0 | NonResidential | 0 | 27333.333+11643.951j | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332323 |  | node_1387874_791_15294005_381 |  | CN | 0 | NonResidential | 0 | 0 | 27333.333+11643.951j | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332417 |  | node_1387960_211_15292585_225 |  | AN | 0 | Residential | 38404.8+16360.376j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332418 |  | node_1387789_775_15293189_862 |  | AN | 0 | Residential | 108424.8+46188.771j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332419 |  | node_1387433_926_15294443_114 |  | AN | 0 | NonResidential | 18500+7880.967j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332420 |  | node_1387426_272_15294418_482 |  | AN | 0 | NonResidential | 18500+7880.967j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332426 |  | node_1387236_506_15294186_253 |  | AN | 0 | Residential | 25466.4+10848.641j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332427 |  | node_1387223_955_15294165_526 |  | BN | 0 | Residential | 0 | 25466.4+10848.641j | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332428 |  | node_1387215_807_15294141_179 |  | CN | 0 | Residential | 0 | 0 | 25466.4+10848.641j | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332429 |  | node_1387185_723_15293951_98 |  | AN | 0 | NonResidential | 1000+425.998j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332550 |  | node_1387518_234_15293194_18 |  | AN | 0 | Residential | 111578.4+47532.199j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332554 |  | node_1387120_615_15293492_187 |  | AN | 0 | NonResidential | 3168+1349.562j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332632 |  | node_1388154_725_15293914_433 |  | AN | 0 | Residential | 7099.2+3024.247j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332633 |  | node_1388169_931_15293897_474 |  | BN | 0 | Residential | 0 | 7099.2+3024.247j | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332634 |  | node_1388143_332_15293936_127 |  | CN | 0 | Residential | 0 | 0 | 7099.2+3024.247j | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220432066 |  | node_1388035_748_15292841_773 |  | AN | 0 | NonResidential | 28333.333+12069.949j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220432067 |  | node_1388033_748_15292868_247 |  | BN | 0 | NonResidential | 0 | 28333.333+12069.949j | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220432069 |  | node_1388032_574_15292815_461 |  | CN | 0 | NonResidential | 0 | 0 | 28333.333+12069.949j | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220526418 |  | node_1387765_913_15293867_103 |  | AN | 0 | Residential | 87912+37450.355j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220529928 |  | node_1387996_852_15294383_385 |  | ABCN | 0 | NonResidential | 22666.667+9655.96j | 22666.667+9655.96j | 22666.667+9655.96j | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220530032 |  | node_1387452_867_15292688_607 |  | ABCN | 0 | NonResidential | 10333.333+4401.981j | 10333.333+4401.981j | 10333.333+4401.981j | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220544213 |  | node_1387762_78_15293887_98 |  | AN | 0 | Residential | 87912+37450.355j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220544643 |  | node_1387521_819_15294071_815 |  | AN | 0 | NonResidential | 400000+170399.286j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220623528 |  | node_1388000_339_15294093_08 |  | AN | 0 | NonResidential | 12000+5111.979j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220623544 |  | node_1388011_993_15294083_397 |  | AN | 0 | NonResidential | 12000+5111.979j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_311906661 |  | node_1388086_495_15294329_05 |  | AN | 0 | NonResidential | 42000+17891.925j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100704 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8100704
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1387120_615_15293492_187 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387120.615 | 15293492.187 |  | -1
node_1387185_723_15293951_98 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387185.723 | 15293951.98 |  | -1
node_1387215_807_15294141_179 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387215.807 | 15294141.179 |  | -1
node_1387223_955_15294165_526 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387223.955 | 15294165.526 |  | -1
node_1387236_506_15294186_253 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387236.506 | 15294186.253 |  | -1
node_1387426_272_15294418_482 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387426.272 | 15294418.482 |  | -1
node_1387433_926_15294443_114 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387433.926 | 15294443.114 |  | -1
node_1387452_867_15292688_607 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387452.867 | 15292688.607 |  | -1
node_1387518_234_15293194_18 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387518.234 | 15293194.18 |  | -1
node_1387521_819_15294071_815 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387521.819 | 15294071.815 |  | -1
node_1387549_493_15294492_655 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387549.493 | 15294492.655 |  | -1
node_1387762_78_15293887_98 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387762.78 | 15293887.98 |  | -1
node_1387765_913_15293867_103 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387765.913 | 15293867.103 |  | -1
node_1387789_775_15293189_862 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387789.775 | 15293189.862 |  | -1
node_1387874_791_15294005_381 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387874.791 | 15294005.381 |  | -1
node_1387880_756_15294030_827 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387880.756 | 15294030.827 |  | -1
node_1387881_624_15294057_437 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387881.624 | 15294057.437 |  | -1
node_1387921_961_15294005_034 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387921.961 | 15294005.034 |  | -1
node_1387924_39_15294031_482 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387924.39 | 15294031.482 |  | -1
node_1387924_709_15293978_688 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387924.709 | 15293978.688 |  | -1
node_1387960_211_15292585_225 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387960.211 | 15292585.225 |  | -1
node_1387996_852_15294383_385 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387996.852 | 15294383.385 |  | -1
node_1388000_339_15294093_08 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388000.339 | 15294093.08 |  | -1
node_1388011_993_15294083_397 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388011.993 | 15294083.397 |  | -1
node_1388032_574_15292815_461 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388032.574 | 15292815.461 |  | -1
node_1388033_748_15292868_247 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388033.748 | 15292868.247 |  | -1
node_1388035_748_15292841_773 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388035.748 | 15292841.773 |  | -1
node_1388075_487_15293688_558 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388075.487 | 15293688.558 |  | -1
node_1388086_495_15294329_05 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388086.495 | 15294329.05 |  | -1
node_1388120_271_15293112_764 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388120.271 | 15293112.764 |  | -1
node_1388143_332_15293936_127 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388143.332 | 15293936.127 |  | -1
node_1388154_725_15293914_433 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388154.725 | 15293914.433 |  | -1
node_1388169_931_15293897_474 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388169.931 | 15293897.474 |  | -1
node_8100704_200805152 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387879.932 | 15294798.357 |  | -1
node_8100704_200805153 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387633.248 | 15294482.831 |  | -1
node_8100704_200813351 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388087.599 | 15294008.788 |  | -1
node_8100704_200813352 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387995.242 | 15294008.142 |  | -1
node_8100704_200813353 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388147.77 | 15293119.628 |  | -1
node_8100704_200813361 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388091.507 | 15293900.973 |  | -1
node_8100704_200813362 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388098.091 | 15293811.026 |  | -1
node_8100704_200813363 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388104.54 | 15293694.648 |  | -1
node_8100704_200813369 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388138.152 | 15293225.771 |  | -1
node_8100704_200813370 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387952.812 | 15292852.852 |  | -1
node_8100704_200813372 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387700.566 | 15294272.656 |  | -1
node_8100704_200813374 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387760.308 | 15293369.357 |  | -1
node_8100704_200813376 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387768.94 | 15293261.47 |  | -1
node_8100704_200813377 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387772.836 | 15293159.482 |  | -1
node_8100704_200813378 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387781.687 | 15293035.54 |  | -1
node_8100704_200813379 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387783.88 | 15292951.176 |  | -1
node_8100704_200813381 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387791.722 | 15292830.428 |  | -1
node_8100704_200813382 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387808.313 | 15292697.408 |  | -1
node_8100704_200813391 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387704.306 | 15294196.784 |  | -1
node_8100704_200813392 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387710.332 | 15294134.228 |  | -1
node_8100704_200813404 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387714 | 15294072.271 |  | -1
node_8100704_200813405 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387810.494 | 15294047.539 |  | -1
node_8100704_200813416 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387716.676 | 15293991.422 |  | -1
node_8100704_200813424 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387737.074 | 15293744.019 |  | -1
node_8100704_200813425 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387746.058 | 15293646.088 |  | -1
node_8100704_200813426 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387744.449 | 15293571.968 |  | -1
node_8100704_200813427 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387754.46 | 15293454.539 |  | -1
node_8100704_200813916 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387481.993 | 15292673.527 |  | -1
node_8100704_200813920 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387828.335 | 15292573.155 |  | -1
node_8100704_200813933 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387924.326 | 15292580.624 |  | -1
node_8100704_200813935 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388049.312 | 15293196.579 |  | -1
node_8100704_200813936 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387959.775 | 15293183.996 |  | -1
node_8100704_200813937 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387871.629 | 15293178.81 |  | -1
node_8100704_200813938 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387795.462 | 15293174.167 |  | -1
node_8100704_200813956 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387538.523 | 15294439.476 |  | -1
node_8100704_200813957 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387497.273 | 15294393.524 |  | -1
node_8100704_200813973 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387427.094 | 15294299.752 |  | -1
node_8100704_200813989 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387375.637 | 15294232.763 |  | -1
node_8100704_200814014 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387288.378 | 15294114.985 |  | -1
node_8100704_200814015 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387233.983 | 15294044.563 |  | -1
node_8100704_200814016 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387157.839 | 15293937.682 |  | -1
node_8100704_200814623 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387711.27 | 15293003.016 |  | -1
node_8100704_200814633 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387596.03 | 15293092.432 |  | -1
node_8100704_200814645 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387492.318 | 15293174.414 |  | -1
node_8100704_200814656 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387420.847 | 15293230.394 |  | -1
node_8100704_200814657 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387358.597 | 15293272.7 |  | -1
node_8100704_200814665 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387296.592 | 15293317.832 |  | -1
node_8100704_200814666 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387182.063 | 15293402.998 |  | -1
node_8100704_200814667 |  |  | PQ | AN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387108.188 | 15293479.415 |  | -1
node_8100704_200814912 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387983.785 | 15294362.794 |  | -1
node_8100704_200814970 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388208.385 | 15293987.488 |  | -1
node_8100704_200814971 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388124.256 | 15294015.597 |  | -1
node_8100704_200814974 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388035.037 | 15294126.197 |  | -1
node_8100704_200814976 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387951.776 | 15294187.655 |  | -1
node_8100704_200814977 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388016.732 | 15294213.082 |  | -1
node_8100704_200814978 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387881.22 | 15294241.379 |  | -1
node_8100704_200814984 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387817.976 | 15294290.646 |  | -1
node_8100704_200814985 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387724.785 | 15294360.788 |  | -1
node_8100704_200814986 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387608.47 | 15294455.848 |  | -1
node_8100704_200917248 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387805.027 | 15292848.227 |  | -1
node_8100704_200917249 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387689.294 | 15292561.029 |  | -1
node_8100704_200971538 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387335.762 | 15294180.41 |  | -1
node_8100704_200971539 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387365.846 | 15294138.372 |  | -1
node_8100704_200971633 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387729.564 | 15293872.195 |  | -1
node_8100704_200974151 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387372.011 | 15294052.398 |  | -1
node_8100704_200974152 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387519.441 | 15294041.707 |  | -1
node_8100704_201018390 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388120.05 | 15293194.388 |  | -1
node_8100704_311906655 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388069.419 | 15294296.381 |  | -1
node_311998383 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387532.619 | 15294432.899 |  | -1
node_311998389 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387535.481 | 15294436.088 |  | -1
node_SOURCE_8100704 |  |  | SWING | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388137.071 | 15294818.209 |  | -1
node_intto1_1387549_493_15294492_655 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387549.493 | 15294492.655 |  | -1
node_intto1_8100704_200813937 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387871.629 | 15293178.81 |  | -1
node_intto1_8100704_200813956 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387538.523 | 15294439.476 |  | -1
node_intto1_8100704_200814633 |  |  | PQ | AD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387596.03 | 15293092.432 |  | -1
node_intto1_8100704_200814912 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387983.785 | 15294362.794 |  | -1
node_intto1_8100704_200917248 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387805.027 | 15292848.227 |  | -1
node_intto1_8100704_200917249 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387689.294 | 15292561.029 |  | -1
node_intto1_8100704_200974152 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387519.441 | 15294041.707 |  | -1
node_intto1_8100704_311906655 |  |  | PQ | ABCN | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1388069.419 | 15294296.381 |  | -1
node_intto1_311998383 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387532.619 | 15294432.899 |  | -1
node_intto1_311998389 |  |  | PQ | ABCD | 2771.281 | 8100704 | no | no |  |  | no |  |  | 1387535.481 | 15294436.088 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8100704
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8100704_200813351 |  | ABCD | node_8100704_200814971 | node_8100704_200813351 | 37.284 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813352 |  | ABCD | node_8100704_200813351 | node_8100704_200813352 | 92.359 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813353 |  | AD | node_8100704_200813369 | node_8100704_200813353 | 106.579 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813361 |  | AD | node_8100704_200813351 | node_8100704_200813361 | 107.886 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813362 |  | AD | node_8100704_200813361 | node_8100704_200813362 | 90.188 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813363 |  | AD | node_8100704_200813362 | node_8100704_200813363 | 116.557 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813369 |  | AD | node_8100704_201018390 | node_8100704_200813369 | 36.23 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813372 |  | ABCD | node_8100704_200814985 | node_8100704_200813372 | 91.4 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813374 |  | ABCD | node_8100704_200813427 | node_8100704_200813374 | 85.383 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813376 |  | ABCD | node_8100704_200813374 | node_8100704_200813376 | 108.232 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813377 |  | ABCD | node_8100704_200813376 | node_8100704_200813377 | 102.063 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813378 |  | ABCD | node_8100704_200813377 | node_8100704_200813378 | 124.257 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813379 |  | ABCD | node_8100704_200813378 | node_8100704_200813379 | 84.392 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813381 |  | ABCD | node_8100704_200813379 | node_8100704_200813381 | 121.003 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813382 |  | ABCD | node_8100704_200813381 | node_8100704_200813382 | 134.05 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813391 |  | ABCD | node_8100704_200813372 | node_8100704_200813391 | 75.963 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813392 |  | ABCD | node_8100704_200813391 | node_8100704_200813392 | 62.846 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813404 |  | ABCD | node_8100704_200813392 | node_8100704_200813404 | 62.066 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813405 |  | ABCD | node_8100704_200813404 | node_8100704_200813405 | 99.614 | bal_3P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813416 |  | ABCD | node_8100704_200813404 | node_8100704_200813416 | 80.893 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813424 |  | ABCD | node_8100704_200971633 | node_8100704_200813424 | 128.396 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813425 |  | ABCD | node_8100704_200813424 | node_8100704_200813425 | 98.342 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813426 |  | ABCD | node_8100704_200813425 | node_8100704_200813426 | 74.138 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813427 |  | ABCD | node_8100704_200813426 | node_8100704_200813427 | 117.855 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813920 |  | ABCD | node_8100704_200813382 | node_8100704_200813920 | 125.856 | bal_3P_1CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813933 |  | AD | node_8100704_200813920 | node_8100704_200813933 | 96.281 | bal_1P_6CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813935 |  | AD | node_8100704_200813936 | node_8100704_200813935 | 90.417 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813936 |  | AD | node_8100704_200813937 | node_8100704_200813936 | 88.298 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813937 |  | AD | node_8100704_200813938 | node_intto1_8100704_200813937 | 76.308 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813938 |  | AD | node_8100704_200813377 | node_8100704_200813938 | 26.974 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813957-1 |  | ABCD | node_8100704_200813956 | node_intto1_311998389 | 4.553 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813957-2 |  | ABCD | node_311998389 | node_intto1_311998383 | 4.285 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813957-3 |  | ABCD | node_311998383 | node_8100704_200813957 | 52.913 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813973 |  | ABCD | node_8100704_200813957 | node_8100704_200813973 | 117.125 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200813989 |  | ABCD | node_8100704_200813973 | node_8100704_200813989 | 84.471 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814014 |  | ABCD | node_8100704_200971538 | node_8100704_200814014 | 80.781 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814015 |  | AD | node_8100704_200814014 | node_8100704_200814015 | 88.984 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814016 |  | AD | node_8100704_200814015 | node_8100704_200814016 | 131.231 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814623 |  | AD | node_8100704_200813379 | node_8100704_200814623 | 89.217 | bal_1P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814633 |  | AD | node_8100704_200814623 | node_intto1_8100704_200814633 | 145.862 | bal_1P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814645 |  | AD | node_8100704_200814633 | node_8100704_200814645 | 132.201 | bal_1P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814656 |  | AD | node_8100704_200814645 | node_8100704_200814656 | 90.785 | bal_1P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814657 |  | AD | node_8100704_200814656 | node_8100704_200814657 | 75.266 | bal_1P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814665 |  | AD | node_8100704_200814657 | node_8100704_200814665 | 76.691 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814666 |  | AD | node_8100704_200814665 | node_8100704_200814666 | 142.723 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814667 |  | AD | node_8100704_200814666 | node_8100704_200814667 | 106.288 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814970 |  | ABCD | node_8100704_200814971 | node_8100704_200814970 | 88.7 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814971 |  | ABCD | node_8100704_200814974 | node_8100704_200814971 | 142.1 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814974 |  | ABCD | node_8100704_200814976 | node_8100704_200814974 | 103.487 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814976 |  | ABCD | node_8100704_200814978 | node_8100704_200814976 | 88.682 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814977 |  | ABCD | node_8100704_200814976 | node_8100704_200814977 | 69.756 | bal_3P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814978 |  | ABCD | node_8100704_200814984 | node_8100704_200814978 | 80.169 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814984 |  | ABCD | node_8100704_200814985 | node_8100704_200814984 | 116.638 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814985 |  | ABCD | node_8100704_200814986 | node_8100704_200814985 | 150.218 | bal_3P_477AL | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814986 |  | ABCD | node_8100704_200813956 | node_8100704_200814986 | 71.838 | bal_3P_477AL | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200814988 |  | ABCD | node_8100704_200814986 | node_intto1_1387549_493_15294492_655 | 108.489 | bal_3P_477AL | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200917248 |  | ABCD | node_8100704_200813381 | node_intto1_8100704_200917248 | 22.222 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200917249 |  | ABCD | node_8100704_200813920 | node_intto1_8100704_200917249 | 139.569 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200971538 |  | ABCD | node_8100704_200813989 | node_8100704_200971538 | 65.809 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200971539 |  | ABCD | node_8100704_200971538 | node_8100704_200971539 | 51.693 | bal_3P_1/0AC | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200971633 |  | ABCD | node_8100704_200813416 | node_8100704_200971633 | 119.922 | bal_3P_4CU | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_200974151 |  | ABCD | node_8100704_200971539 | node_8100704_200974151 | 86.195 | bal_3P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100704_201018390 |  | AD | node_8100704_200813935 | node_8100704_201018390 | 70.772 | bal_1P_1/0AA | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892687 |  | AN | node_8100704_200813353 | node_1388120_271_15293112_764 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892688 |  | AN | node_8100704_200813363 | node_1388075_487_15293688_558 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892756 |  | AN | node_8100704_200813933 | node_1387960_211_15292585_225 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892757 |  | AN | node_8100704_200813938 | node_1387789_775_15293189_862 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892765 |  | AN | node_8100704_200814016 | node_1387185_723_15293951_98 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892866 |  | AN | node_8100704_200814645 | node_1387518_234_15293194_18 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892870 |  | AN | node_8100704_200814667 | node_1387120_615_15293492_187 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136586 |  | ABCN | node_8100704_200813405 | node_1387880_756_15294030_827 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136587 |  | ABCN | node_8100704_200813405 | node_1387881_624_15294057_437 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136588 |  | ABCN | node_8100704_200813405 | node_1387874_791_15294005_381 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136610 |  | ABCN | node_8100704_200813957 | node_1387433_926_15294443_114 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136611 |  | ABCN | node_8100704_200813957 | node_1387426_272_15294418_482 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136627 |  | ABCN | node_8100704_200971633 | node_1387762_78_15293887_98 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136628 |  | ABCN | node_8100704_200971633 | node_1387765_913_15293867_103 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416534 |  | ABCN | node_8100704_200813352 | node_1387921_961_15294005_034 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416535 |  | ABCN | node_8100704_200813352 | node_1387924_709_15293978_688 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416536 |  | ABCN | node_8100704_200813352 | node_1387924_39_15294031_482 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416537 |  | ABCN | node_8100704_200814970 | node_1388154_725_15293914_433 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416538 |  | ABCN | node_8100704_200814970 | node_1388169_931_15293897_474 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416539 |  | ABCN | node_8100704_200814970 | node_1388143_332_15293936_127 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416540 |  | ABCN | node_8100704_200814974 | node_1388000_339_15294093_08 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416541 |  | ABCN | node_8100704_200814974 | node_1388011_993_15294083_397 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416542 |  | ABCN | node_8100704_200814014 | node_1387223_955_15294165_526 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416543 |  | ABCN | node_8100704_200814014 | node_1387215_807_15294141_179 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2416544 |  | ABCN | node_8100704_200814014 | node_1387236_506_15294186_253 | 0.033 | unb_TAPWIRE_OH | 8100704 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8100704
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_1_CU |  | 0.01 | 0.699 | 0.328 | 230 | 230 | 325 | 325 |  | no
oh_cond_4_CU |  | 0.007 | 1.388 | 0.232 | 140 | 140 | 200 | 200 |  | no
oh_cond_6_CU |  | 0.006 | 2.18 | 0.184 | 110 | 110 | 150 | 150 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8100704
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_690T692_NO-220415322 |  | ABCD | node_intto1_1387549_493_15294492_655 | node_1387549_493_15294492_655 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100704 | no | no |  |  | no
switch_69054-220415578 |  | ABCN | node_intto1_8100704_200813956 | node_8100704_200813956 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100704 | no | no |  |  | no
switch_311998383 |  | ABCD | node_intto1_311998383 | node_311998383 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100704 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8100704
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8100704_200805152 |  | AN | node_8100704_200805153 | node_8100704_200805152 | 400.512 | und_1P_500CUURD_500CU(N) | 8100704 | no | no |  |  | no
und_line_8100704_200805153 |  | ABCN | node_8100704_200813956 | node_8100704_200805153 | 104.175 | und_3P_350CUURD | 8100704 | no | no |  |  | no
und_line_8100704_200813370 |  | ABCN | node_8100704_200917248 | node_8100704_200813370 | 147.857 | und_3P_DELTACUST | 8100704 | no | no |  |  | no
und_line_8100704_200813916 |  | ABCN | node_8100704_200917249 | node_8100704_200813916 | 235.872 | und_3P_2ALURD | 8100704 | no | no |  |  | no
und_line_8100704_200813956 |  | ABCN | node_SOURCE_8100704 | node_intto1_8100704_200813956 | 708.507 | und_3P_350CUURD | 8100704 | no | no |  |  | no
und_line_8100704_200814912 |  | ABCN | node_8100704_200814978 | node_intto1_8100704_200814912 | 158.938 | und_3P_DELTACUST | 8100704 | no | no |  |  | no
und_line_8100704_200974152 |  | ABCN | node_8100704_200974151 | node_intto1_8100704_200974152 | 147.817 | und_3P_DELTACUST | 8100704 | no | no |  |  | no
und_line_8100704_311906655 |  | ABCN | node_8100704_200814977 | node_intto1_8100704_311906655 | 98.564 | und_3P_DELTACUST | 8100704 | no | no |  |  | no
und_line_TAP_UG_58687 |  | ABCN | node_8100704_200813916 | node_1387452_867_15292688_607 | 0.033 | und_TAPWIRE_UG | 8100704 | no | no |  |  | no
und_line_TAP_UG_58693 |  | ABCN | node_8100704_200814912 | node_1387996_852_15294383_385 | 0.033 | und_TAPWIRE_UG | 8100704 | no | no |  |  | no
und_line_TAP_UG_61980 |  | ABCN | node_8100704_200974152 | node_1387521_819_15294071_815 | 0.033 | und_TAPWIRE_UG | 8100704 | no | no |  |  | no
und_line_TAP_UG_898258 |  | ABCN | node_8100704_200813370 | node_1388035_748_15292841_773 | 0.033 | und_TAPWIRE_UG | 8100704 | no | no |  |  | no
und_line_TAP_UG_898259 |  | ABCN | node_8100704_200813370 | node_1388033_748_15292868_247 | 0.033 | und_TAPWIRE_UG | 8100704 | no | no |  |  | no
und_line_TAP_UG_898260 |  | ABCN | node_8100704_200813370 | node_1388032_574_15292815_461 | 0.033 | und_TAPWIRE_UG | 8100704 | no | no |  |  | no
und_line_TAP_UG_1421915 |  | ABCN | node_8100704_311906655 | node_1388086_495_15294329_05 | 0.033 | und_TAPWIRE_UG | 8100704 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8100704
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_1P_500CUURD_500CU(N) | [12 empty] | 484 | 484 | 508 | 508 |  | no
und_cond_3P_2ALURD | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_350CUURD | [12 empty] | 401 | 401 | 422 | 422 |  | no
und_cond_3P_DELTACUST | [12 empty] | 685 | 685 | 685 | 685 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no