## feeder
data_type | static
owner_type | feeder
owner | 8100705
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8100705 |  | ts_slack | none | node_SOURCE_8100705 | 2771.281 | 37 | 19 | 11 | 0 | 0 | 0 | 0 | 14 | 0.32 | 0.598 | 0.255 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8100705
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220382402 |  | ABCN | node_intto1_8100705_200815178 | node_8100705_200815178 | GOOD | GOOD | GOOD |  | 400 |  |  | 8100705 | no | no |  |  | no
fuse_220383311 |  | ABCN | node_intto1_220383311 | node_220383311 | GOOD | GOOD | GOOD |  | 125 |  |  | 8100705 | no | no |  |  | no
fuse_220383321 |  | ABCN | node_intto1_220383321 | node_220383321 | GOOD | GOOD | GOOD |  | 65 |  |  | 8100705 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8100705
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_3P_2CU |  | oh_cond_2_CU | oh_cond_2_CU | oh_cond_2_CU |  |  | 0.968+1.536j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.968+1.536j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.968+1.536j | 12.191 | -2.94 | -2.94 | -2.94 | 12.191 | -2.94 | -2.94 | -2.94 | 12.191 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_1/0ALURD_1/0AL(N) |  | und_cond_3P_1/0ALURD_1/0AL(N) | und_cond_3P_1/0ALURD_1/0AL(N) | und_cond_3P_1/0ALURD_1/0AL(N) |  |  | 1.489+0.467j | 0.385+0.07j | 0.385+0.07j | 0.385+0.07j | 1.489+0.467j | 0.385+0.07j | 0.385+0.07j | 0.385+0.07j | 1.489+0.467j | 530.19 | 0 | 0 | 0 | 530.19 | 0 | 0 | 0 | 530.19 |  | no
und_3P_350CUURD |  | und_cond_3P_350CUURD | und_cond_3P_350CUURD | und_cond_3P_350CUURD |  |  | 0.277+0.267j | 0.044+0.015j | 0.044+0.015j | 0.044+0.015j | 0.277+0.267j | 0.044+0.015j | 0.044+0.015j | 0.044+0.015j | 0.277+0.267j | 751.36 | 0 | 0 | 0 | 751.36 | 0 | 0 | 0 | 751.36 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8100705
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220330634 |  | node_1386910_896_15295496_106 |  | ABCN | 0 | NonResidential | 31000+13205.945j | 31000+13205.945j | 31000+13205.945j | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330635 |  | node_1386800_028_15295435_835 |  | ABCN | 0 | NonResidential | 16000+6815.971j | 16000+6815.971j | 16000+6815.971j | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332706 |  | node_1387612_834_15295120_28 |  | CN | 0 | NonResidential | 0 | 0 | 111000+47285.802j | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332707 |  | node_1387596_553_15295116_624 |  | AN | 0 | NonResidential | 111000+47285.802j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332708 |  | node_1387604_048_15295119_682 |  | BN | 0 | NonResidential | 0 | 111000+47285.802j | 0 | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332709 |  | node_1387337_352_15295197_912 |  | BN | 0 | NonResidential | 0 | 7333.333+3123.987j | 0 | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332710 |  | node_1387344_888_15295194_758 |  | AN | 0 | NonResidential | 7333.333+3123.987j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332711 |  | node_1387349_878_15295186_332 |  | CN | 0 | NonResidential | 0 | 0 | 7333.333+3123.987j | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332712 |  | node_1387206_302_15295281_392 |  | BN | 0 | Residential | 0 | 3816+1625.609j | 0 | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332713 |  | node_1387212_498_15295277_596 |  | AN | 0 | Residential | 3816+1625.609j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332714 |  | node_1387217_803_15295270_517 |  | CN | 0 | NonResidential | 0 | 0 | 8000+3407.986j | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310034688 |  | node_1387841_878_15294840_185 |  | AN | 0 | NonResidential | 28666.667+12211.949j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310034689 |  | node_1387849_814_15294839_709 |  | BN | 0 | NonResidential | 0 | 28666.667+12211.949j | 0 | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310034690 |  | node_1387859_807_15294835_612 |  | CN | 0 | NonResidential | 0 | 0 | 28666.667+12211.949j | 0 | 0 | 0 | [24 empty] | 8100705 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8100705
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_69119-310037505 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386886.239 | 15295354.116 |  | -1
node_1386800_028_15295435_835 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386800.028 | 15295435.835 |  | -1
node_1386910_896_15295496_106 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386910.896 | 15295496.106 |  | -1
node_1387206_302_15295281_392 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387206.302 | 15295281.392 |  | -1
node_1387212_498_15295277_596 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387212.498 | 15295277.596 |  | -1
node_1387217_803_15295270_517 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387217.803 | 15295270.517 |  | -1
node_1387337_352_15295197_912 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387337.352 | 15295197.912 |  | -1
node_1387344_888_15295194_758 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387344.888 | 15295194.758 |  | -1
node_1387349_878_15295186_332 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387349.878 | 15295186.332 |  | -1
node_1387596_553_15295116_624 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387596.553 | 15295116.624 |  | -1
node_1387604_048_15295119_682 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387604.048 | 15295119.682 |  | -1
node_1387612_834_15295120_28 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387612.834 | 15295120.28 |  | -1
node_1387841_878_15294840_185 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387841.878 | 15294840.185 |  | -1
node_1387849_814_15294839_709 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387849.814 | 15294839.709 |  | -1
node_1387859_807_15294835_612 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387859.807 | 15294835.612 |  | -1
node_8100705_200805392 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386906.459 | 15295449.667 |  | -1
node_8100705_200805393 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386831.056 | 15295407.848 |  | -1
node_8100705_200815162 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387845.434 | 15294817.634 |  | -1
node_8100705_200815171 |  |  | PQ | ABCD | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387515.397 | 15295068.996 |  | -1
node_8100705_200815172 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387615.009 | 15295082.98 |  | -1
node_8100705_200815175 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387341.65 | 15295169.937 |  | -1
node_8100705_200815176 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387196.86 | 15295234.366 |  | -1
node_8100705_200815177 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387069.105 | 15295324.763 |  | -1
node_8100705_200815178 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386971.847 | 15295350.695 |  | -1
node_8100705_200976070 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386891.332 | 15295349.158 |  | -1
node_8100705_310048644 |  |  | PQ | ABCD | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387800.957 | 15294888.137 |  | -1
node_8100705_310048645 |  |  | PQ | ABCD | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387649.325 | 15294983.414 |  | -1
node_220383311 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386888.824 | 15295351.599 |  | -1
node_220383321 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386892.073 | 15295354.082 |  | -1
node_220557257 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386905.18 | 15295441.171 |  | -1
node_SOURCE_8100705 |  |  | SWING | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1388128.407 | 15294830.743 |  | -1
node_intto1_69119-310037505 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386886.239 | 15295354.116 |  | -1
node_intto1_8100705_200815178 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386971.847 | 15295350.695 |  | -1
node_intto1_8100705_310048644 |  |  | PQ | ABCD | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1387800.957 | 15294888.137 |  | -1
node_intto1_220383311 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386888.824 | 15295351.599 |  | -1
node_intto1_220383321 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386892.073 | 15295354.082 |  | -1
node_intto1_220557257 |  |  | PQ | ABCN | 2771.281 | 8100705 | no | no |  |  | no |  |  | 1386905.18 | 15295441.171 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8100705
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8100705_200815171 |  | ABCD | node_8100705_310048645 | node_8100705_200815171 | 158.937 | bal_3P_477AL | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100705_200815172 |  | ABCD | node_8100705_200815171 | node_8100705_200815172 | 100.589 | bal_3P_2CU | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100705_200815175 |  | ABCD | node_8100705_200815171 | node_8100705_200815175 | 200.941 | bal_3P_477AL | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100705_200815176 |  | ABCD | node_8100705_200815175 | node_8100705_200815176 | 158.478 | bal_3P_477AL | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100705_200815177 |  | ABCD | node_8100705_200815176 | node_8100705_200815177 | 156.502 | bal_3P_477AL | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100705_310048644 |  | ABCD | node_8100705_200815162 | node_intto1_8100705_310048644 | 83.36 | bal_3P_477AL | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100705_310048645 |  | ABCD | node_8100705_310048644 | node_8100705_310048645 | 179.081 | bal_3P_477AL | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892954 |  | ABCN | node_8100705_200815172 | node_1387596_553_15295116_624 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892955 |  | ABCN | node_8100705_200815175 | node_1387344_888_15295194_758 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892956 |  | ABCN | node_8100705_200815176 | node_1387212_498_15295277_596 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136650 |  | ABCN | node_8100705_200815162 | node_1387859_807_15294835_612 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136651 |  | ABCN | node_8100705_200815162 | node_1387841_878_15294840_185 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2136652 |  | ABCN | node_8100705_200815162 | node_1387849_814_15294839_709 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468767 |  | ABCN | node_8100705_200815172 | node_1387604_048_15295119_682 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468768 |  | ABCN | node_8100705_200815172 | node_1387612_834_15295120_28 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468769 |  | ABCN | node_8100705_200815175 | node_1387337_352_15295197_912 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468770 |  | ABCN | node_8100705_200815175 | node_1387349_878_15295186_332 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468771 |  | ABCN | node_8100705_200815176 | node_1387206_302_15295281_392 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468772 |  | ABCN | node_8100705_200815176 | node_1387217_803_15295270_517 | 0.033 | unb_TAPWIRE_OH | 8100705 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8100705
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_2_CU |  | 0.009 | 0.873 | 0.292 | 190 | 190 | 270 | 270 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8100705
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_69119-310037505 |  | ABCN | node_intto1_69119-310037505 | node_69119-310037505 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100705 | no | no |  |  | no
switch_69154-220415363 |  | ABCD | node_intto1_8100705_310048644 | node_8100705_310048644 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100705 | no | no |  |  | no
switch_220557257 |  | ABCN | node_intto1_220557257 | node_220557257 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100705 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8100705
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8100705_200805392-1 |  | ABCN | node_8100705_200976070 | node_intto1_220383321 | 4.979 | und_3P_1/0ALURD_1/0AL(N) | 8100705 | no | no |  |  | no
und_line_8100705_200805392-2 |  | ABCN | node_220383321 | node_intto1_220557257 | 88.07 | und_3P_1/0ALURD_1/0AL(N) | 8100705 | no | no |  |  | no
und_line_8100705_200805392-3 |  | ABCN | node_220557257 | node_8100705_200805392 | 8.592 | und_3P_1/0ALURD_1/0AL(N) | 8100705 | no | no |  |  | no
und_line_8100705_200805393-1 |  | ABCN | node_69119-310037505 | node_8100705_200805393 | 77.022 | und_3P_1/0ALURD_1/0AL(N) | 8100705 | no | no |  |  | no
und_line_8100705_200805393-2 |  | ABCN | node_220383311 | node_intto1_69119-310037505 | 3.608 | und_3P_1/0ALURD_1/0AL(N) | 8100705 | no | no |  |  | no
und_line_8100705_200805393-3 |  | ABCN | node_8100705_200976070 | node_intto1_220383311 | 3.5 | und_3P_1/0ALURD_1/0AL(N) | 8100705 | no | no |  |  | no
und_line_8100705_200815162 |  | ABCN | node_SOURCE_8100705 | node_8100705_200815162 | 283.276 | und_3P_350CUURD | 8100705 | no | no |  |  | no
und_line_8100705_200815178 |  | ABCN | node_8100705_200815177 | node_intto1_8100705_200815178 | 100.655 | und_3P_1/0ALURD_1/0AL(N) | 8100705 | no | no |  |  | no
und_line_8100705_200976070 |  | ABCN | node_8100705_200815178 | node_8100705_200976070 | 80.53 | und_3P_1/0ALURD_1/0AL(N) | 8100705 | no | no |  |  | no
und_line_TAP_UG_58611 |  | ABCN | node_8100705_200805392 | node_1386910_896_15295496_106 | 0.033 | und_TAPWIRE_UG | 8100705 | no | no |  |  | no
und_line_TAP_UG_58612 |  | ABCN | node_8100705_200805393 | node_1386800_028_15295435_835 | 0.033 | und_TAPWIRE_UG | 8100705 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8100705
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_1/0ALURD_1/0AL(N) | [12 empty] | 160 | 160 | 180 | 180 |  | no
und_cond_3P_350CUURD | [12 empty] | 401 | 401 | 422 | 422 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no