## feeder
data_type | static
owner_type | feeder
owner | 8104501
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8104501 |  | ts_slack | none | node_SOURCE_8104501 | 19918.584 | 22 | 16 | 3 | 0 | 0 | 0 | 0 | 1 | 0.951 | 1.631 | 0.695 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8104501
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220388142 |  | ABCN | node_intto1_8104501_201037703 | node_8104501_201037703 | GOOD | GOOD | GOOD |  | 40 |  |  | 8104501 | no | no |  |  | no
fuse_220388143 |  | ABCN | node_intto1_8104501_200916318 | node_8104501_200916318 | GOOD | GOOD | GOOD |  | 100 |  |  | 8104501 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8104501
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_3P_1/0AL_1/0AL(N) |  | oh_cond_1/0_AL | oh_cond_1/0_AL | oh_cond_1/0_AL | oh_cond_1/0_AL |  | 1.086+1.198j | 0.201+0.47j | 0.201+0.47j | 0.201+0.47j | 1.086+1.198j | 0.201+0.47j | 0.201+0.47j | 0.201+0.47j | 1.086+1.198j | 13.073 | -2.675 | -2.675 | -2.675 | 13.073 | -2.675 | -2.675 | -2.675 | 13.073 |  | no
bal_3P_4/0AA_1/0AA(N) |  | oh_cond_4/0_AAAC | oh_cond_4/0_AAAC | oh_cond_4/0_AAAC | oh_cond_1/0_AAAC |  | 0.64+1.144j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 0.64+1.144j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 0.64+1.144j | 14.027 | -2.996 | -2.996 | -2.996 | 14.027 | -2.996 | -2.996 | -2.996 | 14.027 |  | no
bal_3P_4/0AC_1/0AC(N) |  | oh_cond_4/0_ACSR | oh_cond_4/0_ACSR | oh_cond_4/0_ACSR | oh_cond_1/0_ACSR |  | 0.648+1.145j | 0.203+0.469j | 0.203+0.469j | 0.203+0.469j | 0.648+1.145j | 0.203+0.469j | 0.203+0.469j | 0.203+0.469j | 0.648+1.145j | 14.027 | -2.996 | -2.996 | -2.996 | 14.027 | -2.996 | -2.996 | -2.996 | 14.027 |  | no
bal_3P_477AL_4/0AA(N) |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_4/0_AAAC |  | 0.332+1.031j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.332+1.031j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.332+1.031j | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 |  | no
bal_3P_477AL_4/0AC(N) |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_4/0_ACSR |  | 0.334+1.032j | 0.136+0.403j | 0.136+0.403j | 0.136+0.403j | 0.334+1.032j | 0.136+0.403j | 0.136+0.403j | 0.136+0.403j | 0.334+1.032j | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 |  | no
und_3P_1/0ALURD_1/0AL(N) |  | und_cond_3P_1/0ALURD_1/0AL(N) | und_cond_3P_1/0ALURD_1/0AL(N) | und_cond_3P_1/0ALURD_1/0AL(N) |  |  | 1.489+0.467j | 0.385+0.07j | 0.385+0.07j | 0.385+0.07j | 1.489+0.467j | 0.385+0.07j | 0.385+0.07j | 0.385+0.07j | 1.489+0.467j | 530.19 | 0 | 0 | 0 | 530.19 | 0 | 0 | 0 | 530.19 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8104501
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220527135 |  | node_1386055_893_15307040_438 |  | ABCN | 0 | NonResidential | 543666.667+231601.03j | 543666.667+231601.03j | 543666.667+231601.03j | 0 | 0 | 0 | [24 empty] | 8104501 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8104501
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1386055_893_15307040_438 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386055.893 | 15307040.438 |  | -1
node_8104501_200832339 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387988.138 | 15304763.17 |  | -1
node_8104501_200832550 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387632.42 | 15304756.151 |  | -1
node_8104501_200832551 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387788.752 | 15304772.469 |  | -1
node_8104501_200832552 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387933.006 | 15304782.968 |  | -1
node_8104501_200832553 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386259.107 | 15306529.021 |  | -1
node_8104501_200832554 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386249.656 | 15306582.481 |  | -1
node_8104501_200832555 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387436.463 | 15304934.061 |  | -1
node_8104501_200832556 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387225.185 | 15304913.181 |  | -1
node_8104501_200832557 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387025.015 | 15304900.262 |  | -1
node_8104501_200832558 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386815.551 | 15304882.429 |  | -1
node_8104501_200832559 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386649.61 | 15305162.942 |  | -1
node_8104501_200832560 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386325.28 | 15306016.717 |  | -1
node_8104501_200832561 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386288.237 | 15306349.452 |  | -1
node_8104501_200916318 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386093.005 | 15306636.474 |  | -1
node_8104501_200916319 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1385530.058 | 15307559.036 |  | -1
node_8104501_200916320 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1385531.275 | 15307286.45 |  | -1
node_8104501_201037703 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386067.491 | 15307021.666 |  | -1
node_8104501_311908772 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387544.75 | 15304835.746 |  | -1
node_SOURCE_8104501 |  |  | SWING | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1387823.439 | 15304852.809 |  | -1
node_intto1_8104501_200916318 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386093.005 | 15306636.474 |  | -1
node_intto1_8104501_201037703 |  |  | PQ | ABCN | 19918.584 | 8104501 | no | no |  |  | no |  |  | 1386067.491 | 15307021.666 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8104501
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8104501_200832339 |  | ABCN | node_SOURCE_8104501 | node_8104501_200832339 | 187.512 | bal_3P_4/0AC_1/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832550 |  | ABCN | node_8104501_200832551 | node_8104501_200832550 | 157.182 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832551 |  | ABCN | node_8104501_200832552 | node_8104501_200832551 | 144.635 | bal_3P_477AL_4/0AA(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832552 |  | ABCN | node_8104501_200832339 | node_8104501_200832552 | 58.579 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832553 |  | ABCN | node_8104501_200832561 | node_8104501_200832553 | 181.917 | bal_3P_4/0AA_1/0AA(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832554 |  | ABCN | node_8104501_200832553 | node_8104501_200832554 | 54.289 | bal_3P_4/0AA_1/0AA(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832555 |  | ABCN | node_8104501_311908772 | node_8104501_200832555 | 146.26 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832556 |  | ABCN | node_8104501_200832555 | node_8104501_200832556 | 212.307 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832557 |  | ABCN | node_8104501_200832556 | node_8104501_200832557 | 200.587 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832558 |  | ABCN | node_8104501_200832557 | node_8104501_200832558 | 210.221 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832559 |  | ABCN | node_8104501_200832558 | node_8104501_200832559 | 325.92 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832560 |  | ABCN | node_8104501_200832559 | node_8104501_200832560 | 913.303 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200832561 |  | ABCN | node_8104501_200832560 | node_8104501_200832561 | 334.79 | bal_3P_4/0AA_1/0AA(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200916318 |  | ABCN | node_8104501_200832554 | node_intto1_8104501_200916318 | 165.706 | bal_3P_4/0AA_1/0AA(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_200916319 |  | ABCN | node_8104501_200916320 | node_8104501_200916319 | 272.589 | bal_3P_1/0AL_1/0AL(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8104501_311908772 |  | ABCN | node_8104501_200832550 | node_8104501_311908772 | 118.412 | bal_3P_477AL_4/0AC(N) | 8104501 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8104501
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_1/0_AL |  | 0.011 | 0.885 | 0.368 | 235 | 235 | 310 | 310 |  | no
oh_cond_4/0_AAAC |  | 0.017 | 0.439 | 0.563 | 365 | 365 | 480 | 480 |  | no
oh_cond_4/0_ACSR |  | 0.017 | 0.445 | 0.563 | 410 | 410 | 515 | 515 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8104501
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8104501_200916320 |  | ABCN | node_8104501_200916318 | node_8104501_200916320 | 859.076 | und_3P_1/0ALURD_1/0AL(N) | 8104501 | no | no |  |  | no
und_line_8104501_201037703 |  | ABCN | node_8104501_200832554 | node_intto1_8104501_201037703 | 475.465 | und_3P_1/0ALURD_1/0AL(N) | 8104501 | no | no |  |  | no
und_line_TAP_UG_66589 |  | ABCN | node_8104501_201037703 | node_1386055_893_15307040_438 | 0.033 | und_TAPWIRE_UG | 8104501 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8104501
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_1/0ALURD_1/0AL(N) | [12 empty] | 160 | 160 | 180 | 180 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no