## capacitor
data_type | static
owner_type | feeder
owner | 8100404
object | capacitor
name | groupid | parent | phases | nominal_voltage | pt_phase | phases_connected | switchA | switchB | switchC | control | voltage_set_high | voltage_set_low | VAr_set_high | VAr_set_low | current_set_high | current_set_low | capacitor_A | capacitor_B | capacitor_C | cap_nominal_voltage | time_delay | dwell_time | lockout_time | remote_sense | remote_sense_B | control_level | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
cap_220368855 |  | node_1391197_118_15291384_911 | ABCN | 0 |  | ABCN | CLOSED | CLOSED | CLOSED | MANUAL | [6 empty] | 50000 | 50000 | 50000 | 4800 | [6 empty] | 8100404 | no | no |  |  | no

## feeder
data_type | static
owner_type | feeder
owner | 8100404
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8100404 |  | ts_slack | none | node_SOURCE_8100404 | 4803.554 | 78 | 51 | 16 | 0 | 0 | 0 | 0 | 9 | 1.393 | 0.472 | 0.201 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8100404
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220383195 |  | ABCN | node_intto1_8100404_200813050 | node_8100404_200813050 | GOOD | GOOD | GOOD |  | 125 |  |  | 8100404 | no | no |  |  | no
fuse_220383211 |  | AN | node_intto1_8100404_200813439 | node_8100404_200813439 | GOOD | GOOD | GOOD |  | 100 |  |  | 8100404 | no | no |  |  | no
fuse_220383212 |  | ABCN | node_intto1_8100404_311881210 | node_8100404_311881210 | GOOD | GOOD | GOOD |  | 150 |  |  | 8100404 | no | no |  |  | no
fuse_312035512 |  | ABCN | node_intto1_8100404_312035511 | node_8100404_312035511 | GOOD | GOOD | GOOD |  | 100 |  |  | 8100404 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8100404
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AC_1/0AC(N) |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  | 1.091+1.185j | 0.203+0.469j | 0.203+0.469j | 0.203+0.469j | 1.091+1.185j | 0.203+0.469j | 0.203+0.469j | 0.203+0.469j | 1.091+1.185j | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 |  | no
bal_1P_1/0AC_4/0AL(N) |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_4/0_AL |  | 1.022+1.12j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 1.022+1.12j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 1.022+1.12j | 13.261 | -2.707 | -2.707 | -2.707 | 13.261 | -2.707 | -2.707 | -2.707 | 13.261 |  | no
bal_1P_1/0AC_4CU(N) |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_4_CU |  | 1.117+1.258j | 0.229+0.541j | 0.229+0.541j | 0.229+0.541j | 1.117+1.258j | 0.229+0.541j | 0.229+0.541j | 0.229+0.541j | 1.117+1.258j | 13.21 | -2.758 | -2.758 | -2.758 | 13.21 | -2.758 | -2.758 | -2.758 | 13.21 |  | no
bal_3P_1/0AA_1/0AA(N) |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  | 1.078+1.186j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 1.078+1.186j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 1.078+1.186j | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 |  | no
bal_3P_1/0AC_4/0AL(N) |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_4/0_AL |  | 1.022+1.12j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 1.022+1.12j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 1.022+1.12j | 13.261 | -2.707 | -2.707 | -2.707 | 13.261 | -2.707 | -2.707 | -2.707 | 13.261 |  | no
bal_3P_2/0CU_2/0CU(N) |  | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU |  | 0.571+1.115j | 0.131+0.409j | 0.131+0.409j | 0.131+0.409j | 0.571+1.115j | 0.131+0.409j | 0.131+0.409j | 0.131+0.409j | 0.571+1.115j | 13.33 | -2.752 | -2.752 | -2.752 | 13.33 | -2.752 | -2.752 | -2.752 | 13.33 |  | no
bal_3P_2/0CU_4/0AC(N) |  | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_4/0_ACSR |  | 0.576+1.109j | 0.136+0.403j | 0.136+0.403j | 0.136+0.403j | 0.576+1.109j | 0.136+0.403j | 0.136+0.403j | 0.136+0.403j | 0.576+1.109j | 13.351 | -2.73 | -2.73 | -2.73 | 13.351 | -2.73 | -2.73 | -2.73 | 13.351 |  | no
bal_3P_4/0CU_2/0CU(N) |  | oh_cond_4/0_CU | oh_cond_4/0_CU | oh_cond_4/0_CU | oh_cond_2/0_CU |  | 0.41+1.087j | 0.131+0.409j | 0.131+0.409j | 0.131+0.409j | 0.41+1.087j | 0.131+0.409j | 0.131+0.409j | 0.131+0.409j | 0.41+1.087j | 13.85 | -2.931 | -2.931 | -2.931 | 13.85 | -2.931 | -2.931 | -2.931 | 13.85 |  | no
bal_3P_477AL_4/0AL(N) |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_4/0_AL |  | 0.332+1.034j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 0.332+1.034j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 0.332+1.034j | 14.921 | -3.285 | -3.285 | -3.285 | 14.921 | -3.285 | -3.285 | -3.285 | 14.921 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_1/0ALURD_1/0AL(N) |  | und_cond_3P_1/0ALURD_1/0AL(N) | und_cond_3P_1/0ALURD_1/0AL(N) | und_cond_3P_1/0ALURD_1/0AL(N) |  |  | 1.489+0.467j | 0.385+0.07j | 0.385+0.07j | 0.385+0.07j | 1.489+0.467j | 0.385+0.07j | 0.385+0.07j | 0.385+0.07j | 1.489+0.467j | 530.19 | 0 | 0 | 0 | 530.19 | 0 | 0 | 0 | 530.19 |  | no
und_3P_2ALURD_2AL(N) |  | und_cond_3P_2ALURD_2AL(N) | und_cond_3P_2ALURD_2AL(N) | und_cond_3P_2ALURD_2AL(N) |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.497 | 0 | 0 | 0 | 401.497 | 0 | 0 | 0 | 401.497 |  | no
und_3P_4/0ALURD_4/0AL(N) |  | und_cond_3P_4/0ALURD_4/0AL(N) | und_cond_3P_4/0ALURD_4/0AL(N) | und_cond_3P_4/0ALURD_4/0AL(N) |  |  | 0.54+0.256j | 0.113-0.045j | 0.113-0.045j | 0.113-0.045j | 0.54+0.256j | 0.113-0.045j | 0.113-0.045j | 0.113-0.045j | 0.54+0.256j | 617.704 | 0 | 0 | 0 | 617.704 | 0 | 0 | 0 | 617.704 |  | no
und_3P_4/0CUURD_4/0CU(N) |  | und_cond_3P_4/0CUURD_4/0CU(N) | und_cond_3P_4/0CUURD_4/0CU(N) | und_cond_3P_4/0CUURD_4/0CU(N) |  |  | 0.461+0.306j | 0.08+0.011j | 0.08+0.011j | 0.08+0.011j | 0.461+0.306j | 0.08+0.011j | 0.08+0.011j | 0.08+0.011j | 0.461+0.306j | 617.704 | 0 | 0 | 0 | 617.704 | 0 | 0 | 0 | 617.704 |  | no
und_3P_500CUURD_500CU(N) |  | und_cond_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) |  |  | 0.202+0.249j | 0.032+0.017j | 0.032+0.017j | 0.032+0.017j | 0.202+0.249j | 0.032+0.017j | 0.032+0.017j | 0.032+0.017j | 0.202+0.249j | 878.925 | 0 | 0 | 0 | 878.925 | 0 | 0 | 0 | 878.925 |  | no
und_3P_WYECUST |  | und_cond_3P_WYECUST | und_cond_3P_WYECUST | und_cond_3P_WYECUST |  |  | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8100404
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220332235 |  | node_1391195_89_15291465_357 |  | AN | 0 | NonResidential | 235000+100109.581j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332252 |  | node_1391353_915_15292051_681 |  | AN | 0 | NonResidential | 31333.333+13347.944j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332253 |  | node_1391362_038_15292048_716 |  | BN | 0 | NonResidential | 0 | 31333.333+13347.944j | 0 | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332254 |  | node_1391340_733_15292055_87 |  | CN | 0 | NonResidential | 0 | 0 | 31333.333+13347.944j | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332334 |  | node_1390846_929_15291452_8 |  | AN | 0 | NonResidential | 8575.2+3653.02j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332335 |  | node_1390952_635_15291667_87 |  | AN | 0 | Residential | 86464.8+36833.851j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312035515 |  | node_1391312_964_15291413_605 |  | ABCN | 0 | NonResidential | 16000+6815.971j | 16000+6815.971j | 16000+6815.971j | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312124131 |  | node_1391493_762_15292254_483 |  | AN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312124131-L1-1 |  | node_1391493_762_15292254_483 |  | AN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100404 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8100404
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1390846_929_15291452_8 |  |  | PQ | AN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1390846.929 | 15291452.8 |  | -1
node_1390952_635_15291667_87 |  |  | PQ | AN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1390952.635 | 15291667.87 |  | -1
node_1391195_89_15291465_357 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391195.89 | 15291465.357 |  | -1
node_1391197_118_15291384_911 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391197.118 | 15291384.911 |  | -1
node_1391312_964_15291413_605 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391312.964 | 15291413.605 |  | -1
node_1391340_733_15292055_87 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391340.733 | 15292055.87 |  | -1
node_1391353_915_15292051_681 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391353.915 | 15292051.681 |  | -1
node_1391362_038_15292048_716 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391362.038 | 15292048.716 |  | -1
node_1391493_762_15292254_483 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391493.762 | 15292254.483 |  | -1
node_1391749_249_15293508_988 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391749.249 | 15293508.988 |  | -1
node_8100404_200805159 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391958.402 | 15294179.151 |  | -1
node_8100404_200807731 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1393292.023 | 15295193.781 |  | -1
node_8100404_200807732 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1393423.49 | 15295360.262 |  | -1
node_8100404_200807734 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1393173.659 | 15295057.559 |  | -1
node_8100404_200812902 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391909.961 | 15294002.989 |  | -1
node_8100404_200813050 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391278.229 | 15291124.32 |  | -1
node_8100404_200813052 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391479.52 | 15292302.642 |  | -1
node_8100404_200813053 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391212.749 | 15291439.846 |  | -1
node_8100404_200813054 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391199.136 | 15291391.807 |  | -1
node_8100404_200813057 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391160.813 | 15291260.872 |  | -1
node_8100404_200813059 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391133.542 | 15291162.808 |  | -1
node_8100404_200813073 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391467.103 | 15292251.952 |  | -1
node_8100404_200813083 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391438.25 | 15292128.043 |  | -1
node_8100404_200813084 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391416.135 | 15292028.656 |  | -1
node_8100404_200813085 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391354.392 | 15292022.342 |  | -1
node_8100404_200813087 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391377.813 | 15291909.127 |  | -1
node_8100404_200813089 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391327.908 | 15291843.348 |  | -1
node_8100404_200813091 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391294.57 | 15291680.06 |  | -1
node_8100404_200813093 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391257.274 | 15291605.729 |  | -1
node_8100404_200813094 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391233.048 | 15291530.656 |  | -1
node_8100404_200813431 |  |  | PQ | AN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1390923.82 | 15291620.718 |  | -1
node_8100404_200813432 |  |  | PQ | AN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1390895.549 | 15291517.036 |  | -1
node_8100404_200813433 |  |  | PQ | AN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1390878.71 | 15291459.906 |  | -1
node_8100404_200813436 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391238.745 | 15291610.348 |  | -1
node_8100404_200813437 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391128.141 | 15291636.627 |  | -1
node_8100404_200813438 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391053.045 | 15291653.318 |  | -1
node_8100404_200813439 |  |  | PQ | AN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391022.836 | 15291666.768 |  | -1
node_8100404_200813440 |  |  | PQ | AN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1390939.789 | 15291679.861 |  | -1
node_8100404_200917192 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391162.484 | 15291876.151 |  | -1
node_8100404_200917193 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391082.127 | 15292151.465 |  | -1
node_8100404_200917206 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391783.888 | 15293500.941 |  | -1
node_8100404_200917275 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1392695.479 | 15293953.409 |  | -1
node_8100404_200954470 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391123.896 | 15291126.117 |  | -1
node_8100404_200954471 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391094.479 | 15291176.89 |  | -1
node_8100404_311881014 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1392001.545 | 15293978.897 |  | -1
node_8100404_311881210 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391229.01 | 15291636.529 |  | -1
node_8100404_311887544 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1392962.793 | 15294818.043 |  | -1
node_8100404_311887545 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1392870.927 | 15294509.271 |  | -1
node_8100404_311887546 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1392773.558 | 15294200.78 |  | -1
node_8100404_311887554 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391899.759 | 15293962.38 |  | -1
node_8100404_311887558 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391872.703 | 15293854.69 |  | -1
node_8100404_311887560 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391851.78 | 15293771.41 |  | -1
node_8100404_311887561 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391831.169 | 15293689.373 |  | -1
node_8100404_311887565 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391808.183 | 15293597.764 |  | -1
node_8100404_311887569 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391752.296 | 15293376.694 |  | -1
node_8100404_311887571 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391720.521 | 15293251.727 |  | -1
node_8100404_311887575 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391687.814 | 15293123.064 |  | -1
node_8100404_311887577 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391669.651 | 15293051.522 |  | -1
node_8100404_311887579 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391659.487 | 15293011.486 |  | -1
node_8100404_311887580 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391636.57 | 15292921.222 |  | -1
node_8100404_311887599 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391613.702 | 15292831.148 |  | -1
node_8100404_311887600 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391600.138 | 15292777.723 |  | -1
node_8100404_311887601 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391575.258 | 15292679.724 |  | -1
node_8100404_311887602 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391553.886 | 15292595.548 |  | -1
node_8100404_311887604 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391539.273 | 15292537.992 |  | -1
node_8100404_312004790 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391288.861 | 15291421.083 |  | -1
node_8100404_312035511 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391303.5 | 15291416.458 |  | -1
node_SOURCE_8100404 |  |  | SWING | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1393584.024 | 15295379.96 |  | -1
node_intto1_1391749_249_15293508_988 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391749.249 | 15293508.988 |  | -1
node_intto1_8100404_200812902 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391909.961 | 15294002.989 |  | -1
node_intto1_8100404_200813050 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391278.229 | 15291124.32 |  | -1
node_intto1_8100404_200813073 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391467.103 | 15292251.952 |  | -1
node_intto1_8100404_200813093 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391257.274 | 15291605.729 |  | -1
node_intto1_8100404_200813436 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391238.745 | 15291610.348 |  | -1
node_intto1_8100404_200813439 |  |  | PQ | AN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391022.836 | 15291666.768 |  | -1
node_intto1_8100404_200954470 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391123.896 | 15291126.117 |  | -1
node_intto1_8100404_311881210 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391229.01 | 15291636.529 |  | -1
node_intto1_8100404_312035511 |  |  | PQ | ABCN | 4803.554 | 8100404 | no | no |  |  | no |  |  | 1391303.5 | 15291416.458 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8100404
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8100404_200813052 |  | ABCN | node_8100404_311887604 | node_8100404_200813052 | 242.816 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813053 |  | ABCN | node_8100404_200813094 | node_8100404_200813053 | 93.052 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813054 |  | ABCN | node_8100404_200813053 | node_8100404_200813054 | 49.93 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813057-1 |  | ABCN | node_1391197_118_15291384_911 | node_8100404_200813057 | 129.243 | bal_3P_2/0CU_4/0AC(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813057-2 |  | ABCN | node_8100404_200813054 | node_1391197_118_15291384_911 | 7.185 | bal_3P_2/0CU_4/0AC(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813059 |  | ABCN | node_8100404_200813057 | node_8100404_200813059 | 101.786 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813073 |  | ABCN | node_8100404_200813052 | node_intto1_8100404_200813073 | 52.189 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813083 |  | ABCN | node_8100404_200813073 | node_8100404_200813083 | 127.223 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813084 |  | ABCN | node_8100404_200813083 | node_8100404_200813084 | 101.818 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813085 |  | ABCN | node_8100404_200813084 | node_8100404_200813085 | 62.065 | bal_3P_1/0AA_1/0AA(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813087 |  | ABCN | node_8100404_200813084 | node_8100404_200813087 | 125.521 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813089 |  | ABCN | node_8100404_200813087 | node_8100404_200813089 | 82.568 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813091 |  | ABCN | node_8100404_200813089 | node_8100404_200813091 | 166.656 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813093 |  | ABCN | node_8100404_200813091 | node_intto1_8100404_200813093 | 83.163 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813094 |  | ABCN | node_8100404_200813093 | node_8100404_200813094 | 78.885 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813431 |  | AN | node_8100404_200813440 | node_8100404_200813431 | 61.261 | bal_1P_1/0AC_1/0AC(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813432 |  | AN | node_8100404_200813431 | node_8100404_200813432 | 107.467 | bal_1P_1/0AC_1/0AC(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813433 |  | AN | node_8100404_200813432 | node_8100404_200813433 | 59.56 | bal_1P_1/0AC_4/0AL(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813436 |  | ABCN | node_8100404_200813093 | node_intto1_8100404_200813436 | 19.096 | bal_3P_1/0AC_4/0AL(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813437 |  | ABCN | node_8100404_200813436 | node_8100404_200813437 | 113.682 | bal_3P_1/0AC_4/0AL(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813438 |  | ABCN | node_8100404_200813437 | node_8100404_200813438 | 76.929 | bal_3P_1/0AC_4/0AL(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813439 |  | AN | node_8100404_200813438 | node_intto1_8100404_200813439 | 33.067 | bal_1P_1/0AC_4/0AL(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200813440 |  | AN | node_8100404_200813439 | node_8100404_200813440 | 84.073 | bal_1P_1/0AC_4CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200917206-1 |  | ABCN | node_8100404_200917206 | node_intto1_1391749_249_15293508_988 | 39.279 | bal_3P_1/0AA_1/0AA(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200917206-2 |  | ABCN | node_8100404_311887565 | node_8100404_200917206 | 99.825 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200954470 |  | ABCN | node_8100404_200813059 | node_intto1_8100404_200954470 | 37.938 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_200954471 |  | ABCN | node_8100404_200813059 | node_8100404_200954471 | 41.524 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887554 |  | ABCN | node_8100404_200812902 | node_8100404_311887554 | 41.871 | bal_3P_477AL_4/0AL(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887558 |  | ABCN | node_8100404_311887554 | node_8100404_311887558 | 111.037 | bal_3P_4/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887560 |  | ABCN | node_8100404_311887558 | node_8100404_311887560 | 85.868 | bal_3P_4/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887561 |  | ABCN | node_8100404_311887560 | node_8100404_311887561 | 84.587 | bal_3P_4/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887565 |  | ABCN | node_8100404_311887561 | node_8100404_311887565 | 94.448 | bal_3P_4/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887569 |  | ABCN | node_8100404_200917206 | node_8100404_311887569 | 128.2 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887571 |  | ABCN | node_8100404_311887569 | node_8100404_311887571 | 128.943 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887575 |  | ABCN | node_8100404_311887571 | node_8100404_311887575 | 132.755 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887577 |  | ABCN | node_8100404_311887575 | node_8100404_311887577 | 73.812 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887579 |  | ABCN | node_8100404_311887577 | node_8100404_311887579 | 41.306 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887580 |  | ABCN | node_8100404_311887579 | node_8100404_311887580 | 93.128 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887599 |  | ABCN | node_8100404_311887580 | node_8100404_311887599 | 92.931 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887600 |  | ABCN | node_8100404_311887599 | node_8100404_311887600 | 55.12 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887601 |  | ABCN | node_8100404_311887600 | node_8100404_311887601 | 101.108 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887602 |  | ABCN | node_8100404_311887601 | node_8100404_311887602 | 86.847 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_311887604 |  | ABCN | node_8100404_311887602 | node_8100404_311887604 | 59.382 | bal_3P_2/0CU_2/0CU(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100404_312004790 |  | ABCN | node_8100404_200813053 | node_8100404_312004790 | 78.391 | bal_3P_1/0AA_1/0AA(N) | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892638 |  | ABCN | node_8100404_200813053 | node_1391195_89_15291465_357 | 0.033 | unb_TAPWIRE_OH | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892696 |  | AN | node_8100404_200813433 | node_1390846_929_15291452_8 | 0.033 | unb_TAPWIRE_OH | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892697 |  | AN | node_8100404_200813440 | node_1390952_635_15291667_87 | 0.033 | unb_TAPWIRE_OH | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135740 |  | ABCN | node_8100404_200813085 | node_1391353_915_15292051_681 | 0.033 | unb_TAPWIRE_OH | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135741 |  | ABCN | node_8100404_200813085 | node_1391362_038_15292048_716 | 0.033 | unb_TAPWIRE_OH | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2135742 |  | ABCN | node_8100404_200813085 | node_1391340_733_15292055_87 | 0.033 | unb_TAPWIRE_OH | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_5341998 |  | ABCN | node_8100404_200813073 | node_1391493_762_15292254_483 | 0.033 | unb_TAPWIRE_OH | 8100404 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8100404
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_2/0_CU |  | 0.013 | 0.44 | 0.414 | 295 | 295 | 425 | 425 |  | no
oh_cond_4/0_ACSR |  | 0.017 | 0.445 | 0.563 | 410 | 410 | 515 | 515 |  | no
oh_cond_4/0_AL |  | 0.016 | 0.442 | 0.522 | 365 | 365 | 480 | 480 |  | no
oh_cond_4/0_CU |  | 0.017 | 0.278 | 0.522 | 395 | 290 | 570 | 570 |  | no
oh_cond_4_CU |  | 0.007 | 1.388 | 0.232 | 140 | 140 | 200 | 200 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8100404
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_108T101_NO-220415415 |  | ABCN | node_intto1_1391749_249_15293508_988 | node_1391749_249_15293508_988 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100404 | no | no |  |  | no
switch_108T111_NO-220415478 |  | ABCN | node_intto1_8100404_200954470 | node_8100404_200954470 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100404 | no | no |  |  | no
switch_10836-220415494 |  | ABCN | node_intto1_8100404_200812902 | node_8100404_200812902 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100404 | no | no |  |  | no
switch_10846-220415480 |  | ABCN | node_intto1_8100404_200813073 | node_8100404_200813073 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100404 | no | no |  |  | no
switch_10856-220415464 |  | ABCN | node_intto1_8100404_200813093 | node_8100404_200813093 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100404 | no | no |  |  | no
switch_220415483 |  | ABCN | node_intto1_8100404_200813436 | node_8100404_200813436 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100404 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8100404
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8100404_200805159 |  | ABCN | node_8100404_200917275 | node_8100404_200805159 | 770.871 | und_3P_4/0CUURD_4/0CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_200807731 |  | ABCN | node_8100404_200807732 | node_8100404_200807731 | 212.131 | und_3P_500CUURD_500CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_200807732 |  | ABCN | node_SOURCE_8100404 | node_8100404_200807732 | 161.737 | und_3P_500CUURD_500CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_200807734 |  | ABCN | node_8100404_200807731 | node_8100404_200807734 | 180.462 | und_3P_4/0CUURD_4/0CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_200812902 |  | ABCN | node_8100404_200805159 | node_intto1_8100404_200812902 | 182.7 | und_3P_500CUURD_500CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_200813050 |  | ABCN | node_8100404_200813057 | node_intto1_8100404_200813050 | 180.091 | und_3P_2ALURD_2AL(N) | 8100404 | no | no |  |  | no
und_line_8100404_200917192 |  | ABCN | node_8100404_311881210 | node_8100404_200917192 | 248.685 | und_3P_2ALURD_2AL(N) | 8100404 | no | no |  |  | no
und_line_8100404_200917193 |  | ABCN | node_8100404_200917192 | node_8100404_200917193 | 286.802 | und_3P_2ALURD_2AL(N) | 8100404 | no | no |  |  | no
und_line_8100404_200917275 |  | ABCN | node_8100404_311887546 | node_8100404_200917275 | 259.401 | und_3P_4/0CUURD_4/0CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_311881014 |  | ABCN | node_8100404_200812902 | node_8100404_311881014 | 94.7 | und_3P_1/0ALURD_1/0AL(N) | 8100404 | no | no |  |  | no
und_line_8100404_311881210 |  | ABCN | node_8100404_200813436 | node_intto1_8100404_311881210 | 27.933 | und_3P_4/0ALURD_4/0AL(N) | 8100404 | no | no |  |  | no
und_line_8100404_311887544 |  | ABCN | node_8100404_200807734 | node_8100404_311887544 | 319.112 | und_3P_4/0CUURD_4/0CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_311887545 |  | ABCN | node_8100404_311887544 | node_8100404_311887545 | 322.148 | und_3P_4/0CUURD_4/0CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_311887546 |  | ABCN | node_8100404_311887545 | node_8100404_311887546 | 323.493 | und_3P_4/0CUURD_4/0CU(N) | 8100404 | no | no |  |  | no
und_line_8100404_312035511 |  | ABCN | node_8100404_312004790 | node_intto1_8100404_312035511 | 15.352 | und_3P_WYECUST | 8100404 | no | no |  |  | no
und_line_TAP_UG_2082514 |  | ABCN | node_8100404_312035511 | node_1391312_964_15291413_605 | 0.033 | und_TAPWIRE_UG | 8100404 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8100404
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_1/0ALURD_1/0AL(N) | [12 empty] | 160 | 160 | 180 | 180 |  | no
und_cond_3P_2ALURD_2AL(N) | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_4/0ALURD_4/0AL(N) | [12 empty] | 297 | 297 | 312 | 312 |  | no
und_cond_3P_4/0CUURD_4/0CU(N) | [12 empty] | 297 | 297 | 312 | 312 |  | no
und_cond_3P_500CUURD_500CU(N) | [12 empty] | 484 | 484 | 508 | 508 |  | no
und_cond_3P_WYECUST | [12 empty] | 685 | 685 | 685 | 685 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no