## feeder
data_type | static
owner_type | feeder
owner | 8100417
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8100417 |  | ts_slack | none | node_SOURCE_8100417 | 7199.558 | 88 | 13 | 68 | 0 | 0 | 0 | 0 | 19 | 1.468 | 2.551 | 1.087 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8100417
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220620806 |  | ABCN | node_intto1_8100417_201047522 | node_8100417_201047522 | GOOD | GOOD | GOOD |  | 50 |  |  | 8100417 | no | no |  |  | no
fuse_220623563 |  | ABCN | node_intto1_220623563 | node_220623563 | GOOD | GOOD | GOOD |  | 100 |  |  | 8100417 | no | no |  |  | no
fuse_220625892 |  | ABCN | node_intto1_8100417_200809433 | node_8100417_200809433 | GOOD | GOOD | GOOD |  | 300 |  |  | 8100417 | no | no |  |  | no
fuse_220625895 |  | ABCN | node_intto1_8100417_200809437 | node_8100417_200809437 | GOOD | GOOD | GOOD |  | 300 |  |  | 8100417 | no | no |  |  | no
fuse_310008078 |  | ABCN | node_intto1_8100417_200959675 | node_8100417_200959675 | GOOD | GOOD | GOOD |  | 200 |  |  | 8100417 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8100417
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AC_2/0CU(N) |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_2/0_CU |  | 1.019+1.125j | 0.131+0.409j | 0.131+0.409j | 0.131+0.409j | 1.019+1.125j | 0.131+0.409j | 0.131+0.409j | 0.131+0.409j | 1.019+1.125j | 13.245 | -2.723 | -2.723 | -2.723 | 13.245 | -2.723 | -2.723 | -2.723 | 13.245 |  | no
bal_2P_1/0AC_2/0CU(N) |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_2_ACSR |  | 1.123+1.259j | 0.235+0.543j | 0.235+0.543j | 0.235+0.543j | 1.123+1.259j | 0.235+0.543j | 0.235+0.543j | 0.235+0.543j | 1.123+1.259j | 13.23 | -2.739 | -2.739 | -2.739 | 13.23 | -2.739 | -2.739 | -2.739 | 13.23 |  | no
bal_3P_1/0AA_1/0AA(N) |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  | 1.078+1.186j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 1.078+1.186j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 1.078+1.186j | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 |  | no
bal_3P_2/0CU_2/0CU(N) |  | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU |  | 0.571+1.115j | 0.131+0.409j | 0.131+0.409j | 0.131+0.409j | 0.571+1.115j | 0.131+0.409j | 0.131+0.409j | 0.131+0.409j | 0.571+1.115j | 13.33 | -2.752 | -2.752 | -2.752 | 13.33 | -2.752 | -2.752 | -2.752 | 13.33 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_1/0ALURD_1/0AL(N) |  | und_cond_3P_1/0ALURD_1/0AL(N) | und_cond_3P_1/0ALURD_1/0AL(N) | und_cond_3P_1/0ALURD_1/0AL(N) |  |  | 1.489+0.467j | 0.385+0.07j | 0.385+0.07j | 0.385+0.07j | 1.489+0.467j | 0.385+0.07j | 0.385+0.07j | 0.385+0.07j | 1.489+0.467j | 530.19 | 0 | 0 | 0 | 530.19 | 0 | 0 | 0 | 530.19 |  | no
und_3P_1/0CUURD_1/0CU(N) |  | und_cond_3P_1/0CUURD_1/0CU(N) | und_cond_3P_1/0CUURD_1/0CU(N) | und_cond_3P_1/0CUURD_1/0CU(N) |  |  | 0.879+0.384j | 0.171+0.021j | 0.171+0.021j | 0.171+0.021j | 0.879+0.384j | 0.171+0.021j | 0.171+0.021j | 0.171+0.021j | 0.879+0.384j | 474.878 | 0 | 0 | 0 | 474.878 | 0 | 0 | 0 | 474.878 |  | no
und_3P_2ALURD_2AL(N) |  | und_cond_3P_2ALURD_2AL(N) | und_cond_3P_2ALURD_2AL(N) | und_cond_3P_2ALURD_2AL(N) |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.497 | 0 | 0 | 0 | 401.497 | 0 | 0 | 0 | 401.497 |  | no
und_3P_4/0CUURD_4/0CU(N) |  | und_cond_3P_4/0CUURD_4/0CU(N) | und_cond_3P_4/0CUURD_4/0CU(N) | und_cond_3P_4/0CUURD_4/0CU(N) |  |  | 0.461+0.306j | 0.08+0.011j | 0.08+0.011j | 0.08+0.011j | 0.461+0.306j | 0.08+0.011j | 0.08+0.011j | 0.08+0.011j | 0.461+0.306j | 617.704 | 0 | 0 | 0 | 617.704 | 0 | 0 | 0 | 617.704 |  | no
und_3P_500CUURD_500CU(N) |  | und_cond_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) |  |  | 0.202+0.249j | 0.032+0.017j | 0.032+0.017j | 0.032+0.017j | 0.202+0.249j | 0.032+0.017j | 0.032+0.017j | 0.032+0.017j | 0.202+0.249j | 878.925 | 0 | 0 | 0 | 878.925 | 0 | 0 | 0 | 878.925 |  | no
und_3P_750ALURD_750AL(N) |  | und_cond_3P_750ALURD_750AL(N) | und_cond_3P_750ALURD_750AL(N) | und_cond_3P_750ALURD_750AL(N) |  |  | 0.338+0.196j | 0.096-0.039j | 0.096-0.039j | 0.096-0.039j | 0.338+0.196j | 0.096-0.039j | 0.096-0.039j | 0.096-0.039j | 0.338+0.196j | 1125.535 | 0 | 0 | 0 | 1125.535 | 0 | 0 | 0 | 1125.535 |  | no
und_3P_WYECUST |  | und_cond_3P_WYECUST | und_cond_3P_WYECUST | und_cond_3P_WYECUST |  |  | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8100417
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220330573 |  | node_1392097_577_15292806_304 |  | ABCN | 0 | NonResidential | 68000+28967.879j | 68000+28967.879j | 68000+28967.879j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330702 |  | node_1392350_22_15292893_042 |  | ABCN | 0 | NonResidential | 12000+5111.979j | 12000+5111.979j | 12000+5111.979j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330706 |  | node_1392414_781_15292716_305 |  | ABCN | 0 | Residential | 4480.8+1908.813j | 4480.8+1908.813j | 4480.8+1908.813j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330713 |  | node_1392808_964_15293593_124 |  | ABCN | 0 | Residential | 7579.2+3228.726j | 7579.2+3228.726j | 7579.2+3228.726j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331281 |  | node_1392305_093_15290700_92 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431827 |  | node_1392630_144_15291756_797 |  | AN | 0 | NonResidential | 229666.667+97837.59j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431828 |  | node_1392628_862_15291766_775 |  | BN | 0 | NonResidential | 0 | 229666.667+97837.59j | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431829 |  | node_1392630_8_15291745_033 |  | CN | 0 | NonResidential | 0 | 0 | 229666.667+97837.59j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431835 |  | node_1392155_702_15292093_511 |  | BN | 0 | NonResidential | 0 | 78000+33227.861j | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431837 |  | node_1392153_587_15292076_89 |  | CN | 0 | NonResidential | 0 | 0 | 78000+33227.861j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431838 |  | node_1392153_295_15292085_735 |  | AN | 0 | NonResidential | 78000+33227.861j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220538516 |  | node_1392218_485_15291848_876 |  | ABCN | 0 | NonResidential | 156000+66455.722j | 156000+66455.722j | 156000+66455.722j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220620720 |  | node_1392326_229_15291076_108 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220620762 |  | node_1392239_605_15291051_488 |  | ABCN | 0 | NonResidential | 27333.333+11643.951j | 27333.333+11643.951j | 27333.333+11643.951j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220622505 |  | node_1392359_114_15290901_367 |  | AN | 0 | NonResidential | 4284+1824.976j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220623505 |  | node_1392578_238_15291736_317 |  | AN | 0 | NonResidential | 174333.333+74265.689j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220623506 |  | node_1392565_634_15291731_468 |  | BN | 0 | NonResidential | 0 | 174333.333+74265.689j | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220623507 |  | node_1392570_741_15291732_015 |  | CN | 0 | NonResidential | 0 | 0 | 174333.333+74265.689j | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310013830 |  | node_1391997_813_15291157_428 |  | AN | 0 | NonResidential | 275000+117149.509j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100417 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8100417
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1391997_813_15291157_428 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1391997.813 | 15291157.428 |  | -1
node_1392097_577_15292806_304 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392097.577 | 15292806.304 |  | -1
node_1392153_295_15292085_735 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392153.295 | 15292085.735 |  | -1
node_1392153_587_15292076_89 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392153.587 | 15292076.89 |  | -1
node_1392155_702_15292093_511 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392155.702 | 15292093.511 |  | -1
node_1392218_485_15291848_876 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392218.485 | 15291848.876 |  | -1
node_1392239_605_15291051_488 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392239.605 | 15291051.488 |  | -1
node_1392305_093_15290700_92 |  |  | PQ | AN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392305.093 | 15290700.92 |  | -1
node_1392326_229_15291076_108 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392326.229 | 15291076.108 |  | -1
node_1392350_22_15292893_042 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392350.22 | 15292893.042 |  | -1
node_1392359_114_15290901_367 |  |  | PQ | ABN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392359.114 | 15290901.367 |  | -1
node_1392414_781_15292716_305 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392414.781 | 15292716.305 |  | -1
node_1392565_634_15291731_468 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392565.634 | 15291731.468 |  | -1
node_1392566_825_15291753_512 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392566.825 | 15291753.512 |  | -1
node_1392570_741_15291732_015 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392570.741 | 15291732.015 |  | -1
node_1392578_238_15291736_317 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392578.238 | 15291736.317 |  | -1
node_1392628_862_15291766_775 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392628.862 | 15291766.775 |  | -1
node_1392630_8_15291745_033 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392630.8 | 15291745.033 |  | -1
node_1392630_144_15291756_797 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392630.144 | 15291756.797 |  | -1
node_1392808_964_15293593_124 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392808.964 | 15293593.124 |  | -1
node_8100417_200805134 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392116.118 | 15292788.349 |  | -1
node_8100417_200805176 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392207.95 | 15292154.957 |  | -1
node_8100417_200805177 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392399.329 | 15291901.558 |  | -1
node_8100417_200805178 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392504.396 | 15291867.914 |  | -1
node_8100417_200805179 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392907.18 | 15291849.386 |  | -1
node_8100417_200805187 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392241.592 | 15291872.152 |  | -1
node_8100417_200807716 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392367.671 | 15292889.493 |  | -1
node_8100417_200807719 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392429.42 | 15292967.854 |  | -1
node_8100417_200807726 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392394.357 | 15292819.95 |  | -1
node_8100417_200807728 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392413.606 | 15292752.278 |  | -1
node_8100417_200807740 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392715.32 | 15293581.868 |  | -1
node_8100417_200807743 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392798.862 | 15293566.573 |  | -1
node_8100417_200807756 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392537.338 | 15291750.872 |  | -1
node_8100417_200807757 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392496.973 | 15291573.4 |  | -1
node_8100417_200807758 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392465.284 | 15291463.011 |  | -1
node_8100417_200809301 |  |  | PQ | AN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392281.119 | 15290681.388 |  | -1
node_8100417_200809303 |  |  | PQ | ABN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392295.701 | 15290797.942 |  | -1
node_8100417_200809433 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392218.752 | 15291089.132 |  | -1
node_8100417_200809434 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392267.729 | 15291085.816 |  | -1
node_8100417_200809437 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392304.407 | 15291076.163 |  | -1
node_8100417_200917259 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1393390.289 | 15295021.049 |  | -1
node_8100417_200917358 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392394.935 | 15291224.423 |  | -1
node_8100417_200917359 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392362.79 | 15291098.481 |  | -1
node_8100417_200958438 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392320.856 | 15292650.788 |  | -1
node_8100417_200959675 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392014.46 | 15291154.924 |  | -1
node_8100417_201033734 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392003.305 | 15291082.525 |  | -1
node_8100417_201037177 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392224.183 | 15291078.537 |  | -1
node_8100417_201038841 |  |  | PQ | ABN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392329.434 | 15290908.515 |  | -1
node_8100417_201038873 |  |  | PQ | ABN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392354.537 | 15291032.093 |  | -1
node_8100417_201045935 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392267.508 | 15292802.554 |  | -1
node_8100417_201046181 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392717.133 | 15291869.066 |  | -1
node_8100417_201047522 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392124.065 | 15291090.118 |  | -1
node_8100417_201050724 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392615.673 | 15291754.206 |  | -1
node_8100417_201053649 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392633.576 | 15291879.176 |  | -1
node_8100417_310047921 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392172.018 | 15292077.758 |  | -1
node_8100417_311879851 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1393030.883 | 15291865.39 |  | -1
node_8100417_311879854 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1393073.371 | 15291870.652 |  | -1
node_8100417_311884937 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1393591.121 | 15295351.409 |  | -1
node_8100417_311884938 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392366.579 | 15292805.809 |  | -1
node_8100417_311884948 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392854.707 | 15291850.498 |  | -1
node_8100417_311884954 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392230.098 | 15292081.973 |  | -1
node_8100417_311884962 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392253.435 | 15292335.938 |  | -1
node_8100417_311884963 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392267.796 | 15292430.682 |  | -1
node_8100417_311884974 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392507.526 | 15292754.712 |  | -1
node_8100417_311884977 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392306.522 | 15291090.984 |  | -1
node_8100417_311885076 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392585.854 | 15291466.878 |  | -1
node_8100417_311885098 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392540.231 | 15291802.342 |  | -1
node_8100417_311885100 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392541.71 | 15291848.617 |  | -1
node_8100417_311886928 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1393542.59 | 15295271.577 |  | -1
node_8100417_311886935 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1393139.836 | 15294487.005 |  | -1
node_8100417_311886938 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392996.173 | 15294180.684 |  | -1
node_8100417_311887043 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392866.809 | 15293904.859 |  | -1
node_8100417_311887044 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392811.282 | 15293786.467 |  | -1
node_8100417_311887045 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392576.275 | 15293285.419 |  | -1
node_8100417_311887046 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392623.85 | 15293386.849 |  | -1
node_8100417_311887047 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392508.158 | 15293140.192 |  | -1
node_8100417_311887048 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392314.502 | 15292624.428 |  | -1
node_8100417_311887049 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392271.789 | 15292447.246 |  | -1
node_8100417_311887052 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1393259.702 | 15291869.909 |  | -1
node_220623561 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392563.26 | 15291753.112 |  | -1
node_220623563 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392558.606 | 15291752.641 |  | -1
node_SOURCE_8100417 |  |  | SWING | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1393599.094 | 15295364.525 |  | -1
node_intto1_8100417_200809433 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392218.752 | 15291089.132 |  | -1
node_intto1_8100417_200809437 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392304.407 | 15291076.163 |  | -1
node_intto1_8100417_200959675 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392014.46 | 15291154.924 |  | -1
node_intto1_8100417_201047522 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392124.065 | 15291090.118 |  | -1
node_intto1_220623561 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392563.26 | 15291753.112 |  | -1
node_intto1_220623563 |  |  | PQ | ABCN | 7199.558 | 8100417 | no | no |  |  | no |  |  | 1392558.606 | 15291752.641 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8100417
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8100417_200809301 |  | AN | node_8100417_200809303 | node_8100417_200809301 | 117.463 | bal_1P_1/0AC_2/0CU(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100417_200809303 |  | ABN | node_8100417_201038841 | node_8100417_200809303 | 115.604 | bal_2P_1/0AC_2/0CU(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100417_200809433 |  | ABCN | node_8100417_200809434 | node_intto1_8100417_200809433 | 49.089 | bal_3P_2/0CU_2/0CU(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100417_200809437 |  | ABCN | node_8100417_200809434 | node_intto1_8100417_200809437 | 37.928 | bal_3P_2/0CU_2/0CU(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100417_200959675 |  | ABCN | node_8100417_201033734 | node_intto1_8100417_200959675 | 73.253 | bal_3P_1/0AA_1/0AA(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100417_201033734 |  | ABCN | node_8100417_201047522 | node_8100417_201033734 | 120.999 | bal_3P_2/0CU_2/0CU(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100417_201038841 |  | ABN | node_8100417_201038873 | node_8100417_201038841 | 126.103 | bal_2P_1/0AC_2/0CU(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100417_201038873 |  | ABN | node_8100417_200809437 | node_8100417_201038873 | 66.747 | bal_2P_1/0AC_2/0CU(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8100417_201047522 |  | ABCN | node_8100417_200809433 | node_intto1_8100417_201047522 | 94.691 | bal_3P_2/0CU_2/0CU(N) | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892011 |  | AN | node_8100417_200809301 | node_1392305_093_15290700_92 | 0.033 | unb_TAPWIRE_OH | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892037 |  | ABCN | node_8100417_200809437 | node_1392326_229_15291076_108 | 0.033 | unb_TAPWIRE_OH | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_933736 |  | ABN | node_8100417_201038841 | node_1392359_114_15290901_367 | 0.033 | unb_TAPWIRE_OH | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_1440820 |  | ABCN | node_8100417_200959675 | node_1391997_813_15291157_428 | 0.033 | unb_TAPWIRE_OH | 8100417 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8100417
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_2/0_CU |  | 0.013 | 0.44 | 0.414 | 295 | 295 | 425 | 425 |  | no
oh_cond_2_ACSR |  | 0.01 | 1.41 | 0.325 | 195 | 195 | 245 | 245 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8100417
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_220623561 |  | ABCN | node_intto1_220623561 | node_220623561 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8100417 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8100417
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8100417_200805134 |  | ABCN | node_8100417_201045935 | node_8100417_200805134 | 152.056 | und_3P_1/0ALURD_1/0AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_200805176 |  | ABCN | node_8100417_311884954 | node_8100417_200805176 | 76.27 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200805177 |  | ABCN | node_8100417_311884954 | node_8100417_200805177 | 247.364 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200805178 |  | ABCN | node_8100417_200805177 | node_8100417_200805178 | 110.322 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200805179 |  | ABCN | node_8100417_311884948 | node_8100417_200805179 | 52.484 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200805187 |  | ABCN | node_8100417_200805177 | node_8100417_200805187 | 160.455 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807716 |  | ABCN | node_8100417_200807719 | node_8100417_200807716 | 99.766 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807719 |  | ABCN | node_8100417_311887047 | node_8100417_200807719 | 189.48 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807726 |  | ABCN | node_8100417_200807719 | node_8100417_200807726 | 152.002 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807728 |  | ABCN | node_8100417_200807726 | node_8100417_200807728 | 70.357 | und_3P_1/0ALURD_1/0AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807740 |  | ABCN | node_8100417_311887044 | node_8100417_200807740 | 225.986 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807743 |  | ABCN | node_8100417_200807740 | node_8100417_200807743 | 84.931 | und_3P_1/0CUURD_1/0CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807756-1 |  | ABCN | node_220623561 | node_1392566_825_15291753_512 | 3.587 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807756-2 |  | ABCN | node_220623563 | node_intto1_220623561 | 4.678 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807756-3 |  | ABCN | node_8100417_200807756 | node_intto1_220623563 | 21.342 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807756-4 |  | ABCN | node_8100417_311885098 | node_8100417_200807756 | 51.551 | und_3P_4/0CUURD_4/0CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807757 |  | ABCN | node_8100417_200807756 | node_8100417_200807757 | 182.004 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200807758 |  | ABCN | node_8100417_200807757 | node_8100417_200807758 | 114.847 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200809434 |  | ABCN | node_8100417_311884977 | node_8100417_200809434 | 39.136 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200917259 |  | ABCN | node_8100417_311886928 | node_8100417_200917259 | 293.189 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_200917358 |  | ABCN | node_8100417_200807758 | node_8100417_200917358 | 248.743 | und_3P_750ALURD_750AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_200917359 |  | ABCN | node_8100417_200917358 | node_8100417_200917359 | 129.98 | und_3P_750ALURD_750AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_200958438 |  | ABCN | node_8100417_311884938 | node_8100417_200958438 | 161.624 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_201037177 |  | ABCN | node_8100417_200809433 | node_8100417_201037177 | 11.906 | und_3P_2ALURD_2AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_201045935 |  | ABCN | node_8100417_311884938 | node_8100417_201045935 | 99.124 | und_3P_1/0ALURD_1/0AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_201046181 |  | ABCN | node_8100417_201053649 | node_8100417_201046181 | 84.167 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_201050724 |  | ABCN | node_1392566_825_15291753_512 | node_8100417_201050724 | 48.854 | und_3P_750ALURD_750AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_201053649 |  | ABCN | node_8100417_200805178 | node_8100417_201053649 | 129.67 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_310047921 |  | ABCN | node_8100417_311884954 | node_8100417_310047921 | 58.233 | und_3P_WYECUST | 8100417 | no | no |  |  | no
und_line_8100417_311879851 |  | ABCN | node_8100417_200805179 | node_8100417_311879851 | 124.734 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311879854 |  | ABCN | node_8100417_311879851 | node_8100417_311879854 | 42.813 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311884937 |  | ABCN | node_SOURCE_8100417 | node_8100417_311884937 | 15.35 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311884938 |  | ABCN | node_8100417_200807719 | node_8100417_311884938 | 173.803 | und_3P_4/0CUURD_4/0CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311884948 |  | ABCN | node_8100417_201046181 | node_8100417_311884948 | 138.821 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311884954 |  | ABCN | node_8100417_311884962 | node_8100417_311884954 | 255.035 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311884962 |  | ABCN | node_8100417_311884963 | node_8100417_311884962 | 95.833 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311884963 |  | ABCN | node_8100417_311887049 | node_8100417_311884963 | 17.039 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311884974 |  | ABCN | node_8100417_200807726 | node_8100417_311884974 | 130.627 | und_3P_1/0ALURD_1/0AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_311884977 |  | ABCN | node_8100417_200917359 | node_8100417_311884977 | 56.766 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311885076 |  | ABCN | node_8100417_200807758 | node_8100417_311885076 | 120.631 | und_3P_1/0ALURD_1/0AL(N) | 8100417 | no | no |  |  | no
und_line_8100417_311885098 |  | ABCN | node_8100417_311885100 | node_8100417_311885098 | 46.298 | und_3P_4/0CUURD_4/0CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311885100 |  | ABCN | node_8100417_200805178 | node_8100417_311885100 | 42.008 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311886928 |  | ABCN | node_8100417_311884937 | node_8100417_311886928 | 93.426 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311886935 |  | ABCN | node_8100417_200917259 | node_8100417_311886935 | 589.856 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311886938 |  | ABCN | node_8100417_311886935 | node_8100417_311886938 | 338.336 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311887043 |  | ABCN | node_8100417_311886938 | node_8100417_311887043 | 304.655 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311887044 |  | ABCN | node_8100417_311887043 | node_8100417_311887044 | 130.767 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311887045 |  | ABCN | node_8100417_311887046 | node_8100417_311887045 | 112.033 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311887046 |  | ABCN | node_8100417_200807740 | node_8100417_311887046 | 215.404 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311887047 |  | ABCN | node_8100417_311887045 | node_8100417_311887047 | 160.408 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311887048 |  | ABCN | node_8100417_200958438 | node_8100417_311887048 | 27.114 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311887049 |  | ABCN | node_8100417_311887048 | node_8100417_311887049 | 182.258 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_8100417_311887052 |  | ABCN | node_8100417_311879851 | node_8100417_311887052 | 228.864 | und_3P_500CUURD_500CU(N) | 8100417 | no | no |  |  | no
und_line_TAP_UG_58574 |  | ABCN | node_8100417_200805134 | node_1392097_577_15292806_304 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_58583 |  | ABCN | node_8100417_200805187 | node_1392218_485_15291848_876 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_58665 |  | ABCN | node_8100417_200807716 | node_1392350_22_15292893_042 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_58667 |  | ABCN | node_8100417_200807728 | node_1392414_781_15292716_305 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_58670 |  | ABCN | node_8100417_200807743 | node_1392808_964_15293593_124 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_66552 |  | ABCN | node_8100417_201037177 | node_1392239_605_15291051_488 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897864 |  | ABCN | node_8100417_310047921 | node_1392155_702_15292093_511 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897865 |  | ABCN | node_8100417_310047921 | node_1392153_587_15292076_89 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897866 |  | ABCN | node_8100417_310047921 | node_1392153_295_15292085_735 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897867 |  | ABCN | node_1392566_825_15291753_512 | node_1392578_238_15291736_317 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897868 |  | ABCN | node_1392566_825_15291753_512 | node_1392565_634_15291731_468 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897869 |  | ABCN | node_1392566_825_15291753_512 | node_1392570_741_15291732_015 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897876 |  | ABCN | node_8100417_201050724 | node_1392630_144_15291756_797 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897877 |  | ABCN | node_8100417_201050724 | node_1392628_862_15291766_775 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no
und_line_TAP_UG_897878 |  | ABCN | node_8100417_201050724 | node_1392630_8_15291745_033 | 0.033 | und_TAPWIRE_UG | 8100417 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8100417
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_1/0ALURD_1/0AL(N) | [12 empty] | 160 | 160 | 180 | 180 |  | no
und_cond_3P_1/0CUURD_1/0CU(N) | [12 empty] | 200 | 200 | 210 | 210 |  | no
und_cond_3P_2ALURD_2AL(N) | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_4/0CUURD_4/0CU(N) | [12 empty] | 297 | 297 | 312 | 312 |  | no
und_cond_3P_500CUURD_500CU(N) | [12 empty] | 484 | 484 | 508 | 508 |  | no
und_cond_3P_750ALURD_750AL(N) | [12 empty] | 475 | 475 | 525 | 525 |  | no
und_cond_3P_WYECUST | [12 empty] | 685 | 685 | 685 | 685 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no