## feeder
data_type | static
owner_type | feeder
owner | 8100419
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8100419 |  | ts_slack | none | node_SOURCE_8100419 | 7199.558 | 31 | 0 | 30 | 0 | 0 | 0 | 0 | 4 | 0.797 | 0.669 | 0.285 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## line_configuration
data_type | static
owner_type | feeder
owner | 8100419
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
und_3P_4/0ALURD_4/0AL(N) |  | und_cond_3P_4/0ALURD_4/0AL(N) | und_cond_3P_4/0ALURD_4/0AL(N) | und_cond_3P_4/0ALURD_4/0AL(N) |  |  | 0.54+0.256j | 0.113-0.045j | 0.113-0.045j | 0.113-0.045j | 0.54+0.256j | 0.113-0.045j | 0.113-0.045j | 0.113-0.045j | 0.54+0.256j | 617.704 | 0 | 0 | 0 | 617.704 | 0 | 0 | 0 | 617.704 |  | no
und_3P_4/0CUURD_4/0CU(N) |  | und_cond_3P_4/0CUURD_4/0CU(N) | und_cond_3P_4/0CUURD_4/0CU(N) | und_cond_3P_4/0CUURD_4/0CU(N) |  |  | 0.461+0.306j | 0.08+0.011j | 0.08+0.011j | 0.08+0.011j | 0.461+0.306j | 0.08+0.011j | 0.08+0.011j | 0.08+0.011j | 0.461+0.306j | 617.704 | 0 | 0 | 0 | 617.704 | 0 | 0 | 0 | 617.704 |  | no
und_3P_500CUURD_500CU(N) |  | und_cond_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) |  |  | 0.202+0.249j | 0.032+0.017j | 0.032+0.017j | 0.032+0.017j | 0.202+0.249j | 0.032+0.017j | 0.032+0.017j | 0.032+0.017j | 0.202+0.249j | 878.925 | 0 | 0 | 0 | 878.925 | 0 | 0 | 0 | 878.925 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8100419
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220330685 |  | node_1393089_388_15293093_445 |  | ABCN | 0 | NonResidential | 16666.667+7099.97j | 16666.667+7099.97j | 16666.667+7099.97j | 0 | 0 | 0 | [24 empty] | 8100419 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330686 |  | node_1393033_966_15293172_141 |  | AN | 0 | NonResidential | 206333.333+87897.632j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8100419 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330687 |  | node_1393030_89_15293174_254 |  | BN | 0 | NonResidential | 0 | 206333.333+87897.632j | 0 | 0 | 0 | 0 | [24 empty] | 8100419 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330688 |  | node_1393037_599_15293173_836 |  | CN | 0 | NonResidential | 0 | 0 | 206333.333+87897.632j | 0 | 0 | 0 | [24 empty] | 8100419 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8100419
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1393030_89_15293174_254 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393030.89 | 15293174.254 |  | -1
node_1393033_966_15293172_141 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393033.966 | 15293172.141 |  | -1
node_1393037_599_15293173_836 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393037.599 | 15293173.836 |  | -1
node_1393089_388_15293093_445 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393089.388 | 15293093.445 |  | -1
node_8100419_200805094 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393042.127 | 15291847.858 |  | -1
node_8100419_200807687 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393073.03 | 15293088.21 |  | -1
node_8100419_200807688 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393035.302 | 15293183.473 |  | -1
node_8100419_200807707 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393009.569 | 15293076.619 |  | -1
node_8100419_200917217 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1392967.438 | 15292759.822 |  | -1
node_8100419_200917218 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1392993.712 | 15292906.738 |  | -1
node_8100419_200917230 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393115.455 | 15292429.254 |  | -1
node_8100419_200917276 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393257.864 | 15293863.653 |  | -1
node_8100419_200917287 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393304.697 | 15294020.753 |  | -1
node_8100419_311884789 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393108.271 | 15292384.874 |  | -1
node_8100419_311885077 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1392896.751 | 15292432.264 |  | -1
node_8100419_311885078 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393041.141 | 15292430.277 |  | -1
node_8100419_311885080 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393601.273 | 15295349.381 |  | -1
node_8100419_311885081 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393586.471 | 15295299.603 |  | -1
node_8100419_311885088 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393435.616 | 15294792.299 |  | -1
node_8100419_311885092 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393023.165 | 15293117.863 |  | -1
node_8100419_311885093 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393053.163 | 15293208.863 |  | -1
node_8100419_311885094 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393058.1 | 15293271.488 |  | -1
node_8100419_311887091 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393598.077 | 15294631.405 |  | -1
node_8100419_311887096 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393390.482 | 15294256.083 |  | -1
node_8100419_311887109 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393182.226 | 15293621.699 |  | -1
node_8100419_311887110 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393105.052 | 15293374.839 |  | -1
node_8100419_311887113 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1392939.76 | 15292631.564 |  | -1
node_8100419_311887114 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1392970.176 | 15292623.258 |  | -1
node_8100419_311887118 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393043.456 | 15291785.45 |  | -1
node_8100419_311922958 |  |  | PQ | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393467.55 | 15294468.043 |  | -1
node_SOURCE_8100419 |  |  | SWING | ABCN | 7199.558 | 8100419 | no | no |  |  | no |  |  | 1393605.239 | 15295362.719 |  | -1

## underground_line
data_type | static
owner_type | feeder
owner | 8100419
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8100419_200805094 |  | ABCN | node_8100419_311884789 | node_8100419_200805094 | 541.074 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_200807687 |  | ABCN | node_8100419_200807707 | node_8100419_200807687 | 64.511 | und_3P_4/0ALURD_4/0AL(N) | 8100419 | no | no |  |  | no
und_line_8100419_200807688 |  | ABCN | node_8100419_311885093 | node_8100419_200807688 | 31.042 | und_3P_4/0CUURD_4/0CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_200807707 |  | ABCN | node_8100419_311885092 | node_8100419_200807707 | 43.428 | und_3P_4/0CUURD_4/0CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_200917217 |  | ABCN | node_8100419_200917218 | node_8100419_200917217 | 149.247 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_200917218 |  | ABCN | node_8100419_200807707 | node_8100419_200917218 | 170.619 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_200917230 |  | ABCN | node_8100419_311885078 | node_8100419_200917230 | 74.32 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_200917276 |  | ABCN | node_8100419_200917287 | node_8100419_200917276 | 163.932 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_200917287 |  | ABCN | node_8100419_311887096 | node_8100419_200917287 | 250.478 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311884789 |  | ABCN | node_8100419_200917230 | node_8100419_311884789 | 44.958 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311885077 |  | ABCN | node_8100419_311887113 | node_8100419_311885077 | 203.887 | und_3P_4/0CUURD_4/0CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311885078 |  | ABCN | node_8100419_311885077 | node_8100419_311885078 | 144.404 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311885080 |  | ABCN | node_SOURCE_8100419 | node_8100419_311885080 | 13.915 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311885081 |  | ABCN | node_8100419_311885080 | node_8100419_311885081 | 51.932 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311885088 |  | ABCN | node_8100419_311885081 | node_8100419_311885088 | 529.258 | und_3P_4/0CUURD_4/0CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311885092 |  | ABCN | node_8100419_311885093 | node_8100419_311885092 | 95.816 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311885093 |  | ABCN | node_8100419_311887110 | node_8100419_311885093 | 173.898 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311885094 |  | ABCN | node_8100419_311885093 | node_8100419_311885094 | 62.82 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311887091 |  | ABCN | node_8100419_311885088 | node_8100419_311887091 | 228.649 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311887096 |  | ABCN | node_8100419_311922958 | node_8100419_311887096 | 225.537 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311887109 |  | ABCN | node_8100419_200917276 | node_8100419_311887109 | 253.501 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311887110 |  | ABCN | node_8100419_311887109 | node_8100419_311887110 | 258.642 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311887113 |  | ABCN | node_8100419_200917217 | node_8100419_311887113 | 131.21 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311887114 |  | ABCN | node_8100419_311887113 | node_8100419_311887114 | 31.53 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311887118 |  | ABCN | node_8100419_200805094 | node_8100419_311887118 | 62.422 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_8100419_311922958 |  | ABCN | node_8100419_311887091 | node_8100419_311922958 | 209.103 | und_3P_500CUURD_500CU(N) | 8100419 | no | no |  |  | no
und_line_TAP_UG_58656 |  | ABCN | node_8100419_200807687 | node_1393089_388_15293093_445 | 0.033 | und_TAPWIRE_UG | 8100419 | no | no |  |  | no
und_line_TAP_UG_900267 |  | ABCN | node_8100419_200807688 | node_1393033_966_15293172_141 | 0.033 | und_TAPWIRE_UG | 8100419 | no | no |  |  | no
und_line_TAP_UG_900268 |  | ABCN | node_8100419_200807688 | node_1393030_89_15293174_254 | 0.033 | und_TAPWIRE_UG | 8100419 | no | no |  |  | no
und_line_TAP_UG_900269 |  | ABCN | node_8100419_200807688 | node_1393037_599_15293173_836 | 0.033 | und_TAPWIRE_UG | 8100419 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8100419
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_4/0ALURD_4/0AL(N) | [12 empty] | 297 | 297 | 312 | 312 |  | no
und_cond_3P_4/0CUURD_4/0CU(N) | [12 empty] | 297 | 297 | 312 | 312 |  | no
und_cond_3P_500CUURD_500CU(N) | [12 empty] | 484 | 484 | 508 | 508 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no