## capacitor
data_type | static
owner_type | feeder
owner | 8101204
object | capacitor
name | groupid | parent | phases | nominal_voltage | pt_phase | phases_connected | switchA | switchB | switchC | control | voltage_set_high | voltage_set_low | VAr_set_high | VAr_set_low | current_set_high | current_set_low | capacitor_A | capacitor_B | capacitor_C | cap_nominal_voltage | time_delay | dwell_time | lockout_time | remote_sense | remote_sense_B | control_level | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
cap_220369355 |  | node_1369797_447_15291770_427 | ABCN | 0 |  | ABCN | CLOSED | CLOSED | CLOSED | MANUAL | [6 empty] | 200000 | 200000 | 200000 | 4800 | [6 empty] | 8101204 | no | no |  |  | no

## feeder
data_type | static
owner_type | feeder
owner | 8101204
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8101204 |  | ts_slack | none | node_SOURCE_8101204 | 2771.281 | 184 | 153 | 16 | 0 | 0 | 0 | 0 | 67 | 3.009 | 3.388 | 1.443 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8101204
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220386274 |  | AD | node_intto1_8101204_200861698 | node_8101204_200861698 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101204 | no | no |  |  | no
fuse_220386285 |  | AD | node_intto1_8101204_200861692 | node_8101204_200861692 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101204 | no | no |  |  | no
fuse_220386342 |  | ABCN | node_intto1_8101204_200863175 | node_8101204_200863175 | GOOD | GOOD | GOOD |  | 30 |  |  | 8101204 | no | no |  |  | no
fuse_220386343 |  | ABCD | node_intto1_8101204_200863186 | node_8101204_200863186 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101204 | no | no |  |  | no
fuse_220386370 |  | ABCN | node_intto1_8101204_200917565 | node_8101204_200917565 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101204 | no | no |  |  | no
fuse_220386395 |  | ABCN | node_intto1_8101204_200863058 | node_8101204_200863058 | GOOD | GOOD | GOOD |  | 40 |  |  | 8101204 | no | no |  |  | no
fuse_220386567 |  | ABCN | node_intto1_8101204_200917572 | node_8101204_200917572 | GOOD | GOOD | GOOD |  | 200 |  |  | 8101204 | no | no |  |  | no
fuse_220386591 |  | ABCN | node_intto1_8101204_200866785 | node_8101204_200866785 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101204 | no | no |  |  | no
fuse_220517313 |  | ABCD | node_intto1_8101204_200863183 | node_8101204_200863183 | GOOD | GOOD | GOOD |  | 6 |  |  | 8101204 | no | no |  |  | no
fuse_220551083 |  | ABCN | node_intto1_8101204_200983601 | node_8101204_200983601 | GOOD | GOOD | GOOD |  | 50 |  |  | 8101204 | no | no |  |  | no
fuse_220571776 |  | ABCN | node_intto1_8101204_201010124 | node_8101204_201010124 | GOOD | GOOD | GOOD |  | 50 |  |  | 8101204 | no | no |  |  | no
fuse_310014558 |  | ABCD | node_intto1_8101204_200863185 | node_8101204_200863185 | GOOD | GOOD | GOOD |  | 200 |  |  | 8101204 | no | no |  |  | no
fuse_312077853 |  | ABCN | node_intto1_8101204_312077852 | node_8101204_312077852 | GOOD | GOOD | GOOD |  | 80 |  |  | 8101204 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8101204
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_4CU |  | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 |  | no
bal_3P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_2AC |  | oh_cond_2_ACSR | oh_cond_2_ACSR | oh_cond_2_ACSR |  |  | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_2ALURD |  | und_cond_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.498 | 0 | 0 | 0 | 401.498 | 0 | 0 | 0 | 401.498 |  | no
und_3P_2ALURD_2AL(N) |  | und_cond_3P_2ALURD_2AL(N) | und_cond_3P_2ALURD_2AL(N) | und_cond_3P_2ALURD_2AL(N) |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.497 | 0 | 0 | 0 | 401.497 | 0 | 0 | 0 | 401.497 |  | no
und_3P_DELTACUST |  | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST |  |  | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8101204
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220348218 |  | node_1371957_922_15291447_939 |  | AN | 0 | Residential | 23882.4+10173.86j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348219 |  | node_1371679_748_15291370_177 |  | AN | 0 | Residential | 35352+15059.889j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348220 |  | node_1371333_127_15291273_918 |  | AN | 0 | Residential | 66513.6+28334.675j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348314 |  | node_1371483_694_15291913_591 |  | AN | 0 | Residential | 22276.8+9489.877j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348315 |  | node_1371053_293_15291782_954 |  | AN | 0 | NonResidential | 4000+1703.993j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348316 |  | node_1371072_721_15291788_485 |  | AN | 0 | NonResidential | 4000+1703.993j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348317 |  | node_1370435_603_15291761_536 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348318 |  | node_1370455_437_15291761_717 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348336 |  | node_1370055_718_15291781_19 |  | AN | 0 | NonResidential | 17000+7241.97j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348342 |  | node_1369378_883_15291288_683 |  | AN | 0 | NonResidential | 60000+25559.893j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348343 |  | node_1369397_315_15291298_689 |  | BN | 0 | NonResidential | 0 | 60000+25559.893j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348344 |  | node_1369359_183_15291285_406 |  | CN | 0 | NonResidential | 0 | 0 | 60000+25559.893j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348345 |  | node_1369173_761_15291625_917 |  | AN | 0 | NonResidential | 1620+690.117j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348346 |  | node_1368935_311_15291514_601 |  | AN | 0 | NonResidential | 2666.667+1135.995j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348347 |  | node_1368916_678_15291505_304 |  | BN | 0 | NonResidential | 0 | 2666.667+1135.995j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348348 |  | node_1368896_921_15291502_781 |  | CN | 0 | NonResidential | 0 | 0 | 2666.667+1135.995j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348349 |  | node_1368773_663_15291411_984 |  | AN | 0 | NonResidential | 26333.333+11217.953j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348350 |  | node_1368787_005_15291431_812 |  | BN | 0 | NonResidential | 0 | 26333.333+11217.953j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348351 |  | node_1368756_978_15291397_431 |  | CN | 0 | NonResidential | 0 | 0 | 26333.333+11217.953j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348355 |  | node_1368207_257_15291385_764 |  | AN | 0 | NonResidential | 17666.667+7525.969j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348356 |  | node_1368189_507_15291373_716 |  | BN | 0 | NonResidential | 0 | 17666.667+7525.969j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348357 |  | node_1368222_112_15291403_547 |  | CN | 0 | NonResidential | 0 | 0 | 17666.667+7525.969j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348454 |  | node_1372418_929_15292415_869 |  | AN | 0 | Residential | 13701.6+5836.857j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348456 |  | node_1371956_609_15292338_352 |  | AN | 0 | Residential | 30967.2+13191.972j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348457 |  | node_1372347_03_15292172_885 |  | AN | 0 | Residential | 10368+4416.75j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348734 |  | node_1368145_842_15291152_827 |  | AN | 0 | NonResidential | 5000+2129.991j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348735 |  | node_1368247_285_15291023_63 |  | AN | 0 | NonResidential | 26000+11075.954j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348736 |  | node_1368236_925_15291046_239 |  | BN | 0 | NonResidential | 0 | 26000+11075.954j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348737 |  | node_1368252_914_15290998_151 |  | CN | 0 | NonResidential | 0 | 0 | 26000+11075.954j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348738 |  | node_1368135_402_15290571_255 |  | AN | 0 | NonResidential | 6357.6+2708.326j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348739 |  | node_1367967_373_15290565_131 |  | AN | 0 | NonResidential | 892.8+380.331j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348740 |  | node_1368382_97_15290403_723 |  | AN | 0 | NonResidential | 734.4+312.853j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348774 |  | node_1368082_367_15291684_602 |  | AN | 0 | NonResidential | 23000+9797.959j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348775 |  | node_1368102_188_15291685_747 |  | BN | 0 | NonResidential | 0 | 23000+9797.959j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348776 |  | node_1368063_037_15291690_382 |  | CN | 0 | NonResidential | 0 | 0 | 23000+9797.959j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348778 |  | node_1368999_307_15292353_867 |  | AN | 0 | Residential | 213624+91003.443j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348779 |  | node_1368852_039_15292683_928 |  | AN | 0 | Residential | 51717.6+22031.605j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348780 |  | node_1369302_409_15291867_654 |  | AN | 0 | NonResidential | 5666.667+2413.99j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348781 |  | node_1369308_93_15291892_862 |  | BN | 0 | NonResidential | 0 | 5666.667+2413.99j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348782 |  | node_1369291_262_15291845_525 |  | CN | 0 | NonResidential | 0 | 0 | 5666.667+2413.99j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348783 |  | node_1369362_95_15292044_374 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348784 |  | node_1369621_787_15291937_895 |  | AN | 0 | NonResidential | 17500+7454.969j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348785 |  | node_1369634_611_15291917_704 |  | AN | 0 | NonResidential | 17500+7454.969j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220348999 |  | node_1368835_514_15291756_876 |  | AN | 0 | NonResidential | 14000+5963.975j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349000 |  | node_1368820_631_15291774_336 |  | BN | 0 | NonResidential | 0 | 14000+5963.975j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220349001 |  | node_1368846_497_15291734_808 |  | CN | 0 | NonResidential | 0 | 0 | 14000+5963.975j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350168 |  | node_1368933_747_15290789_159 |  | AN | 0 | NonResidential | 29333.333+12495.948j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350169 |  | node_1368915_418_15290778_811 |  | BN | 0 | NonResidential | 0 | 29333.333+12495.948j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350170 |  | node_1368953_413_15290792_805 |  | CN | 0 | NonResidential | 0 | 0 | 29333.333+12495.948j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350171 |  | node_1369252_582_15290608_897 |  | AN | 0 | NonResidential | 78666.667+33511.86j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220350173 |  | node_1369271_936_15290614_908 |  | BN | 0 | NonResidential | 0 | 78666.667+33511.86j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220435492 |  | node_1372127_622_15292158_353 |  | AN | 0 | NonResidential | 7000+2981.988j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220474380 |  | node_1369232_765_15290609_806 |  | CN | 0 | NonResidential | 0 | 0 | 78666.667+33511.86j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220486146 |  | node_1368456_716_15291789_596 |  | AN | 0 | Residential | 134582.4+57331.862j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220517316 |  | node_1368215_465_15291914_306 |  | AN | 0 | NonResidential | 5000+2129.991j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220517317 |  | node_1368195_919_15291909_603 |  | BN | 0 | NonResidential | 0 | 5000+2129.991j | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220517318 |  | node_1368235_216_15291912_065 |  | CN | 0 | NonResidential | 0 | 0 | 5000+2129.991j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220519727 |  | node_1372081_018_15291670_395 |  | AN | 0 | Residential | 27403.2+11673.714j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220526797 |  | node_1371573_301_15292205_367 |  | ABCN | 0 | NonResidential | 14666.667+6247.974j | 14666.667+6247.974j | 14666.667+6247.974j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220529949 |  | node_1367902_139_15290814_463 |  | ABCN | 0 | NonResidential | 179666.667+76537.68j | 179666.667+76537.68j | 179666.667+76537.68j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220530413 |  | node_1369515_386_15290883_822 |  | ABCN | 0 | NonResidential | 115666.667+49273.794j | 115666.667+49273.794j | 115666.667+49273.794j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220530652 |  | node_1368516_274_15291840_334 |  | ABCN | 0 | NonResidential | 15666.667+6673.972j | 15666.667+6673.972j | 15666.667+6673.972j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220538287 |  | node_1371273_277_15290959_246 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220551988 |  | node_1371204_92_15292265_193 |  | ABCN | 0 | NonResidential | 26000+11075.954j | 26000+11075.954j | 26000+11075.954j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220571752 |  | node_1369730_615_15292025_954 |  | ABCN | 0 | NonResidential | 50666.667+21583.91j | 50666.667+21583.91j | 50666.667+21583.91j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310013987 |  | node_1368669_949_15290686_824 |  | AN | 0 | NonResidential | 534000+227483.047j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312077866 |  | node_1372547_074_15291784_798 |  | ABCN | 0 | NonResidential | 23333.333+9939.958j | 23333.333+9939.958j | 23333.333+9939.958j | 0 | 0 | 0 | [24 empty] | 8101204 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8101204
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1367902_139_15290814_463 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367902.139 | 15290814.463 |  | -1
node_1367967_373_15290565_131 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367967.373 | 15290565.131 |  | -1
node_1368063_037_15291690_382 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368063.037 | 15291690.382 |  | -1
node_1368082_367_15291684_602 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368082.367 | 15291684.602 |  | -1
node_1368102_188_15291685_747 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368102.188 | 15291685.747 |  | -1
node_1368135_402_15290571_255 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368135.402 | 15290571.255 |  | -1
node_1368145_842_15291152_827 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368145.842 | 15291152.827 |  | -1
node_1368189_507_15291373_716 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368189.507 | 15291373.716 |  | -1
node_1368195_919_15291909_603 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368195.919 | 15291909.603 |  | -1
node_1368207_257_15291385_764 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368207.257 | 15291385.764 |  | -1
node_1368215_465_15291914_306 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368215.465 | 15291914.306 |  | -1
node_1368222_112_15291403_547 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368222.112 | 15291403.547 |  | -1
node_1368235_216_15291912_065 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368235.216 | 15291912.065 |  | -1
node_1368236_925_15291046_239 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368236.925 | 15291046.239 |  | -1
node_1368247_285_15291023_63 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368247.285 | 15291023.63 |  | -1
node_1368252_914_15290998_151 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368252.914 | 15290998.151 |  | -1
node_1368382_97_15290403_723 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368382.97 | 15290403.723 |  | -1
node_1368456_716_15291789_596 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368456.716 | 15291789.596 |  | -1
node_1368516_274_15291840_334 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368516.274 | 15291840.334 |  | -1
node_1368669_949_15290686_824 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368669.949 | 15290686.824 |  | -1
node_1368756_978_15291397_431 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368756.978 | 15291397.431 |  | -1
node_1368773_663_15291411_984 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368773.663 | 15291411.984 |  | -1
node_1368787_005_15291431_812 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368787.005 | 15291431.812 |  | -1
node_1368820_631_15291774_336 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368820.631 | 15291774.336 |  | -1
node_1368835_514_15291756_876 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368835.514 | 15291756.876 |  | -1
node_1368846_497_15291734_808 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368846.497 | 15291734.808 |  | -1
node_1368852_039_15292683_928 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368852.039 | 15292683.928 |  | -1
node_1368896_921_15291502_781 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368896.921 | 15291502.781 |  | -1
node_1368915_418_15290778_811 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368915.418 | 15290778.811 |  | -1
node_1368916_678_15291505_304 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368916.678 | 15291505.304 |  | -1
node_1368933_747_15290789_159 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368933.747 | 15290789.159 |  | -1
node_1368935_311_15291514_601 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368935.311 | 15291514.601 |  | -1
node_1368953_413_15290792_805 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368953.413 | 15290792.805 |  | -1
node_1368999_307_15292353_867 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368999.307 | 15292353.867 |  | -1
node_1369173_761_15291625_917 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369173.761 | 15291625.917 |  | -1
node_1369232_765_15290609_806 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369232.765 | 15290609.806 |  | -1
node_1369252_582_15290608_897 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369252.582 | 15290608.897 |  | -1
node_1369271_936_15290614_908 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369271.936 | 15290614.908 |  | -1
node_1369291_262_15291845_525 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369291.262 | 15291845.525 |  | -1
node_1369302_409_15291867_654 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369302.409 | 15291867.654 |  | -1
node_1369308_93_15291892_862 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369308.93 | 15291892.862 |  | -1
node_1369359_183_15291285_406 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369359.183 | 15291285.406 |  | -1
node_1369362_95_15292044_374 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369362.95 | 15292044.374 |  | -1
node_1369378_883_15291288_683 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369378.883 | 15291288.683 |  | -1
node_1369397_315_15291298_689 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369397.315 | 15291298.689 |  | -1
node_1369515_386_15290883_822 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369515.386 | 15290883.822 |  | -1
node_1369621_787_15291937_895 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369621.787 | 15291937.895 |  | -1
node_1369634_611_15291917_704 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369634.611 | 15291917.704 |  | -1
node_1369730_615_15292025_954 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369730.615 | 15292025.954 |  | -1
node_1369797_447_15291770_427 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369797.447 | 15291770.427 |  | -1
node_1370055_718_15291781_19 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370055.718 | 15291781.19 |  | -1
node_1370435_603_15291761_536 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370435.603 | 15291761.536 |  | -1
node_1370455_437_15291761_717 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370455.437 | 15291761.717 |  | -1
node_1371053_293_15291782_954 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371053.293 | 15291782.954 |  | -1
node_1371072_721_15291788_485 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371072.721 | 15291788.485 |  | -1
node_1371204_92_15292265_193 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371204.92 | 15292265.193 |  | -1
node_1371273_277_15290959_246 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371273.277 | 15290959.246 |  | -1
node_1371333_127_15291273_918 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371333.127 | 15291273.918 |  | -1
node_1371483_694_15291913_591 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371483.694 | 15291913.591 |  | -1
node_1371573_301_15292205_367 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371573.301 | 15292205.367 |  | -1
node_1371679_748_15291370_177 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371679.748 | 15291370.177 |  | -1
node_1371956_609_15292338_352 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371956.609 | 15292338.352 |  | -1
node_1371957_922_15291447_939 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371957.922 | 15291447.939 |  | -1
node_1372081_018_15291670_395 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372081.018 | 15291670.395 |  | -1
node_1372127_622_15292158_353 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372127.622 | 15292158.353 |  | -1
node_1372347_03_15292172_885 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372347.03 | 15292172.885 |  | -1
node_1372418_929_15292415_869 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372418.929 | 15292415.869 |  | -1
node_1372547_074_15291784_798 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372547.074 | 15291784.798 |  | -1
node_8101204_200861688 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372108.791 | 15291866.214 |  | -1
node_8101204_200861692 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372092.758 | 15292007.023 |  | -1
node_8101204_200861693 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372086.69 | 15292158.295 |  | -1
node_8101204_200861694 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372084.206 | 15292295.524 |  | -1
node_8101204_200861698 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372112.796 | 15291680.274 |  | -1
node_8101204_200861699 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372133.291 | 15291558.18 |  | -1
node_8101204_200861700 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372091.401 | 15291425.853 |  | -1
node_8101204_200861701 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371963.017 | 15291407.883 |  | -1
node_8101204_200861702 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371851.794 | 15291388.113 |  | -1
node_8101204_200861703 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371676.833 | 15291318.017 |  | -1
node_8101204_200861705 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371521.659 | 15291287.891 |  | -1
node_8101204_200861706 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371339.713 | 15291304.775 |  | -1
node_8101204_200861929 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372501.491 | 15291859.52 |  | -1
node_8101204_200861930 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372406.919 | 15291862.336 |  | -1
node_8101204_200861935 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372310.417 | 15291866.455 |  | -1
node_8101204_200861936 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372090.359 | 15291869.268 |  | -1
node_8101204_200861938 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371891.839 | 15291874.097 |  | -1
node_8101204_200861939 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371694.087 | 15291881.231 |  | -1
node_8101204_200861940 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371463.915 | 15291876.269 |  | -1
node_8101204_200861941 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371332.852 | 15291996.111 |  | -1
node_8101204_200861944 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371257.118 | 15291895.472 |  | -1
node_8101204_200861945 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371040.184 | 15291895.977 |  | -1
node_8101204_200861946 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370814.825 | 15291889.526 |  | -1
node_8101204_200861947 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370588.657 | 15291885.776 |  | -1
node_8101204_200861948 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370441.632 | 15291870.018 |  | -1
node_8101204_200861950 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370326.061 | 15291861.78 |  | -1
node_8101204_200861996 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370186.269 | 15291834.422 |  | -1
node_8101204_200861998 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1370047.407 | 15291817.892 |  | -1
node_8101204_200861999 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369931.401 | 15291796.098 |  | -1
node_8101204_200862008 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369802.195 | 15291771.103 |  | -1
node_8101204_200862009 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369609.364 | 15291743.642 |  | -1
node_8101204_200862010 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369509.157 | 15291721.428 |  | -1
node_8101204_200862011 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369421.748 | 15291708.18 |  | -1
node_8101204_200862013 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369299.901 | 15291686.411 |  | -1
node_8101204_200862014 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369324.773 | 15291606.861 |  | -1
node_8101204_200862015 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369366.879 | 15291362.406 |  | -1
node_8101204_200862016 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369162.167 | 15291651.66 |  | -1
node_8101204_200862017 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368903.019 | 15291604.758 |  | -1
node_8101204_200862018 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368665.482 | 15291568.838 |  | -1
node_8101204_200862019 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368719.921 | 15291486.1 |  | -1
node_8101204_200862020 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368443.886 | 15291530.13 |  | -1
node_8101204_200862021 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368316.104 | 15291497.584 |  | -1
node_8101204_200862022 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368362.262 | 15291269.476 |  | -1
node_8101204_200862025 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368164.773 | 15291469.926 |  | -1
node_8101204_200862026 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368038.347 | 15291446.8 |  | -1
node_8101204_200862264 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372388.344 | 15292427.198 |  | -1
node_8101204_200862271 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371986.277 | 15292343.768 |  | -1
node_8101204_200862272 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372151.104 | 15292345.464 |  | -1
node_8101204_200862273 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372305.789 | 15292336.479 |  | -1
node_8101204_200862274 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372338.11 | 15292211.508 |  | -1
node_8101204_200863058 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367903.585 | 15290786.218 |  | -1
node_8101204_200863073 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368108.214 | 15291157.18 |  | -1
node_8101204_200863075 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368177.869 | 15290981.509 |  | -1
node_8101204_200863076 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368243.33 | 15290819.567 |  | -1
node_8101204_200863077 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368186.805 | 15290749.157 |  | -1
node_8101204_200863078 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367900.833 | 15290737.726 |  | -1
node_8101204_200863079 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367607.204 | 15290723.539 |  | -1
node_8101204_200863080 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368291.218 | 15290697.571 |  | -1
node_8101204_200863083 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368336.56 | 15290568.461 |  | -1
node_8101204_200863084 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368271.789 | 15290528.217 |  | -1
node_8101204_200863085 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368124.937 | 15290546.393 |  | -1
node_8101204_200863086 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367996.862 | 15290563.944 |  | -1
node_8101204_200863087 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368353.417 | 15290422.407 |  | -1
node_8101204_200863088 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368294.255 | 15290295.701 |  | -1
node_8101204_200863175 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368508.882 | 15291812.779 |  | -1
node_8101204_200863181 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368088.029 | 15291779.138 |  | -1
node_8101204_200863183 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368218.559 | 15291809.43 |  | -1
node_8101204_200863184 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368423.479 | 15291783.629 |  | -1
node_8101204_200863185 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368453.364 | 15291641.411 |  | -1
node_8101204_200863186 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368403.007 | 15291897.193 |  | -1
node_8101204_200863187 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368615.858 | 15291940.874 |  | -1
node_8101204_200863188 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368830.97 | 15291990.313 |  | -1
node_8101204_200863189 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369038.683 | 15292043.066 |  | -1
node_8101204_200863190 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369022.615 | 15292107.675 |  | -1
node_8101204_200863191 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368965.231 | 15292345.97 |  | -1
node_8101204_200863192 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368863.752 | 15292646.531 |  | -1
node_8101204_200863193 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369236.427 | 15291912.788 |  | -1
node_8101204_200863194 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369359.537 | 15292076.994 |  | -1
node_8101204_200863195 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369620.542 | 15292116.187 |  | -1
node_8101204_200863196 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369677.378 | 15291988.623 |  | -1
node_8101204_200863731 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368775.68 | 15291694.036 |  | -1
node_8101204_200866785 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369486.663 | 15290863.939 |  | -1
node_8101204_200866786 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368476.717 | 15290635.546 |  | -1
node_8101204_200866787 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368669.34 | 15290653.558 |  | -1
node_8101204_200866788 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368857.165 | 15290669.316 |  | -1
node_8101204_200866789 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368954.814 | 15290698.147 |  | -1
node_8101204_200866790 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369250.166 | 15290718.799 |  | -1
node_8101204_200866791 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369329.025 | 15290727.106 |  | -1
node_8101204_200917419 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372625.489 | 15291852.942 |  | -1
node_8101204_200917565 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367590.418 | 15290749.435 |  | -1
node_8101204_200917572 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368669.425 | 15290642.462 |  | -1
node_8101204_200949192 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371551.203 | 15292180.491 |  | -1
node_8101204_200970692 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371289.436 | 15291136.514 |  | -1
node_8101204_200970693 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371277.42 | 15291344.04 |  | -1
node_8101204_200975983 |  |  | PQ | AN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371303.719 | 15290943.308 |  | -1
node_8101204_200976632 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371325.889 | 15292005.682 |  | -1
node_8101204_200983601 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371218.008 | 15292235.12 |  | -1
node_8101204_201004186 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369708.192 | 15291961.144 |  | -1
node_8101204_201010124 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369715.907 | 15291988.9 |  | -1
node_8101204_310045008 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368057.684 | 15291297.82 |  | -1
node_8101204_312077852 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372535.129 | 15291812.676 |  | -1
node_SOURCE_8101204 |  |  | SWING | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368211.183 | 15290291.816 |  | -1
node_intto1_8101204_200861692 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372092.758 | 15292007.023 |  | -1
node_intto1_8101204_200861698 |  |  | PQ | AD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372112.796 | 15291680.274 |  | -1
node_intto1_8101204_200863058 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367903.585 | 15290786.218 |  | -1
node_intto1_8101204_200863088 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368294.255 | 15290295.701 |  | -1
node_intto1_8101204_200863175 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368508.882 | 15291812.779 |  | -1
node_intto1_8101204_200863183 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368218.559 | 15291809.43 |  | -1
node_intto1_8101204_200863185 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368453.364 | 15291641.411 |  | -1
node_intto1_8101204_200863186 |  |  | PQ | ABCD | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368403.007 | 15291897.193 |  | -1
node_intto1_8101204_200866785 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369486.663 | 15290863.939 |  | -1
node_intto1_8101204_200917565 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1367590.418 | 15290749.435 |  | -1
node_intto1_8101204_200917572 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1368669.425 | 15290642.462 |  | -1
node_intto1_8101204_200983601 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1371218.008 | 15292235.12 |  | -1
node_intto1_8101204_201010124 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1369715.907 | 15291988.9 |  | -1
node_intto1_8101204_312077852 |  |  | PQ | ABCN | 2771.281 | 8101204 | no | no |  |  | no |  |  | 1372535.129 | 15291812.676 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8101204
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8101204_200861688 |  | AD | node_8101204_200861936 | node_8101204_200861688 | 18.683 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861692 |  | AD | node_8101204_200861936 | node_intto1_8101204_200861692 | 137.776 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861693 |  | AD | node_8101204_200861692 | node_8101204_200861693 | 151.394 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861694 |  | AD | node_8101204_200861693 | node_8101204_200861694 | 137.251 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861698 |  | AD | node_8101204_200861688 | node_intto1_8101204_200861698 | 185.983 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861699 |  | AD | node_8101204_200861698 | node_8101204_200861699 | 123.802 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861700 |  | AD | node_8101204_200861699 | node_8101204_200861700 | 138.8 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861701 |  | AD | node_8101204_200861700 | node_8101204_200861701 | 129.636 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861702 |  | AD | node_8101204_200861701 | node_8101204_200861702 | 112.966 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861703 |  | AD | node_8101204_200861702 | node_8101204_200861703 | 188.48 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861705 |  | AD | node_8101204_200861703 | node_8101204_200861705 | 158.072 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861706 |  | AD | node_8101204_200861705 | node_8101204_200861706 | 182.727 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861929 |  | ABCD | node_8101204_200861930 | node_8101204_200861929 | 94.615 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861930 |  | ABCD | node_8101204_200861935 | node_8101204_200861930 | 96.59 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861935 |  | ABCD | node_8101204_200861936 | node_8101204_200861935 | 220.076 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861936 |  | ABCD | node_8101204_200861938 | node_8101204_200861936 | 198.58 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861938 |  | ABCD | node_8101204_200861939 | node_8101204_200861938 | 197.88 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861939 |  | ABCD | node_8101204_200861940 | node_8101204_200861939 | 230.225 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861940 |  | ABCD | node_8101204_200861944 | node_8101204_200861940 | 207.686 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861941 |  | ABCD | node_8101204_200861940 | node_8101204_200861941 | 177.594 | bal_3P_2AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861944 |  | ABCD | node_8101204_200861945 | node_8101204_200861944 | 216.935 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861945 |  | ABCD | node_8101204_200861946 | node_8101204_200861945 | 225.451 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861946 |  | ABCD | node_8101204_200861947 | node_8101204_200861946 | 226.199 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861947 |  | ABCD | node_8101204_200861948 | node_8101204_200861947 | 147.867 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861948 |  | ABCD | node_8101204_200861950 | node_8101204_200861948 | 115.865 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861950 |  | ABCD | node_8101204_200861996 | node_8101204_200861950 | 142.443 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861996 |  | ABCD | node_8101204_200861998 | node_8101204_200861996 | 139.843 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861998 |  | ABCD | node_8101204_200861999 | node_8101204_200861998 | 118.035 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200861999 |  | ABCD | node_8101204_200862008 | node_8101204_200861999 | 131.601 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862008-1 |  | ABCD | node_8101204_200862009 | node_1369797_447_15291770_427 | 189.981 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862008-2 |  | ABCD | node_1369797_447_15291770_427 | node_8101204_200862008 | 4.796 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862009 |  | ABCD | node_8101204_200862010 | node_8101204_200862009 | 102.64 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862010 |  | ABCD | node_8101204_200862011 | node_8101204_200862010 | 88.407 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862011 |  | ABCD | node_8101204_200862013 | node_8101204_200862011 | 123.776 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862013 |  | ABCD | node_8101204_200862016 | node_8101204_200862013 | 142.05 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862014 |  | ABCD | node_8101204_200862013 | node_8101204_200862014 | 83.347 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862015 |  | ABCD | node_8101204_200862014 | node_8101204_200862015 | 248.055 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862016 |  | ABCD | node_8101204_200862017 | node_8101204_200862016 | 263.358 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862017 |  | ABCD | node_8101204_200862018 | node_8101204_200862017 | 240.238 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862018 |  | ABCD | node_8101204_200862020 | node_8101204_200862018 | 224.951 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862019 |  | ABCD | node_8101204_200862018 | node_8101204_200862019 | 99.041 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862020 |  | ABCD | node_8101204_200862021 | node_8101204_200862020 | 131.861 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862021 |  | ABCD | node_8101204_200862025 | node_8101204_200862021 | 153.839 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862022 |  | ABCD | node_8101204_200862021 | node_8101204_200862022 | 232.731 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862025 |  | ABCD | node_8101204_200862026 | node_8101204_200862025 | 128.523 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862026 |  | ABCD | node_8101204_310045008 | node_8101204_200862026 | 150.229 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862264 |  | AD | node_8101204_200862273 | node_8101204_200862264 | 122.659 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862271 |  | AD | node_8101204_200862272 | node_8101204_200862271 | 164.836 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862272 |  | AD | node_8101204_200861694 | node_8101204_200862272 | 83.483 | bal_1P_4CU | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862273 |  | AD | node_8101204_200862272 | node_8101204_200862273 | 154.945 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200862274 |  | AD | node_8101204_200862273 | node_8101204_200862274 | 129.083 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863073 |  | ABCD | node_8101204_200863075 | node_8101204_200863073 | 188.976 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863075 |  | ABCD | node_8101204_200863076 | node_8101204_200863075 | 174.672 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863076 |  | ABCD | node_8101204_200863080 | node_8101204_200863076 | 131.059 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863077 |  | ABCD | node_8101204_200863076 | node_8101204_200863077 | 90.752 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863078 |  | ABCD | node_8101204_200863077 | node_8101204_200863078 | 286.2 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863079 |  | ABCD | node_8101204_200863078 | node_8101204_200863079 | 293.971 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863080 |  | ABCD | node_8101204_200863083 | node_8101204_200863080 | 136.84 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863083 |  | ABCD | node_8101204_200863087 | node_8101204_200863083 | 147.024 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863084 |  | AD | node_8101204_200863083 | node_8101204_200863084 | 76.255 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863085 |  | AD | node_8101204_200863084 | node_8101204_200863085 | 147.973 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863086 |  | AD | node_8101204_200863085 | node_8101204_200863086 | 129.272 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863087 |  | ABCD | node_8101204_200863088 | node_8101204_200863087 | 139.837 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863088 |  | ABCD | node_SOURCE_8101204 | node_intto1_8101204_200863088 | 83.171 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863181 |  | ABCD | node_8101204_200863183 | node_8101204_200863181 | 133.999 | bal_3P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863183 |  | ABCD | node_8101204_200863184 | node_intto1_8101204_200863183 | 206.538 | bal_3P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863184 |  | ABCD | node_8101204_200863185 | node_8101204_200863184 | 145.325 | bal_3P_2AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863185 |  | ABCD | node_8101204_200862020 | node_intto1_8101204_200863185 | 111.684 | bal_3P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863186 |  | ABCD | node_8101204_200863184 | node_intto1_8101204_200863186 | 115.394 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863187 |  | ABCD | node_8101204_200863186 | node_8101204_200863187 | 217.287 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863188 |  | ABCD | node_8101204_200863187 | node_8101204_200863188 | 220.721 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863189 |  | ABCD | node_8101204_200863188 | node_8101204_200863189 | 214.306 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863190 |  | AD | node_8101204_200863189 | node_8101204_200863190 | 66.577 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863191 |  | AD | node_8101204_200863190 | node_8101204_200863191 | 245.107 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863192 |  | AD | node_8101204_200863191 | node_8101204_200863192 | 317.23 | bal_1P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863193 |  | ABCD | node_8101204_200863189 | node_8101204_200863193 | 236.802 | bal_3P_1/0AC | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863194 |  | ABCD | node_8101204_200863189 | node_8101204_200863194 | 322.643 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863195 |  | ABCD | node_8101204_200863194 | node_8101204_200863195 | 263.932 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863196 |  | ABCD | node_8101204_200863195 | node_8101204_200863196 | 139.653 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200863731 |  | ABCD | node_8101204_200862018 | node_8101204_200863731 | 166.788 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200866786 |  | ABCD | node_8101204_200863083 | node_8101204_200866786 | 155.385 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200866787 |  | ABCD | node_8101204_200866786 | node_8101204_200866787 | 193.464 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200866788 |  | ABCD | node_8101204_200866787 | node_8101204_200866788 | 188.485 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200866789 |  | ABCD | node_8101204_200866788 | node_8101204_200866789 | 101.816 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200866790 |  | ABCD | node_8101204_200866789 | node_8101204_200866790 | 296.074 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200866791 |  | ABCD | node_8101204_200866790 | node_8101204_200866791 | 79.294 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200917419 |  | ABCD | node_8101204_200861929 | node_8101204_200917419 | 124.172 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200970692 |  | AD | node_8101204_200970693 | node_8101204_200970692 | 207.873 | bal_1P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200970693 |  | AD | node_8101204_200861706 | node_8101204_200970693 | 73.635 | bal_1P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200975983 |  | AD | node_8101204_200970692 | node_8101204_200975983 | 193.734 | bal_1P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_200976632 |  | ABCD | node_8101204_200861941 | node_8101204_200976632 | 11.836 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_201004186 |  | ABCD | node_8101204_200863196 | node_8101204_201004186 | 41.287 | bal_3P_1/0AA | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101204_310045008 |  | ABCD | node_8101204_200863073 | node_8101204_310045008 | 149.442 | bal_3P_477AL | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905147 |  | AN | node_8101204_200861693 | node_1372127_622_15292158_353 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905148 |  | AN | node_8101204_200861698 | node_1372081_018_15291670_395 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905149 |  | AN | node_8101204_200861701 | node_1371957_922_15291447_939 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905150 |  | AN | node_8101204_200861703 | node_1371679_748_15291370_177 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905151 |  | AN | node_8101204_200861706 | node_1371333_127_15291273_918 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905217 |  | ABCN | node_8101204_200861940 | node_1371483_694_15291913_591 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905229 |  | ABCN | node_8101204_200861998 | node_1370055_718_15291781_19 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905234 |  | ABCN | node_8101204_200862016 | node_1369173_761_15291625_917 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905319 |  | AN | node_8101204_200862264 | node_1372418_929_15292415_869 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905321 |  | AN | node_8101204_200862271 | node_1371956_609_15292338_352 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905322 |  | AN | node_8101204_200862274 | node_1372347_03_15292172_885 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905541 |  | ABCN | node_8101204_200863073 | node_1368145_842_15291152_827 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905543 |  | AN | node_8101204_200863085 | node_1368135_402_15290571_255 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905544 |  | AN | node_8101204_200863086 | node_1367967_373_15290565_131 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905545 |  | ABCN | node_8101204_200863087 | node_1368382_97_15290403_723 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905572 |  | ABCN | node_8101204_200863184 | node_1368456_716_15291789_596 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905573 |  | AN | node_8101204_200863191 | node_1368999_307_15292353_867 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905574 |  | AN | node_8101204_200863192 | node_1368852_039_15292683_928 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_905576 |  | ABCN | node_8101204_200863194 | node_1369362_95_15292044_374 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_925097 |  | AN | node_8101204_200975983 | node_1371273_277_15290959_246 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_1440854 |  | ABCN | node_8101204_200866787 | node_1368669_949_15290686_824 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137323 |  | ABCN | node_8101204_200862017 | node_1368916_678_15291505_304 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137324 |  | ABCN | node_8101204_200862017 | node_1368935_311_15291514_601 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137325 |  | ABCN | node_8101204_200862017 | node_1368896_921_15291502_781 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137375 |  | ABCN | node_8101204_200862015 | node_1369378_883_15291288_683 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137376 |  | ABCN | node_8101204_200862015 | node_1369397_315_15291298_689 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137377 |  | ABCN | node_8101204_200862015 | node_1369359_183_15291285_406 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137395 |  | ABCN | node_8101204_200863183 | node_1368215_465_15291914_306 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137396 |  | ABCN | node_8101204_200863183 | node_1368195_919_15291909_603 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137397 |  | ABCN | node_8101204_200863183 | node_1368235_216_15291912_065 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137411 |  | ABCN | node_8101204_200861945 | node_1371053_293_15291782_954 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137412 |  | ABCN | node_8101204_200861945 | node_1371072_721_15291788_485 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137467 |  | ABCN | node_8101204_200862019 | node_1368773_663_15291411_984 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137468 |  | ABCN | node_8101204_200862019 | node_1368787_005_15291431_812 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137469 |  | ABCN | node_8101204_200862019 | node_1368756_978_15291397_431 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137517 |  | ABCN | node_8101204_200863196 | node_1369621_787_15291937_895 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137518 |  | ABCN | node_8101204_200863196 | node_1369634_611_15291917_704 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137525 |  | ABCN | node_8101204_200866790 | node_1369252_582_15290608_897 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137526 |  | ABCN | node_8101204_200866790 | node_1369271_936_15290614_908 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137527 |  | ABCN | node_8101204_200866790 | node_1369232_765_15290609_806 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137539 |  | ABCN | node_8101204_200861948 | node_1370435_603_15291761_536 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137540 |  | ABCN | node_8101204_200861948 | node_1370455_437_15291761_717 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137560 |  | ABCN | node_8101204_200863731 | node_1368835_514_15291756_876 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137561 |  | ABCN | node_8101204_200863731 | node_1368820_631_15291774_336 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137562 |  | ABCN | node_8101204_200863731 | node_1368846_497_15291734_808 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137612 |  | ABCN | node_8101204_200862025 | node_1368207_257_15291385_764 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137613 |  | ABCN | node_8101204_200862025 | node_1368222_112_15291403_547 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137614 |  | ABCN | node_8101204_200862025 | node_1368189_507_15291373_716 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137623 |  | ABCN | node_8101204_200866789 | node_1368933_747_15290789_159 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137624 |  | ABCN | node_8101204_200866789 | node_1368915_418_15290778_811 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137625 |  | ABCN | node_8101204_200866789 | node_1368953_413_15290792_805 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137641 |  | ABCN | node_8101204_200863075 | node_1368247_285_15291023_63 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137642 |  | ABCN | node_8101204_200863075 | node_1368236_925_15291046_239 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137643 |  | ABCN | node_8101204_200863075 | node_1368252_914_15290998_151 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137644 |  | ABCN | node_8101204_200863193 | node_1369302_409_15291867_654 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137645 |  | ABCN | node_8101204_200863193 | node_1369308_93_15291892_862 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137646 |  | ABCN | node_8101204_200863193 | node_1369291_262_15291845_525 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143720 |  | ABCN | node_8101204_200863181 | node_1368082_367_15291684_602 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143721 |  | ABCN | node_8101204_200863181 | node_1368102_188_15291685_747 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2143722 |  | ABCN | node_8101204_200863181 | node_1368063_037_15291690_382 | 0.033 | unb_TAPWIRE_OH | 8101204 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8101204
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_2_ACSR |  | 0.01 | 1.41 | 0.325 | 195 | 195 | 245 | 245 |  | no
oh_cond_4_CU |  | 0.007 | 1.388 | 0.232 | 140 | 140 | 200 | 200 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## regulator
data_type | static
owner_type | feeder
owner | 8101204
object | regulator
name | groupid | phases | fr | to | configuration | sense_node | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
regulator_220370669 |  | ABCD | node_intto1_8101204_200863088 | node_8101204_200863088 | config_regulator_220370669 |  | 8101204 | no | no |  |  | no

## regulator_configuration
data_type | static
owner_type | feeder
owner | 8101204
object | regulator_configuration
name | groupid | connect_type | band_center | band_width | time_delay | dwell_time | raise_taps | lower_taps | current_transducer_ratio | power_transducer_ratio | compensator_r_setting_A | compensator_x_setting_A | compensator_r_setting_B | compensator_x_setting_B | compensator_r_setting_C | compensator_x_setting_C | CT_phase | PT_phase | regulation | control_level | Control | Type | tap_pos_A | tap_pos_B | tap_pos_C | dcircuit | selected | comments
config_regulator_220370669 |  | WYE_WYE | 123 | 3 |  |  | 16 | 16 | 400 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | A | A | 0.1 | INDIVIDUAL | OUTPUT_VOLTAGE | A | 0 | 0 | 0 |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8101204
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8101204_200863058 |  | ABCN | node_8101204_200863078 | node_intto1_8101204_200863058 | 48.57 | und_3P_2ALURD | 8101204 | no | no |  |  | no
und_line_8101204_200863175 |  | ABCN | node_8101204_200863185 | node_intto1_8101204_200863175 | 180.137 | und_3P_2ALURD | 8101204 | no | no |  |  | no
und_line_8101204_200866785 |  | ABCN | node_8101204_200866791 | node_intto1_8101204_200866785 | 208.742 | und_3P_DELTACUST | 8101204 | no | no |  |  | no
und_line_8101204_200917565 |  | ABCN | node_8101204_200863079 | node_intto1_8101204_200917565 | 30.861 | und_3P_2ALURD | 8101204 | no | no |  |  | no
und_line_8101204_200917572 |  | ABCN | node_8101204_200866787 | node_intto1_8101204_200917572 | 11.096 | und_3P_DELTACUST | 8101204 | no | no |  |  | no
und_line_8101204_200949192 |  | ABCN | node_8101204_200861941 | node_8101204_200949192 | 285.784 | und_3P_2ALURD_2AL(N) | 8101204 | no | no |  |  | no
und_line_8101204_200983601 |  | ABCN | node_8101204_200976632 | node_intto1_8101204_200983601 | 253.535 | und_3P_DELTACUST | 8101204 | no | no |  |  | no
und_line_8101204_201010124 |  | ABCN | node_8101204_201004186 | node_intto1_8101204_201010124 | 28.809 | und_3P_DELTACUST | 8101204 | no | no |  |  | no
und_line_8101204_312077852 |  | ABCN | node_8101204_200861929 | node_intto1_8101204_312077852 | 57.67 | und_3P_2ALURD | 8101204 | no | no |  |  | no
und_line_TAP_UG_59662 |  | ABCN | node_8101204_200863058 | node_1367902_139_15290814_463 | 0.033 | und_TAPWIRE_UG | 8101204 | no | no |  |  | no
und_line_TAP_UG_59663 |  | ABCN | node_8101204_200863175 | node_1368516_274_15291840_334 | 0.033 | und_TAPWIRE_UG | 8101204 | no | no |  |  | no
und_line_TAP_UG_59690 |  | ABCN | node_8101204_200866785 | node_1369515_386_15290883_822 | 0.033 | und_TAPWIRE_UG | 8101204 | no | no |  |  | no
und_line_TAP_UG_59942 |  | ABCN | node_8101204_200949192 | node_1371573_301_15292205_367 | 0.033 | und_TAPWIRE_UG | 8101204 | no | no |  |  | no
und_line_TAP_UG_62892 |  | ABCN | node_8101204_200983601 | node_1371204_92_15292265_193 | 0.033 | und_TAPWIRE_UG | 8101204 | no | no |  |  | no
und_line_TAP_UG_64014 |  | ABCN | node_8101204_201010124 | node_1369730_615_15292025_954 | 0.033 | und_TAPWIRE_UG | 8101204 | no | no |  |  | no
und_line_TAP_UG_2350956 |  | ABCN | node_8101204_312077852 | node_1372547_074_15291784_798 | 0.033 | und_TAPWIRE_UG | 8101204 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8101204
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_2ALURD | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_2ALURD_2AL(N) | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_DELTACUST | [12 empty] | 685 | 685 | 685 | 685 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no