## feeder
data_type | static
owner_type | feeder
owner | 8101304
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8101304 |  | ts_slack | none | node_SOURCE_8101304 | 7199.558 | 39 | 32 | 4 | 0 | 0 | 0 | 0 | 4 | 0.999 | 3.562 | 1.517 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## line_configuration
data_type | static
owner_type | feeder
owner | 8101304
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_3P_336AC_1/0AA(N) |  | oh_cond_336_5_ACSR | oh_cond_336_5_ACSR | oh_cond_336_5_ACSR | oh_cond_1/0_AAAC |  | 0.479+1.1j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 0.479+1.1j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 0.479+1.1j | 14.511 | -3.167 | -3.167 | -3.167 | 14.511 | -3.167 | -3.167 | -3.167 | 14.511 |  | no
bal_3P_477AC_4/0AA(N) |  | oh_cond_477_ACSR | oh_cond_477_ACSR | oh_cond_477_ACSR | oh_cond_4/0_AAAC |  | 0.33+1.016j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.33+1.016j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.33+1.016j | 15.118 | -3.347 | -3.347 | -3.347 | 15.118 | -3.347 | -3.347 | -3.347 | 15.118 |  | no
bal_3P_477AL_4/0AA(N) |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_4/0_AAAC |  | 0.332+1.031j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.332+1.031j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.332+1.031j | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_750ALURD_750AL(N) |  | und_cond_3P_750ALURD_750AL(N) | und_cond_3P_750ALURD_750AL(N) | und_cond_3P_750ALURD_750AL(N) |  |  | 0.338+0.196j | 0.096-0.039j | 0.096-0.039j | 0.096-0.039j | 0.338+0.196j | 0.096-0.039j | 0.096-0.039j | 0.096-0.039j | 0.338+0.196j | 1125.535 | 0 | 0 | 0 | 1125.535 | 0 | 0 | 0 | 1125.535 |  | no

## load
data_type | static
owner_type | feeder
owner | 8101304
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220346263 |  | node_1345234_027_15290767_571 |  | AN | 0 | NonResidential | 52.8+22.493j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101304 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346264 |  | node_1345194_825_15290771_436 |  | BN | 0 | NonResidential | 0 | 52.8+22.493j | 0 | 0 | 0 | 0 | [24 empty] | 8101304 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220346265 |  | node_1345214_635_15290772_97 |  | CN | 0 | NonResidential | 0 | 0 | 52.8+22.493j | 0 | 0 | 0 | [24 empty] | 8101304 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_311905421 |  | node_1347248_337_15292057_545 |  | ABCN | 0 | NonResidential | 1187333.333+505801.882j | 1187333.333+505801.882j | 1187333.333+505801.882j | 0 | 0 | 0 | [24 empty] | 8101304 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8101304
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1345194_825_15290771_436 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345194.825 | 15290771.436 |  | -1
node_1345214_635_15290772_97 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345214.635 | 15290772.97 |  | -1
node_1345234_027_15290767_571 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345234.027 | 15290767.571 |  | -1
node_1347248_337_15292057_545 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1347248.337 | 15292057.545 |  | -1
node_8101304_200854385 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345142.849 | 15290666.442 |  | -1
node_8101304_200854386 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345208.496 | 15290671.241 |  | -1
node_8101304_200854387 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345394.405 | 15290787.443 |  | -1
node_8101304_200854388 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345605.655 | 15290888.532 |  | -1
node_8101304_200854389 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345835.398 | 15290982.044 |  | -1
node_8101304_200854390 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346036.145 | 15291149.922 |  | -1
node_8101304_310020458 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346263.067 | 15291313.727 |  | -1
node_8101304_310020459 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346265.284 | 15291536.34 |  | -1
node_8101304_310020460 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346339.656 | 15291698.379 |  | -1
node_8101304_310020461 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346440.008 | 15291842.058 |  | -1
node_8101304_310020462 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346534.332 | 15291948.361 |  | -1
node_8101304_310020464 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346656.489 | 15292009.232 |  | -1
node_8101304_310020465 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346767.833 | 15292032.096 |  | -1
node_8101304_310020466 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346866.134 | 15292044.721 |  | -1
node_8101304_310020467 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1346959.271 | 15292057.413 |  | -1
node_8101304_310020468 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1347028.948 | 15292053.064 |  | -1
node_8101304_310020469 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1347096.13 | 15292055.681 |  | -1
node_8101304_310020470 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1347163.268 | 15292054.832 |  | -1
node_8101304_310020474 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1347223.809 | 15292058.141 |  | -1
node_8101304_310042804 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1344939.706 | 15292334.146 |  | -1
node_8101304_310042807 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1344950.38 | 15292351.001 |  | -1
node_8101304_310042810 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345021.871 | 15292339.579 |  | -1
node_8101304_310042811 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345045.767 | 15292289.426 |  | -1
node_8101304_310042819 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345051.794 | 15292212.626 |  | -1
node_8101304_310042822 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345318.06 | 15292110.752 |  | -1
node_8101304_310042823 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345508.666 | 15292029.956 |  | -1
node_8101304_310042825 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345387.156 | 15291817.196 |  | -1
node_8101304_310042826 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345242.934 | 15291575.425 |  | -1
node_8101304_310042828 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345107.374 | 15291349.885 |  | -1
node_8101304_310042831 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1344959.014 | 15291108.167 |  | -1
node_8101304_310042918 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1344806.672 | 15290842.677 |  | -1
node_8101304_310043004 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1345037.318 | 15290684.934 |  | -1
node_SOURCE_8101304 |  |  | SWING | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1344957.524 | 15292283.393 |  | -1
node_intto1_8101304_310020470 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1347163.268 | 15292054.832 |  | -1
node_intto1_8101304_310020474 |  |  | PQ | ABCN | 7199.558 | 8101304 | no | no |  |  | no |  |  | 1347223.809 | 15292058.141 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8101304
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8101304_200854385 |  | ABCN | node_8101304_310043004 | node_8101304_200854385 | 107.139 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_200854386 |  | ABCN | node_8101304_200854385 | node_8101304_200854386 | 65.821 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_200854387 |  | ABCN | node_8101304_200854386 | node_8101304_200854387 | 219.238 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_200854388 |  | ABCN | node_8101304_200854387 | node_8101304_200854388 | 234.192 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_200854389 |  | ABCN | node_8101304_200854388 | node_8101304_200854389 | 248.044 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_200854390 |  | ABCN | node_8101304_200854389 | node_8101304_200854390 | 261.691 | bal_3P_336AC_1/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020458 |  | ABCN | node_8101304_200854390 | node_8101304_310020458 | 279.868 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020459 |  | ABCN | node_8101304_310020458 | node_8101304_310020459 | 222.625 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020460 |  | ABCN | node_8101304_310020459 | node_8101304_310020460 | 178.291 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020461 |  | ABCN | node_8101304_310020460 | node_8101304_310020461 | 175.254 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020462 |  | ABCN | node_8101304_310020461 | node_8101304_310020462 | 142.118 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020464 |  | ABCN | node_8101304_310020462 | node_8101304_310020464 | 136.483 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020465 |  | ABCN | node_8101304_310020464 | node_8101304_310020465 | 113.667 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020466 |  | ABCN | node_8101304_310020465 | node_8101304_310020466 | 99.109 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020467 |  | ABCN | node_8101304_310020466 | node_8101304_310020467 | 93.997 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020468 |  | ABCN | node_8101304_310020467 | node_8101304_310020468 | 69.813 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020469 |  | ABCN | node_8101304_310020468 | node_8101304_310020469 | 67.233 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020470 |  | ABCN | node_8101304_310020469 | node_intto1_8101304_310020470 | 67.144 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310020474 |  | ABCN | node_8101304_310020470 | node_intto1_8101304_310020474 | 60.631 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310042819 |  | ABCN | node_8101304_310042811 | node_8101304_310042819 | 77.036 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310042822 |  | ABCN | node_8101304_310042819 | node_8101304_310042822 | 285.089 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310042823 |  | ABCN | node_8101304_310042822 | node_8101304_310042823 | 207.023 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310042825 |  | ABCN | node_8101304_310042823 | node_8101304_310042825 | 245.013 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310042826 |  | ABCN | node_8101304_310042825 | node_8101304_310042826 | 281.52 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310042828 |  | ABCN | node_8101304_310042826 | node_8101304_310042828 | 263.144 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310042831 |  | ABCN | node_8101304_310042828 | node_8101304_310042831 | 283.616 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310042918 |  | ABCN | node_8101304_310042831 | node_8101304_310042918 | 306.094 | bal_3P_477AC_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101304_310043004 |  | ABCN | node_8101304_310042918 | node_8101304_310043004 | 279.429 | bal_3P_477AL_4/0AA(N) | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137486 |  | ABCN | node_8101304_200854386 | node_1345214_635_15290772_97 | 0.033 | unb_TAPWIRE_OH | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137487 |  | ABCN | node_8101304_200854386 | node_1345194_825_15290771_436 | 0.033 | unb_TAPWIRE_OH | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137488 |  | ABCN | node_8101304_200854386 | node_1345234_027_15290767_571 | 0.033 | unb_TAPWIRE_OH | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_3101770 |  | ABCN | node_8101304_310020474 | node_1347248_337_15292057_545 | 0.033 | unb_TAPWIRE_OH | 8101304 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8101304
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_4/0_AAAC |  | 0.017 | 0.439 | 0.563 | 365 | 365 | 480 | 480 |  | no
oh_cond_336_5_ACSR |  | 0.024 | 0.278 | 0.684 | 555 | 555 | 705 | 705 |  | no
oh_cond_477_ACSR |  | 0.028 | 0.196 | 0.849 | 695 | 695 | 880 | 880 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8101304
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_310020471 |  | ABCN | node_intto1_8101304_310020470 | node_8101304_310020470 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8101304 | no | no |  |  | no
switch_310020475 |  | ABCN | node_intto1_8101304_310020474 | node_8101304_310020474 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8101304 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8101304
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8101304_310042804 |  | ABCN | node_SOURCE_8101304 | node_8101304_310042804 | 53.79 | und_3P_750ALURD_750AL(N) | 8101304 | no | no |  |  | no
und_line_8101304_310042807 |  | ABCN | node_8101304_310042804 | node_8101304_310042807 | 19.951 | und_3P_750ALURD_750AL(N) | 8101304 | no | no |  |  | no
und_line_8101304_310042810 |  | ABCN | node_8101304_310042807 | node_8101304_310042810 | 72.397 | und_3P_750ALURD_750AL(N) | 8101304 | no | no |  |  | no
und_line_8101304_310042811 |  | ABCN | node_8101304_310042810 | node_8101304_310042811 | 55.555 | und_3P_750ALURD_750AL(N) | 8101304 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8101304
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_750ALURD_750AL(N) | [12 empty] | 475 | 475 | 525 | 525 |  | no