## feeder
data_type | static
owner_type | feeder
owner | 8101602
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8101602 |  | ts_slack | none | node_SOURCE_8101602 | 2771.281 | 57 | 49 | 2 | 0 | 0 | 0 | 0 | 25 | 1.068 | 0.982 | 0.418 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8101602
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220382430 |  | ABCD | node_intto1_8101602_200815351 | node_8101602_200815351 | GOOD | GOOD | GOOD |  | 30 |  |  | 8101602 | no | no |  |  | no
fuse_220383138 |  | ABCD | node_intto1_8101602_200811541 | node_8101602_200811541 | GOOD | GOOD | GOOD |  | 400 |  |  | 8101602 | no | no |  |  | no
fuse_310062738 |  | ABCD | node_intto1_8101602_200815358 | node_8101602_200815358 | GOOD | GOOD | GOOD |  | 10 |  |  | 8101602 | no | no |  |  | no
fuse_312036331 |  | ABCD | node_intto1_8101602_200815386 | node_8101602_200815386 | GOOD | GOOD | GOOD |  | 300 |  |  | 8101602 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8101602
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_3P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_4/0AL |  | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_4/0_AL |  |  | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 |  | no
bal_3P_4/0CU |  | oh_cond_4/0_CU | oh_cond_4/0_CU | oh_cond_4/0_CU |  |  | 0.374+1.459j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.374+1.459j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.374+1.459j | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 |  | no
bal_3P_336AL |  | oh_cond_336_5_MCM_AL | oh_cond_336_5_MCM_AL | oh_cond_336_5_MCM_AL |  |  | 0.374+1.431j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.374+1.431j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.374+1.431j | 13.957 | -3.628 | -3.628 | -3.628 | 13.957 | -3.628 | -3.628 | -3.628 | 13.957 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_2ALURD |  | und_cond_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.498 | 0 | 0 | 0 | 401.498 | 0 | 0 | 0 | 401.498 |  | no
und_3P_DELTACUST |  | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST |  |  | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 0.061-0.024j | 0.061-0.024j | 0.061-0.024j | 0.179+0.233j | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 |  | no

## load
data_type | static
owner_type | feeder
owner | 8101602
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220331856 |  | node_1397639_648_15293022_931 |  | AN | 0 | Residential | 11973.6+5100.732j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332755 |  | node_1397059_255_15293845_99 |  | BN | 0 | NonResidential | 0 | 30333.333+12921.946j | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332756 |  | node_1397064_321_15293850_837 |  | AN | 0 | NonResidential | 30333.333+12921.946j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332757 |  | node_1397070_415_15293851_421 |  | CN | 0 | NonResidential | 0 | 0 | 30333.333+12921.946j | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332758 |  | node_1397878_602_15294686_101 |  | AN | 0 | NonResidential | 2000+851.996j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332759 |  | node_1397859_345_15294679_581 |  | BN | 0 | NonResidential | 0 | 2000+851.996j | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332760 |  | node_1397898_428_15294685_716 |  | CN | 0 | NonResidential | 0 | 0 | 2000+851.996j | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332761 |  | node_1397817_444_15294076_601 |  | AN | 0 | NonResidential | 11333.333+4827.98j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332762 |  | node_1397837_137_15294079_904 |  | BN | 0 | NonResidential | 0 | 11333.333+4827.98j | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332763 |  | node_1397797_818_15294080_25 |  | CN | 0 | NonResidential | 0 | 0 | 11333.333+4827.98j | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332767 |  | node_1397561_699_15294181_793 |  | BN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332768 |  | node_1397561_916_15294173_149 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332769 |  | node_1397562_03_15294164_105 |  | CN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332770 |  | node_1398031_545_15294195_392 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332771 |  | node_1398106_939_15294023_195 |  | BN | 0 | NonResidential | 0 | 12000+5111.979j | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332772 |  | node_1398103_734_15294049_445 |  | AN | 0 | NonResidential | 12000+5111.979j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332773 |  | node_1398104_97_15293996_683 |  | CN | 0 | NonResidential | 0 | 0 | 12000+5111.979j | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332777 |  | node_1397604_694_15293231_076 |  | AN | 0 | NonResidential | 11000+4685.98j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332778 |  | node_1397605_353_15293204_469 |  | AN | 0 | NonResidential | 11000+4685.98j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220572209 |  | node_1397448_976_15293838_722 |  | AN | 0 | NonResidential | 1000+425.998j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220572210 |  | node_1397431_347_15293826_38 |  | AN | 0 | NonResidential | 1000+425.998j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310039655 |  | node_1397735_641_15294283_098 |  | AN | 0 | NonResidential | 12333.333+5253.978j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310039656 |  | node_1397715_893_15294280_515 |  | BN | 0 | NonResidential | 0 | 12333.333+5253.978j | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_310039657 |  | node_1397755_183_15294278_735 |  | CN | 0 | NonResidential | 0 | 0 | 12333.333+5253.978j | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_311921361 |  | node_1397660_888_15292877_628 |  | AN | 0 | NonResidential | 742000+316090.676j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101602 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8101602
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1397059_255_15293845_99 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397059.255 | 15293845.99 |  | -1
node_1397064_321_15293850_837 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397064.321 | 15293850.837 |  | -1
node_1397070_415_15293851_421 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397070.415 | 15293851.421 |  | -1
node_1397431_347_15293826_38 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397431.347 | 15293826.38 |  | -1
node_1397448_976_15293838_722 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397448.976 | 15293838.722 |  | -1
node_1397561_699_15294181_793 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397561.699 | 15294181.793 |  | -1
node_1397561_916_15294173_149 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397561.916 | 15294173.149 |  | -1
node_1397562_03_15294164_105 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397562.03 | 15294164.105 |  | -1
node_1397604_694_15293231_076 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397604.694 | 15293231.076 |  | -1
node_1397605_353_15293204_469 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397605.353 | 15293204.469 |  | -1
node_1397639_648_15293022_931 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397639.648 | 15293022.931 |  | -1
node_1397660_888_15292877_628 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397660.888 | 15292877.628 |  | -1
node_1397715_893_15294280_515 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397715.893 | 15294280.515 |  | -1
node_1397735_641_15294283_098 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397735.641 | 15294283.098 |  | -1
node_1397755_183_15294278_735 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397755.183 | 15294278.735 |  | -1
node_1397797_818_15294080_25 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397797.818 | 15294080.25 |  | -1
node_1397817_444_15294076_601 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397817.444 | 15294076.601 |  | -1
node_1397837_137_15294079_904 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397837.137 | 15294079.904 |  | -1
node_1397859_345_15294679_581 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397859.345 | 15294679.581 |  | -1
node_1397878_602_15294686_101 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397878.602 | 15294686.101 |  | -1
node_1397898_428_15294685_716 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397898.428 | 15294685.716 |  | -1
node_1398031_545_15294195_392 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1398031.545 | 15294195.392 |  | -1
node_1398103_734_15294049_445 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1398103.734 | 15294049.445 |  | -1
node_1398104_97_15293996_683 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1398104.97 | 15293996.683 |  | -1
node_1398106_939_15294023_195 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1398106.939 | 15294023.195 |  | -1
node_8101602_200808629 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1398091.05 | 15295478.904 |  | -1
node_8101602_200811541 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397658.03 | 15292885.243 |  | -1
node_8101602_200811542 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397609.369 | 15293018.652 |  | -1
node_8101602_200815342 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1398031.929 | 15294601.494 |  | -1
node_8101602_200815343 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397751.443 | 15294032.716 |  | -1
node_8101602_200815344 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397659.088 | 15293997.622 |  | -1
node_8101602_200815345 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397521.142 | 15293952.795 |  | -1
node_8101602_200815346 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397399.547 | 15293925.056 |  | -1
node_8101602_200815349 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397185.15 | 15293856.466 |  | -1
node_8101602_200815351 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397069.61 | 15293823.846 |  | -1
node_8101602_200815353 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397882.138 | 15294592.462 |  | -1
node_8101602_200815354 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397726.899 | 15294578.647 |  | -1
node_8101602_200815356 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397793.067 | 15294375.858 |  | -1
node_8101602_200815357 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397818.398 | 15294180.614 |  | -1
node_8101602_200815358 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397725.721 | 15294187.931 |  | -1
node_8101602_200815359 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397593.637 | 15294171.012 |  | -1
node_8101602_200815360 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397999.483 | 15294183.387 |  | -1
node_8101602_200815361 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397960.968 | 15294127.555 |  | -1
node_8101602_200815362 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397875.981 | 15294015.133 |  | -1
node_8101602_200815363 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1398026.847 | 15294026.242 |  | -1
node_8101602_200815382 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397904.341 | 15293305.232 |  | -1
node_8101602_200815386 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397676.735 | 15293232.188 |  | -1
node_8101602_200917124 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397636.168 | 15293131.533 |  | -1
node_8101602_200917126 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1398291.707 | 15294618.471 |  | -1
node_8101602_200957242 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397330.452 | 15295635.17 |  | -1
node_8101602_310025872 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397673.414 | 15292897.146 |  | -1
node_SOURCE_8101602 |  |  | SWING | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397385.612 | 15295650.302 |  | -1
node_intto1_8101602_200811541 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397658.03 | 15292885.243 |  | -1
node_intto1_8101602_200815351 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397069.61 | 15293823.846 |  | -1
node_intto1_8101602_200815358 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397725.721 | 15294187.931 |  | -1
node_intto1_8101602_200815386 |  |  | PQ | ABCD | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397676.735 | 15293232.188 |  | -1
node_intto1_8101602_310025872 |  |  | PQ | ABCN | 2771.281 | 8101602 | no | no |  |  | no |  |  | 1397673.414 | 15292897.146 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8101602
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8101602_200808629 |  | ABCD | node_8101602_200957242 | node_8101602_200808629 | 776.484 | bal_3P_4/0CU | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200811541 |  | ABCD | node_8101602_200811542 | node_intto1_8101602_200811541 | 142.006 | bal_3P_477AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200811542 |  | ABCD | node_8101602_200917124 | node_8101602_200811542 | 116.019 | bal_3P_477AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815342 |  | ABCD | node_8101602_200917126 | node_8101602_200815342 | 260.333 | bal_3P_477AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815343 |  | ABCD | node_8101602_200815362 | node_8101602_200815343 | 125.773 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815344 |  | ABCD | node_8101602_200815343 | node_8101602_200815344 | 98.799 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815345 |  | ABCD | node_8101602_200815344 | node_8101602_200815345 | 145.046 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815346 |  | ABCD | node_8101602_200815345 | node_8101602_200815346 | 124.72 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815349 |  | ABCD | node_8101602_200815346 | node_8101602_200815349 | 225.101 | bal_3P_4/0AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815351 |  | ABCD | node_8101602_200815349 | node_intto1_8101602_200815351 | 120.057 | bal_3P_4/0AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815353 |  | ABCD | node_8101602_200815342 | node_8101602_200815353 | 150.063 | bal_3P_4/0CU | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815354 |  | ABCD | node_8101602_200815353 | node_8101602_200815354 | 155.853 | bal_3P_4/0CU | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815356 |  | ABCD | node_8101602_200815354 | node_8101602_200815356 | 213.312 | bal_3P_4/0CU | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815357 |  | ABCD | node_8101602_200815356 | node_8101602_200815357 | 196.88 | bal_3P_4/0CU | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815358 |  | ABCD | node_8101602_200815357 | node_intto1_8101602_200815358 | 92.965 | bal_3P_1/0AC | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815359 |  | ABCD | node_8101602_200815358 | node_8101602_200815359 | 133.164 | bal_3P_1/0AC | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815360 |  | ABCD | node_8101602_200815357 | node_8101602_200815360 | 181.106 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815361 |  | ABCD | node_8101602_200815360 | node_8101602_200815361 | 67.829 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815362 |  | ABCD | node_8101602_200815361 | node_8101602_200815362 | 140.931 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815363 |  | ABCD | node_8101602_200815362 | node_8101602_200815363 | 151.274 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815382 |  | ABCD | node_8101602_200815362 | node_8101602_200815382 | 710.468 | bal_3P_336AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200815386 |  | ABCD | node_8101602_200815382 | node_intto1_8101602_200815386 | 239.039 | bal_3P_477AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200917124 |  | ABCD | node_8101602_200815386 | node_8101602_200917124 | 108.522 | bal_3P_477AL | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101602_200917126 |  | ABCD | node_8101602_200808629 | node_8101602_200917126 | 883.521 | bal_3P_4/0CU | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892389 |  | ABCN | node_8101602_200811542 | node_1397639_648_15293022_931 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892989 |  | ABCN | node_8101602_200815351 | node_1397064_321_15293850_837 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892993 |  | ABCN | node_8101602_200815359 | node_1397561_916_15294173_149 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_892994 |  | ABCN | node_8101602_200815360 | node_1398031_545_15294195_392 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137740 |  | ABCN | node_8101602_200815358 | node_1397735_641_15294283_098 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137741 |  | ABCN | node_8101602_200815358 | node_1397715_893_15294280_515 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137742 |  | ABCN | node_8101602_200815358 | node_1397755_183_15294278_735 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137839 |  | ABCN | node_8101602_200815357 | node_1397817_444_15294076_601 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137840 |  | ABCN | node_8101602_200815357 | node_1397837_137_15294079_904 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137841 |  | ABCN | node_8101602_200815357 | node_1397797_818_15294080_25 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2140964 |  | ABCN | node_8101602_200815353 | node_1397878_602_15294686_101 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2140965 |  | ABCN | node_8101602_200815353 | node_1397859_345_15294679_581 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2140966 |  | ABCN | node_8101602_200815353 | node_1397898_428_15294685_716 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141016 |  | ABCN | node_8101602_200815346 | node_1397431_347_15293826_38 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141017 |  | ABCN | node_8101602_200815346 | node_1397448_976_15293838_722 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141077 |  | ABCN | node_8101602_200815386 | node_1397604_694_15293231_076 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141078 |  | ABCN | node_8101602_200815386 | node_1397605_353_15293204_469 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141109 |  | ABCN | node_8101602_200815363 | node_1398106_939_15294023_195 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141110 |  | ABCN | node_8101602_200815363 | node_1398103_734_15294049_445 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141111 |  | ABCN | node_8101602_200815363 | node_1398104_97_15293996_683 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468773 |  | ABCN | node_8101602_200815351 | node_1397059_255_15293845_99 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468774 |  | ABCN | node_8101602_200815351 | node_1397070_415_15293851_421 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468775 |  | ABCN | node_8101602_200815359 | node_1397561_699_15294181_793 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2468776 |  | ABCN | node_8101602_200815359 | node_1397562_03_15294164_105 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_3032866 |  | ABCN | node_8101602_200811541 | node_1397660_888_15292877_628 | 0.033 | unb_TAPWIRE_OH | 8101602 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8101602
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_4/0_AL |  | 0.016 | 0.442 | 0.522 | 365 | 365 | 480 | 480 |  | no
oh_cond_4/0_CU |  | 0.017 | 0.278 | 0.522 | 395 | 290 | 570 | 570 |  | no
oh_cond_336_5_MCM_AL |  | 0.021 | 0.279 | 0.666 | 490 | 490 | 644 | 644 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8101602
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_65265-220415301 |  | ABCN | node_intto1_8101602_310025872 | node_8101602_310025872 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8101602 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8101602
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8101602_200957242 |  | ABCN | node_SOURCE_8101602 | node_8101602_200957242 | 57.197 | und_3P_2ALURD | 8101602 | no | no |  |  | no
und_line_8101602_310025872 |  | ABCN | node_8101602_200811541 | node_intto1_8101602_310025872 | 19.454 | und_3P_DELTACUST | 8101602 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8101602
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_2ALURD | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_3P_DELTACUST | [12 empty] | 685 | 685 | 685 | 685 |  | no