## feeder
data_type | static
owner_type | feeder
owner | 8101605
object | feeder
name | transmission_bus | ARC | ADR | slack_bus | nom_voltages | num_nodes | num_ohlines | num_uglines | num_transformers | num_generators | num_pvs | num_storages | num_loads | miles | mw | mvar | losses_mw | losses_mvar | comments | use_feeder_load_shape | load_shape_scale | use_feeder_pv_shape | pv_shape_scale | description | restore_time | griddisconnect_scenario_probability | gridconnect_scenario_probability | use_energy_not_served | VOLL | discount_rate | yearly_load_growth_percent | planning_horizon | enable_traditional_project_deferral | lifetime_of_investment_years | start_year | base_year | year_the_investment_is_committed | revenue_requirement_scaling_factor | discount_rate | inflation_rate_for_investment | traditional_project_invested_capital | periodicity_of_investment_in_years | priority | maximum_total_investment_cost | DER_portfolio_NPV | DER_portfolio_BC_ratio | total_system_energy_avoided_cost_NPV | total_system_capacity_avoided_cost_NPV | total_system_ancillary_services_avoided_cost_NPV | total_system_CO2_avoided_cost_NPV | total_system_loss_of_load_avoided_cost_NPV | total_system_distribution_capacity_avoided_cost_NPV | total_system_investment_and_operational_cost_NPV | feeder_solar_pv_operating_cost_USdollarperkWh | feeder_energy_storage_operating_cost_USdollarperkWh | feeder_distributed_generator_operating_cost_USdollarperkWh | feeder_distributed_generator_CO2_cost_USdollarperkWh | feeder_demand_response_operating_cost_USdollarperkWh | feeder_solar_pv_investment_cost_USdollarperkW | feeder_energy_storage_investment_cost_USdollarperkW | feeder_distributed_generator_investment_cost_USdollarperkW | feeder_demand_response_investment_cost_USdollarperkW
8101605 |  | ts_slack | none | node_SOURCE_8101605 | 2771.281 | 161 | 151 | 4 | 0 | 0 | 0 | 0 | 58 | 2.039 | 1.774 | 0.756 | 0 | 0 |  | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 999999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## fuse
data_type | static
owner_type | feeder
owner | 8101605
object | fuse
name | groupid | phases | fr | to | phase_A_status | phase_B_status | phase_C_status | repair_dist_type | current_limit | mean_replacement_time | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
fuse_220383269 |  | AD | node_intto1_8101605_200809175 | node_8101605_200809175 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101605 | no | no |  |  | no
fuse_220383280 |  | ABCD | node_intto1_8101605_200809160 | node_8101605_200809160 | GOOD | GOOD | GOOD |  | 150 |  |  | 8101605 | no | no |  |  | no
fuse_220383281 |  | AD | node_intto1_8101605_200808364 | node_8101605_200808364 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101605 | no | no |  |  | no
fuse_220383373 |  | ABCN | node_intto1_8101605_200809136 | node_8101605_200809136 | GOOD | GOOD | GOOD |  | 100 |  |  | 8101605 | no | no |  |  | no

## line_configuration
data_type | static
owner_type | feeder
owner | 8101605
object | line_configuration
name | groupid | conductor_A | conductor_B | conductor_C | conductor_N | spacing | z11 | z12 | z13 | z21 | z22 | z23 | z31 | z32 | z33 | c11 | c12 | c13 | c21 | c22 | c23 | c31 | c32 | c33 | dcircuit | selected | comments
bal_1P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_1/0AC |  | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_1P_2AC |  | oh_cond_2_ACSR | oh_cond_2_ACSR | oh_cond_2_ACSR |  |  | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 |  | no
bal_1P_4/0AL |  | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_4/0_AL |  |  | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 |  | no
bal_1P_4CU |  | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 |  | no
bal_3P_1/0AA |  | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 |  | no
bal_3P_2/0CU |  | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU |  |  | 0.535+1.487j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.535+1.487j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.535+1.487j | 12.878 | -3.204 | -3.204 | -3.204 | 12.878 | -3.204 | -3.204 | -3.204 | 12.878 |  | no
bal_3P_4/0AL |  | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_4/0_AL |  |  | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.537+1.466j | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 | -3.4 | -3.4 | -3.4 | 13.381 |  | no
bal_3P_477AL |  | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 |  | no
bal_3P_DELTACUST |  | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_3_#7_CWD_30% |  | 0.66+1.378j | 0.22+0.666j | 0.22+0.666j | 0.22+0.666j | 0.66+1.378j | 0.22+0.666j | 0.22+0.666j | 0.22+0.666j | 0.66+1.378j | 13.24 | -2.712 | -2.712 | -2.712 | 13.24 | -2.712 | -2.712 | -2.712 | 13.24 |  | no
unb_TAPWIRE_OH |  | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 |  | no
und_3P_2ALURD |  | und_cond_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD |  |  | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 401.498 | 0 | 0 | 0 | 401.498 | 0 | 0 | 0 | 401.498 |  | no
und_TAPWIRE_UG |  | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0.0+0.0j | 0.0+0.0j | 0.0+0.0j | 0.001+0.001j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | no

## load
data_type | static
owner_type | feeder
owner | 8101605
object | load
name | groupid | parent | bustype | phases | nominal_voltage | load_class | constant_power_A | constant_power_B | constant_power_C | constant_current_A | constant_current_B | constant_current_C | constant_impedance_A | constant_impedance_B | constant_impedance_C | base_power_A | base_power_B | base_power_C | power_pf_A | power_pf_B | power_pf_C | current_pf_A | current_pf_B | current_pf_C | impedance_pf_A | impedance_pf_B | impedance_pf_C | power_fraction_A | power_fraction_B | power_fraction_C | current_fraction_A | current_fraction_B | current_fraction_C | impedance_fraction_A | impedance_fraction_B | impedance_fraction_C | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | base_kw_A | base_kw_B | base_kw_C | kw_A | kw_B | kw_C | comments | critical_load | dem_resp_lb | dem_resp_ub | dem_resp_shortage_cost | dem_resp_surplus_cost | num_customers
load_220330884 |  | node_1399887_457_15297314_809 |  | AN | 0 | Residential | 72756+30993.926j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330885 |  | node_1399774_618_15297952_201 |  | AN | 0 | Residential | 96019.2+40904.008j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330901 |  | node_1399581_162_15296596_702 |  | AN | 0 | Residential | 138384+58951.337j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330902 |  | node_1399489_953_15297323_649 |  | AN | 0 | Residential | 45612+19430.631j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330903 |  | node_1399472_143_15297549_774 |  | AN | 0 | NonResidential | 230.4+98.15j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330911 |  | node_1399278_856_15295747_475 |  | AN | 0 | NonResidential | 12000+5111.979j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330912 |  | node_1399282_709_15295721_387 |  | BN | 0 | NonResidential | 0 | 12000+5111.979j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330913 |  | node_1399280_17_15295774_054 |  | CN | 0 | NonResidential | 0 | 0 | 12000+5111.979j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330914 |  | node_1399202_205_15295827_401 |  | AN | 0 | NonResidential | 10666.667+4543.981j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330915 |  | node_1399208_337_15295802_13 |  | BN | 0 | NonResidential | 0 | 10666.667+4543.981j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330916 |  | node_1399201_162_15295853_982 |  | CN | 0 | NonResidential | 0 | 0 | 10666.667+4543.981j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330917 |  | node_1399415_147_15295970_119 |  | AN | 0 | Residential | 47095.2+20062.471j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330918 |  | node_1399411_932_15295996_367 |  | AN | 0 | NonResidential | 7000+2981.988j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330919 |  | node_1399339_777_15296420_21 |  | AN | 0 | Residential | 98920.8+42140.084j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330920 |  | node_1399305_385_15296855_781 |  | AN | 0 | NonResidential | 6000+2555.989j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330922 |  | node_1399256_594_15297433_172 |  | AN | 0 | NonResidential | 9000+3833.984j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330940 |  | node_1398987_405_15296267_062 |  | AN | 0 | Residential | 86760+36959.605j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330970 |  | node_1398221_651_15295604_444 |  | AN | 0 | NonResidential | 29000+12353.948j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330971 |  | node_1398225_167_15295578_269 |  | BN | 0 | NonResidential | 0 | 29000+12353.948j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330972 |  | node_1398223_306_15295630_992 |  | CN | 0 | NonResidential | 0 | 0 | 29000+12353.948j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330973 |  | node_1398232_082_15295731_993 |  | CN | 0 | NonResidential | 0 | 0 | 2666.667+1135.995j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330974 |  | node_1398252_15295712_871 |  | AN | 0 | NonResidential | 2666.667+1135.995j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330975 |  | node_1398239_449_15295755_702 |  | BN | 0 | NonResidential | 0 | 2666.667+1135.995j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330976 |  | node_1398230_033_15295799_099 |  | AN | 0 | NonResidential | 1666.667+709.997j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330977 |  | node_1398249_199_15295788_682 |  | BN | 0 | NonResidential | 0 | 1666.667+709.997j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330978 |  | node_1398221_381_15295813_972 |  | CN | 0 | NonResidential | 0 | 0 | 1666.667+709.997j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330979 |  | node_1398337_53_15296056_859 |  | AN | 0 | Residential | 12720+5418.697j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330980 |  | node_1398333_465_15296082_887 |  | BN | 0 | Residential | 0 | 12720+5418.697j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220330981 |  | node_1398336_434_15296030_263 |  | CN | 0 | NonResidential | 0 | 0 | 3333.333+1419.994j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331014 |  | node_1400155_871_15296628_327 |  | AN | 0 | Residential | 76752+32696.215j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331214 |  | node_1398547_164_15296174_31 |  | AN | 0 | Residential | 62388+26577.177j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331215 |  | node_1397952_665_15296164_53 |  | AN | 0 | NonResidential | 23000+9797.959j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331216 |  | node_1397955_93_15296138_293 |  | AN | 0 | NonResidential | 23000+9797.959j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331217 |  | node_1399097_59_15296672_66 |  | AN | 0 | Residential | 7308+3113.195j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331227 |  | node_1399700_975_15297665_858 |  | AN | 0 | Residential | 50234.4+21399.765j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220331229 |  | node_1399541_637_15298182_84 |  | AN | 0 | Residential | 70524+30043.098j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332958 |  | node_1399103_912_15297852_284 |  | AN | 0 | NonResidential | 11000+4685.98j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332959 |  | node_1398921_731_15297287_794 |  | AN | 0 | Residential | 24804+10566.46j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332961 |  | node_1398068_081_15295784_912 |  | AN | 0 | Residential | 25531.2+10876.246j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332962 |  | node_1397867_637_15295703_478 |  | AN | 0 | NonResidential | 12666.667+5395.978j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332964 |  | node_1397828_715_15295695_667 |  | BN | 0 | NonResidential | 0 | 12666.667+5395.978j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332965 |  | node_1397592_773_15295669_273 |  | AN | 0 | NonResidential | 8000+3407.986j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332966 |  | node_1397611_6_15295677_788 |  | BN | 0 | NonResidential | 0 | 8000+3407.986j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332967 |  | node_1397572_976_15295667_579 |  | CN | 0 | NonResidential | 0 | 0 | 8000+3407.986j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332968 |  | node_1397483_06_15295853_405 |  | AN | 0 | Residential | 2948.4+1256.013j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220332969 |  | node_1397466_051_15295839_574 |  | AN | 0 | NonResidential | 1771.2+754.528j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431552 |  | node_1400161_617_15297463_368 |  | AN | 0 | NonResidential | 164666.667+70147.706j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431569 |  | node_1400141_793_15297462_74 |  | BN | 0 | NonResidential | 0 | 164666.667+70147.706j | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220431570 |  | node_1400180_856_15297457_086 |  | CN | 0 | NonResidential | 0 | 0 | 164666.667+70147.706j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220467278 |  | node_1399246_009_15297560_571 |  | AN | 0 | NonResidential | 29000+12353.948j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220499167 |  | node_1399882_415_15296974_456 |  | AN | 0 | NonResidential | 4946.4+2107.158j | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_220569987 |  | node_1397848_543_15295696_135 |  | CN | 0 | NonResidential | 0 | 0 | 12666.667+5395.978j | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312104074 |  | node_1397854_721_15296120_235 |  | AN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312104074-L1-1 |  | node_1397854_721_15296120_235 |  | AN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312107663 |  | node_1397866_13_15296115_564 |  | BN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312107663-L-1 |  | node_1397866_13_15296115_564 |  | BN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312107664 |  | node_1397877_311_15296104_611 |  | CN | 0 | Other | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0
load_312107664-L-1 |  | node_1397877_311_15296104_611 |  | CN | 0 | NonResidential | 0 | 0 | 0 | 0 | 0 | 0 | [24 empty] | 8101605 | no | no |  |  | no |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 1 | 1 | 0 | 0 | 0

## node
data_type | static
owner_type | feeder
owner | 8101605
object | node
name | groupid | parent | bustype | phases | nominal_voltage | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | subsystem | x | y | comments | dist_to_slack
node_1397466_051_15295839_574 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397466.051 | 15295839.574 |  | -1
node_1397483_06_15295853_405 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397483.06 | 15295853.405 |  | -1
node_1397572_976_15295667_579 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397572.976 | 15295667.579 |  | -1
node_1397592_773_15295669_273 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397592.773 | 15295669.273 |  | -1
node_1397611_6_15295677_788 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397611.6 | 15295677.788 |  | -1
node_1397828_715_15295695_667 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397828.715 | 15295695.667 |  | -1
node_1397848_543_15295696_135 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397848.543 | 15295696.135 |  | -1
node_1397854_721_15296120_235 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397854.721 | 15296120.235 |  | -1
node_1397866_13_15296115_564 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397866.13 | 15296115.564 |  | -1
node_1397867_637_15295703_478 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397867.637 | 15295703.478 |  | -1
node_1397877_311_15296104_611 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397877.311 | 15296104.611 |  | -1
node_1397952_665_15296164_53 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397952.665 | 15296164.53 |  | -1
node_1397955_93_15296138_293 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397955.93 | 15296138.293 |  | -1
node_1398068_081_15295784_912 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398068.081 | 15295784.912 |  | -1
node_1398221_381_15295813_972 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398221.381 | 15295813.972 |  | -1
node_1398221_651_15295604_444 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398221.651 | 15295604.444 |  | -1
node_1398223_306_15295630_992 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398223.306 | 15295630.992 |  | -1
node_1398225_167_15295578_269 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398225.167 | 15295578.269 |  | -1
node_1398230_033_15295799_099 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398230.033 | 15295799.099 |  | -1
node_1398232_082_15295731_993 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398232.082 | 15295731.993 |  | -1
node_1398239_449_15295755_702 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398239.449 | 15295755.702 |  | -1
node_1398249_199_15295788_682 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398249.199 | 15295788.682 |  | -1
node_1398252_15295712_871 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398252 | 15295712.871 |  | -1
node_1398333_465_15296082_887 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398333.465 | 15296082.887 |  | -1
node_1398336_434_15296030_263 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398336.434 | 15296030.263 |  | -1
node_1398337_53_15296056_859 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398337.53 | 15296056.859 |  | -1
node_1398547_164_15296174_31 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398547.164 | 15296174.31 |  | -1
node_1398921_731_15297287_794 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398921.731 | 15297287.794 |  | -1
node_1398987_405_15296267_062 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398987.405 | 15296267.062 |  | -1
node_1399097_59_15296672_66 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399097.59 | 15296672.66 |  | -1
node_1399103_912_15297852_284 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399103.912 | 15297852.284 |  | -1
node_1399201_162_15295853_982 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399201.162 | 15295853.982 |  | -1
node_1399202_205_15295827_401 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399202.205 | 15295827.401 |  | -1
node_1399208_337_15295802_13 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399208.337 | 15295802.13 |  | -1
node_1399246_009_15297560_571 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399246.009 | 15297560.571 |  | -1
node_1399256_594_15297433_172 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399256.594 | 15297433.172 |  | -1
node_1399278_856_15295747_475 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399278.856 | 15295747.475 |  | -1
node_1399280_17_15295774_054 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399280.17 | 15295774.054 |  | -1
node_1399282_709_15295721_387 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399282.709 | 15295721.387 |  | -1
node_1399305_385_15296855_781 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399305.385 | 15296855.781 |  | -1
node_1399339_777_15296420_21 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399339.777 | 15296420.21 |  | -1
node_1399411_932_15295996_367 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399411.932 | 15295996.367 |  | -1
node_1399415_147_15295970_119 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399415.147 | 15295970.119 |  | -1
node_1399472_143_15297549_774 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399472.143 | 15297549.774 |  | -1
node_1399489_953_15297323_649 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399489.953 | 15297323.649 |  | -1
node_1399541_637_15298182_84 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399541.637 | 15298182.84 |  | -1
node_1399581_162_15296596_702 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399581.162 | 15296596.702 |  | -1
node_1399700_975_15297665_858 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399700.975 | 15297665.858 |  | -1
node_1399774_618_15297952_201 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399774.618 | 15297952.201 |  | -1
node_1399882_415_15296974_456 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399882.415 | 15296974.456 |  | -1
node_1399887_457_15297314_809 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399887.457 | 15297314.809 |  | -1
node_1400141_793_15297462_74 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400141.793 | 15297462.74 |  | -1
node_1400155_871_15296628_327 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400155.871 | 15296628.327 |  | -1
node_1400161_617_15297463_368 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400161.617 | 15297463.368 |  | -1
node_1400180_856_15297457_086 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400180.856 | 15297457.086 |  | -1
node_8101605_200808314 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399873.275 | 15297092.342 |  | -1
node_8101605_200808315 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399863.389 | 15297200.62 |  | -1
node_8101605_200808317 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399855.936 | 15297310.83 |  | -1
node_8101605_200808322 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399806.666 | 15297953.22 |  | -1
node_8101605_200808323 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399800.11 | 15298053.176 |  | -1
node_8101605_200808324 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399791.588 | 15298151.37 |  | -1
node_8101605_200808363 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399579.766 | 15296630.317 |  | -1
node_8101605_200808364 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399565.502 | 15296758.253 |  | -1
node_8101605_200808366 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399551.419 | 15296972.779 |  | -1
node_8101605_200808369 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399518.903 | 15297329.425 |  | -1
node_8101605_200808370 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399513.52 | 15297442.865 |  | -1
node_8101605_200808371 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399501.984 | 15297560.749 |  | -1
node_8101605_200808373 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399493.711 | 15297677.345 |  | -1
node_8101605_200808395 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399358.748 | 15295754.307 |  | -1
node_8101605_200808397 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399349.39 | 15295863.732 |  | -1
node_8101605_200808398 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399273.864 | 15295848.706 |  | -1
node_8101605_200808399 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399332.566 | 15295960.93 |  | -1
node_8101605_200808400 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399329.846 | 15296063.581 |  | -1
node_8101605_200808404 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399322.395 | 15296165.982 |  | -1
node_8101605_200808406 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399318.784 | 15296213.71 |  | -1
node_8101605_200808407 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399321.027 | 15296253.033 |  | -1
node_8101605_200808408 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399317.167 | 15296310.008 |  | -1
node_8101605_200808410 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399305.532 | 15296411.855 |  | -1
node_8101605_200808412 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399298.704 | 15296511.817 |  | -1
node_8101605_200808414 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399289.201 | 15296611.041 |  | -1
node_8101605_200808415 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399284.49 | 15296660.04 |  | -1
node_8101605_200808416 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399279.275 | 15296760.986 |  | -1
node_8101605_200808418 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399274.503 | 15296850.857 |  | -1
node_8101605_200808419 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399262.161 | 15296954.284 |  | -1
node_8101605_200808423 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399247.698 | 15297099.567 |  | -1
node_8101605_200808425 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399234.19 | 15297205.583 |  | -1
node_8101605_200808427 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399233.81 | 15297305.813 |  | -1
node_8101605_200808429 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399225.839 | 15297431.544 |  | -1
node_8101605_200808430 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399210.969 | 15297555.029 |  | -1
node_8101605_200808431 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399206.481 | 15297649.164 |  | -1
node_8101605_200808467 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398970.88 | 15296240.018 |  | -1
node_8101605_200808513 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398297.407 | 15295612.596 |  | -1
node_8101605_200808514 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398288.875 | 15295741.407 |  | -1
node_8101605_200808517 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398279.172 | 15295822.775 |  | -1
node_8101605_200808518 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398272.077 | 15295954.536 |  | -1
node_8101605_200808519 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398261.276 | 15296044.294 |  | -1
node_8101605_200808520 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398253.532 | 15296181.339 |  | -1
node_8101605_200808569 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400190.646 | 15296634.809 |  | -1
node_8101605_200808570 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400182.26 | 15296734.983 |  | -1
node_8101605_200808571 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400174.364 | 15296832.271 |  | -1
node_8101605_200808572 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400166.564 | 15296932.178 |  | -1
node_8101605_200808573 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400164.022 | 15296984.583 |  | -1
node_8101605_200808574 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400159.823 | 15297029.792 |  | -1
node_8101605_200809109 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398546.081 | 15296201.768 |  | -1
node_8101605_200809110 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398443.983 | 15296202.974 |  | -1
node_8101605_200809111 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398348.723 | 15296192.136 |  | -1
node_8101605_200809112 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398147.444 | 15296177.831 |  | -1
node_8101605_200809114 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398029.452 | 15296168.312 |  | -1
node_8101605_200809119 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399224.735 | 15296264.2 |  | -1
node_8101605_200809120 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399156.663 | 15296254.382 |  | -1
node_8101605_200809121 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399079.736 | 15296251.44 |  | -1
node_8101605_200809123 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398847.977 | 15296228.901 |  | -1
node_8101605_200809124 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398747.784 | 15296219.401 |  | -1
node_8101605_200809125 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398647.238 | 15296211.908 |  | -1
node_8101605_200809132 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399218.355 | 15296650.645 |  | -1
node_8101605_200809133 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399097.073 | 15296638.585 |  | -1
node_8101605_200809136 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400153.017 | 15297361.953 |  | -1
node_8101605_200809137 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399540.652 | 15296987.189 |  | -1
node_8101605_200809138 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399648.734 | 15296993.998 |  | -1
node_8101605_200809139 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399751.647 | 15297004.468 |  | -1
node_8101605_200809140 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400007.931 | 15297023.368 |  | -1
node_8101605_200809141 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400125.231 | 15297034.309 |  | -1
node_8101605_200809160 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399318.82 | 15296962.475 |  | -1
node_8101605_200809161 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399443.118 | 15296979.636 |  | -1
node_8101605_200809166 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399296.213 | 15297317.368 |  | -1
node_8101605_200809168 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399597.767 | 15297699.114 |  | -1
node_8101605_200809169 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399698.067 | 15297704.457 |  | -1
node_8101605_200809173 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399134.179 | 15297657.322 |  | -1
node_8101605_200809175 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399338.485 | 15297671.376 |  | -1
node_8101605_200809176 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399481.715 | 15297684.476 |  | -1
node_8101605_200809177 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399343.13 | 15298207.654 |  | -1
node_8101605_200809178 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399458.194 | 15298215.329 |  | -1
node_8101605_200809179 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399548.38 | 15298218.268 |  | -1
node_8101605_200809180 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399657.282 | 15298231.868 |  | -1
node_8101605_200809181 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399768.503 | 15298242.776 |  | -1
node_8101605_200815898 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399096.456 | 15298310.89 |  | -1
node_8101605_200815899 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399104.322 | 15298196.472 |  | -1
node_8101605_200815900 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399117.628 | 15298031.958 |  | -1
node_8101605_200815901 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399132.974 | 15297858.483 |  | -1
node_8101605_200815902 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399142.662 | 15297725.846 |  | -1
node_8101605_200815905 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399157.156 | 15297319.622 |  | -1
node_8101605_200815906 |  |  | PQ | AN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398953.269 | 15297303.539 |  | -1
node_8101605_200815914 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398231.219 | 15295840.943 |  | -1
node_8101605_200815915 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398067.318 | 15295832.955 |  | -1
node_8101605_200815916 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397968.444 | 15295820.529 |  | -1
node_8101605_200815917 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397840.178 | 15295810.043 |  | -1
node_8101605_200815918 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397576.326 | 15295776.609 |  | -1
node_8101605_200815919 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397505.577 | 15295769.456 |  | -1
node_8101605_200815925 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399083.51 | 15298483.615 |  | -1
node_8101605_200815930 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399142.273 | 15297693.103 |  | -1
node_8101605_200815935 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398268.052 | 15295833.29 |  | -1
node_8101605_200947031 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399881.963 | 15297002.415 |  | -1
node_8101605_200958316 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399073.949 | 15298641.354 |  | -1
node_8101605_201011440 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1398104.01 | 15296169.917 |  | -1
node_8101605_312104073 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397849.09 | 15296075.649 |  | -1
node_SOURCE_8101605 |  |  | SWING | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1397392.053 | 15295674.548 |  | -1
node_intto1_8101605_200808364 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399565.502 | 15296758.253 |  | -1
node_intto1_8101605_200809136 |  |  | PQ | ABCN | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1400153.017 | 15297361.953 |  | -1
node_intto1_8101605_200809160 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399318.82 | 15296962.475 |  | -1
node_intto1_8101605_200809175 |  |  | PQ | AD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399338.485 | 15297671.376 |  | -1
node_intto1_8101605_200815930 |  |  | PQ | ABCD | 2771.281 | 8101605 | no | no |  |  | no |  |  | 1399142.273 | 15297693.103 |  | -1

## overhead_line
data_type | static
owner_type | feeder
owner | 8101605
object | overhead_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments | R | X | B | lim_kw
oh_line_8101605_200808314 |  | AD | node_8101605_200947031 | node_8101605_200808314 | 90.345 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808315 |  | AD | node_8101605_200808314 | node_8101605_200808315 | 108.728 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808317 |  | AD | node_8101605_200808315 | node_8101605_200808317 | 110.462 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808322 |  | AD | node_8101605_200808323 | node_8101605_200808322 | 100.171 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808323 |  | AD | node_8101605_200808324 | node_8101605_200808323 | 98.563 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808324 |  | AD | node_8101605_200809181 | node_8101605_200808324 | 94.276 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808363 |  | AD | node_8101605_200808364 | node_8101605_200808363 | 128.728 | bal_1P_2AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808364 |  | AD | node_8101605_200808366 | node_intto1_8101605_200808364 | 214.988 | bal_1P_2AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808366 |  | AD | node_8101605_200809137 | node_8101605_200808366 | 17.988 | bal_1P_2AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808369 |  | AD | node_8101605_200808370 | node_8101605_200808369 | 114.453 | bal_1P_1/0AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808370 |  | AD | node_8101605_200808371 | node_8101605_200808370 | 118.447 | bal_1P_1/0AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808371 |  | AD | node_8101605_200808373 | node_8101605_200808371 | 116.89 | bal_1P_1/0AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808373 |  | AD | node_8101605_200809176 | node_8101605_200808373 | 13.956 | bal_1P_1/0AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808395 |  | ABCD | node_8101605_200808397 | node_8101605_200808395 | 109.825 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808397 |  | ABCD | node_8101605_200808399 | node_8101605_200808397 | 98.643 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808398 |  | ABCD | node_8101605_200808397 | node_8101605_200808398 | 77.006 | bal_3P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808399 |  | ABCD | node_8101605_200808400 | node_8101605_200808399 | 102.687 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808400 |  | ABCD | node_8101605_200808404 | node_8101605_200808400 | 102.672 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808404 |  | ABCD | node_8101605_200808406 | node_8101605_200808404 | 47.865 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808406 |  | ABCD | node_8101605_200808407 | node_8101605_200808406 | 39.387 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808407 |  | ABCD | node_8101605_200808408 | node_8101605_200808407 | 57.106 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808408 |  | ABCD | node_8101605_200809119 | node_8101605_200808408 | 103.16 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808410 |  | ABCD | node_8101605_200808408 | node_8101605_200808410 | 102.509 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808412 |  | ABCD | node_8101605_200808410 | node_8101605_200808412 | 100.195 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808414 |  | ABCD | node_8101605_200808412 | node_8101605_200808414 | 99.677 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808415 |  | ABCD | node_8101605_200808414 | node_8101605_200808415 | 49.226 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808416 |  | ABCD | node_8101605_200808415 | node_8101605_200808416 | 101.081 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808418 |  | ABCD | node_8101605_200808416 | node_8101605_200808418 | 89.998 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808419 |  | ABCD | node_8101605_200808418 | node_8101605_200808419 | 104.161 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808423 |  | ABCD | node_8101605_200808419 | node_8101605_200808423 | 146 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808425 |  | ABCD | node_8101605_200808423 | node_8101605_200808425 | 106.874 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808427 |  | ABCD | node_8101605_200808425 | node_8101605_200808427 | 100.231 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808429 |  | ABCD | node_8101605_200808427 | node_8101605_200808429 | 125.983 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808430 |  | ABCD | node_8101605_200808429 | node_8101605_200808430 | 124.377 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808431 |  | ABCD | node_8101605_200808430 | node_8101605_200808431 | 94.241 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808467 |  | ABCD | node_8101605_200809123 | node_8101605_200808467 | 123.404 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808513 |  | ABCD | node_8101605_200808514 | node_8101605_200808513 | 129.093 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808514 |  | ABCD | node_8101605_200808517 | node_8101605_200808514 | 81.945 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808517 |  | ABCD | node_8101605_200815935 | node_8101605_200808517 | 15.304 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808518 |  | ABCD | node_8101605_200808517 | node_8101605_200808518 | 131.952 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808519 |  | ABCD | node_8101605_200808518 | node_8101605_200808519 | 90.406 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808520 |  | ABCD | node_8101605_200808519 | node_8101605_200808520 | 137.263 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808569 |  | AD | node_8101605_200808570 | node_8101605_200808569 | 100.524 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808570 |  | AD | node_8101605_200808571 | node_8101605_200808570 | 97.608 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808571 |  | AD | node_8101605_200808572 | node_8101605_200808571 | 100.212 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808572 |  | AD | node_8101605_200808573 | node_8101605_200808572 | 52.467 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808573 |  | AD | node_8101605_200808574 | node_8101605_200808573 | 45.403 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200808574 |  | ABCD | node_8101605_200809141 | node_8101605_200808574 | 34.886 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809109 |  | ABCD | node_8101605_200809110 | node_8101605_200809109 | 102.105 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809110 |  | ABCD | node_8101605_200809111 | node_8101605_200809110 | 95.875 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809111 |  | ABCD | node_8101605_200808520 | node_8101605_200809111 | 95.802 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809112 |  | ABCD | node_8101605_200808520 | node_8101605_200809112 | 106.145 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809114 |  | ABCD | node_8101605_201011440 | node_8101605_200809114 | 74.576 | bal_3P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809119 |  | ABCD | node_8101605_200809120 | node_8101605_200809119 | 68.777 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809120 |  | ABCD | node_8101605_200809121 | node_8101605_200809120 | 76.983 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809121 |  | ABCD | node_8101605_200808467 | node_8101605_200809121 | 109.454 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809123 |  | ABCD | node_8101605_200809124 | node_8101605_200809123 | 100.642 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809124 |  | ABCD | node_8101605_200809125 | node_8101605_200809124 | 100.825 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809125 |  | ABCD | node_8101605_200809109 | node_8101605_200809125 | 101.664 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809132 |  | AD | node_8101605_200808415 | node_8101605_200809132 | 66.799 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809133 |  | AD | node_8101605_200809132 | node_8101605_200809133 | 121.88 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809137 |  | ABCD | node_8101605_200809161 | node_8101605_200809137 | 97.826 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809138 |  | ABCD | node_8101605_200809137 | node_8101605_200809138 | 108.449 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809139 |  | ABCD | node_8101605_200809138 | node_8101605_200809139 | 103.444 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809140 |  | ABCD | node_8101605_200947031 | node_8101605_200809140 | 127.698 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809141 |  | ABCD | node_8101605_200809140 | node_8101605_200809141 | 117.809 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809160 |  | ABCD | node_8101605_200808419 | node_intto1_8101605_200809160 | 57.248 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809161 |  | ABCD | node_8101605_200809160 | node_8101605_200809161 | 125.477 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809166 |  | ABCD | node_8101605_200808427 | node_8101605_200809166 | 63.463 | bal_3P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809168 |  | AD | node_8101605_200809176 | node_8101605_200809168 | 116.972 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809169 |  | AD | node_8101605_200809168 | node_8101605_200809169 | 100.442 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809173 |  | ABCD | node_8101605_200808431 | node_8101605_200809173 | 72.76 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809175 |  | AD | node_8101605_200808431 | node_intto1_8101605_200809175 | 133.861 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809176 |  | AD | node_8101605_200809175 | node_8101605_200809176 | 143.828 | bal_1P_4CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809177 |  | ABCD | node_8101605_200815899 | node_8101605_200809177 | 239.07 | bal_3P_4/0AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809178 |  | ABCD | node_8101605_200809177 | node_8101605_200809178 | 115.32 | bal_3P_4/0AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809179 |  | AD | node_8101605_200809178 | node_8101605_200809179 | 90.234 | bal_1P_4/0AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809180 |  | AD | node_8101605_200809179 | node_8101605_200809180 | 109.748 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200809181 |  | AD | node_8101605_200809180 | node_8101605_200809181 | 111.754 | bal_1P_1/0AA | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815898 |  | ABCD | node_8101605_200815899 | node_8101605_200815898 | 114.688 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815899 |  | ABCD | node_8101605_200815900 | node_8101605_200815899 | 165.051 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815900 |  | ABCD | node_8101605_200815901 | node_8101605_200815900 | 174.153 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815901 |  | ABCD | node_8101605_200815902 | node_8101605_200815901 | 132.99 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815902 |  | ABCD | node_8101605_200815930 | node_8101605_200815902 | 32.745 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815905 |  | AD | node_8101605_200808427 | node_8101605_200815905 | 77.887 | bal_1P_1/0AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815906 |  | AD | node_8101605_200815905 | node_8101605_200815906 | 204.521 | bal_1P_1/0AC | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815914 |  | ABCD | node_8101605_200815915 | node_8101605_200815914 | 164.095 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815915 |  | ABCD | node_8101605_200815916 | node_8101605_200815915 | 99.652 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815916 |  | ABCD | node_8101605_200815917 | node_8101605_200815916 | 128.694 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815917 |  | ABCD | node_8101605_200815918 | node_8101605_200815917 | 265.962 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815918 |  | ABCD | node_8101605_200815919 | node_8101605_200815918 | 71.11 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815919 |  | ABCD | node_SOURCE_8101605 | node_8101605_200815919 | 147.97 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815925 |  | ABCD | node_8101605_200815898 | node_8101605_200815925 | 173.21 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815930 |  | ABCD | node_8101605_200809173 | node_intto1_8101605_200815930 | 38.811 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200815935 |  | ABCD | node_8101605_200815914 | node_8101605_200815935 | 37.62 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200947031 |  | ABCD | node_8101605_200809139 | node_8101605_200947031 | 130.333 | bal_3P_2/0CU | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_200958316 |  | ABCD | node_8101605_200815925 | node_8101605_200958316 | 158.028 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_201011440 |  | ABCD | node_8101605_200809112 | node_8101605_201011440 | 44.149 | bal_3P_477AL | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_8101605_312104073 |  | ABCN | node_8101605_200815917 | node_8101605_312104073 | 265.756 | bal_3P_DELTACUST | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891813 |  | AN | node_8101605_200808317 | node_1399887_457_15297314_809 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891814 |  | AN | node_8101605_200808322 | node_1399774_618_15297952_201 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891825 |  | AN | node_8101605_200808363 | node_1399581_162_15296596_702 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891826 |  | AN | node_8101605_200808369 | node_1399489_953_15297323_649 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891827 |  | AN | node_8101605_200808371 | node_1399472_143_15297549_774 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891835 |  | ABCN | node_8101605_200808410 | node_1399339_777_15296420_21 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891836 |  | ABCN | node_8101605_200808418 | node_1399305_385_15296855_781 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891838 |  | ABCN | node_8101605_200808429 | node_1399256_594_15297433_172 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891839 |  | ABCN | node_8101605_200808430 | node_1399246_009_15297560_571 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891847 |  | ABCN | node_8101605_200808467 | node_1398987_405_15296267_062 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891878 |  | AN | node_8101605_200808569 | node_1400155_871_15296628_327 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891977 |  | ABCN | node_8101605_200809109 | node_1398547_164_15296174_31 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891979 |  | AN | node_8101605_200809133 | node_1399097_59_15296672_66 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891984 |  | AN | node_8101605_200809169 | node_1399700_975_15297665_858 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_891986 |  | AN | node_8101605_200809179 | node_1399541_637_15298182_84 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893116 |  | ABCN | node_8101605_200815901 | node_1399103_912_15297852_284 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893117 |  | AN | node_8101605_200815906 | node_1398921_731_15297287_794 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_893119 |  | ABCN | node_8101605_200815915 | node_1398068_081_15295784_912 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_920172 |  | ABCN | node_8101605_200947031 | node_1399882_415_15296974_456 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137729 |  | ABCN | node_8101605_200815917 | node_1397848_543_15295696_135 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137730 |  | ABCN | node_8101605_200815917 | node_1397867_637_15295703_478 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137731 |  | ABCN | node_8101605_200815917 | node_1397828_715_15295695_667 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137743 |  | ABCN | node_8101605_200808399 | node_1399415_147_15295970_119 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137744 |  | ABCN | node_8101605_200808399 | node_1399411_932_15295996_367 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137771 |  | ABCN | node_8101605_200808395 | node_1399278_856_15295747_475 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137772 |  | ABCN | node_8101605_200808395 | node_1399282_709_15295721_387 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137773 |  | ABCN | node_8101605_200808395 | node_1399280_17_15295774_054 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137833 |  | ABCN | node_8101605_200808519 | node_1398337_53_15296056_859 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137834 |  | ABCN | node_8101605_200808519 | node_1398333_465_15296082_887 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2137835 |  | ABCN | node_8101605_200808519 | node_1398336_434_15296030_263 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141020 |  | ABCN | node_8101605_200815918 | node_1397592_773_15295669_273 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141021 |  | ABCN | node_8101605_200815918 | node_1397611_6_15295677_788 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141022 |  | ABCN | node_8101605_200815918 | node_1397572_976_15295667_579 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141053 |  | ABCN | node_8101605_200815919 | node_1397483_06_15295853_405 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141054 |  | ABCN | node_8101605_200815919 | node_1397466_051_15295839_574 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141098 |  | ABCN | node_8101605_200808513 | node_1398221_651_15295604_444 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141099 |  | ABCN | node_8101605_200808513 | node_1398225_167_15295578_269 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2141100 |  | ABCN | node_8101605_200808513 | node_1398223_306_15295630_992 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2200531 |  | ABCN | node_8101605_200808517 | node_1398230_033_15295799_099 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2200533 |  | ABCN | node_8101605_200808517 | node_1398221_381_15295813_972 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2200536 |  | ABCN | node_8101605_200808398 | node_1399202_205_15295827_401 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2200537 |  | ABCN | node_8101605_200808398 | node_1399208_337_15295802_13 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2200538 |  | ABCN | node_8101605_200808398 | node_1399201_162_15295853_982 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2200561 |  | ABCN | node_8101605_200809114 | node_1397952_665_15296164_53 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2200562 |  | ABCN | node_8101605_200809114 | node_1397955_93_15296138_293 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2212926 |  | ABCN | node_8101605_200808514 | node_1398239_449_15295755_702 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2212927 |  | ABCN | node_8101605_200808514 | node_1398232_082_15295731_993 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2442535 |  | ABCN | node_8101605_200808514 | node_1398252_15295712_871 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_2446935 |  | ABCN | node_8101605_200808517 | node_1398249_199_15295788_682 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_5019581 |  | ABCN | node_8101605_312104073 | node_1397854_721_15296120_235 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_5079586 |  | ABCN | node_8101605_312104073 | node_1397866_13_15296115_564 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0
oh_line_TAP_OH_5079587 |  | ABCN | node_8101605_312104073 | node_1397877_311_15296104_611 | 0.033 | unb_TAPWIRE_OH | 8101605 | no | no |  |  | no |  |  | 0 | 0 | 0 | 0

## overhead_line_conductor
data_type | static
owner_type | feeder
owner | 8101605
object | overhead_line_conductor
name | groupid | geometric_mean_radius | resistance | diameter | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
oh_cond_1/0_AAAC |  | 0.012 | 0.876 | 0.398 | 235 | 235 | 310 | 310 |  | no
oh_cond_1/0_ACSR |  | 0.012 | 0.888 | 0.398 | 265 | 265 | 330 | 330 |  | no
oh_cond_2/0_CU |  | 0.013 | 0.44 | 0.414 | 295 | 295 | 425 | 425 |  | no
oh_cond_2_ACSR |  | 0.01 | 1.41 | 0.325 | 195 | 195 | 245 | 245 |  | no
oh_cond_3_#7_CWD_30% |  | 0.005 | 3.07 | 0.311 | 125 | 125 | 195 | 195 |  | no
oh_cond_4/0_AL |  | 0.016 | 0.442 | 0.522 | 365 | 365 | 480 | 480 |  | no
oh_cond_4_CU |  | 0.007 | 1.388 | 0.232 | 140 | 140 | 200 | 200 |  | no
oh_cond_477_MCM_AL |  | 0.025 | 0.198 | 0.792 | 605 | 605 | 810 | 810 |  | no
oh_cond_WP-4/0-CU |  | 0.015 | 0.273 | 0.81 | 340 | 340 | 390 | 390 |  | no

## switch
data_type | static
owner_type | feeder
owner | 8101605
object | switch
name | groupid | phases | fr | to | phase_A_state | phase_B_state | phase_C_state | operating_mode | status | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
switch_220417236 |  | ABCD | node_intto1_8101605_200815930 | node_8101605_200815930 | CLOSED | CLOSED | CLOSED | INDIVIDUAL |  | 8101605 | no | no |  |  | no

## underground_line
data_type | static
owner_type | feeder
owner | 8101605
object | underground_line
name | groupid | phases | fr | to | length | configuration | dcircuit | selected | monitored | monitored_fields | class_monitored_fields | played | played_fields | comments
und_line_8101605_200809136 |  | ABCN | node_8101605_200809141 | node_intto1_8101605_200809136 | 328.82 | und_3P_2ALURD | 8101605 | no | no |  |  | no
und_line_TAP_UG_899861 |  | ABCN | node_8101605_200809136 | node_1400161_617_15297463_368 | 0.033 | und_TAPWIRE_UG | 8101605 | no | no |  |  | no
und_line_TAP_UG_899862 |  | ABCN | node_8101605_200809136 | node_1400141_793_15297462_74 | 0.033 | und_TAPWIRE_UG | 8101605 | no | no |  |  | no
und_line_TAP_UG_899863 |  | ABCN | node_8101605_200809136 | node_1400180_856_15297457_086 | 0.033 | und_TAPWIRE_UG | 8101605 | no | no |  |  | no

## underground_line_conductor
data_type | static
owner_type | feeder
owner | 8101605
object | underground_line_conductor
name | groupid | outer_diameter | conductor_gmr | conductor_diameter | conductor_resistance | neutral_gmr | neutral_diameter | neutral_resistance | neutral_strands | insulation_relative_permitivitty | shield_gmr | shield_resistance | rating_summer_continuous | rating_summer_emergency | rating_winter_continuous | rating_winter_emergency | dcircuit | selected | comments
und_cond_3P_2ALURD | [12 empty] | 125 | 125 | 140 | 140 |  | no
und_cond_TAPWIRE_UG | [12 empty] | 99999999 | 99999999 | 99999999 | 99999999 |  | no