## Feeder
Name | Description | Comments
8101703

## Node
Name | GroupId | Latitude | Longitude | BusType | NominalVoltage | ConsistentPath | DistToSlack | Phases | Feeder | Comments
node_1397502_885_15314804_158 |  | 42.1600456368753 | -75.8950365547229 | PQ | 2771.281 | False | -1 | AN | 8101703
node_1397569_941_15315013_847 |  | 42.16061997639954 | -75.89478143686779 | PQ | 2771.281 | False | -1 | AN | 8101703
node_1397584_898_15315356_028 |  | 42.16155721236683 | -75.89472453222453 | PQ | 2771.281 | False | -1 | AN | 8101703
node_1397674_733_15315830_516 |  | 42.16285683806096 | -75.89438275054184 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_1397678_831_15315856_602 |  | 42.1629282877833 | -75.89436715949897 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_1398142_782_15316327_762 |  | 42.164218798063956 | -75.89260203506566 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_1398205_564_15316928_796 |  | 42.165865034068766 | -75.89236317785408 | PQ | 2771.281 | False | -1 | AN | 8101703
node_1398599_098_15317003_134 |  | 42.16606864633051 | -75.89086595836595 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_1398714_008_15317799_531 |  | 42.16824998285309 | -75.89042877761058 | PQ | 2771.281 | False | -1 | AN | 8101703
node_1398797_044_15317271_439 |  | 42.16680353545702 | -75.8901128630583 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_1399032_454_15318691_624 |  | 42.17069343133726 | -75.88921723411723 | PQ | 2771.281 | False | -1 | AN | 8101703
node_1399040_255_15317728_633 |  | 42.16805579277355 | -75.88918755482845 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_1399099_34_15318129_957 |  | 42.16915502179952 | -75.88896276303548 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_200821631 |  | 42.1613451201411 | -75.89401794753158 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200821632 |  | 42.16148512445598 | -75.89433198263652 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200821633 |  | 42.1616376734204 | -75.89465872874054 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_200821634 |  | 42.16176645328683 | -75.89494400525763 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200821636 |  | 42.161215296713216 | -75.89410832079467 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200821637 |  | 42.161000290184624 | -75.89431878845969 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200821638 |  | 42.160789192218246 | -75.8944686953096 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200821639 |  | 42.160563544649584 | -75.89468172343626 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_200821640 |  | 42.160337614963254 | -75.8948966804694 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200821641 |  | 42.160112956175915 | -75.89509584862311 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_200821662 |  | 42.1706116172145 | -75.88920137295136 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_200821663 |  | 42.168003055943295 | -75.88908136985863 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_8101703_200821664 |  | 42.16828175532795 | -75.88880181538362 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821665 |  | 42.168549123442915 | -75.88854687634232 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821666 |  | 42.16888506532345 | -75.88812142501232 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821667 |  | 42.169304560595855 | -75.88753128996309 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821668 |  | 42.16967800221374 | -75.88708747026926 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821669 |  | 42.16977703099207 | -75.88696893192801 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821670 |  | 42.16980312002854 | -75.88647649770375 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821671 |  | 42.169811564385434 | -75.88575189086096 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821672 |  | 42.169686175409005 | -75.88529342745704 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821716 |  | 42.16181282192708 | -75.895000453355 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821717 |  | 42.1623238712292 | -75.89453799517435 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821718 |  | 42.16283698026417 | -75.8940948755176 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_8101703_200821719 |  | 42.16326160843466 | -75.89370600112417 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821720 |  | 42.163477735216894 | -75.89346006364642 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821721 |  | 42.16369053136727 | -75.89327658925839 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821722 |  | 42.163917110198135 | -75.89305940656394 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821723 |  | 42.164271496548125 | -75.89269933260842 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_8101703_200821724 |  | 42.16461223168996 | -75.89237452301997 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821725 |  | 42.16488763604985 | -75.89211140419776 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821726 |  | 42.16518637400573 | -75.89182004801094 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821727 |  | 42.16542445392468 | -75.8915904548768 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821728 |  | 42.16575745411228 | -75.8912587362269 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821729 |  | 42.16611632421584 | -75.89094120854574 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_8101703_200821730 |  | 42.16645029675074 | -75.89058630497266 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821731 |  | 42.16685257462857 | -75.89019945840398 | PQ | 2771.281 | False | -1 | ABCN | 8101703
node_8101703_200821732 |  | 42.16720659121269 | -75.88985210305664 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821733 |  | 42.16759856768725 | -75.88946952138768 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_200821734 |  | 42.16833703943421 | -75.88906790175425 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200821735 |  | 42.16829147332285 | -75.89031936638298 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_200821736 |  | 42.168650176347015 | -75.88863424020695 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_200821737 |  | 42.16907983881137 | -75.88891326204507 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_200824635 |  | 42.164683191130145 | -75.89247968076148 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200824636 |  | 42.165127167642225 | -75.89317889984707 | PQ | 2771.281 | False | -1 | AD | 8101703
node_8101703_200824638 |  | 42.16589864715596 | -75.8924862550226 | PQ | 2771.281 | False | -1 | AN | 8101703
node_8101703_310035339 |  | 42.163455160325704 | -75.8933977565432 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_8101703_311991870 |  | 42.1697487781405 | -75.88552232055412 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_SOURCE_8101703 |  | 42.16977288139729 | -75.8850133365406 | SWING | 2771.281 | False | -1 | ABCN | 8101703
node_intto1_8101703_200821634 |  | 42.16176645328683 | -75.89494400525763 | PQ | 2771.281 | False | -1 | AD | 8101703
node_intto1_8101703_200821662 |  | 42.1706116172145 | -75.88920137295136 | PQ | 2771.281 | False | -1 | AN | 8101703
node_intto1_8101703_200821671 |  | 42.169811564385434 | -75.88575189086096 | PQ | 2771.281 | False | -1 | ABCD | 8101703
node_intto1_8101703_310035339 |  | 42.163455160325704 | -75.8933977565432 | PQ | 2771.281 | False | -1 | ABCD | 8101703

## Capacitor
Name | GroupId | NominalVoltage | RemoteSense | RemoteSenseB | ParticipatingPhases | PhasesConnected | SwitchA | SwitchB | SwitchC | Control | ControlLevel | VoltageSetHigh | VoltageSetLow | ReactivePowerSetHigh | ReactivePowerSetLow | CapacitorA | CapacitorB | CapacitorC | TimeDelay | DwellTime | LockoutTime | CurrentSetHigh | CurrentSetLow | Status | ParentNode | Phases | Feeder | Comments

## EVChargingStation
Name | GroupId | ServiceCharge | ServiceDischarge | ChargeEfficiency | DischargeEfficiency | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | DepthOfDischarge | ReactivePower | ReactivePowerA | ReactivePowerB | ReactivePowerC | ActivePower | ActivePowerA | ActivePowerB | ActivePowerC | Energy | MaxEnergy | PowerCharge | PowerDischarge | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
evchargingstation_load_220334989 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.4589236961141838 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.032583445575680374 | 0.07648728268569731 | OPTIMIZED | INSTALLED |  |  | node_1397584_898_15315356_028 | AN | 8101703
evchargingstation_load_220334997 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.258265944639717 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.018336805154610752 | 0.04304432410661951 | OPTIMIZED | INSTALLED |  |  | node_1399040_255_15317728_633 | AN | 8101703
evchargingstation_load_220334999 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009040386867505551 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.000641865070248193 | 0.0015067311445842585 | OPTIMIZED | INSTALLED |  |  | node_1397674_733_15315830_516 | AN | 8101703
evchargingstation_load_220335000 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3394352415264852 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.02409980106034556 | 0.0565725402544142 | OPTIMIZED | INSTALLED |  |  | node_1398142_782_15316327_762 | AN | 8101703
evchargingstation_load_220335003 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05631362702670521 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.003998250537704438 | 0.009385604504450869 | OPTIMIZED | INSTALLED |  |  | node_1399099_34_15318129_957 | AN | 8101703
evchargingstation_load_220336091 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11323138491806474 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.008039394566578057 | 0.018871897486344123 | OPTIMIZED | INSTALLED |  |  | node_1398205_564_15316928_796 | AN | 8101703
evchargingstation_load_220597925 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3789626609567244 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.02690623665228393 | 0.06316044349278739 | OPTIMIZED | INSTALLED |  |  | node_1398797_044_15317271_439 | AN | 8101703

## Fuse
Name | GroupId | MeanReplacementTime | PhaseAStatus | PhaseBStatus | PhaseCStatus | RepairDistributionType | CurrentLimit | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments
fuse_220382709 |  | 0 | GOOD | GOOD | GOOD | NONE | 80 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101703_200821634 | node_8101703_200821634 | 0 | AD | 8101703
fuse_220382711 |  | 0 | GOOD | GOOD | GOOD | NONE | 10 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101703_200821662 | node_8101703_200821662 | 0 | AN | 8101703

## Generator
Name | GroupId | ColdStartupCost | ColdStartupTime | HotStartupCost | HotStartupStatus | ShutdownCost | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | ReactivePower | ActivePower | MaxPowerOutput | MinPowerOutput | MinimumDowntime | MinimumUptime | NoLoadCost | NonSpinningReserve | SpinningReserve | OperatingReserve | RampUpLimit | RampDownLimit | StartupCapability | ShutdownCapability | ShutdownStatus | StartupStatus | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
generator_load_220334989 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.032583445575680374 | 0.07648728268569731 | OPTIMIZED | INSTALLED | natural_gas |  | node_1397584_898_15315356_028 | AN | 8101703
generator_load_220334997 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.018336805154610752 | 0.04304432410661951 | OPTIMIZED | INSTALLED | natural_gas |  | node_1399040_255_15317728_633 | AN | 8101703
generator_load_220334999 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.000641865070248193 | 0.0015067311445842585 | OPTIMIZED | INSTALLED | natural_gas |  | node_1397674_733_15315830_516 | AN | 8101703
generator_load_220335000 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.02409980106034556 | 0.0565725402544142 | OPTIMIZED | INSTALLED | natural_gas |  | node_1398142_782_15316327_762 | AN | 8101703
generator_load_220335003 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.003998250537704438 | 0.009385604504450869 | OPTIMIZED | INSTALLED | natural_gas |  | node_1399099_34_15318129_957 | AN | 8101703
generator_load_220336091 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.008039394566578057 | 0.018871897486344123 | OPTIMIZED | INSTALLED | natural_gas |  | node_1398205_564_15316928_796 | AN | 8101703
generator_load_220597925 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.02690623665228393 | 0.06316044349278739 | OPTIMIZED | INSTALLED | natural_gas |  | node_1398797_044_15317271_439 | AN | 8101703

## HeatPump
Name | GroupId | YearOfInstallation | ReactivePower | ActivePower | MaxPowerOutput | MinPowerOutput | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
heatpump_load_220334989 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.032583445575680374 | 0.07648728268569731 | OPTIMIZED | INSTALLED |  |  | node_1397584_898_15315356_028 | AN | 8101703
heatpump_load_220334997 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.018336805154610752 | 0.04304432410661951 | OPTIMIZED | INSTALLED |  |  | node_1399040_255_15317728_633 | AN | 8101703
heatpump_load_220334999 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.000641865070248193 | 0.0015067311445842585 | OPTIMIZED | INSTALLED |  |  | node_1397674_733_15315830_516 | AN | 8101703
heatpump_load_220335000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.02409980106034556 | 0.0565725402544142 | OPTIMIZED | INSTALLED |  |  | node_1398142_782_15316327_762 | AN | 8101703
heatpump_load_220335003 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.003998250537704438 | 0.009385604504450869 | OPTIMIZED | INSTALLED |  |  | node_1399099_34_15318129_957 | AN | 8101703
heatpump_load_220336091 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.008039394566578057 | 0.018871897486344123 | OPTIMIZED | INSTALLED |  |  | node_1398205_564_15316928_796 | AN | 8101703
heatpump_load_220597925 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.02690623665228393 | 0.06316044349278739 | OPTIMIZED | INSTALLED |  |  | node_1398797_044_15317271_439 | AN | 8101703

## LineSpacing
Name | DistanceAB | DistanceAC | DistanceAE | DistanceAN | DistanceBC | DistanceBE | DistanceBN | DistanceCE | DistanceCN | DistanceNE | Feeder | Comments

## Load
Name | GroupId | PriorityLevel | LoadClass | BaseReactivePowerA | BaseReactivePowerB | BaseReactivePowerC | BaseActivePowerA | BaseActivePowerB | BaseActivePowerC | BasePowerA | BasePowerB | BasePowerC | ConstantCurrentAReal | ConstantCurrentAImag | ConstantCurrentA | ConstantCurrentBReal | ConstantCurrentBImag | ConstantCurrentB | ConstantCurrentCReal | ConstantCurrentCImag | ConstantCurrentC | ConstantResistanceA | ConstantReactanceA | ConstantImpedanceA | ConstantResistanceB | ConstantReactanceB | ConstantImpedanceB | ConstantResistanceC | ConstantReactanceC | ConstantImpedanceC | ConstantActivePowerA | ConstantReactivePowerA | ConstantPowerA | ConstantActivePowerB | ConstantReactivePowerB | ConstantPowerB | ConstantActivePowerC | ConstantReactivePowerC | ConstantPowerC | CurrentFractionA | CurrentFractionB | CurrentFractionC | CurrentPfA | CurrentPfB | CurrentPfC | ImpedanceFractionA | ImpedanceFractionB | ImpedanceFractionC | ImpedancePfA | ImpedancePfB | ImpedancePfC | PowerFractionA | PowerFractionB | PowerFractionC | PowerPfA | PowerPfB | PowerPfC | DemandResponseLowerBound | DemandResponseShortageCost | DemandResponseSurplusCost | DemandResponseUpperBound | ActivePowerA | ActivePowerB | ActivePowerC | ReactivePowerA | ReactivePowerB | ReactivePowerC | NominalVoltage | Status | ParentNode | Phases | Feeder | Comments
load_220334989 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 76572 | 32619.535 | 76572+32619.535j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1397584_898_15315356_028 | AN | 8101703
load_220334990 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 273.6 | 116.553 | 273.6+116.553j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1397569_941_15315013_847 | AN | 8101703
load_220334991 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1397502_885_15314804_158 | AN | 8101703
load_220334997 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 43092 | 18357.115 | 43092+18357.115j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1399040_255_15317728_633 | AN | 8101703
load_220334998 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 3500 | 1490.994 | 3500+1490.994j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1397678_831_15315856_602 | AN | 8101703
load_220334999 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 1508.4 | 642.576 | 1508.4+642.576j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1397674_733_15315830_516 | AN | 8101703
load_220335000 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 56635.2 | 24126.494 | 56635.2+24126.494j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1398142_782_15316327_762 | AN | 8101703
load_220335001 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 7.2 | 3.067 | 7.2+3.067j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1398599_098_15317003_134 | AN | 8101703
load_220335002 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 719000 | 306292.717 | 719000+306292.717j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1398714_008_15317799_531 | AN | 8101703
load_220335003 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 9396 | 4002.679 | 9396+4002.679j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1399099_34_15318129_957 | AN | 8101703
load_220336091 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 18892.8 | 8048.299 | 18892.8+8048.299j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1398205_564_15316928_796 | AN | 8101703
load_220528494 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 9000 | 3833.984 | 9000+3833.984j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1399032_454_15318691_624 | AN | 8101703
load_220597925 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 63230.4 | 26936.038 | 63230.4+26936.038j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1398797_044_15317271_439 | AN | 8101703

## OverheadLineConductor
Name | Diameter | GeometricMeanRadius | RatingSummerContinuous | RatingSummerEmergency | RatingWinterContinuous | RatingWinterEmergency | Feeder | Comments
oh_cond_1/0_AAAC | 0.398 | 0.012 | 235 | 235 | 310 | 310 | 8101703
oh_cond_1/0_ACSR | 0.398 | 0.012 | 265 | 265 | 330 | 330 | 8101703
oh_cond_2_ACSR | 0.325 | 0.01 | 195 | 195 | 245 | 245 | 8101703
oh_cond_4_CU | 0.232 | 0.007 | 140 | 140 | 200 | 200 | 8101703
oh_cond_477_MCM_AL | 0.792 | 0.025 | 605 | 605 | 810 | 810 | 8101703
oh_cond_WP-4/0-CU | 0.81 | 0.015 | 340 | 340 | 390 | 390 | 8101703

## OverheadLineConfiguration
Name | ConductorA | ConductorB | ConductorC | ConductorN | LineSpacing | Capacitance11 | Capacitance12 | Capacitance13 | Capacitance21 | Capacitance22 | Capacitance23 | Capacitance31 | Capacitance32 | Capacitance33 | Impedance11 | Impedance12 | Impedance13 | Impedance21 | Impedance22 | Impedance23 | Impedance31 | Impedance32 | Impedance33 | Feeder | Comments
bal_1P_1/0AA | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 8101703
bal_1P_1/0AC | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 8101703
bal_1P_2AC | oh_cond_2_ACSR | oh_cond_2_ACSR | oh_cond_2_ACSR |  |  | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 | -3.017 | -3.017 | -3.017 | 12.393 | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.505+1.527j | 8101703
bal_1P_4CU | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 8101703
bal_3P_477AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 8101703
unb_TAPWIRE_OH | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 8101703

## Recloser
Name | GroupId | RetryTime | MaximumNumberOfTries | Status | From | To | Length | Phases | Feeder | Comments

## RegulatorConfiguration
Name | CurrentTransducerPhase | PowerTransducerPhase | Regulation | Control | Type | CompensatorResistiveSettingA | CompensatorResistiveSettingB | CompensatorResistiveSettingC | CompensatorReactiveSettingA | CompensatorReactiveSettingB | CompensatorReactiveSettingC | BandCenter | BandWidth | CurrentTransducerRatio | PowerTransducerRatio | ConnectType | ControlLevel | DwellTime | TimeDelay | LowerTaps | RaiseTaps | TapPositionA | TapPositionB | TapPositionC | Feeder | Comments
config_regulator_311991871 | A | A | 0.1 | MANUAL | TYPEA | 0 | 0 | 0 | 0 | 0 | 0 | 123 | 3 | 100 | 40 | UNKNOWN | INDIVIDUAL | 0 | 0 | 16 | 16 | 0 | 0 | 0 | 8101703

## Sectionalizer
Name | GroupId | OperatingMode | PhaseAState | PhaseBState | PhaseCState | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments

## Solar
Name | GroupId | SpillageCost | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
solar_load_220334989 |  | 0 | 0 | 0 | 0.001 | 0.032583445575680374 | 0.07648728268569731 | OPTIMIZED | INSTALLED | solar_pv |  | node_1397584_898_15315356_028 | AN | 8101703
solar_load_220334997 |  | 0 | 0 | 0 | 0.001 | 0.018336805154610752 | 0.04304432410661951 | OPTIMIZED | INSTALLED | solar_pv |  | node_1399040_255_15317728_633 | AN | 8101703
solar_load_220334999 |  | 0 | 0 | 0 | 0.001 | 0.000641865070248193 | 0.0015067311445842585 | OPTIMIZED | INSTALLED | solar_pv |  | node_1397674_733_15315830_516 | AN | 8101703
solar_load_220335000 |  | 0 | 0 | 0 | 0.001 | 0.02409980106034556 | 0.0565725402544142 | OPTIMIZED | INSTALLED | solar_pv |  | node_1398142_782_15316327_762 | AN | 8101703
solar_load_220335003 |  | 0 | 0 | 0 | 0.001 | 0.003998250537704438 | 0.009385604504450869 | OPTIMIZED | INSTALLED | solar_pv |  | node_1399099_34_15318129_957 | AN | 8101703
solar_load_220336091 |  | 0 | 0 | 0 | 0.001 | 0.008039394566578057 | 0.018871897486344123 | OPTIMIZED | INSTALLED | solar_pv |  | node_1398205_564_15316928_796 | AN | 8101703
solar_load_220597925 |  | 0 | 0 | 0 | 0.001 | 0.02690623665228393 | 0.06316044349278739 | OPTIMIZED | INSTALLED | solar_pv |  | node_1398797_044_15317271_439 | AN | 8101703

## Storage
Name | GroupId | InitStateOfCharge | SpinningReserveCharge | SpinningReserveDischarge | NonSpinningReserveCharge | NonSpinningReserveDischarge | RegulationUpCharge | RegulationUpDischarge | RegulationDownCharge | RegulationDownDischarge | ChargeEfficiency | DischargeEfficiency | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | DepthOfDischarge | ReactivePower | ReactivePowerA | ReactivePowerB | ReactivePowerC | ActivePower | ActivePowerA | ActivePowerB | ActivePowerC | Energy | MaxEnergy | PowerCharge | PowerDischarge | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
storage_load_220334989 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2294618480570919 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.032583445575680374 | 0.07648728268569731 | OPTIMIZED | INSTALLED | li_ion |  | node_1397584_898_15315356_028 | AN | 8101703
storage_load_220334997 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1291329723198585 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.018336805154610752 | 0.04304432410661951 | OPTIMIZED | INSTALLED | li_ion |  | node_1399040_255_15317728_633 | AN | 8101703
storage_load_220334999 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0045201934337527755 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.000641865070248193 | 0.0015067311445842585 | OPTIMIZED | INSTALLED | li_ion |  | node_1397674_733_15315830_516 | AN | 8101703
storage_load_220335000 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1697176207632426 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.02409980106034556 | 0.0565725402544142 | OPTIMIZED | INSTALLED | li_ion |  | node_1398142_782_15316327_762 | AN | 8101703
storage_load_220335003 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.028156813513352606 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.003998250537704438 | 0.009385604504450869 | OPTIMIZED | INSTALLED | li_ion |  | node_1399099_34_15318129_957 | AN | 8101703
storage_load_220336091 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05661569245903237 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.008039394566578057 | 0.018871897486344123 | OPTIMIZED | INSTALLED | li_ion |  | node_1398205_564_15316928_796 | AN | 8101703
storage_load_220597925 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1894813304783622 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.02690623665228393 | 0.06316044349278739 | OPTIMIZED | INSTALLED | li_ion |  | node_1398797_044_15317271_439 | AN | 8101703

## Switch
Name | GroupId | OperatingMode | PhaseAState | PhaseBState | PhaseCState | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments
switch_45579_NO-220415841 |  | INDIVIDUAL | CLOSED | CLOSED | CLOSED | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101703_310035339 | node_8101703_310035339 | 0 | ABCD | 8101703

## TransformerConfiguration
Name | ConnectType | NoLoadLoss | PowerRating | ReactanceResistanceRatio | FullLoadLoss | PowerARating | PowerBRating | PowerCRating | ShuntResistance | ShuntReactance | ShuntImpedance | Impedance | PrimaryVoltage | SecondaryVoltage | CoreCoilWeight | InstalledInsulationLife | InstallType | CoolantType | CoolingType | Feeder | Comments

## UndergroundLineConductor
Name | OuterDiameter | ConductorGMR | ConductorDiameter | ConductorResistance | NeutralGMR | NeutralDiameter | NeutralResistance | NeutralStrands | InsulationRelativePermittivity | ShieldGMR | ShieldResitance | RatingSummerContinuous | RatingSummerEmergency | RatingWinterContinuous | RatingWinterEmergency | Feeder | Comments
und_cond_1P_2ALURD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125 | 125 | 140 | 140 | 8101703
und_cond_TAPWIRE_UG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99999999 | 99999999 | 99999999 | 99999999 | 8101703

## UndergroundLineConfiguration
Name | ConductorA | ConductorB | ConductorC | ConductorN | LineSpacing | Capacitance11 | Capacitance12 | Capacitance13 | Capacitance21 | Capacitance22 | Capacitance23 | Capacitance31 | Capacitance32 | Capacitance33 | Impedance11 | Impedance12 | Impedance13 | Impedance21 | Impedance22 | Impedance23 | Impedance31 | Impedance32 | Impedance33 | Feeder | Comments
und_1P_2ALURD | und_cond_1P_2ALURD | und_cond_1P_2ALURD | und_cond_1P_2ALURD |  |  | 401.497 | 0 | 0 | 0 | 401.497 | 0 | 0 | 0 | 401.497 | 2.379+0.823j | 0+0j | 0+0j | 0+0j | 2.379+0.823j | 0+0j | 0+0j | 0+0j | 2.379+0.823j | 8101703
und_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001+0.001j | 0+0j | 0+0j | 0+0j | 0.001+0.001j | 0+0j | 0+0j | 0+0j | 0.001+0.001j | 8101703

## Regulator
Name | GroupId | Configuration | SenseNode | Status | From | To | Length | Phases | Feeder | Comments
regulator_311991871 |  | config_regulator_311991871 |  | OPEN | node_intto1_8101703_200821671 | node_8101703_200821671 | 0 | ABCD | 8101703

## Transformer
Name | GroupId | Configuration | AgingConstant | AgingGranularity | Climate | UseThermalModel | Status | From | To | Length | Phases | Feeder | Comments

## OverheadLine
Name | GroupId | Configuration | Length | Status | From | To | Phases | Feeder | Comments
oh_line_8101703_200821631 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101703_200821632 | node_8101703_200821631 | AD | 8101703
oh_line_8101703_200821632 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101703_200821633 | node_8101703_200821632 | AD | 8101703
oh_line_8101703_200821633 |  | bal_1P_4CU | 105.60000000000001 | OPEN | node_8101703_200821634 | node_8101703_200821633 | AD | 8101703
oh_line_8101703_200821634 |  | bal_1P_4CU | 0 | OPEN | node_8101703_200821716 | node_intto1_8101703_200821634 | AD | 8101703
oh_line_8101703_200821636 |  | bal_1P_1/0AC | 52.800000000000004 | OPEN | node_8101703_200821631 | node_8101703_200821636 | AD | 8101703
oh_line_8101703_200821637 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101703_200821636 | node_8101703_200821637 | AD | 8101703
oh_line_8101703_200821638 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101703_200821637 | node_8101703_200821638 | AD | 8101703
oh_line_8101703_200821639 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101703_200821638 | node_8101703_200821639 | AD | 8101703
oh_line_8101703_200821640 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101703_200821639 | node_8101703_200821640 | AD | 8101703
oh_line_8101703_200821641 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101703_200821640 | node_8101703_200821641 | AD | 8101703
oh_line_8101703_200821663 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101703_200821664 | node_8101703_200821663 | ABCD | 8101703
oh_line_8101703_200821664 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101703_200821665 | node_8101703_200821664 | ABCD | 8101703
oh_line_8101703_200821665 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821666 | node_8101703_200821665 | ABCD | 8101703
oh_line_8101703_200821666 |  | bal_3P_477AL | 211.20000000000002 | OPEN | node_8101703_200821667 | node_8101703_200821666 | ABCD | 8101703
oh_line_8101703_200821667 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821668 | node_8101703_200821667 | ABCD | 8101703
oh_line_8101703_200821668 |  | bal_3P_477AL | 52.800000000000004 | OPEN | node_8101703_200821669 | node_8101703_200821668 | ABCD | 8101703
oh_line_8101703_200821669 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821670 | node_8101703_200821669 | ABCD | 8101703
oh_line_8101703_200821670 |  | bal_3P_477AL | 211.20000000000002 | OPEN | node_8101703_200821671 | node_8101703_200821670 | ABCD | 8101703
oh_line_8101703_200821671 |  | bal_3P_477AL | 52.800000000000004 | OPEN | node_8101703_311991870 | node_intto1_8101703_200821671 | ABCD | 8101703
oh_line_8101703_200821672 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_SOURCE_8101703 | node_8101703_200821672 | ABCD | 8101703
oh_line_8101703_200821716 |  | bal_3P_477AL | 211.20000000000002 | OPEN | node_8101703_200821717 | node_8101703_200821716 | ABCD | 8101703
oh_line_8101703_200821717 |  | bal_3P_477AL | 211.20000000000002 | OPEN | node_8101703_200821718 | node_8101703_200821717 | ABCD | 8101703
oh_line_8101703_200821718 |  | bal_3P_477AL | 211.20000000000002 | OPEN | node_8101703_200821719 | node_8101703_200821718 | ABCD | 8101703
oh_line_8101703_200821719 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101703_200821720 | node_8101703_200821719 | ABCD | 8101703
oh_line_8101703_200821720 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101703_200821721 | node_8101703_200821720 | ABCD | 8101703
oh_line_8101703_200821721 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101703_200821722 | node_8101703_200821721 | ABCD | 8101703
oh_line_8101703_200821722 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821723 | node_8101703_200821722 | ABCD | 8101703
oh_line_8101703_200821723 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821724 | node_8101703_200821723 | ABCD | 8101703
oh_line_8101703_200821724 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101703_200821725 | node_8101703_200821724 | ABCD | 8101703
oh_line_8101703_200821725 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821726 | node_8101703_200821725 | ABCD | 8101703
oh_line_8101703_200821726 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101703_200821727 | node_8101703_200821726 | ABCD | 8101703
oh_line_8101703_200821727 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821728 | node_8101703_200821727 | ABCD | 8101703
oh_line_8101703_200821728 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821729 | node_8101703_200821728 | ABCD | 8101703
oh_line_8101703_200821729 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821730 | node_8101703_200821729 | ABCD | 8101703
oh_line_8101703_200821730 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821731 | node_8101703_200821730 | ABCD | 8101703
oh_line_8101703_200821731 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821732 | node_8101703_200821731 | ABCD | 8101703
oh_line_8101703_200821732 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821733 | node_8101703_200821732 | ABCD | 8101703
oh_line_8101703_200821733 |  | bal_3P_477AL | 158.4 | OPEN | node_8101703_200821663 | node_8101703_200821733 | ABCD | 8101703
oh_line_8101703_200821734 |  | bal_1P_1/0AA | 52.800000000000004 | OPEN | node_8101703_200821664 | node_8101703_200821734 | AD | 8101703
oh_line_8101703_200821735 |  | bal_1P_1/0AA | 316.8 | OPEN | node_8101703_200821734 | node_8101703_200821735 | AD | 8101703
oh_line_8101703_200821736 |  | bal_1P_2AC | 52.800000000000004 | OPEN | node_8101703_200821665 | node_8101703_200821736 | AD | 8101703
oh_line_8101703_200821737 |  | bal_1P_2AC | 158.4 | OPEN | node_8101703_200821736 | node_8101703_200821737 | AD | 8101703
oh_line_8101703_200824635 |  | bal_1P_1/0AC | 52.800000000000004 | OPEN | node_8101703_200821724 | node_8101703_200824635 | AD | 8101703
oh_line_8101703_200824636 |  | bal_1P_1/0AC | 264 | OPEN | node_8101703_200824635 | node_8101703_200824636 | AD | 8101703
oh_line_8101703_200824638 |  | bal_1P_1/0AC | 316.8 | OPEN | node_8101703_200824636 | node_8101703_200824638 | AD | 8101703
oh_line_8101703_310035339 |  | bal_3P_477AL | 0 | OPEN | node_8101703_200821720 | node_intto1_8101703_310035339 | ABCD | 8101703
oh_line_8101703_311991870 |  | bal_3P_477AL | 52.800000000000004 | OPEN | node_8101703_200821672 | node_8101703_311991870 | ABCD | 8101703
oh_line_TAP_OH_894729 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821633 | node_1397584_898_15315356_028 | AN | 8101703
oh_line_TAP_OH_894730 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821639 | node_1397569_941_15315013_847 | AN | 8101703
oh_line_TAP_OH_894731 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821641 | node_1397502_885_15314804_158 | AN | 8101703
oh_line_TAP_OH_894736 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821663 | node_1399040_255_15317728_633 | ABCN | 8101703
oh_line_TAP_OH_894738 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821723 | node_1398142_782_15316327_762 | ABCN | 8101703
oh_line_TAP_OH_894739 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821729 | node_1398599_098_15317003_134 | ABCN | 8101703
oh_line_TAP_OH_894740 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821731 | node_1398797_044_15317271_439 | ABCN | 8101703
oh_line_TAP_OH_894741 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821735 | node_1398714_008_15317799_531 | AN | 8101703
oh_line_TAP_OH_894742 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821737 | node_1399099_34_15318129_957 | AN | 8101703
oh_line_TAP_OH_895679 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200824638 | node_1398205_564_15316928_796 | AN | 8101703
oh_line_TAP_OH_2202136 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101703_200821718 | node_1397678_831_15315856_602 | ABCN | 8101703
oh_line_TAP_OH_2202137 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101703_200821718 | node_1397674_733_15315830_516 | ABCN | 8101703

## UndergroundLine
Name | GroupId | Configuration | NumParallelCables | Length | Status | From | To | Phases | Feeder | Comments
und_line_8101703_200821662 |  | und_1P_2ALURD | 0 | 739.2 | OPEN | node_8101703_200821736 | node_intto1_8101703_200821662 | AN | 8101703
und_line_TAP_UG_58892 |  | und_TAPWIRE_UG | 0 | 52.800000000000004 | OPEN | node_8101703_200821662 | node_1399032_454_15318691_624 | AN | 8101703