## Feeder
Name | Description | Comments
8101003

## Node
Name | GroupId | Latitude | Longitude | BusType | NominalVoltage | ConsistentPath | DistToSlack | Phases | Feeder | Comments
node_1354235_387_15291921_08 |  | 42.097368738556206 | -76.05964988218187 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354257_999_15292021_916 |  | 42.097644929010954 | -76.05956385371402 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354277_824_15292021_303 |  | 42.09764325 | -76.05948842852496 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354297_129_15292027_599 |  | 42.09766049478463 | -76.05941498170152 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354365_047_15293524_65 |  | 42.101760927134926 | -76.05915658432494 | PQ | 2771.281 | False | -1 | AN | 8101003
node_1354406_687_15291544_206 |  | 42.09633647823803 | -76.05899816289379 | PQ | 2771.281 | False | -1 | AN | 8101003
node_1354488_651_15292523_229 |  | 42.0990180285532 | -76.05868632681832 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354496_725_15293277_496 |  | 42.1010839707339 | -76.05865560888759 | PQ | 2771.281 | False | -1 | AN | 8101003
node_1354507_429_15292531_985 |  | 42.09904201129371 | -76.05861488499232 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354525_952_15292245_132 |  | 42.09825631907549 | -76.0585444133264 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354527_219_15292533_934 |  | 42.09904734961729 | -76.05853959296249 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354529_522_15292218_975 |  | 42.09818467488368 | -76.05853083108555 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354530_441_15291932_077 |  | 42.09739885941017 | -76.05852733470478 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354549_875_15292990_228 |  | 42.10029714182801 | -76.05845339709448 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_1354609_592_15292549_406 |  | 42.09908972752513 | -76.05822620082637 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354644_312_15292092_929 |  | 42.09783943407624 | -76.0580941068761 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354747_659_15291908_391 |  | 42.097333983303315 | -76.05770091812381 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354756_486_15291932_323 |  | 42.09739953320577 | -76.0576673353675 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354765_667_15293024_158 |  | 42.10039007631697 | -76.05763240580076 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354769_61_15291952_417 |  | 42.09745457080144 | -76.05761740446303 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354779_211_15293043_743 |  | 42.10044371975837 | -76.0575808769856 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354796_043_15293057_992 |  | 42.10048274786133 | -76.05751683881246 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354839_08_15293550_978 |  | 42.101833039696835 | -76.05735310242599 | PQ | 2771.281 | False | -1 | AN | 8101003
node_1354870_519_15292791_598 |  | 42.09975309297614 | -76.05723349120184 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_1354894_14_15293010_477 |  | 42.10035260396968 | -76.05714362394379 | PQ | 2771.281 | False | -1 | AN | 8101003
node_1354908_195_15291379_805 |  | 42.09588618283806 | -76.05709015100396 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354918_147_15291356_87 |  | 42.095823363725046 | -76.05705228812973 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1354967_061_15292757_939 |  | 42.09966090075791 | -76.05686619240727 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_1355397_23_15292055_841 |  | 42.09773784980489 | -76.05522959325704 | PQ | 1385.64 | False | -1 | ABCN | 8101003
node_8101003_200854980 |  | 42.098781668730304 | -76.0585642160053 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855097 |  | 42.09600921352994 | -76.05681990245644 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855106 |  | 42.09725068737806 | -76.05743969016258 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855213 |  | 42.10173906712442 | -76.05735212846139 | PQ | 2771.281 | False | -1 | AN | 8101003
node_8101003_200855214 |  | 42.10173203061684 | -76.05771441666458 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200855215 |  | 42.101725541910554 | -76.05808315738332 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200855217 |  | 42.10169860652108 | -76.05840558912848 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200855218 |  | 42.10168149868678 | -76.05872061341624 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200855219 |  | 42.10166682035119 | -76.0591552527327 | PQ | 2771.281 | False | -1 | AN | 8101003
node_8101003_200855241 |  | 42.101430493396364 | -76.05736413561885 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200855242 |  | 42.101185524876186 | -76.05733784237891 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200855243 |  | 42.100930890402225 | -76.05732672929054 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200855244 |  | 42.10063647459853 | -76.05729113773222 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200855245 |  | 42.100355570313674 | -76.05727185627657 | PQ | 2771.281 | False | -1 | AN | 8101003
node_8101003_200855247 |  | 42.10005852232477 | -76.05726503471975 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855248 |  | 42.100221098791835 | -76.05740931844585 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855249 |  | 42.0998027374681 | -76.05723655766855 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855250 |  | 42.09959848701786 | -76.0572259962398 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855399 |  | 42.10100134586523 | -76.05863832101576 | PQ | 2771.281 | False | -1 | AN | 8101003
node_8101003_200855400 |  | 42.100730236267445 | -76.05863638830473 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855401 |  | 42.10070511683926 | -76.0589780596555 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855402 |  | 42.100689167604685 | -76.05931152459351 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855403 |  | 42.100674760430735 | -76.05966023436041 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855404 |  | 42.10073173724298 | -76.05848456015745 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855407 |  | 42.10031301163139 | -76.05845550861932 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855408 |  | 42.09992330305418 | -76.05843082850826 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855409 |  | 42.099529570876484 | -76.05838648648665 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855410 |  | 42.09908873052679 | -76.05836320644974 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855411 |  | 42.098701895167345 | -76.058330015562 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855412 |  | 42.09828583187003 | -76.05826064341082 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855414 |  | 42.09784109117514 | -76.05822911130656 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855620 |  | 42.09956619960978 | -76.05348970059441 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855636 |  | 42.09802256678673 | -76.05680945896871 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855637 |  | 42.09783268790334 | -76.05724171663734 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855639 |  | 42.097705893816595 | -76.05754404894876 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855640 |  | 42.09757227960378 | -76.05784929934947 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855641 |  | 42.09745153050427 | -76.05818134899515 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855642 |  | 42.09732922017109 | -76.0584722372224 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855643 |  | 42.097176238443645 | -76.05879988880915 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855644 |  | 42.097001478875875 | -76.05923678422332 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855645 |  | 42.09688631734954 | -76.05952440053821 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855646 |  | 42.0970457110911 | -76.05959697231532 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855912 |  | 42.09951246852018 | -76.0582429864977 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855913 |  | 42.09951814100255 | -76.05799587721877 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855914 |  | 42.099517746585626 | -76.05752260650914 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855915 |  | 42.09953581307219 | -76.05716809100008 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855916 |  | 42.0995522443719 | -76.05686344552271 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200855917 |  | 42.099470594589526 | -76.05689915121751 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200855918 |  | 42.099559089149025 | -76.05657293394583 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200856007 |  | 42.096661387400566 | -76.05800952033242 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200856008 |  | 42.09645583318325 | -76.05852053597525 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200856009 |  | 42.0962522620066 | -76.05896357193193 | PQ | 2771.281 | False | -1 | AN | 8101003
node_8101003_200917603 |  | 42.098225184789136 | -76.05041399264142 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200917604 |  | 42.09893697587423 | -76.05123585137238 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200917606 |  | 42.09817862989644 | -76.05963761631506 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200917608 |  | 42.09806198656761 | -76.05196953206514 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200917609 |  | 42.09912558933663 | -76.05234473671308 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200917612 |  | 42.09848006303467 | -76.0570311234222 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200917613 |  | 42.099566646067835 | -76.05615731357112 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200917614 |  | 42.098596602281255 | -76.05232128547145 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_200917616 |  | 42.09822080511781 | -76.05686025350587 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200984256 |  | 42.09714951121867 | -76.05658737221027 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200984257 |  | 42.09713589561759 | -76.05684603210075 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200984258 |  | 42.09698934507729 | -76.05713041454877 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_200984259 |  | 42.096833531217165 | -76.05750163963818 | PQ | 2771.281 | False | -1 | AD | 8101003
node_8101003_200988219 |  | 42.09701841141377 | -76.05560239342984 | PQ | 1385.64 | False | -1 | ABCN | 8101003
node_8101003_200988535 |  | 42.097439829468705 | -76.05663485678957 | PQ | 1385.64 | False | -1 | ABCN | 8101003
node_8101003_201009747 |  | 42.09752787209215 | -76.05671417022798 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_201037726 |  | 42.09791614269098 | -76.05955313249422 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_310018048 |  | 42.09729132601681 | -76.05970304314867 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_8101003_310052929 |  | 42.09969931532343 | -76.05304556892754 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_310052995 |  | 42.09927045264896 | -76.05411809799554 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_310052996 |  | 42.09905277832808 | -76.05463683687337 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_310053000 |  | 42.0988495769173 | -76.05510777158976 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_310053003 |  | 42.09870343174996 | -76.05544648680575 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_310053004 |  | 42.098547932875576 | -76.05580687653887 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_310053005 |  | 42.09841991445295 | -76.05612540862103 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_310053006 |  | 42.09840332429086 | -76.05642234988615 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_310053434 |  | 42.09840729858922 | -76.05698316707878 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_8101003_311894545 |  | 42.09759123900645 | -76.05523544845835 | PQ | 1385.64 | False | -1 | ABCN | 8101003
node_8101003_311909112 |  | 42.09749145700135 | -76.0566809298811 | PQ | 1385.64 | False | -1 | ABCD | 8101003
node_220555609 |  | 42.099783668505175 | -76.0572347467031 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_220564076 |  | 42.09750296082846 | -76.0566914494598 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_220574826 |  | 42.09749679532493 | -76.05668581492235 | PQ | 1385.64 | False | -1 | ABCD | 8101003
node_SOURCE_8101003 |  | 42.09863673968182 | -76.0570234306236 | SWING | 2771.281 | False | -1 | ABCN | 8101003
node_intto1_8101003_200855097 |  | 42.09600921352994 | -76.05681990245644 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_intto1_8101003_200988219 |  | 42.09701841141377 | -76.05560239342984 | PQ | 1385.64 | False | -1 | ABCN | 8101003
node_intto1_8101003_201037726 |  | 42.09791614269098 | -76.05955313249422 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_intto1_8101003_310018048 |  | 42.09729132601681 | -76.05970304314867 | PQ | 2771.281 | False | -1 | ABCN | 8101003
node_intto1_8101003_311894545 |  | 42.09759123900645 | -76.05523544845835 | PQ | 1385.64 | False | -1 | ABCN | 8101003
node_intto1_220555609 |  | 42.099783668505175 | -76.0572347467031 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_intto1_220564076 |  | 42.09750296082846 | -76.0566914494598 | PQ | 2771.281 | False | -1 | ABCD | 8101003
node_intto1_220574826 |  | 42.09749679532493 | -76.05668581492235 | PQ | 2771.281 | False | -1 | ABCD | 8101003

## Capacitor
Name | GroupId | NominalVoltage | RemoteSense | RemoteSenseB | ParticipatingPhases | PhasesConnected | SwitchA | SwitchB | SwitchC | Control | ControlLevel | VoltageSetHigh | VoltageSetLow | ReactivePowerSetHigh | ReactivePowerSetLow | CapacitorA | CapacitorB | CapacitorC | TimeDelay | DwellTime | LockoutTime | CurrentSetHigh | CurrentSetLow | Status | ParentNode | Phases | Feeder | Comments
cap_220369256 |  | 0 |  |  |  |  | CLOSED | CLOSED | CLOSED | MANUAL | BANK | 0 | 0 | 0 | 0 | 100000 | 100000 | 100000 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354870_519_15292791_598 | ABCN | 8101003
cap_220369259 |  | 0 |  |  |  |  | CLOSED | CLOSED | CLOSED | MANUAL | BANK | 0 | 0 | 0 | 0 | 100000 | 100000 | 100000 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354549_875_15292990_228 | ABCN | 8101003

## EVChargingStation
Name | GroupId | ServiceCharge | ServiceDischarge | ChargeEfficiency | DischargeEfficiency | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | DepthOfDischarge | ReactivePower | ReactivePowerA | ReactivePowerB | ReactivePowerC | ActivePower | ActivePowerA | ActivePowerB | ActivePowerC | Energy | MaxEnergy | PowerCharge | PowerDischarge | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
evchargingstation_load_220346503 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.091027303260401 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.29046172207008636 | 0.6818378838767335 | OPTIMIZED | INSTALLED |  |  | node_1354365_047_15293524_65 | AN | 8101003
evchargingstation_load_220346732 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2055508102346177 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.01459404615217639 | 0.03425846837243628 | OPTIMIZED | INSTALLED |  |  | node_1354406_687_15291544_206 | AN | 8101003
evchargingstation_load_220441938 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.046261015403827294 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.0032845185081745386 | 0.007710169233971215 | OPTIMIZED | INSTALLED |  |  | node_1354496_725_15293277_496 | AN | 8101003
evchargingstation_load_312043816 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06455828269041569 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.004583618891494057 | 0.01075971378173595 | OPTIMIZED | INSTALLED |  |  | node_1354967_061_15292757_939 | AN | 8101003

## Fuse
Name | GroupId | MeanReplacementTime | PhaseAStatus | PhaseBStatus | PhaseCStatus | RepairDistributionType | CurrentLimit | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments
fuse_220555604 |  | 0 | GOOD | GOOD | GOOD | NONE | 25 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101003_201037726 | node_8101003_201037726 | 0 | ABCD | 8101003
fuse_220555607 |  | 0 | GOOD | GOOD | GOOD | NONE | 100 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101003_200988219 | node_8101003_200988219 | 0 | ABCN | 8101003
fuse_220555608 |  | 0 | GOOD | GOOD | GOOD | NONE | 50 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101003_311894545 | node_8101003_311894545 | 0 | ABCN | 8101003
fuse_220555609 |  | 0 | GOOD | GOOD | GOOD | NONE | 140 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_220555609 | node_220555609 | 0 | ABCD | 8101003
fuse_220564076 |  | 0 | GOOD | GOOD | GOOD | NONE | 50 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_220564076 | node_220564076 | 0 | ABCD | 8101003
fuse_310018054 |  | 0 | GOOD | GOOD | GOOD | NONE | 30 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101003_310018048 | node_8101003_310018048 | 0 | ABCN | 8101003
fuse_312105439 |  | 0 | GOOD | GOOD | GOOD | NONE | 10 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101003_200855097 | node_8101003_200855097 | 0 | ABCD | 8101003

## Generator
Name | GroupId | ColdStartupCost | ColdStartupTime | HotStartupCost | HotStartupStatus | ShutdownCost | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | ReactivePower | ActivePower | MaxPowerOutput | MinPowerOutput | MinimumDowntime | MinimumUptime | NoLoadCost | NonSpinningReserve | SpinningReserve | OperatingReserve | RampUpLimit | RampDownLimit | StartupCapability | ShutdownCapability | ShutdownStatus | StartupStatus | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
generator_load_220346503 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.29046172207008636 | 0.6818378838767335 | OPTIMIZED | INSTALLED | natural_gas |  | node_1354365_047_15293524_65 | AN | 8101003
generator_load_220346732 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.01459404615217639 | 0.03425846837243628 | OPTIMIZED | INSTALLED | natural_gas |  | node_1354406_687_15291544_206 | AN | 8101003
generator_load_220441938 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.0032845185081745386 | 0.007710169233971215 | OPTIMIZED | INSTALLED | natural_gas |  | node_1354496_725_15293277_496 | AN | 8101003
generator_load_312043816 |  | 0 | 0 | 0 | 0 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | False | False | 0 | 0 | 0.19 | 0.004583618891494057 | 0.01075971378173595 | OPTIMIZED | INSTALLED | natural_gas |  | node_1354967_061_15292757_939 | AN | 8101003

## HeatPump
Name | GroupId | YearOfInstallation | ReactivePower | ActivePower | MaxPowerOutput | MinPowerOutput | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
heatpump_load_220346503 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.29046172207008636 | 0.6818378838767335 | OPTIMIZED | INSTALLED |  |  | node_1354365_047_15293524_65 | AN | 8101003
heatpump_load_220346732 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.01459404615217639 | 0.03425846837243628 | OPTIMIZED | INSTALLED |  |  | node_1354406_687_15291544_206 | AN | 8101003
heatpump_load_220441938 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.0032845185081745386 | 0.007710169233971215 | OPTIMIZED | INSTALLED |  |  | node_1354496_725_15293277_496 | AN | 8101003
heatpump_load_312043816 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.004583618891494057 | 0.01075971378173595 | OPTIMIZED | INSTALLED |  |  | node_1354967_061_15292757_939 | AN | 8101003

## LineSpacing
Name | DistanceAB | DistanceAC | DistanceAE | DistanceAN | DistanceBC | DistanceBE | DistanceBN | DistanceCE | DistanceCN | DistanceNE | Feeder | Comments

## Load
Name | GroupId | PriorityLevel | LoadClass | BaseReactivePowerA | BaseReactivePowerB | BaseReactivePowerC | BaseActivePowerA | BaseActivePowerB | BaseActivePowerC | BasePowerA | BasePowerB | BasePowerC | ConstantCurrentAReal | ConstantCurrentAImag | ConstantCurrentA | ConstantCurrentBReal | ConstantCurrentBImag | ConstantCurrentB | ConstantCurrentCReal | ConstantCurrentCImag | ConstantCurrentC | ConstantResistanceA | ConstantReactanceA | ConstantImpedanceA | ConstantResistanceB | ConstantReactanceB | ConstantImpedanceB | ConstantResistanceC | ConstantReactanceC | ConstantImpedanceC | ConstantActivePowerA | ConstantReactivePowerA | ConstantPowerA | ConstantActivePowerB | ConstantReactivePowerB | ConstantPowerB | ConstantActivePowerC | ConstantReactivePowerC | ConstantPowerC | CurrentFractionA | CurrentFractionB | CurrentFractionC | CurrentPfA | CurrentPfB | CurrentPfC | ImpedanceFractionA | ImpedanceFractionB | ImpedanceFractionC | ImpedancePfA | ImpedancePfB | ImpedancePfC | PowerFractionA | PowerFractionB | PowerFractionC | PowerPfA | PowerPfB | PowerPfC | DemandResponseLowerBound | DemandResponseShortageCost | DemandResponseSurplusCost | DemandResponseUpperBound | ActivePowerA | ActivePowerB | ActivePowerC | ReactivePowerA | ReactivePowerB | ReactivePowerC | NominalVoltage | Status | ParentNode | Phases | Feeder | Comments
load_220346409 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 9000 | 3833.984 | 9000+3833.984j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354488_651_15292523_229 | AN | 8101003
load_220346410 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 9000 | 3833.984 | 9000+3833.984j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354527_219_15292533_934 | BN | 8101003
load_220346456 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354908_195_15291379_805 | AN | 8101003
load_220346457 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354918_147_15291356_87 | AN | 8101003
load_220346461 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 6000 | 2555.989 | 6000+2555.989j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354756_486_15291932_323 | AN | 8101003
load_220346462 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 6000 | 2555.989 | 6000+2555.989j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354747_659_15291908_391 | BN | 8101003
load_220346463 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 6000 | 2555.989 | 6000+2555.989j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354769_61_15291952_417 | CN | 8101003
load_220346502 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 2923.2 | 1245.278 | 2923.2+1245.278j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354839_08_15293550_978 | AN | 8101003
load_220346503 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 853207.2 | 363464.745 | 853207.2+363464.745j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354365_047_15293524_65 | AN | 8101003
load_220346505 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 6861.6 | 2923.029 | 6861.6+2923.029j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354894_14_15293010_477 | AN | 8101003
load_220346506 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 15666.667 | 6673.972 | 15666.667+6673.972j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354779_211_15293043_743 | AN | 8101003
load_220346507 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 15666.667 | 6673.972 | 15666.667+6673.972j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354765_667_15293024_158 | BN | 8101003
load_220346508 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 15666.667 | 6673.972 | 15666.667+6673.972j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354796_043_15293057_992 | CN | 8101003
load_220346567 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 3000 | 1277.995 | 3000+1277.995j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354609_592_15292549_406 | AN | 8101003
load_220346568 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354525_952_15292245_132 | AN | 8101003
load_220346569 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354529_522_15292218_975 | AN | 8101003
load_220346570 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354644_312_15292092_929 | AN | 8101003
load_220346732 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 42868.8 | 18262.032 | 42868.8+18262.032j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354406_687_15291544_206 | AN | 8101003
load_220441938 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 9648 | 4110.031 | 9648+4110.031j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354496_725_15293277_496 | AN | 8101003
load_220545117 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 17666.667 | 7525.969 | 17666.667+7525.969j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354277_824_15292021_303 | AN | 8101003
load_220545118 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 17666.667 | 7525.969 | 17666.667+7525.969j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354297_129_15292027_599 | BN | 8101003
load_220545119 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 17666.667 | 7525.969 | 17666.667+7525.969j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354257_999_15292021_916 | CN | 8101003
load_220617081 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 9000 | 3833.984 | 9000+3833.984j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354507_429_15292531_985 | CN | 8101003
load_310008388 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 2361.6 | 1006.037 | 2361.6+1006.037j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354530_441_15291932_077 | AN | 8101003
load_310024104 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 23333.333 | 9939.958 | 23333.333+9939.958j | 23333.333 | 9939.958 | 23333.333+9939.958j | 23333.333 | 9939.958 | 23333.333+9939.958j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354235_387_15291921_08 | ABCN | 8101003
load_311909738 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 102000 | 43451.818 | 102000+43451.818j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1355397_23_15292055_841 | AN | 8101003
load_312043816 |  | 0 | R | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 13464 | 5735.64 | 13464+5735.64j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1354967_061_15292757_939 | AN | 8101003

## OverheadLineConductor
Name | Diameter | GeometricMeanRadius | RatingSummerContinuous | RatingSummerEmergency | RatingWinterContinuous | RatingWinterEmergency | Feeder | Comments
oh_cond_1/0_AAAC | 0.398 | 0.012 | 235 | 235 | 310 | 310 | 8101003
oh_cond_1/0_ACSR | 0.398 | 0.012 | 265 | 265 | 330 | 330 | 8101003
oh_cond_2/0_CU | 0.414 | 0.013 | 295 | 295 | 425 | 425 | 8101003
oh_cond_2_CU | 0.292 | 0.009 | 190 | 190 | 270 | 270 | 8101003
oh_cond_4_CU | 0.232 | 0.007 | 140 | 140 | 200 | 200 | 8101003
oh_cond_477_MCM_AL | 0.792 | 0.025 | 605 | 605 | 810 | 810 | 8101003
oh_cond_WP-4/0-CU | 0.81 | 0.015 | 340 | 340 | 390 | 390 | 8101003

## OverheadLineConfiguration
Name | ConductorA | ConductorB | ConductorC | ConductorN | LineSpacing | Capacitance11 | Capacitance12 | Capacitance13 | Capacitance21 | Capacitance22 | Capacitance23 | Capacitance31 | Capacitance32 | Capacitance33 | Impedance11 | Impedance12 | Impedance13 | Impedance21 | Impedance22 | Impedance23 | Impedance31 | Impedance32 | Impedance33 | Feeder | Comments
bal_1P_1/0AA | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 8101003
bal_1P_1/0AC | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.218j | 8101003
bal_3P_1/0AA | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC | oh_cond_1/0_AAAC |  |  | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.972+1.499j | 8101003
bal_3P_1/0AC | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  |  | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | -3.172 | -3.172 | -3.172 | 12.796 | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.983+1.497j | 8101003
bal_3P_2/0CU | oh_cond_2/0_CU | oh_cond_2/0_CU | oh_cond_2/0_CU |  |  | 12.878 | -3.204 | -3.204 | -3.204 | 12.878 | -3.204 | -3.204 | -3.204 | 12.878 | 0.535+1.487j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.535+1.487j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.535+1.487j | 8101003
bal_3P_2CU | oh_cond_2_CU | oh_cond_2_CU | oh_cond_2_CU |  |  | 12.191 | -2.94 | -2.94 | -2.94 | 12.191 | -2.94 | -2.94 | -2.94 | 12.191 | 0.968+1.536j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.968+1.536j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 0.968+1.536j | 8101003
bal_3P_4CU | oh_cond_4_CU | oh_cond_4_CU | oh_cond_4_CU |  |  | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | -2.785 | -2.785 | -2.785 | 11.78 | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 0.095+0.781j | 0.095+0.781j | 0.095+0.781j | 1.483+1.565j | 8101003
bal_3P_477AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL |  |  | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | -3.735 | -3.735 | -3.735 | 14.305 | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 0.095+0.775j | 0.095+0.775j | 0.095+0.775j | 0.293+1.41j | 8101003
unb_TAPWIRE_OH | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 8101003

## Recloser
Name | GroupId | RetryTime | MaximumNumberOfTries | Status | From | To | Length | Phases | Feeder | Comments

## RegulatorConfiguration
Name | CurrentTransducerPhase | PowerTransducerPhase | Regulation | Control | Type | CompensatorResistiveSettingA | CompensatorResistiveSettingB | CompensatorResistiveSettingC | CompensatorReactiveSettingA | CompensatorReactiveSettingB | CompensatorReactiveSettingC | BandCenter | BandWidth | CurrentTransducerRatio | PowerTransducerRatio | ConnectType | ControlLevel | DwellTime | TimeDelay | LowerTaps | RaiseTaps | TapPositionA | TapPositionB | TapPositionC | Feeder | Comments

## Sectionalizer
Name | GroupId | OperatingMode | PhaseAState | PhaseBState | PhaseCState | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments

## Solar
Name | GroupId | SpillageCost | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
solar_load_220346503 |  | 0 | 0 | 0 | 0.001 | 0.29046172207008636 | 0.6818378838767335 | OPTIMIZED | INSTALLED | solar_pv |  | node_1354365_047_15293524_65 | AN | 8101003
solar_load_220346732 |  | 0 | 0 | 0 | 0.001 | 0.01459404615217639 | 0.03425846837243628 | OPTIMIZED | INSTALLED | solar_pv |  | node_1354406_687_15291544_206 | AN | 8101003
solar_load_220441938 |  | 0 | 0 | 0 | 0.001 | 0.0032845185081745386 | 0.007710169233971215 | OPTIMIZED | INSTALLED | solar_pv |  | node_1354496_725_15293277_496 | AN | 8101003
solar_load_312043816 |  | 0 | 0 | 0 | 0.001 | 0.004583618891494057 | 0.01075971378173595 | OPTIMIZED | INSTALLED | solar_pv |  | node_1354967_061_15292757_939 | AN | 8101003

## Storage
Name | GroupId | InitStateOfCharge | SpinningReserveCharge | SpinningReserveDischarge | NonSpinningReserveCharge | NonSpinningReserveDischarge | RegulationUpCharge | RegulationUpDischarge | RegulationDownCharge | RegulationDownDischarge | ChargeEfficiency | DischargeEfficiency | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | DepthOfDischarge | ReactivePower | ReactivePowerA | ReactivePowerB | ReactivePowerC | ActivePower | ActivePowerA | ActivePowerB | ActivePowerC | Energy | MaxEnergy | PowerCharge | PowerDischarge | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
storage_load_220346503 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0455136516302006 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.29046172207008636 | 0.6818378838767335 | OPTIMIZED | INSTALLED | li_ion |  | node_1354365_047_15293524_65 | AN | 8101003
storage_load_220346732 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10277540511730884 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.01459404615217639 | 0.03425846837243628 | OPTIMIZED | INSTALLED | li_ion |  | node_1354406_687_15291544_206 | AN | 8101003
storage_load_220441938 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.023130507701913647 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.0032845185081745386 | 0.007710169233971215 | OPTIMIZED | INSTALLED | li_ion |  | node_1354496_725_15293277_496 | AN | 8101003
storage_load_312043816 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.032279141345207846 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.004583618891494057 | 0.01075971378173595 | OPTIMIZED | INSTALLED | li_ion |  | node_1354967_061_15292757_939 | AN | 8101003

## Switch
Name | GroupId | OperatingMode | PhaseAState | PhaseBState | PhaseCState | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments

## TransformerConfiguration
Name | ConnectType | NoLoadLoss | PowerRating | ReactanceResistanceRatio | FullLoadLoss | PowerARating | PowerBRating | PowerCRating | ShuntResistance | ShuntReactance | ShuntImpedance | Impedance | PrimaryVoltage | SecondaryVoltage | CoreCoilWeight | InstalledInsulationLife | InstallType | CoolantType | CoolingType | Feeder | Comments
config_transformer_220574826 | UNKNOWN | 0 | 300 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0.004+0.04j | 4800 | 2400 | 0 | 0 | UNKNOWN | UNKNOWN | UNKNOWN | 8101003

## UndergroundLineConductor
Name | OuterDiameter | ConductorGMR | ConductorDiameter | ConductorResistance | NeutralGMR | NeutralDiameter | NeutralResistance | NeutralStrands | InsulationRelativePermittivity | ShieldGMR | ShieldResitance | RatingSummerContinuous | RatingSummerEmergency | RatingWinterContinuous | RatingWinterEmergency | Feeder | Comments
und_cond_3P_2ALURD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 125 | 125 | 140 | 140 | 8101003
und_cond_3P_DELTACUST | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 685 | 685 | 685 | 685 | 8101003
und_cond_TAPWIRE_UG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99999999 | 99999999 | 99999999 | 99999999 | 8101003

## UndergroundLineConfiguration
Name | ConductorA | ConductorB | ConductorC | ConductorN | LineSpacing | Capacitance11 | Capacitance12 | Capacitance13 | Capacitance21 | Capacitance22 | Capacitance23 | Capacitance31 | Capacitance32 | Capacitance33 | Impedance11 | Impedance12 | Impedance13 | Impedance21 | Impedance22 | Impedance23 | Impedance31 | Impedance32 | Impedance33 | Feeder | Comments
und_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD | und_cond_3P_2ALURD |  |  | 401.498 | 0 | 0 | 0 | 401.498 | 0 | 0 | 0 | 401.498 | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 0.384+0.067j | 0.384+0.067j | 0.384+0.067j | 2.125+0.49j | 8101003
und_3P_DELTACUST | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST | und_cond_3P_DELTACUST |  |  | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 | 0.179+0.233j | 0.061+-0.024j | 0.061+-0.024j | 0.061+-0.024j | 0.179+0.233j | 0.061+-0.024j | 0.061+-0.024j | 0.061+-0.024j | 0.179+0.233j | 8101003
und_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001+0.001j | 0+0j | 0+0j | 0+0j | 0.001+0.001j | 0+0j | 0+0j | 0+0j | 0.001+0.001j | 8101003

## Regulator
Name | GroupId | Configuration | SenseNode | Status | From | To | Length | Phases | Feeder | Comments

## Transformer
Name | GroupId | Configuration | AgingConstant | AgingGranularity | Climate | UseThermalModel | Status | From | To | Length | Phases | Feeder | Comments
transformer_220574826 |  | config_transformer_220574826 | 0 | 0 |  | False | OPEN | node_intto1_220574826 | node_220574826 | 0 | ABCD | 8101003

## OverheadLine
Name | GroupId | Configuration | Length | Status | From | To | Phases | Feeder | Comments
oh_line_8101003_200854980 |  | bal_3P_1/0AC | 52.800000000000004 | OPEN | node_8101003_200855411 | node_8101003_200854980 | ABCD | 8101003
oh_line_8101003_200855097 |  | bal_3P_1/0AA | 369.6 | OPEN | node_8101003_200984258 | node_intto1_8101003_200855097 | ABCD | 8101003
oh_line_8101003_200855106 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200984258 | node_8101003_200855106 | ABCD | 8101003
oh_line_8101003_200855213 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855241 | node_8101003_200855213 | AD | 8101003
oh_line_8101003_200855214 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855213 | node_8101003_200855214 | AD | 8101003
oh_line_8101003_200855215 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855214 | node_8101003_200855215 | AD | 8101003
oh_line_8101003_200855217 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855215 | node_8101003_200855217 | AD | 8101003
oh_line_8101003_200855218 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855217 | node_8101003_200855218 | AD | 8101003
oh_line_8101003_200855219 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855218 | node_8101003_200855219 | AD | 8101003
oh_line_8101003_200855241 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855242 | node_8101003_200855241 | AD | 8101003
oh_line_8101003_200855242 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855243 | node_8101003_200855242 | AD | 8101003
oh_line_8101003_200855243 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855244 | node_8101003_200855243 | AD | 8101003
oh_line_8101003_200855244 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855245 | node_8101003_200855244 | AD | 8101003
oh_line_8101003_200855245 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855247 | node_8101003_200855245 | AD | 8101003
oh_line_8101003_200855247 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855249 | node_8101003_200855247 | ABCD | 8101003
oh_line_8101003_200855248 |  | bal_3P_1/0AC | 52.800000000000004 | OPEN | node_8101003_200855247 | node_8101003_200855248 | ABCD | 8101003
oh_line_8101003_200855249-1 |  | bal_3P_1/0AC | 0 | OPEN | node_220555609 | node_8101003_200855249 | ABCD | 8101003
oh_line_8101003_200855249-2 |  | bal_3P_1/0AC | 0 | OPEN | node_1354870_519_15292791_598 | node_intto1_220555609 | ABCD | 8101003
oh_line_8101003_200855249-3 |  | bal_3P_1/0AC | 52.800000000000004 | OPEN | node_8101003_200855250 | node_1354870_519_15292791_598 | ABCD | 8101003
oh_line_8101003_200855250 |  | bal_3P_1/0AC | 52.800000000000004 | OPEN | node_8101003_200855915 | node_8101003_200855250 | ABCD | 8101003
oh_line_8101003_200855399 |  | bal_1P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855400 | node_8101003_200855399 | AD | 8101003
oh_line_8101003_200855400 |  | bal_3P_1/0AC | 52.800000000000004 | OPEN | node_8101003_200855404 | node_8101003_200855400 | ABCD | 8101003
oh_line_8101003_200855401 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855400 | node_8101003_200855401 | ABCD | 8101003
oh_line_8101003_200855402 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855401 | node_8101003_200855402 | ABCD | 8101003
oh_line_8101003_200855403 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855402 | node_8101003_200855403 | ABCD | 8101003
oh_line_8101003_200855404 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855407 | node_8101003_200855404 | ABCD | 8101003
oh_line_8101003_200855407-1 |  | bal_3P_1/0AC | 0 | OPEN | node_1354549_875_15292990_228 | node_8101003_200855407 | ABCD | 8101003
oh_line_8101003_200855407-2 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855408 | node_1354549_875_15292990_228 | ABCD | 8101003
oh_line_8101003_200855408 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855409 | node_8101003_200855408 | ABCD | 8101003
oh_line_8101003_200855409 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855410 | node_8101003_200855409 | ABCD | 8101003
oh_line_8101003_200855410 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855411 | node_8101003_200855410 | ABCD | 8101003
oh_line_8101003_200855411 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855412 | node_8101003_200855411 | ABCD | 8101003
oh_line_8101003_200855412 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855414 | node_8101003_200855412 | ABCD | 8101003
oh_line_8101003_200855414 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855641 | node_8101003_200855414 | ABCD | 8101003
oh_line_8101003_200855620 |  | bal_3P_2/0CU | 211.20000000000002 | OPEN | node_8101003_310052995 | node_8101003_200855620 | ABCD | 8101003
oh_line_8101003_200855636 |  | bal_3P_477AL | 52.800000000000004 | OPEN | node_8101003_200917616 | node_8101003_200855636 | ABCD | 8101003
oh_line_8101003_200855637 |  | bal_3P_1/0AC | 158.4 | OPEN | node_8101003_200855636 | node_8101003_200855637 | ABCD | 8101003
oh_line_8101003_200855639 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855637 | node_8101003_200855639 | ABCD | 8101003
oh_line_8101003_200855640 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855639 | node_8101003_200855640 | ABCD | 8101003
oh_line_8101003_200855641 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855640 | node_8101003_200855641 | ABCD | 8101003
oh_line_8101003_200855642 |  | bal_3P_2CU | 105.60000000000001 | OPEN | node_8101003_200855641 | node_8101003_200855642 | ABCD | 8101003
oh_line_8101003_200855643 |  | bal_3P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855642 | node_8101003_200855643 | ABCD | 8101003
oh_line_8101003_200855644 |  | bal_3P_1/0AA | 158.4 | OPEN | node_8101003_200855643 | node_8101003_200855644 | ABCD | 8101003
oh_line_8101003_200855645 |  | bal_3P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200855644 | node_8101003_200855645 | ABCD | 8101003
oh_line_8101003_200855646 |  | bal_3P_1/0AA | 52.800000000000004 | OPEN | node_8101003_200855645 | node_8101003_200855646 | ABCD | 8101003
oh_line_8101003_200855912 |  | bal_3P_1/0AC | 52.800000000000004 | OPEN | node_8101003_200855409 | node_8101003_200855912 | ABCD | 8101003
oh_line_8101003_200855913 |  | bal_3P_1/0AC | 52.800000000000004 | OPEN | node_8101003_200855912 | node_8101003_200855913 | ABCD | 8101003
oh_line_8101003_200855914 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855913 | node_8101003_200855914 | ABCD | 8101003
oh_line_8101003_200855915 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855914 | node_8101003_200855915 | ABCD | 8101003
oh_line_8101003_200855916 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200855915 | node_8101003_200855916 | ABCD | 8101003
oh_line_8101003_200855917 |  | bal_3P_4CU | 52.800000000000004 | OPEN | node_8101003_200855916 | node_8101003_200855917 | ABCD | 8101003
oh_line_8101003_200855918 |  | bal_3P_4CU | 52.800000000000004 | OPEN | node_8101003_200855916 | node_8101003_200855918 | ABCD | 8101003
oh_line_8101003_200856007 |  | bal_1P_1/0AA | 158.4 | OPEN | node_8101003_200984259 | node_8101003_200856007 | AD | 8101003
oh_line_8101003_200856008 |  | bal_1P_1/0AC | 158.4 | OPEN | node_8101003_200856007 | node_8101003_200856008 | AD | 8101003
oh_line_8101003_200856009 |  | bal_1P_1/0AC | 158.4 | OPEN | node_8101003_200856008 | node_8101003_200856009 | AD | 8101003
oh_line_8101003_200917606 |  | bal_3P_1/0AC | 369.6 | OPEN | node_8101003_200854980 | node_8101003_200917606 | ABCD | 8101003
oh_line_8101003_200917609 |  | bal_3P_1/0AA | 264 | OPEN | node_8101003_310052929 | node_8101003_200917609 | ABCD | 8101003
oh_line_8101003_200917612 |  | bal_3P_477AL | 52.800000000000004 | OPEN | node_SOURCE_8101003 | node_8101003_200917612 | ABCD | 8101003
oh_line_8101003_200917613 |  | bal_3P_4CU | 105.60000000000001 | OPEN | node_8101003_200855918 | node_8101003_200917613 | ABCD | 8101003
oh_line_8101003_200917614 |  | bal_3P_1/0AA | 211.20000000000002 | OPEN | node_8101003_200917609 | node_8101003_200917614 | ABCD | 8101003
oh_line_8101003_200917616 |  | bal_3P_477AL | 52.800000000000004 | OPEN | node_8101003_310053434 | node_8101003_200917616 | ABCD | 8101003
oh_line_8101003_200984256 |  | bal_3P_1/0AA | 158.4 | OPEN | node_8101003_201009747 | node_8101003_200984256 | ABCD | 8101003
oh_line_8101003_200984257 |  | bal_3P_1/0AA | 52.800000000000004 | OPEN | node_8101003_200984256 | node_8101003_200984257 | ABCD | 8101003
oh_line_8101003_200984258 |  | bal_3P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200984257 | node_8101003_200984258 | ABCD | 8101003
oh_line_8101003_200984259 |  | bal_1P_1/0AA | 105.60000000000001 | OPEN | node_8101003_200984258 | node_8101003_200984259 | AD | 8101003
oh_line_8101003_200988535 |  | bal_3P_1/0AA | 0 | OPEN | node_8101003_311909112 | node_8101003_200988535 | ABCD | 8101003
oh_line_8101003_201009747 |  | bal_3P_1/0AA | 158.4 | OPEN | node_8101003_200855636 | node_8101003_201009747 | ABCD | 8101003
oh_line_8101003_201037726 |  | bal_3P_1/0AC | 105.60000000000001 | OPEN | node_8101003_200917606 | node_intto1_8101003_201037726 | ABCD | 8101003
oh_line_8101003_310052929 |  | bal_3P_2/0CU | 105.60000000000001 | OPEN | node_8101003_200855620 | node_8101003_310052929 | ABCD | 8101003
oh_line_8101003_310052995 |  | bal_3P_2/0CU | 158.4 | OPEN | node_8101003_310052996 | node_8101003_310052995 | ABCD | 8101003
oh_line_8101003_310052996 |  | bal_3P_2/0CU | 158.4 | OPEN | node_8101003_310053000 | node_8101003_310052996 | ABCD | 8101003
oh_line_8101003_310053000 |  | bal_3P_2/0CU | 105.60000000000001 | OPEN | node_8101003_310053003 | node_8101003_310053000 | ABCD | 8101003
oh_line_8101003_310053003 |  | bal_3P_2/0CU | 105.60000000000001 | OPEN | node_8101003_310053004 | node_8101003_310053003 | ABCD | 8101003
oh_line_8101003_310053004 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101003_310053005 | node_8101003_310053004 | ABCD | 8101003
oh_line_8101003_310053005 |  | bal_3P_477AL | 105.60000000000001 | OPEN | node_8101003_310053006 | node_8101003_310053005 | ABCD | 8101003
oh_line_8101003_310053006 |  | bal_3P_477AL | 158.4 | OPEN | node_8101003_200917616 | node_8101003_310053006 | ABCD | 8101003
oh_line_8101003_310053434 |  | bal_3P_477AL | 52.800000000000004 | OPEN | node_8101003_200917612 | node_8101003_310053434 | ABCD | 8101003
oh_line_8101003_311909112-1 |  | bal_3P_1/0AA | 0 | OPEN | node_8101003_201009747 | node_intto1_220564076 | ABCD | 8101003
oh_line_8101003_311909112-2 |  | bal_3P_1/0AA | 0 | OPEN | node_220564076 | node_intto1_220574826 | ABCD | 8101003
oh_line_8101003_311909112-3 |  | bal_3P_1/0AA | 0 | OPEN | node_220574826 | node_8101003_311909112 | ABCD | 8101003
oh_line_TAP_OH_904152 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855213 | node_1354839_08_15293550_978 | AN | 8101003
oh_line_TAP_OH_904153 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855219 | node_1354365_047_15293524_65 | AN | 8101003
oh_line_TAP_OH_904155 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855245 | node_1354894_14_15293010_477 | AN | 8101003
oh_line_TAP_OH_904190 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855399 | node_1354496_725_15293277_496 | AN | 8101003
oh_line_TAP_OH_904192 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855410 | node_1354609_592_15292549_406 | ABCN | 8101003
oh_line_TAP_OH_904194 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855414 | node_1354644_312_15292092_929 | ABCN | 8101003
oh_line_TAP_OH_904240 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855642 | node_1354530_441_15291932_077 | ABCN | 8101003
oh_line_TAP_OH_904303 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200856009 | node_1354406_687_15291544_206 | AN | 8101003
oh_line_TAP_OH_2136942 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200855248 | node_1354779_211_15293043_743 | ABCN | 8101003
oh_line_TAP_OH_2136943 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200855248 | node_1354765_667_15293024_158 | ABCN | 8101003
oh_line_TAP_OH_2136944 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200855248 | node_1354796_043_15293057_992 | ABCN | 8101003
oh_line_TAP_OH_2143335 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855412 | node_1354525_952_15292245_132 | ABCN | 8101003
oh_line_TAP_OH_2143336 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200855412 | node_1354529_522_15292218_975 | ABCN | 8101003
oh_line_TAP_OH_2143366 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200855106 | node_1354756_486_15291932_323 | ABCN | 8101003
oh_line_TAP_OH_2143367 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855106 | node_1354747_659_15291908_391 | ABCN | 8101003
oh_line_TAP_OH_2143368 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200855106 | node_1354769_61_15291952_417 | ABCN | 8101003
oh_line_TAP_OH_2143572 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_201037726 | node_1354277_824_15292021_303 | ABCN | 8101003
oh_line_TAP_OH_2143573 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_201037726 | node_1354297_129_15292027_599 | ABCN | 8101003
oh_line_TAP_OH_2143574 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_201037726 | node_1354257_999_15292021_916 | ABCN | 8101003
oh_line_TAP_OH_2146545 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200854980 | node_1354507_429_15292531_985 | ABCN | 8101003
oh_line_TAP_OH_2146546 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200854980 | node_1354488_651_15292523_229 | ABCN | 8101003
oh_line_TAP_OH_2146547 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200854980 | node_1354527_219_15292533_934 | ABCN | 8101003
oh_line_TAP_OH_2146555 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200855097 | node_1354908_195_15291379_805 | ABCN | 8101003
oh_line_TAP_OH_2146556 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101003_200855097 | node_1354918_147_15291356_87 | ABCN | 8101003
oh_line_TAP_OH_4255521 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8101003_200855916 | node_1354967_061_15292757_939 | ABCN | 8101003

## UndergroundLine
Name | GroupId | Configuration | NumParallelCables | Length | Status | From | To | Phases | Feeder | Comments
und_line_8101003_200917603 |  | und_3P_2ALURD | 0 | 316.8 | OPEN | node_8101003_200917604 | node_8101003_200917603 | ABCN | 8101003
und_line_8101003_200917604 |  | und_3P_2ALURD | 0 | 316.8 | OPEN | node_8101003_200917609 | node_8101003_200917604 | ABCN | 8101003
und_line_8101003_200917608 |  | und_3P_2ALURD | 0 | 211.20000000000002 | OPEN | node_8101003_200917614 | node_8101003_200917608 | ABCN | 8101003
und_line_8101003_200988219 |  | und_3P_DELTACUST | 0 | 316.8 | OPEN | node_8101003_200988535 | node_intto1_8101003_200988219 | ABCN | 8101003
und_line_8101003_310018048 |  | und_3P_DELTACUST | 0 | 105.60000000000001 | OPEN | node_8101003_200855646 | node_intto1_8101003_310018048 | ABCN | 8101003
und_line_8101003_311894545 |  | und_3P_DELTACUST | 0 | 369.6 | OPEN | node_8101003_200988535 | node_intto1_8101003_311894545 | ABCN | 8101003
und_line_TAP_UG_570607 |  | und_TAPWIRE_UG | 0 | 52.800000000000004 | OPEN | node_8101003_310018048 | node_1354235_387_15291921_08 | ABCN | 8101003
und_line_TAP_UG_1375430 |  | und_TAPWIRE_UG | 0 | 52.800000000000004 | OPEN | node_8101003_311894545 | node_1355397_23_15292055_841 | ABCN | 8101003