## Feeder
Name | Description | Comments
8100406

## Node
Name | GroupId | Latitude | Longitude | BusType | NominalVoltage | ConsistentPath | DistToSlack | Phases | Feeder | Comments
node_1394154_916_15296183_237 |  | 42.10904281408525 | -75.90777406770134 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394235_812_15296472_725 |  | 42.109835723585476 | -75.90746629488449 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394239_493_15296458_69 |  | 42.109797281629895 | -75.90745229033865 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394242_772_15296480_157 |  | 42.10985607988144 | -75.90743981522164 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394276_617_15296270_707 |  | 42.10928239497974 | -75.90731105025196 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394283_831_15296295_571 |  | 42.10935049763621 | -75.90728360423361 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394286_019_15296322_055 |  | 42.10942303748312 | -75.90727527987983 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394324_468_15296757_954 |  | 42.110616967657215 | -75.90712899876537 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394324_941_15296745_322 |  | 42.110582368527695 | -75.90712719921356 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394327_476_15296769_653 |  | 42.11064901129372 | -75.9071175546812 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394334_361_15296587_824 |  | 42.11015098048927 | -75.90709136035954 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394340_273_15296595_972 |  | 42.11017329791385 | -75.90706886786433 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394341_957_15296606_833 |  | 42.110203046262946 | -75.90706246100338 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394394_928_15296775_952 |  | 42.11066626429536 | -75.90686093022457 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394403_161_15296770_993 |  | 42.110652681562364 | -75.90682960737053 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394404_359_15296965_41 |  | 42.111185190980045 | -75.9068250495205 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394405_883_15296952_147 |  | 42.11114886353745 | -75.90681925138743 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394407_812_15296975_822 |  | 42.11121370951524 | -75.90681191241191 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394410_902_15296766_937 |  | 42.11064157215219 | -75.9068001563547 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394436_917_15296143_417 |  | 42.108933746848265 | -75.90670118100573 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394436_996_15296196_216 |  | 42.10907836365001 | -75.90670088044634 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394439_545_15296169_831 |  | 42.109006094964734 | -75.90669118265028 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394452_991_15297055_07 |  | 42.11143077029867 | -75.90664002668095 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394560_686_15297316_744 |  | 42.112147497073394 | -75.90623029574849 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394583_717_15297668_678 |  | 42.11311144657061 | -75.9061426731745 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394651_16_15297840_873 |  | 42.113583089786886 | -75.90588608295882 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394789_961_15297310_865 |  | 42.11213139445445 | -75.9053580077171 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394801_635_15297309_084 |  | 42.112126516283965 | -75.90531359340905 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394811_873_15297316_275 |  | 42.11214621247937 | -75.90527464243374 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1394917_392_15297317_341 |  | 42.11214913226025 | -75.90487319020046 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_1395016_282_15297279_445 |  | 42.11204533487168 | -75.90449695832423 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815687 |  | 42.108992394454454 | -75.90774815872089 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815689 |  | 42.10902612257992 | -75.90700128765583 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815692 |  | 42.11205239876933 | -75.90445551917371 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815694 |  | 42.107661563259796 | -75.90941814279088 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815696 |  | 42.11252814775627 | -75.90631892272347 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815699 |  | 42.1130928925409 | -75.90607207976299 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815704 |  | 42.1084695729026 | -75.90824461054916 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815705 |  | 42.10891342615939 | -75.90801739525831 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815706 |  | 42.109426831007056 | -75.90754771984773 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815707 |  | 42.109815824703595 | -75.90737800270982 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815709 |  | 42.110203607759274 | -75.90719168632351 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815710 |  | 42.11060066782981 | -75.90701255673075 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815711 |  | 42.1105728669143 | -75.90684300699301 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815714 |  | 42.111158973210266 | -75.90675124506943 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815716 |  | 42.11144379427435 | -75.90663470031198 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815717 |  | 42.11183381509831 | -75.90643961443962 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815718 |  | 42.11216679611287 | -75.90619404600314 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815719 |  | 42.112223986567614 | -75.90532622451259 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815722 |  | 42.1122522448972 | -75.90491648216648 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815723 |  | 42.11226581119616 | -75.90443076297167 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200815725 |  | 42.11214835986043 | -75.90631559374287 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200917121 |  | 42.11210464531743 | -75.90612730660004 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_200917122 |  | 42.112089950547805 | -75.90604962150871 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_201010718 |  | 42.1135395094552 | -75.90590114136478 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_310008144 |  | 42.11205085396969 | -75.90443470068016 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_312097230 |  | 42.10708722647456 | -75.90969282363828 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_8100406_312097231 |  | 42.10735279232328 | -75.90956581256582 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_311902499 |  | 42.113560764145284 | -75.90589379858471 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_SOURCE_8100406 |  | 42.10682482691731 | -75.90983983142166 | SWING | 4803.554 | False | -1 | ABCN | 8100406
node_intto1_1394651_16_15297840_873 |  | 42.113583089786886 | -75.90588608295882 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_intto1_8100406_200815687 |  | 42.108992394454454 | -75.90774815872089 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_intto1_8100406_200815699 |  | 42.1130928925409 | -75.90607207976299 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_intto1_8100406_200815711 |  | 42.1105728669143 | -75.90684300699301 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_intto1_8100406_200815719 |  | 42.112223986567614 | -75.90532622451259 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_intto1_8100406_200917121 |  | 42.11210464531743 | -75.90612730660004 | PQ | 4803.554 | False | -1 | ABCN | 8100406
node_intto1_311902499 |  | 42.113560764145284 | -75.90589379858471 | PQ | 4803.554 | False | -1 | ABCN | 8100406

## Capacitor
Name | GroupId | NominalVoltage | RemoteSense | RemoteSenseB | ParticipatingPhases | PhasesConnected | SwitchA | SwitchB | SwitchC | Control | ControlLevel | VoltageSetHigh | VoltageSetLow | ReactivePowerSetHigh | ReactivePowerSetLow | CapacitorA | CapacitorB | CapacitorC | TimeDelay | DwellTime | LockoutTime | CurrentSetHigh | CurrentSetLow | Status | ParentNode | Phases | Feeder | Comments
cap_220368899 |  | 0 |  |  |  |  | CLOSED | CLOSED | CLOSED | MANUAL | BANK | 0 | 0 | 0 | 0 | 100000 | 100000 | 100000 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394452_991_15297055_07 | ABCN | 8100406

## EVChargingStation
Name | GroupId | ServiceCharge | ServiceDischarge | ChargeEfficiency | DischargeEfficiency | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | DepthOfDischarge | ReactivePower | ReactivePowerA | ReactivePowerB | ReactivePowerC | ActivePower | ActivePowerA | ActivePowerB | ActivePowerC | Energy | MaxEnergy | PowerCharge | PowerDischarge | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
evchargingstation_load_220332870 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394154_916_15296183_237 | AN | 8100406
evchargingstation_load_220332871 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 604.0643707679349 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 42.88839772106856 | 100.67739512798914 | OPTIMIZED | INSTALLED |  |  | node_1394439_545_15296169_831 | AN | 8100406
evchargingstation_load_220332872 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 604.0643707679349 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 42.88839772106856 | 100.67739512798914 | OPTIMIZED | INSTALLED |  |  | node_1394436_996_15296196_216 | BN | 8100406
evchargingstation_load_220332873 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 604.0643707679349 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 42.88839772106856 | 100.67739512798914 | OPTIMIZED | INSTALLED |  |  | node_1394436_917_15296143_417 | CN | 8100406
evchargingstation_load_220332875 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 858.4073089021869 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 60.946664589148924 | 143.06788481703114 | OPTIMIZED | INSTALLED |  |  | node_1394583_717_15297668_678 | AN | 8100406
evchargingstation_load_220332876 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394283_831_15296295_571 | AN | 8100406
evchargingstation_load_220332877 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394276_617_15296270_707 | BN | 8100406
evchargingstation_load_220332878 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394286_019_15296322_055 | CN | 8100406
evchargingstation_load_220332879 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1335.3002582922907 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 94.8059209279615 | 222.5500430487151 | OPTIMIZED | INSTALLED |  |  | node_1394235_812_15296472_725 | AN | 8100406
evchargingstation_load_220332880 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1335.3002582922907 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 94.8059209279615 | 222.5500430487151 | OPTIMIZED | INSTALLED |  |  | node_1394239_493_15296458_69 | BN | 8100406
evchargingstation_load_220332881 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1335.3002582922907 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 94.8059209279615 | 222.5500430487151 | OPTIMIZED | INSTALLED |  |  | node_1394242_772_15296480_157 | CN | 8100406
evchargingstation_load_220332882 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.792831499810298 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 2.257277397348178 | 5.298805249968383 | OPTIMIZED | INSTALLED |  |  | node_1394340_273_15296595_972 | AN | 8100406
evchargingstation_load_220332883 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.792831499810298 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 2.257277397348178 | 5.298805249968383 | OPTIMIZED | INSTALLED |  |  | node_1394341_957_15296606_833 | BN | 8100406
evchargingstation_load_220332884 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.792831499810298 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 2.257277397348178 | 5.298805249968383 | OPTIMIZED | INSTALLED |  |  | node_1394334_361_15296587_824 | CN | 8100406
evchargingstation_load_220332885 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63.58575837821046 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 4.514570691128003 | 10.59762639636841 | OPTIMIZED | INSTALLED |  |  | node_1394327_476_15296769_653 | AN | 8100406
evchargingstation_load_220332886 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63.58575837821046 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 4.514570691128003 | 10.59762639636841 | OPTIMIZED | INSTALLED |  |  | node_1394324_468_15296757_954 | BN | 8100406
evchargingstation_load_220332887 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63.58575837821046 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 4.514570691128003 | 10.59762639636841 | OPTIMIZED | INSTALLED |  |  | node_1394324_941_15296745_322 | CN | 8100406
evchargingstation_load_220332888 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2289.0861570724983 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 162.52443360558658 | 381.51435951208305 | OPTIMIZED | INSTALLED |  |  | node_1394403_161_15296770_993 | AN | 8100406
evchargingstation_load_220332889 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2289.0861570724983 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 162.52443360558658 | 381.51435951208305 | OPTIMIZED | INSTALLED |  |  | node_1394410_902_15296766_937 | BN | 8100406
evchargingstation_load_220332890 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2289.0861570724983 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 162.52443360558658 | 381.51435951208305 | OPTIMIZED | INSTALLED |  |  | node_1394394_928_15296775_952 | CN | 8100406
evchargingstation_load_220332891 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1398.886016670501 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 99.32049161908948 | 233.1476694450835 | OPTIMIZED | INSTALLED |  |  | node_1394404_359_15296965_41 | AN | 8100406
evchargingstation_load_220332892 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1398.886016670501 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 99.32049161908948 | 233.1476694450835 | OPTIMIZED | INSTALLED |  |  | node_1394405_883_15296952_147 | BN | 8100406
evchargingstation_load_220332893 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1398.886016670501 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 99.32049161908948 | 233.1476694450835 | OPTIMIZED | INSTALLED |  |  | node_1394407_812_15296975_822 | CN | 8100406
evchargingstation_load_220332894 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127.17142137783105 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 9.029125485824359 | 21.195236896305175 | OPTIMIZED | INSTALLED |  |  | node_1394801_635_15297309_084 | AN | 8100406
evchargingstation_load_220332895 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127.17142137783105 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 9.029125485824359 | 21.195236896305175 | OPTIMIZED | INSTALLED |  |  | node_1394811_873_15297316_275 | BN | 8100406
evchargingstation_load_220332896 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 127.17142137783105 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 9.029125485824359 | 21.195236896305175 | OPTIMIZED | INSTALLED |  |  | node_1394789_961_15297310_865 | CN | 8100406
evchargingstation_load_220527018 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12876.1096335328 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 914.1999688372338 | 2146.018272255467 | OPTIMIZED | INSTALLED |  |  | node_1395016_282_15297279_445 | ABCN | 8100406
evchargingstation_load_220651886 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394917_392_15297317_341 | AN | 8100406
evchargingstation_load_310013864 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18312.689256579986 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 1300.1954847411243 | 3052.1148760966644 | OPTIMIZED | INSTALLED |  |  | node_1394560_686_15297316_744 | AN | 8100406

## Fuse
Name | GroupId | MeanReplacementTime | PhaseAStatus | PhaseBStatus | PhaseCStatus | RepairDistributionType | CurrentLimit | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments
fuse_220382415 |  | 0 | GOOD | GOOD | GOOD | NONE | 300 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8100406_200917121 | node_8100406_200917121 | 0 | ABCN | 8100406
fuse_220382488 |  | 0 | GOOD | GOOD | GOOD | NONE | 60 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8100406_200815711 | node_8100406_200815711 | 0 | ABCN | 8100406
fuse_311902499 |  | 0 | GOOD | GOOD | GOOD | NONE | 300 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_311902499 | node_311902499 | 0 | ABCN | 8100406

## Generator
Name | GroupId | ColdStartupCost | ColdStartupTime | HotStartupCost | HotStartupStatus | ShutdownCost | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | ReactivePower | ActivePower | MaxPowerOutput | MinPowerOutput | MinimumDowntime | MinimumUptime | NoLoadCost | NonSpinningReserve | SpinningReserve | OperatingReserve | RampUpLimit | RampDownLimit | StartupCapability | ShutdownCapability | ShutdownStatus | StartupStatus | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments

## HeatPump
Name | GroupId | YearOfInstallation | ReactivePower | ActivePower | MaxPowerOutput | MinPowerOutput | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
heatpump_load_220332870 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394154_916_15296183_237 | AN | 8100406
heatpump_load_220332871 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 47.49563272906288 | 111.49254430572324 | OPTIMIZED | INSTALLED |  |  | node_1394439_545_15296169_831 | AN | 8100406
heatpump_load_220332872 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 47.49563272906288 | 111.49254430572324 | OPTIMIZED | INSTALLED |  |  | node_1394436_996_15296196_216 | BN | 8100406
heatpump_load_220332873 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 47.49563272906288 | 111.49254430572324 | OPTIMIZED | INSTALLED |  |  | node_1394436_917_15296143_417 | CN | 8100406
heatpump_load_220332875 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 67.49378739242576 | 158.4367818258584 | OPTIMIZED | INSTALLED |  |  | node_1394583_717_15297668_678 | AN | 8100406
heatpump_load_220332876 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394283_831_15296295_571 | AN | 8100406
heatpump_load_220332877 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394276_617_15296270_707 | BN | 8100406
heatpump_load_220332878 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394286_019_15296322_055 | CN | 8100406
heatpump_load_220332879 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 104.99033398776376 | 246.45721617355753 | OPTIMIZED | INSTALLED |  |  | node_1394235_812_15296472_725 | AN | 8100406
heatpump_load_220332880 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 104.99033398776376 | 246.45721617355753 | OPTIMIZED | INSTALLED |  |  | node_1394239_493_15296458_69 | BN | 8100406
heatpump_load_220332881 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 104.99033398776376 | 246.45721617355753 | OPTIMIZED | INSTALLED |  |  | node_1394242_772_15296480_157 | CN | 8100406
heatpump_load_220332882 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 2.499762731387785 | 5.868023088484318 | OPTIMIZED | INSTALLED |  |  | node_1394340_273_15296595_972 | AN | 8100406
heatpump_load_220332883 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 2.499762731387785 | 5.868023088484318 | OPTIMIZED | INSTALLED |  |  | node_1394341_957_15296606_833 | BN | 8100406
heatpump_load_220332884 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 2.499762731387785 | 5.868023088484318 | OPTIMIZED | INSTALLED |  |  | node_1394334_361_15296587_824 | CN | 8100406
heatpump_load_220332885 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 4.99954306686244 | 11.736063781055506 | OPTIMIZED | INSTALLED |  |  | node_1394327_476_15296769_653 | AN | 8100406
heatpump_load_220332886 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 4.99954306686244 | 11.736063781055506 | OPTIMIZED | INSTALLED |  |  | node_1394324_468_15296757_954 | BN | 8100406
heatpump_load_220332887 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 4.99954306686244 | 11.736063781055506 | OPTIMIZED | INSTALLED |  |  | node_1394324_941_15296745_322 | CN | 8100406
heatpump_load_220332888 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 179.98342717843977 | 422.49808486895574 | OPTIMIZED | INSTALLED |  |  | node_1394403_161_15296770_993 | AN | 8100406
heatpump_load_220332889 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 179.98342717843977 | 422.49808486895574 | OPTIMIZED | INSTALLED |  |  | node_1394410_902_15296766_937 | BN | 8100406
heatpump_load_220332890 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 179.98342717843977 | 422.49808486895574 | OPTIMIZED | INSTALLED |  |  | node_1394394_928_15296775_952 | CN | 8100406
heatpump_load_220332891 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 109.9898770546262 | 258.193279954613 | OPTIMIZED | INSTALLED |  |  | node_1394404_359_15296965_41 | AN | 8100406
heatpump_load_220332892 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 109.9898770546262 | 258.193279954613 | OPTIMIZED | INSTALLED |  |  | node_1394405_883_15296952_147 | BN | 8100406
heatpump_load_220332893 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 109.9898770546262 | 258.193279954613 | OPTIMIZED | INSTALLED |  |  | node_1394407_812_15296975_822 | CN | 8100406
heatpump_load_220332894 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 9.999068529638011 | 23.47210995802414 | OPTIMIZED | INSTALLED |  |  | node_1394801_635_15297309_084 | AN | 8100406
heatpump_load_220332895 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 9.999068529638011 | 23.47210995802414 | OPTIMIZED | INSTALLED |  |  | node_1394811_873_15297316_275 | BN | 8100406
heatpump_load_220332896 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 9.999068529638011 | 23.47210995802414 | OPTIMIZED | INSTALLED |  |  | node_1394789_961_15297310_865 | CN | 8100406
heatpump_load_220527018 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 1012.4068108863864 | 2376.551727387876 | OPTIMIZED | INSTALLED |  |  | node_1395016_282_15297279_445 | ABCN | 8100406
heatpump_load_220651886 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0 | 0 | OPTIMIZED | INSTALLED |  |  | node_1394917_392_15297317_341 | AN | 8100406
heatpump_load_310013864 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 1439.867435031605 | 3379.984678951646 | OPTIMIZED | INSTALLED |  |  | node_1394560_686_15297316_744 | AN | 8100406

## LineSpacing
Name | DistanceAB | DistanceAC | DistanceAE | DistanceAN | DistanceBC | DistanceBE | DistanceBN | DistanceCE | DistanceCN | DistanceNE | Feeder | Comments

## Load
Name | GroupId | PriorityLevel | LoadClass | BaseReactivePowerA | BaseReactivePowerB | BaseReactivePowerC | BaseActivePowerA | BaseActivePowerB | BaseActivePowerC | BasePowerA | BasePowerB | BasePowerC | ConstantCurrentAReal | ConstantCurrentAImag | ConstantCurrentA | ConstantCurrentBReal | ConstantCurrentBImag | ConstantCurrentB | ConstantCurrentCReal | ConstantCurrentCImag | ConstantCurrentC | ConstantResistanceA | ConstantReactanceA | ConstantImpedanceA | ConstantResistanceB | ConstantReactanceB | ConstantImpedanceB | ConstantResistanceC | ConstantReactanceC | ConstantImpedanceC | ConstantActivePowerA | ConstantReactivePowerA | ConstantPowerA | ConstantActivePowerB | ConstantReactivePowerB | ConstantPowerB | ConstantActivePowerC | ConstantReactivePowerC | ConstantPowerC | CurrentFractionA | CurrentFractionB | CurrentFractionC | CurrentPfA | CurrentPfB | CurrentPfC | ImpedanceFractionA | ImpedanceFractionB | ImpedanceFractionC | ImpedancePfA | ImpedancePfB | ImpedancePfC | PowerFractionA | PowerFractionB | PowerFractionC | PowerPfA | PowerPfB | PowerPfC | DemandResponseLowerBound | DemandResponseShortageCost | DemandResponseSurplusCost | DemandResponseUpperBound | ActivePowerA | ActivePowerB | ActivePowerC | ReactivePowerA | ReactivePowerB | ReactivePowerC | NominalVoltage | Status | ParentNode | Phases | Feeder | Comments
load_220332870 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394154_916_15296183_237 | AN | 8100406
load_220332871 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 6333.333 | 2697.989 | 6333.333+2697.989j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394439_545_15296169_831 | AN | 8100406
load_220332872 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 6333.333 | 2697.989 | 6333.333+2697.989j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394436_996_15296196_216 | BN | 8100406
load_220332873 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 6333.333 | 2697.989 | 6333.333+2697.989j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394436_917_15296143_417 | CN | 8100406
load_220332875 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 9000 | 3833.984 | 9000+3833.984j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394583_717_15297668_678 | AN | 8100406
load_220332876 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394283_831_15296295_571 | AN | 8100406
load_220332877 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394276_617_15296270_707 | BN | 8100406
load_220332878 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394286_019_15296322_055 | CN | 8100406
load_220332879 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 14000 | 5963.975 | 14000+5963.975j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394235_812_15296472_725 | AN | 8100406
load_220332880 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 14000 | 5963.975 | 14000+5963.975j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394239_493_15296458_69 | BN | 8100406
load_220332881 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 14000 | 5963.975 | 14000+5963.975j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394242_772_15296480_157 | CN | 8100406
load_220332882 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 333.333 | 141.999 | 333.333+141.999j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394340_273_15296595_972 | AN | 8100406
load_220332883 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 333.333 | 141.999 | 333.333+141.999j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394341_957_15296606_833 | BN | 8100406
load_220332884 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 333.333 | 141.999 | 333.333+141.999j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394334_361_15296587_824 | CN | 8100406
load_220332885 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 666.667 | 283.999 | 666.667+283.999j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394327_476_15296769_653 | AN | 8100406
load_220332886 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 666.667 | 283.999 | 666.667+283.999j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394324_468_15296757_954 | BN | 8100406
load_220332887 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 666.667 | 283.999 | 666.667+283.999j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394324_941_15296745_322 | CN | 8100406
load_220332888 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 24000 | 10223.957 | 24000+10223.957j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394403_161_15296770_993 | AN | 8100406
load_220332889 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 24000 | 10223.957 | 24000+10223.957j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394410_902_15296766_937 | BN | 8100406
load_220332890 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 24000 | 10223.957 | 24000+10223.957j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394394_928_15296775_952 | CN | 8100406
load_220332891 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 14666.667 | 6247.974 | 14666.667+6247.974j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394404_359_15296965_41 | AN | 8100406
load_220332892 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 14666.667 | 6247.974 | 14666.667+6247.974j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394405_883_15296952_147 | BN | 8100406
load_220332893 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 14666.667 | 6247.974 | 14666.667+6247.974j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394407_812_15296975_822 | CN | 8100406
load_220332894 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 1333.333 | 567.997 | 1333.333+567.997j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394801_635_15297309_084 | AN | 8100406
load_220332895 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 1333.333 | 567.997 | 1333.333+567.997j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394811_873_15297316_275 | BN | 8100406
load_220332896 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 1333.333 | 567.997 | 1333.333+567.997j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394789_961_15297310_865 | CN | 8100406
load_220527018 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 45000 | 19169.92 | 45000+19169.92j | 45000 | 19169.92 | 45000+19169.92j | 45000 | 19169.92 | 45000+19169.92j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1395016_282_15297279_445 | ABCN | 8100406
load_220651886 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394917_392_15297317_341 | AN | 8100406
load_310013864 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 192000 | 81791.657 | 192000+81791.657j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1394560_686_15297316_744 | AN | 8100406

## OverheadLineConductor
Name | Diameter | GeometricMeanRadius | RatingSummerContinuous | RatingSummerEmergency | RatingWinterContinuous | RatingWinterEmergency | Feeder | Comments
oh_cond_1/0_ACSR | 0.398 | 0.012 | 265 | 265 | 330 | 330 | 8100406
oh_cond_1/0_AL | 0.368 | 0.011 | 235 | 235 | 310 | 310 | 8100406
oh_cond_4/0_ACSR | 0.563 | 0.017 | 410 | 410 | 515 | 515 | 8100406
oh_cond_4/0_AL | 0.522 | 0.016 | 365 | 365 | 480 | 480 | 8100406
oh_cond_477_MCM_AL | 0.792 | 0.025 | 605 | 605 | 810 | 810 | 8100406
oh_cond_WP-4/0-CU | 0.81 | 0.015 | 340 | 340 | 390 | 390 | 8100406

## OverheadLineConfiguration
Name | ConductorA | ConductorB | ConductorC | ConductorN | LineSpacing | Capacitance11 | Capacitance12 | Capacitance13 | Capacitance21 | Capacitance22 | Capacitance23 | Capacitance31 | Capacitance32 | Capacitance33 | Impedance11 | Impedance12 | Impedance13 | Impedance21 | Impedance22 | Impedance23 | Impedance31 | Impedance32 | Impedance33 | Feeder | Comments
bal_3P_1/0AC_1/0AC(N) | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR | oh_cond_1/0_ACSR |  | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 | -2.726 | -2.726 | -2.726 | 13.243 | 1.091+1.185j | 0.203+0.469j | 0.203+0.469j | 0.203+0.469j | 1.091+1.185j | 0.203+0.469j | 0.203+0.469j | 0.203+0.469j | 1.091+1.185j | 8100406
bal_3P_4/0AL_1/0AL(N) | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_1/0_AL |  | 13.842 | -2.939 | -2.939 | -2.939 | 13.842 | -2.939 | -2.939 | -2.939 | 13.842 | 0.643+1.155j | 0.201+0.47j | 0.201+0.47j | 0.201+0.47j | 0.643+1.155j | 0.201+0.47j | 0.201+0.47j | 0.201+0.47j | 0.643+1.155j | 8100406
bal_3P_4/0AL_4/0AL(N) | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_4/0_AL | oh_cond_4/0_AL |  | 13.867 | -2.914 | -2.914 | -2.914 | 13.867 | -2.914 | -2.914 | -2.914 | 13.867 | 0.576+1.089j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 0.576+1.089j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 0.576+1.089j | 8100406
bal_3P_477AL_4/0AC(N) | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_4/0_ACSR |  | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 | 0.334+1.032j | 0.136+0.403j | 0.136+0.403j | 0.136+0.403j | 0.334+1.032j | 0.136+0.403j | 0.136+0.403j | 0.136+0.403j | 0.334+1.032j | 8100406
bal_3P_477AL_4/0AL(N) | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_4/0_AL |  | 14.921 | -3.285 | -3.285 | -3.285 | 14.921 | -3.285 | -3.285 | -3.285 | 14.921 | 0.332+1.034j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 0.332+1.034j | 0.134+0.404j | 0.134+0.404j | 0.134+0.404j | 0.332+1.034j | 8100406
unb_TAPWIRE_OH | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 8100406

## Recloser
Name | GroupId | RetryTime | MaximumNumberOfTries | Status | From | To | Length | Phases | Feeder | Comments

## RegulatorConfiguration
Name | CurrentTransducerPhase | PowerTransducerPhase | Regulation | Control | Type | CompensatorResistiveSettingA | CompensatorResistiveSettingB | CompensatorResistiveSettingC | CompensatorReactiveSettingA | CompensatorReactiveSettingB | CompensatorReactiveSettingC | BandCenter | BandWidth | CurrentTransducerRatio | PowerTransducerRatio | ConnectType | ControlLevel | DwellTime | TimeDelay | LowerTaps | RaiseTaps | TapPositionA | TapPositionB | TapPositionC | Feeder | Comments

## Sectionalizer
Name | GroupId | OperatingMode | PhaseAState | PhaseBState | PhaseCState | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments

## Solar
Name | GroupId | SpillageCost | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
solar_load_220332870 |  | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394154_916_15296183_237 | AN | 8100406
solar_load_220332871 |  | 0 | 0 | 0 | 0.001 | 327.66365122831667 | 769.1665960182894 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394439_545_15296169_831 | AN | 8100406
solar_load_220332872 |  | 0 | 0 | 0 | 0.001 | 327.66365122831667 | 769.1665960182894 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394436_996_15296196_216 | BN | 8100406
solar_load_220332873 |  | 0 | 0 | 0 | 0.001 | 327.66365122831667 | 769.1665960182894 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394436_917_15296143_417 | CN | 8100406
solar_load_220332875 |  | 0 | 0 | 0 | 0.001 | 465.62724910700024 | 1093.02627292211 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394583_717_15297668_678 | AN | 8100406
solar_load_220332876 |  | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394283_831_15296295_571 | AN | 8100406
solar_load_220332877 |  | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394276_617_15296270_707 | BN | 8100406
solar_load_220332878 |  | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394286_019_15296322_055 | CN | 8100406
solar_load_220332879 |  | 0 | 0 | 0 | 0.001 | 724.3090406722933 | 1700.2630912121708 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394235_812_15296472_725 | AN | 8100406
solar_load_220332880 |  | 0 | 0 | 0 | 0.001 | 724.3090406722933 | 1700.2630912121708 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394239_493_15296458_69 | BN | 8100406
solar_load_220332881 |  | 0 | 0 | 0 | 0.001 | 724.3090406722933 | 1700.2630912121708 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394242_772_15296480_157 | CN | 8100406
solar_load_220332882 |  | 0 | 0 | 0 | 0.001 | 17.245404192074073 | 40.48241407021619 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394340_273_15296595_972 | AN | 8100406
solar_load_220332883 |  | 0 | 0 | 0 | 0.001 | 17.245404192074073 | 40.48241407021619 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394341_957_15296606_833 | BN | 8100406
solar_load_220332884 |  | 0 | 0 | 0 | 0.001 | 17.245404192074073 | 40.48241407021619 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394334_361_15296587_824 | CN | 8100406
solar_load_220332885 |  | 0 | 0 | 0 | 0.001 | 34.49092983151181 | 80.96494958779601 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394327_476_15296769_653 | AN | 8100406
solar_load_220332886 |  | 0 | 0 | 0 | 0.001 | 34.49092983151181 | 80.96494958779601 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394324_468_15296757_954 | BN | 8100406
solar_load_220332887 |  | 0 | 0 | 0 | 0.001 | 34.49092983151181 | 80.96494958779601 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394324_941_15296745_322 | CN | 8100406
solar_load_220332888 |  | 0 | 0 | 0 | 0.001 | 1241.6726238028793 | 2914.7367277922926 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394403_161_15296770_993 | AN | 8100406
solar_load_220332889 |  | 0 | 0 | 0 | 0.001 | 1241.6726238028793 | 2914.7367277922926 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394410_902_15296766_937 | BN | 8100406
solar_load_220332890 |  | 0 | 0 | 0 | 0.001 | 1241.6726238028793 | 2914.7367277922926 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394394_928_15296775_952 | CN | 8100406
solar_load_220332891 |  | 0 | 0 | 0 | 0.001 | 758.7999705038051 | 1781.2280407999667 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394404_359_15296965_41 | AN | 8100406
solar_load_220332892 |  | 0 | 0 | 0 | 0.001 | 758.7999705038051 | 1781.2280407999667 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394405_883_15296952_147 | BN | 8100406
solar_load_220332893 |  | 0 | 0 | 0 | 0.001 | 758.7999705038051 | 1781.2280407999667 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394407_812_15296975_822 | CN | 8100406
solar_load_220332894 |  | 0 | 0 | 0 | 0.001 | 68.98173821565995 | 161.9297777282284 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394801_635_15297309_084 | AN | 8100406
solar_load_220332895 |  | 0 | 0 | 0 | 0.001 | 68.98173821565995 | 161.9297777282284 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394811_873_15297316_275 | BN | 8100406
solar_load_220332896 |  | 0 | 0 | 0 | 0.001 | 68.98173821565995 | 161.9297777282284 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394789_961_15297310_865 | CN | 8100406
solar_load_220527018 |  | 0 | 0 | 0 | 0.001 | 6984.408736605003 | 16395.39409383165 | OPTIMIZED | INSTALLED | solar_pv |  | node_1395016_282_15297279_445 | ABCN | 8100406
solar_load_220651886 |  | 0 | 0 | 0 | 0.001 | 0 | 0 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394917_392_15297317_341 | AN | 8100406
solar_load_310013864 |  | 0 | 0 | 0 | 0.001 | 9933.3811118704 | 23317.89382233834 | OPTIMIZED | INSTALLED | solar_pv |  | node_1394560_686_15297316_744 | AN | 8100406

## Storage
Name | GroupId | InitStateOfCharge | SpinningReserveCharge | SpinningReserveDischarge | NonSpinningReserveCharge | NonSpinningReserveDischarge | RegulationUpCharge | RegulationUpDischarge | RegulationDownCharge | RegulationDownDischarge | ChargeEfficiency | DischargeEfficiency | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | DepthOfDischarge | ReactivePower | ReactivePowerA | ReactivePowerB | ReactivePowerC | ActivePower | ActivePowerA | ActivePowerB | ActivePowerC | Energy | MaxEnergy | PowerCharge | PowerDischarge | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments

## Switch
Name | GroupId | OperatingMode | PhaseAState | PhaseBState | PhaseCState | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments
switch_121T118-220579605 |  | INDIVIDUAL | CLOSED | CLOSED | CLOSED | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_1394651_16_15297840_873 | node_1394651_16_15297840_873 | 0 | ABCN | 8100406
switch_11834-220415994 |  | INDIVIDUAL | CLOSED | CLOSED | CLOSED | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8100406_200815699 | node_8100406_200815699 | 0 | ABCN | 8100406
switch_11835-220415964 |  | INDIVIDUAL | CLOSED | CLOSED | CLOSED | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8100406_200815687 | node_8100406_200815687 | 0 | ABCN | 8100406
switch_220415975 |  | INDIVIDUAL | CLOSED | CLOSED | CLOSED | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8100406_200815719 | node_8100406_200815719 | 0 | ABCN | 8100406

## TransformerConfiguration
Name | ConnectType | NoLoadLoss | PowerRating | ReactanceResistanceRatio | FullLoadLoss | PowerARating | PowerBRating | PowerCRating | ShuntResistance | ShuntReactance | ShuntImpedance | Impedance | PrimaryVoltage | SecondaryVoltage | CoreCoilWeight | InstalledInsulationLife | InstallType | CoolantType | CoolingType | Feeder | Comments

## UndergroundLineConductor
Name | OuterDiameter | ConductorGMR | ConductorDiameter | ConductorResistance | NeutralGMR | NeutralDiameter | NeutralResistance | NeutralStrands | InsulationRelativePermittivity | ShieldGMR | ShieldResitance | RatingSummerContinuous | RatingSummerEmergency | RatingWinterContinuous | RatingWinterEmergency | Feeder | Comments
und_cond_3P_500CUURD_500CU(N) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 484 | 484 | 508 | 508 | 8100406
und_cond_3P_WYECUST | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 685 | 685 | 685 | 685 | 8100406
und_cond_TAPWIRE_UG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99999999 | 99999999 | 99999999 | 99999999 | 8100406

## UndergroundLineConfiguration
Name | ConductorA | ConductorB | ConductorC | ConductorN | LineSpacing | Capacitance11 | Capacitance12 | Capacitance13 | Capacitance21 | Capacitance22 | Capacitance23 | Capacitance31 | Capacitance32 | Capacitance33 | Impedance11 | Impedance12 | Impedance13 | Impedance21 | Impedance22 | Impedance23 | Impedance31 | Impedance32 | Impedance33 | Feeder | Comments
und_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) | und_cond_3P_500CUURD_500CU(N) |  |  | 878.925 | 0 | 0 | 0 | 878.925 | 0 | 0 | 0 | 878.925 | 0.202+0.249j | 0.032+0.017j | 0.032+0.017j | 0.032+0.017j | 0.202+0.249j | 0.032+0.017j | 0.032+0.017j | 0.032+0.017j | 0.202+0.249j | 8100406
und_3P_WYECUST | und_cond_3P_WYECUST | und_cond_3P_WYECUST | und_cond_3P_WYECUST |  |  | 324.124 | 0 | 0 | 0 | 324.124 | 0 | 0 | 0 | 324.124 | 0.179+0.233j | 0.061+-0.024j | 0.061+-0.024j | 0.061+-0.024j | 0.179+0.233j | 0.061+-0.024j | 0.061+-0.024j | 0.061+-0.024j | 0.179+0.233j | 8100406
und_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG | und_cond_TAPWIRE_UG |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001+0.001j | 0+0j | 0+0j | 0+0j | 0.001+0.001j | 0+0j | 0+0j | 0+0j | 0.001+0.001j | 8100406

## Regulator
Name | GroupId | Configuration | SenseNode | Status | From | To | Length | Phases | Feeder | Comments

## Transformer
Name | GroupId | Configuration | AgingConstant | AgingGranularity | Climate | UseThermalModel | Status | From | To | Length | Phases | Feeder | Comments

## OverheadLine
Name | GroupId | Configuration | Length | Status | From | To | Phases | Feeder | Comments
oh_line_8100406_200815687 |  | bal_3P_4/0AL_4/0AL(N) | 52.800000000000004 | OPEN | node_8100406_200815705 | node_intto1_8100406_200815687 | ABCN | 8100406
oh_line_8100406_200815689 |  | bal_3P_477AL_4/0AL(N) | 211.20000000000002 | OPEN | node_8100406_200815687 | node_8100406_200815689 | ABCN | 8100406
oh_line_8100406_200815694 |  | bal_3P_4/0AL_4/0AL(N) | 105.60000000000001 | OPEN | node_8100406_312097231 | node_8100406_200815694 | ABCN | 8100406
oh_line_8100406_200815696 |  | bal_3P_477AL_4/0AC(N) | 158.4 | OPEN | node_8100406_200815725 | node_8100406_200815696 | ABCN | 8100406
oh_line_8100406_200815699 |  | bal_3P_477AL_4/0AC(N) | 211.20000000000002 | OPEN | node_8100406_200815696 | node_intto1_8100406_200815699 | ABCN | 8100406
oh_line_8100406_200815704 |  | bal_3P_477AL_4/0AL(N) | 422.40000000000003 | OPEN | node_8100406_200815694 | node_8100406_200815704 | ABCN | 8100406
oh_line_8100406_200815705 |  | bal_3P_477AL_4/0AL(N) | 158.4 | OPEN | node_8100406_200815704 | node_8100406_200815705 | ABCN | 8100406
oh_line_8100406_200815706 |  | bal_3P_477AL_4/0AL(N) | 158.4 | OPEN | node_8100406_200815687 | node_8100406_200815706 | ABCN | 8100406
oh_line_8100406_200815707 |  | bal_3P_477AL_4/0AL(N) | 158.4 | OPEN | node_8100406_200815706 | node_8100406_200815707 | ABCN | 8100406
oh_line_8100406_200815709 |  | bal_3P_477AL_4/0AL(N) | 158.4 | OPEN | node_8100406_200815707 | node_8100406_200815709 | ABCN | 8100406
oh_line_8100406_200815710 |  | bal_3P_477AL_4/0AL(N) | 158.4 | OPEN | node_8100406_200815709 | node_8100406_200815710 | ABCN | 8100406
oh_line_8100406_200815711 |  | bal_3P_4/0AL_1/0AL(N) | 52.800000000000004 | OPEN | node_8100406_200815710 | node_intto1_8100406_200815711 | ABCN | 8100406
oh_line_8100406_200815714 |  | bal_3P_477AL_4/0AL(N) | 211.20000000000002 | OPEN | node_8100406_200815710 | node_8100406_200815714 | ABCN | 8100406
oh_line_8100406_200815716-1 |  | bal_3P_477AL_4/0AL(N) | 105.60000000000001 | OPEN | node_8100406_200815714 | node_1394452_991_15297055_07 | ABCN | 8100406
oh_line_8100406_200815716-2 |  | bal_3P_477AL_4/0AL(N) | 0 | OPEN | node_1394452_991_15297055_07 | node_8100406_200815716 | ABCN | 8100406
oh_line_8100406_200815717 |  | bal_3P_477AL_4/0AL(N) | 158.4 | OPEN | node_8100406_200815716 | node_8100406_200815717 | ABCN | 8100406
oh_line_8100406_200815718 |  | bal_3P_1/0AC_1/0AC(N) | 158.4 | OPEN | node_8100406_200815717 | node_8100406_200815718 | ABCN | 8100406
oh_line_8100406_200815719 |  | bal_3P_1/0AC_1/0AC(N) | 211.20000000000002 | OPEN | node_8100406_200815718 | node_intto1_8100406_200815719 | ABCN | 8100406
oh_line_8100406_200815722 |  | bal_3P_1/0AC_1/0AC(N) | 105.60000000000001 | OPEN | node_8100406_200815719 | node_8100406_200815722 | ABCN | 8100406
oh_line_8100406_200815723 |  | bal_3P_1/0AC_1/0AC(N) | 105.60000000000001 | OPEN | node_8100406_200815722 | node_8100406_200815723 | ABCN | 8100406
oh_line_8100406_200815725 |  | bal_3P_477AL_4/0AL(N) | 105.60000000000001 | OPEN | node_8100406_200815717 | node_8100406_200815725 | ABCN | 8100406
oh_line_8100406_200917121 |  | bal_3P_1/0AC_1/0AC(N) | 52.800000000000004 | OPEN | node_8100406_200815718 | node_intto1_8100406_200917121 | ABCN | 8100406
oh_line_8100406_201010718-1 |  | bal_3P_477AL_4/0AC(N) | 158.4 | OPEN | node_8100406_200815699 | node_8100406_201010718 | ABCN | 8100406
oh_line_8100406_201010718-2 |  | bal_3P_477AL_4/0AC(N) | 0 | OPEN | node_8100406_201010718 | node_intto1_311902499 | ABCN | 8100406
oh_line_8100406_201010718-3 |  | bal_3P_477AL_4/0AC(N) | 0 | OPEN | node_311902499 | node_intto1_1394651_16_15297840_873 | ABCN | 8100406
oh_line_8100406_310008144 |  | bal_3P_1/0AC_1/0AC(N) | 52.800000000000004 | OPEN | node_8100406_200815723 | node_8100406_310008144 | ABCN | 8100406
oh_line_TAP_OH_893074 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815687 | node_1394154_916_15296183_237 | ABCN | 8100406
oh_line_TAP_OH_893076 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815699 | node_1394583_717_15297668_678 | ABCN | 8100406
oh_line_TAP_OH_893084 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815722 | node_1394917_392_15297317_341 | ABCN | 8100406
oh_line_TAP_OH_1440828 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815718 | node_1394560_686_15297316_744 | ABCN | 8100406
oh_line_TAP_OH_2135768 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8100406_200815689 | node_1394439_545_15296169_831 | ABCN | 8100406
oh_line_TAP_OH_2135769 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8100406_200815689 | node_1394436_996_15296196_216 | ABCN | 8100406
oh_line_TAP_OH_2135770 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8100406_200815689 | node_1394436_917_15296143_417 | ABCN | 8100406
oh_line_TAP_OH_2135788 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815707 | node_1394235_812_15296472_725 | ABCN | 8100406
oh_line_TAP_OH_2135789 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815707 | node_1394239_493_15296458_69 | ABCN | 8100406
oh_line_TAP_OH_2135790 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815707 | node_1394242_772_15296480_157 | ABCN | 8100406
oh_line_TAP_OH_2135850 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815709 | node_1394340_273_15296595_972 | ABCN | 8100406
oh_line_TAP_OH_2135851 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815709 | node_1394341_957_15296606_833 | ABCN | 8100406
oh_line_TAP_OH_2135852 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815709 | node_1394334_361_15296587_824 | ABCN | 8100406
oh_line_TAP_OH_2135853 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815719 | node_1394801_635_15297309_084 | ABCN | 8100406
oh_line_TAP_OH_2135854 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815719 | node_1394811_873_15297316_275 | ABCN | 8100406
oh_line_TAP_OH_2135855 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815719 | node_1394789_961_15297310_865 | ABCN | 8100406
oh_line_TAP_OH_2135909 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815710 | node_1394324_468_15296757_954 | ABCN | 8100406
oh_line_TAP_OH_2135910 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815710 | node_1394324_941_15296745_322 | ABCN | 8100406
oh_line_TAP_OH_2135911 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815710 | node_1394327_476_15296769_653 | ABCN | 8100406
oh_line_TAP_OH_2135925 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815714 | node_1394404_359_15296965_41 | ABCN | 8100406
oh_line_TAP_OH_2135926 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815714 | node_1394405_883_15296952_147 | ABCN | 8100406
oh_line_TAP_OH_2135927 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8100406_200815714 | node_1394407_812_15296975_822 | ABCN | 8100406
oh_line_TAP_OH_2135999 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815711 | node_1394403_161_15296770_993 | ABCN | 8100406
oh_line_TAP_OH_2136000 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815711 | node_1394394_928_15296775_952 | ABCN | 8100406
oh_line_TAP_OH_2136001 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815711 | node_1394410_902_15296766_937 | ABCN | 8100406
oh_line_TAP_OH_2136009 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815706 | node_1394283_831_15296295_571 | ABCN | 8100406
oh_line_TAP_OH_2136010 |  | unb_TAPWIRE_OH | 52.800000000000004 | OPEN | node_8100406_200815706 | node_1394286_019_15296322_055 | ABCN | 8100406
oh_line_TAP_OH_2136011 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8100406_200815706 | node_1394276_617_15296270_707 | ABCN | 8100406

## UndergroundLine
Name | GroupId | Configuration | NumParallelCables | Length | Status | From | To | Phases | Feeder | Comments
und_line_8100406_200815692 |  | und_3P_WYECUST | 0 | 0 | OPEN | node_8100406_310008144 | node_8100406_200815692 | ABCN | 8100406
und_line_8100406_200917122 |  | und_3P_WYECUST | 0 | 0 | OPEN | node_8100406_200917121 | node_8100406_200917122 | ABCN | 8100406
und_line_8100406_312097230 |  | und_3P_500CUURD_500CU(N) | 0 | 105.60000000000001 | OPEN | node_SOURCE_8100406 | node_8100406_312097230 | ABCN | 8100406
und_line_8100406_312097231 |  | und_3P_500CUURD_500CU(N) | 0 | 105.60000000000001 | OPEN | node_8100406_312097230 | node_8100406_312097231 | ABCN | 8100406
und_line_TAP_UG_58695 |  | und_TAPWIRE_UG | 0 | 0 | OPEN | node_8100406_200815692 | node_1395016_282_15297279_445 | ABCN | 8100406