## Feeder
Name | Description | Comments
8101304

## Node
Name | GroupId | Latitude | Longitude | BusType | NominalVoltage | ConsistentPath | DistToSlack | Phases | Feeder | Comments
node_1345194_825_15290771_436 |  | 42.09421985622092 | -76.0940451456408 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_1345214_635_15290772_97 |  | 42.09422405785682 | -76.09396977751999 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_1345234_027_15290767_571 |  | 42.09420926996098 | -76.09389599970075 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_1347248_337_15292057_545 |  | 42.097742517071886 | -76.08623245808266 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_200854385 |  | 42.093932276977334 | -76.0942428908931 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_200854386 |  | 42.09394542146931 | -76.09399313364788 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_200854387 |  | 42.09426369949722 | -76.09328583369968 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_200854388 |  | 42.0945405829206 | -76.0924821226687 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_200854389 |  | 42.094796712892084 | -76.09160805410826 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_200854390 |  | 42.0952565318175 | -76.09084430225815 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020458 |  | 42.09570519476962 | -76.08998096633117 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020459 |  | 42.096314933213264 | -76.08997253164546 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020460 |  | 42.09675875908 | -76.08968957970797 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020461 |  | 42.09715229678823 | -76.08930778558071 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020462 |  | 42.097443461391265 | -76.0889489252764 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020464 |  | 42.0976101874531 | -76.08848417295256 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020465 |  | 42.097672812096654 | -76.08806055921985 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020466 |  | 42.09770739205313 | -76.08768656822313 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020467 |  | 42.097742155523036 | -76.08733222391879 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020468 |  | 42.09773024358397 | -76.08706713434006 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020469 |  | 42.097737411563855 | -76.08681153711174 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020470 |  | 42.09773508614738 | -76.08655610728358 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310020474 |  | 42.097744149519734 | -76.08632577606689 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042804 |  | 42.098500128995944 | -76.09501575844324 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042807 |  | 42.09854629494972 | -76.09497514868445 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042810 |  | 42.098515010018005 | -76.09470315765337 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042811 |  | 42.09837764062735 | -76.09461224414427 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042819 |  | 42.09816728493171 | -76.09458931412588 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042822 |  | 42.09788825138826 | -76.09357629201287 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042823 |  | 42.097666950622845 | -76.09285112209679 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042825 |  | 42.09708419960978 | -76.09331341287725 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042826 |  | 42.09642198728051 | -76.09386211258051 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042828 |  | 42.095804231764966 | -76.09437785727806 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042831 |  | 42.095142164603025 | -76.09494230020614 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310042918 |  | 42.09441498577967 | -76.09552189284938 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_8101304_310043004 |  | 42.093982926684674 | -76.09464438878096 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_SOURCE_8101304 |  | 42.09836111620141 | -76.09494796898454 | SWING | 7199.558 | False | -1 | ABCN | 8101304
node_intto1_8101304_310020470 |  | 42.09773508614738 | -76.08655610728358 | PQ | 7199.558 | False | -1 | ABCN | 8101304
node_intto1_8101304_310020474 |  | 42.097744149519734 | -76.08632577606689 | PQ | 7199.558 | False | -1 | ABCN | 8101304

## Capacitor
Name | GroupId | NominalVoltage | RemoteSense | RemoteSenseB | ParticipatingPhases | PhasesConnected | SwitchA | SwitchB | SwitchC | Control | ControlLevel | VoltageSetHigh | VoltageSetLow | ReactivePowerSetHigh | ReactivePowerSetLow | CapacitorA | CapacitorB | CapacitorC | TimeDelay | DwellTime | LockoutTime | CurrentSetHigh | CurrentSetLow | Status | ParentNode | Phases | Feeder | Comments

## EVChargingStation
Name | GroupId | ServiceCharge | ServiceDischarge | ChargeEfficiency | DischargeEfficiency | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | DepthOfDischarge | ReactivePower | ReactivePowerA | ReactivePowerB | ReactivePowerC | ActivePower | ActivePowerA | ActivePowerB | ActivePowerC | Energy | MaxEnergy | PowerCharge | PowerDischarge | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
evchargingstation_load_220346263 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04324401545571353 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.003070352397870469 | 0.007207335909285589 | OPTIMIZED | INSTALLED |  |  | node_1345234_027_15290767_571 | AN | 8101304
evchargingstation_load_220346264 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04324401545571353 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.003070352397870469 | 0.007207335909285589 | OPTIMIZED | INSTALLED |  |  | node_1345194_825_15290771_436 | BN | 8101304
evchargingstation_load_220346265 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04324401545571353 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0.003070352397870469 | 0.007207335909285589 | OPTIMIZED | INSTALLED |  |  | node_1345214_635_15290772_97 | CN | 8101304
evchargingstation_load_311905421 |  | 0 | 0 | 0.92 | 0 | False | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2917.3330115531744 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 207.12977654107002 | 486.22216859219577 | OPTIMIZED | INSTALLED |  |  | node_1347248_337_15292057_545 | ABCN | 8101304

## Fuse
Name | GroupId | MeanReplacementTime | PhaseAStatus | PhaseBStatus | PhaseCStatus | RepairDistributionType | CurrentLimit | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments

## Generator
Name | GroupId | ColdStartupCost | ColdStartupTime | HotStartupCost | HotStartupStatus | ShutdownCost | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | ReactivePower | ActivePower | MaxPowerOutput | MinPowerOutput | MinimumDowntime | MinimumUptime | NoLoadCost | NonSpinningReserve | SpinningReserve | OperatingReserve | RampUpLimit | RampDownLimit | StartupCapability | ShutdownCapability | ShutdownStatus | StartupStatus | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments

## HeatPump
Name | GroupId | YearOfInstallation | ReactivePower | ActivePower | MaxPowerOutput | MinPowerOutput | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
heatpump_load_220346263 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 2.3210672053432746 | 5.44846612022073 | OPTIMIZED | INSTALLED |  |  | node_1345234_027_15290767_571 | AN | 8101304
heatpump_load_220346264 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 2.3210672053432746 | 5.44846612022073 | OPTIMIZED | INSTALLED |  |  | node_1345194_825_15290771_436 | BN | 8101304
heatpump_load_220346265 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 2.3210672053432746 | 5.44846612022073 | OPTIMIZED | INSTALLED |  |  | node_1345214_635_15290772_97 | CN | 8101304
heatpump_load_311905421 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 156582.06918300476 | 367565.08171927615 | OPTIMIZED | INSTALLED |  |  | node_1347248_337_15292057_545 | ABCN | 8101304

## LineSpacing
Name | DistanceAB | DistanceAC | DistanceAE | DistanceAN | DistanceBC | DistanceBE | DistanceBN | DistanceCE | DistanceCN | DistanceNE | Feeder | Comments

## Load
Name | GroupId | PriorityLevel | LoadClass | BaseReactivePowerA | BaseReactivePowerB | BaseReactivePowerC | BaseActivePowerA | BaseActivePowerB | BaseActivePowerC | BasePowerA | BasePowerB | BasePowerC | ConstantCurrentAReal | ConstantCurrentAImag | ConstantCurrentA | ConstantCurrentBReal | ConstantCurrentBImag | ConstantCurrentB | ConstantCurrentCReal | ConstantCurrentCImag | ConstantCurrentC | ConstantResistanceA | ConstantReactanceA | ConstantImpedanceA | ConstantResistanceB | ConstantReactanceB | ConstantImpedanceB | ConstantResistanceC | ConstantReactanceC | ConstantImpedanceC | ConstantActivePowerA | ConstantReactivePowerA | ConstantPowerA | ConstantActivePowerB | ConstantReactivePowerB | ConstantPowerB | ConstantActivePowerC | ConstantReactivePowerC | ConstantPowerC | CurrentFractionA | CurrentFractionB | CurrentFractionC | CurrentPfA | CurrentPfB | CurrentPfC | ImpedanceFractionA | ImpedanceFractionB | ImpedanceFractionC | ImpedancePfA | ImpedancePfB | ImpedancePfC | PowerFractionA | PowerFractionB | PowerFractionC | PowerPfA | PowerPfB | PowerPfC | DemandResponseLowerBound | DemandResponseShortageCost | DemandResponseSurplusCost | DemandResponseUpperBound | ActivePowerA | ActivePowerB | ActivePowerC | ReactivePowerA | ReactivePowerB | ReactivePowerC | NominalVoltage | Status | ParentNode | Phases | Feeder | Comments
load_220346263 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 52.8 | 22.493 | 52.8+22.493j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1345234_027_15290767_571 | AN | 8101304
load_220346264 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 52.8 | 22.493 | 52.8+22.493j | 0 | 0 | 0+0j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1345194_825_15290771_436 | BN | 8101304
load_220346265 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 52.8 | 22.493 | 52.8+22.493j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1345214_635_15290772_97 | CN | 8101304
load_311905421 |  | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 1187333.333 | 505801.882 | 1187333.333+505801.882j | 1187333.333 | 505801.882 | 1187333.333+505801.882j | 1187333.333 | 505801.882 | 1187333.333+505801.882j | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | OPEN | node_1347248_337_15292057_545 | ABCN | 8101304

## OverheadLineConductor
Name | Diameter | GeometricMeanRadius | RatingSummerContinuous | RatingSummerEmergency | RatingWinterContinuous | RatingWinterEmergency | Feeder | Comments
oh_cond_1/0_AAAC | 0.398 | 0.012 | 235 | 235 | 310 | 310 | 8101304
oh_cond_4/0_AAAC | 0.563 | 0.017 | 365 | 365 | 480 | 480 | 8101304
oh_cond_336_5_ACSR | 0.684 | 0.024 | 555 | 555 | 705 | 705 | 8101304
oh_cond_477_ACSR | 0.849 | 0.028 | 695 | 695 | 880 | 880 | 8101304
oh_cond_477_MCM_AL | 0.792 | 0.025 | 605 | 605 | 810 | 810 | 8101304
oh_cond_WP-4/0-CU | 0.81 | 0.015 | 340 | 340 | 390 | 390 | 8101304

## OverheadLineConfiguration
Name | ConductorA | ConductorB | ConductorC | ConductorN | LineSpacing | Capacitance11 | Capacitance12 | Capacitance13 | Capacitance21 | Capacitance22 | Capacitance23 | Capacitance31 | Capacitance32 | Capacitance33 | Impedance11 | Impedance12 | Impedance13 | Impedance21 | Impedance22 | Impedance23 | Impedance31 | Impedance32 | Impedance33 | Feeder | Comments
bal_3P_336AC_1/0AA(N) | oh_cond_336_5_ACSR | oh_cond_336_5_ACSR | oh_cond_336_5_ACSR | oh_cond_1/0_AAAC |  | 14.511 | -3.167 | -3.167 | -3.167 | 14.511 | -3.167 | -3.167 | -3.167 | 14.511 | 0.479+1.1j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 0.479+1.1j | 0.201+0.467j | 0.201+0.467j | 0.201+0.467j | 0.479+1.1j | 8101304
bal_3P_477AC_4/0AA(N) | oh_cond_477_ACSR | oh_cond_477_ACSR | oh_cond_477_ACSR | oh_cond_4/0_AAAC |  | 15.118 | -3.347 | -3.347 | -3.347 | 15.118 | -3.347 | -3.347 | -3.347 | 15.118 | 0.33+1.016j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.33+1.016j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.33+1.016j | 8101304
bal_3P_477AL_4/0AA(N) | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_477_MCM_AL | oh_cond_4/0_AAAC |  | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 | -3.279 | -3.279 | -3.279 | 14.927 | 0.332+1.031j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.332+1.031j | 0.134+0.402j | 0.134+0.402j | 0.134+0.402j | 0.332+1.031j | 8101304
unb_TAPWIRE_OH | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU | oh_cond_WP-4/0-CU |  | 14.911 | -4.341 | -1.953 | -4.341 | 15.781 | -3.724 | -1.953 | -3.724 | 14.818 | 0.365+1.097j | 0.093+0.433j | 0.094+0.34j | 0.093+0.433j | 0.368+1.078j | 0.095+0.401j | 0.094+0.34j | 0.095+0.401j | 0.368+1.077j | 8101304

## Recloser
Name | GroupId | RetryTime | MaximumNumberOfTries | Status | From | To | Length | Phases | Feeder | Comments

## RegulatorConfiguration
Name | CurrentTransducerPhase | PowerTransducerPhase | Regulation | Control | Type | CompensatorResistiveSettingA | CompensatorResistiveSettingB | CompensatorResistiveSettingC | CompensatorReactiveSettingA | CompensatorReactiveSettingB | CompensatorReactiveSettingC | BandCenter | BandWidth | CurrentTransducerRatio | PowerTransducerRatio | ConnectType | ControlLevel | DwellTime | TimeDelay | LowerTaps | RaiseTaps | TapPositionA | TapPositionB | TapPositionC | Feeder | Comments

## Sectionalizer
Name | GroupId | OperatingMode | PhaseAState | PhaseBState | PhaseCState | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments

## Solar
Name | GroupId | SpillageCost | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments
solar_load_220346263 |  | 0 | 0 | 0 | 0.001 | 12.515332758694637 | 29.37845417058982 | OPTIMIZED | INSTALLED | solar_pv |  | node_1345234_027_15290767_571 | AN | 8101304
solar_load_220346264 |  | 0 | 0 | 0 | 0.001 | 12.515332758694637 | 29.37845417058982 | OPTIMIZED | INSTALLED | solar_pv |  | node_1345194_825_15290771_436 | BN | 8101304
solar_load_220346265 |  | 0 | 0 | 0 | 0.001 | 12.515332758694637 | 29.37845417058982 | OPTIMIZED | INSTALLED | solar_pv |  | node_1345214_635_15290772_97 | CN | 8101304
solar_load_311905421 |  | 0 | 0 | 0 | 0.001 | 844299.8528258568 | 1981932.8357246686 | OPTIMIZED | INSTALLED | solar_pv |  | node_1347248_337_15292057_545 | ABCN | 8101304

## Storage
Name | GroupId | InitStateOfCharge | SpinningReserveCharge | SpinningReserveDischarge | NonSpinningReserveCharge | NonSpinningReserveDischarge | RegulationUpCharge | RegulationUpDischarge | RegulationDownCharge | RegulationDownDischarge | ChargeEfficiency | DischargeEfficiency | CommitmentStatus | ConstructionTime | CalendarLife | YearOfInstallation | DepthOfDischarge | ReactivePower | ReactivePowerA | ReactivePowerB | ReactivePowerC | ActivePower | ActivePowerA | ActivePowerB | ActivePowerC | Energy | MaxEnergy | PowerCharge | PowerDischarge | RampUpLimit | RampDownLimit | CapitalCost | FixedOperatingCost | VariableOperatingCost | MaxReactivePower | MaxActivePower | OutputSchedule | PlanningStatus | UnitType | UnitSubtype | ParentNode | Phases | Feeder | Comments

## Switch
Name | GroupId | OperatingMode | PhaseAState | PhaseBState | PhaseCState | CurrentInAReal | CurrentInAImag | CurrentInA | CurrentInBReal | CurrentInBImag | CurrentInB | CurrentInCReal | CurrentInCImag | CurrentInC | CurrentOutAReal | CurrentOutAImag | CurrentOutA | CurrentOutBReal | CurrentOutBImag | CurrentOutB | CurrentOutCReal | CurrentOutCImag | CurrentOutC | ActivePowerInA | ReactivePowerInA | PowerInA | ActivePowerInB | ReactivePowerInB | PowerInB | ActivePowerInC | ReactivePowerInC | PowerInC | ActivePowerOutA | ReactivePowerOutA | PowerOutA | ActivePowerOutB | ReactivePowerOutB | PowerOutB | ActivePowerOutC | ReactivePowerOutC | PowerOutC | Status | From | To | Length | Phases | Feeder | Comments
switch_310020471 |  | INDIVIDUAL | CLOSED | CLOSED | CLOSED | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101304_310020470 | node_8101304_310020470 | 0 | ABCN | 8101304
switch_310020475 |  | INDIVIDUAL | CLOSED | CLOSED | CLOSED | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | 0 | 0 | 0+0j | OPEN | node_intto1_8101304_310020474 | node_8101304_310020474 | 0 | ABCN | 8101304

## TransformerConfiguration
Name | ConnectType | NoLoadLoss | PowerRating | ReactanceResistanceRatio | FullLoadLoss | PowerARating | PowerBRating | PowerCRating | ShuntResistance | ShuntReactance | ShuntImpedance | Impedance | PrimaryVoltage | SecondaryVoltage | CoreCoilWeight | InstalledInsulationLife | InstallType | CoolantType | CoolingType | Feeder | Comments

## UndergroundLineConductor
Name | OuterDiameter | ConductorGMR | ConductorDiameter | ConductorResistance | NeutralGMR | NeutralDiameter | NeutralResistance | NeutralStrands | InsulationRelativePermittivity | ShieldGMR | ShieldResitance | RatingSummerContinuous | RatingSummerEmergency | RatingWinterContinuous | RatingWinterEmergency | Feeder | Comments
und_cond_3P_750ALURD_750AL(N) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 475 | 475 | 525 | 525 | 8101304

## UndergroundLineConfiguration
Name | ConductorA | ConductorB | ConductorC | ConductorN | LineSpacing | Capacitance11 | Capacitance12 | Capacitance13 | Capacitance21 | Capacitance22 | Capacitance23 | Capacitance31 | Capacitance32 | Capacitance33 | Impedance11 | Impedance12 | Impedance13 | Impedance21 | Impedance22 | Impedance23 | Impedance31 | Impedance32 | Impedance33 | Feeder | Comments
und_3P_750ALURD_750AL(N) | und_cond_3P_750ALURD_750AL(N) | und_cond_3P_750ALURD_750AL(N) | und_cond_3P_750ALURD_750AL(N) |  |  | 1125.535 | 0 | 0 | 0 | 1125.535 | 0 | 0 | 0 | 1125.535 | 0.338+0.196j | 0.096+-0.039j | 0.096+-0.039j | 0.096+-0.039j | 0.338+0.196j | 0.096+-0.039j | 0.096+-0.039j | 0.096+-0.039j | 0.338+0.196j | 8101304

## Regulator
Name | GroupId | Configuration | SenseNode | Status | From | To | Length | Phases | Feeder | Comments

## Transformer
Name | GroupId | Configuration | AgingConstant | AgingGranularity | Climate | UseThermalModel | Status | From | To | Length | Phases | Feeder | Comments

## OverheadLine
Name | GroupId | Configuration | Length | Status | From | To | Phases | Feeder | Comments
oh_line_8101304_200854385 |  | bal_3P_477AC_4/0AA(N) | 105.60000000000001 | OPEN | node_8101304_310043004 | node_8101304_200854385 | ABCN | 8101304
oh_line_8101304_200854386 |  | bal_3P_477AC_4/0AA(N) | 52.800000000000004 | OPEN | node_8101304_200854385 | node_8101304_200854386 | ABCN | 8101304
oh_line_8101304_200854387 |  | bal_3P_477AC_4/0AA(N) | 211.20000000000002 | OPEN | node_8101304_200854386 | node_8101304_200854387 | ABCN | 8101304
oh_line_8101304_200854388 |  | bal_3P_477AC_4/0AA(N) | 264 | OPEN | node_8101304_200854387 | node_8101304_200854388 | ABCN | 8101304
oh_line_8101304_200854389 |  | bal_3P_477AC_4/0AA(N) | 264 | OPEN | node_8101304_200854388 | node_8101304_200854389 | ABCN | 8101304
oh_line_8101304_200854390 |  | bal_3P_336AC_1/0AA(N) | 264 | OPEN | node_8101304_200854389 | node_8101304_200854390 | ABCN | 8101304
oh_line_8101304_310020458 |  | bal_3P_477AC_4/0AA(N) | 264 | OPEN | node_8101304_200854390 | node_8101304_310020458 | ABCN | 8101304
oh_line_8101304_310020459 |  | bal_3P_477AC_4/0AA(N) | 211.20000000000002 | OPEN | node_8101304_310020458 | node_8101304_310020459 | ABCN | 8101304
oh_line_8101304_310020460 |  | bal_3P_477AC_4/0AA(N) | 158.4 | OPEN | node_8101304_310020459 | node_8101304_310020460 | ABCN | 8101304
oh_line_8101304_310020461 |  | bal_3P_477AC_4/0AA(N) | 158.4 | OPEN | node_8101304_310020460 | node_8101304_310020461 | ABCN | 8101304
oh_line_8101304_310020462 |  | bal_3P_477AC_4/0AA(N) | 158.4 | OPEN | node_8101304_310020461 | node_8101304_310020462 | ABCN | 8101304
oh_line_8101304_310020464 |  | bal_3P_477AC_4/0AA(N) | 158.4 | OPEN | node_8101304_310020462 | node_8101304_310020464 | ABCN | 8101304
oh_line_8101304_310020465 |  | bal_3P_477AC_4/0AA(N) | 105.60000000000001 | OPEN | node_8101304_310020464 | node_8101304_310020465 | ABCN | 8101304
oh_line_8101304_310020466 |  | bal_3P_477AC_4/0AA(N) | 105.60000000000001 | OPEN | node_8101304_310020465 | node_8101304_310020466 | ABCN | 8101304
oh_line_8101304_310020467 |  | bal_3P_477AC_4/0AA(N) | 105.60000000000001 | OPEN | node_8101304_310020466 | node_8101304_310020467 | ABCN | 8101304
oh_line_8101304_310020468 |  | bal_3P_477AC_4/0AA(N) | 52.800000000000004 | OPEN | node_8101304_310020467 | node_8101304_310020468 | ABCN | 8101304
oh_line_8101304_310020469 |  | bal_3P_477AC_4/0AA(N) | 52.800000000000004 | OPEN | node_8101304_310020468 | node_8101304_310020469 | ABCN | 8101304
oh_line_8101304_310020470 |  | bal_3P_477AC_4/0AA(N) | 52.800000000000004 | OPEN | node_8101304_310020469 | node_intto1_8101304_310020470 | ABCN | 8101304
oh_line_8101304_310020474 |  | bal_3P_477AC_4/0AA(N) | 52.800000000000004 | OPEN | node_8101304_310020470 | node_intto1_8101304_310020474 | ABCN | 8101304
oh_line_8101304_310042819 |  | bal_3P_477AC_4/0AA(N) | 52.800000000000004 | OPEN | node_8101304_310042811 | node_8101304_310042819 | ABCN | 8101304
oh_line_8101304_310042822 |  | bal_3P_477AC_4/0AA(N) | 316.8 | OPEN | node_8101304_310042819 | node_8101304_310042822 | ABCN | 8101304
oh_line_8101304_310042823 |  | bal_3P_477AC_4/0AA(N) | 211.20000000000002 | OPEN | node_8101304_310042822 | node_8101304_310042823 | ABCN | 8101304
oh_line_8101304_310042825 |  | bal_3P_477AC_4/0AA(N) | 264 | OPEN | node_8101304_310042823 | node_8101304_310042825 | ABCN | 8101304
oh_line_8101304_310042826 |  | bal_3P_477AC_4/0AA(N) | 264 | OPEN | node_8101304_310042825 | node_8101304_310042826 | ABCN | 8101304
oh_line_8101304_310042828 |  | bal_3P_477AC_4/0AA(N) | 264 | OPEN | node_8101304_310042826 | node_8101304_310042828 | ABCN | 8101304
oh_line_8101304_310042831 |  | bal_3P_477AC_4/0AA(N) | 264 | OPEN | node_8101304_310042828 | node_8101304_310042831 | ABCN | 8101304
oh_line_8101304_310042918 |  | bal_3P_477AC_4/0AA(N) | 316.8 | OPEN | node_8101304_310042831 | node_8101304_310042918 | ABCN | 8101304
oh_line_8101304_310043004 |  | bal_3P_477AL_4/0AA(N) | 264 | OPEN | node_8101304_310042918 | node_8101304_310043004 | ABCN | 8101304
oh_line_TAP_OH_2137486 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101304_200854386 | node_1345214_635_15290772_97 | ABCN | 8101304
oh_line_TAP_OH_2137487 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101304_200854386 | node_1345194_825_15290771_436 | ABCN | 8101304
oh_line_TAP_OH_2137488 |  | unb_TAPWIRE_OH | 105.60000000000001 | OPEN | node_8101304_200854386 | node_1345234_027_15290767_571 | ABCN | 8101304
oh_line_TAP_OH_3101770 |  | unb_TAPWIRE_OH | 0 | OPEN | node_8101304_310020474 | node_1347248_337_15292057_545 | ABCN | 8101304

## UndergroundLine
Name | GroupId | Configuration | NumParallelCables | Length | Status | From | To | Phases | Feeder | Comments
und_line_8101304_310042804 |  | und_3P_750ALURD_750AL(N) | 0 | 52.800000000000004 | OPEN | node_SOURCE_8101304 | node_8101304_310042804 | ABCN | 8101304
und_line_8101304_310042807 |  | und_3P_750ALURD_750AL(N) | 0 | 0 | OPEN | node_8101304_310042804 | node_8101304_310042807 | ABCN | 8101304
und_line_8101304_310042810 |  | und_3P_750ALURD_750AL(N) | 0 | 52.800000000000004 | OPEN | node_8101304_310042807 | node_8101304_310042810 | ABCN | 8101304
und_line_8101304_310042811 |  | und_3P_750ALURD_750AL(N) | 0 | 52.800000000000004 | OPEN | node_8101304_310042810 | node_8101304_310042811 | ABCN | 8101304